ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | ACET HEALTH CENTER II |
| Name of Local Government | ACET, OMORO DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | APIO RUTH |
| Contact/ email and Telephone | 0760328927 Apioruth285@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | DENIS TAWOODA BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ……LAKWATOMER HEALTH CENTER III ………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility carries out repairs as part of the routine maintenance of UgIFT-provided assets. Where an asset develops a fault or requires minor maintenance, repairs are undertaken to restore and maintain its functionality.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

No. The facility previously maintained records on the functionality and breakdown of the assets through the Health Assistant. However, following the transfer of the Health Assistant, these records have not been maintained regularly. The facility therefore needs to designate another staff member to take responsibility for routinely documenting asset functionality, breakdowns, repairs, and maintenance.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

UgIFT support has contributed to service delivery through the construction of the maternity Challenge

- The UgIFT-supported buildings have not yet been commissioned, which limits their effective use for service delivery.

Recommendation

- The facility recommended that the UgIFT-supported buildings should be formally commissioned and made operational to enable the facility to fully utilize the infrastructure and improve service delivery.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…ACET, OMORO DISTRICT……… NAME OF HEALTH FACILITY: ACET HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) 02 | Outpatient |  | B.P. Machine (Aneroid wall mounted) |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use 01 |
|  | Maternity |  | B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  | Good state | In use 01 |
| Autoclave 20 Liters.,Duo Operated 02 | Maternity |  | Autoclave 20 Liters.,Duo Operated |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use 01 |
|  | store |  | Autoclave 20 Liters.,Duo Operated |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | Not in use 01 |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved 02 | Maternity ward |  | Counting chamber Neubauer- Improved |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In good state | In use 01 |
|  | Store |  | Counting chamber Neubauer- Improved |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In good state | Not in use 01 |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand 08 | Maternity ward |  | Drip Stand |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | All in use 08 |
| ESR Stand 01 | Laboratory |  | ESR Stand |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In good state | In use 01 |
| Examination Couch 04 | Outpatient |  | Examination Couch |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In good state | In use 01 |
|  | Maternity ward |  | Examination Couch |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In good state | In use 03 |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer 02 | Laboratory |  | Glucometer |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In good state | In use 02 |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter 02 | store |  | Height meter |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In good state | In use 02 |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular 01 | store |  | Microscope Binocular |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In a good state | In use 01 |
| Otoscope 01 | store |  | Otoscope |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use 01 |
| Patient Screen 05 | Maternity ward |  | Patient Screen |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 05 |
| Patient Trolley 01 | Maternity ward |  | Patient Trolley |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 01 |
| Refrigerator, Basic 02 | Maternity ward |  | Refrigerator, Basic |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Office |  | Refrigerator, Basic |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 01 |
| Stethoscope 08 | store |  | Stethoscope |  | Not engraved | 19/12/22 |  |  |  |  |  |  | -- | Not in use and not verified. Not seen |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher 01 | Outpatient |  | Stretcher |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 01 |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler 01 | store |  | Weighing Scale, Toddler |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Wheel Chair 04 | Store |  | Wheel Chair |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Bad condition | Not in use. They were delivered non-functional |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 20 | Outpatient |  | Medical Waste Bin |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 07 |
|  | store |  | Medical Waste Bin |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH 02 | store |  | Diagnostic Equipment Set for MCH |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not seen. Not verified |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic 02 | Laboratory |  | Glassware Set, Laboratory, Basic |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use |
| Hollow Ware Set, Treatment 02 | Maternity ward |  | Hollow Ware Set, Treatment |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In good state | In use |
| Instrument Set, Dressing 04 | MCH |  | Instrument Set, Dressing |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In good state | In use 02 |
|  | Maternity |  | nstrument Set, Dressing |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In good state | In use 02 |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held 01 | Maternity ward |  | Pulse Oximeter, Hand held |  | Not engraved | 19/12/22 |  |  |  |  |  |  |  | In use 01 |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 02 | store |  | Oxygen Therapy Apparatus, Mininum 45L cylinder |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) 01 | Maternity |  | Suction Apparatus, (Electric) |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state/functional | In use 01 |
| Nebulizer, Ultrasonic 01 | Store |  | Nebulizer, Ultrasonic |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Oxygen Concentrator, Duo Flow 01 | store |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot 02 | Maternity ward |  | Baby Cot |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use 02 |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward 02 | Maternity ward |  | Hollow Ware Set, Ward |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 02 |
| Instrument Set, Delivery 02 | Maternity ward |  | Instrument Set, Delivery |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 01 |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit 05 | Maternity ward |  | MVA Kit |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use 05 |
| Stool, Laboratory 03 | Laboratory |  | Stool, Laboratory |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 03 |
| Penguin Sucker 03 | Maternity ward |  |  |  |  |  |  |  |  |  |  |  | Good condition | In use 03 |
| Fetoscope, Dopplar 02 | Maternity ward |  | Fetoscope, Dopplar |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 02 |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) 01 | Laboratory |  | Centrifuge (Electric) |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use 01 |
| Kangaroo Mother Care Chair 01 | Maternity ward |  | Kangaroo Mother Care Chair |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use 01 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli 02 | Maternity |  | Haemoglobin Meter, Sahli |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use |
| Delivery Bed 01 | Maternity |  | Delivery Bed |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use 01 |
| Examination light 03 | Maternity |  | Examination light |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use 03 |
| Instrument set, ENT Basic for HCIII 01 | store |  | Instrument set, ENT Basic for HCIII |  |  | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair 07 | Outpatient |  | Office Chair |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use 02 |
|  | Records room |  | Office Chair |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use 02 |
|  | Maternity |  | Office Chair |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good state | In use 03 |
| Desk 05 | Outpatient |  | Desk |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In good condition | In use 05 |
| Filing Cabinet | Records |  | Filing Cabinet |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 03 |
|  | Clinical room |  | Filing Cabinet |  |  |  |  |  |  |  |  |  | Good condition | In use 03 |
| Non Residential Buildings | Patient pit latrines |  | Non Residential Buildings |  | - |  | - |  |  |  |  |  | Good condition | In use |
|  | Placenta pit |  | Non Residential Buildings |  | - |  | - |  |  |  |  |  |  |  |
| Residential Buildings | Maternity ward |  | Residential builldings |  | - |  | - |  |  |  |  |  | Good condition | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |