ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | ACHOLI |
| Name of Local Government | LAKWATOMER, OMORO DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | NASSUUNA DORIS |
| Contact/ email and Telephone | 0757079068 |
| Supervisor/ Sub team leader |  |
| Name | DENIS TAWOODA BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ……LAKWATOMER HEALTH CENTER III ………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. We used the delivery note from the district office to verify the assets. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Renovation works for the maternity ward are currently ongoing. The maternity ward/block was constructed with support from the UgIFT programme, and the facility is undertaking renovation works to maintain and improve the condition of the infrastructure. However, details on the specific maintenance activities, costs, or frequency of maintenance were not provided during the assessment.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

No formal records on the functionality, breakdowns, repairs, or maintenance of the UgIFT-supported assets at the health facility level were reported during the verification

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

UgIFT support has contributed to service delivery through the construction of the maternity ward, providing additional infrastructure for the delivery of maternal health services and improving the facility’s capacity to serve the community.

Challenge

- No assets were engraved

- The facility reported concerns regarding the quality of construction, with some aspects of the workmanship perceived to be below the expected standard.

- It was also noted that patients are attended to from the compound under the tree shades due to limited space to fully and privately attend to patients.

Recommendation

- Construction works should be undertaken and supervised to the required quality standards. Contractors should address identified defects and ensure that all construction and renovation works are completed to the required specifications.

- Regular post-construction inspections and follow-up by the responsible authorities should also be strengthened to ensure that UgIFT-supported infrastructure remains safe, functional, and fit for purpose.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…LAKWATOMER, OMORO DISTRICT……… NAME OF HEALTH FACILITY: LAKWATOMER HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) 02 | Outpatient |  | B.P. Machine (Aneroid wall mounted) |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 02 |
| Autoclave 20 Liters.,Duo Operated 02 | store |  | Autoclave 20 Liters.,Duo Operated |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 02 |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved 02 | store |  | Counting chamber Neubauer- Improved 02 |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand 08 | store |  | Drip Stand |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | Not in use and not verified because it is in store |
| ESR Stand 01 | store |  | ESR Stand |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Examination Couch 04 | store |  | Examination Couch |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer 02 | Store |  | Glucometer |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter 02 | store |  | Height meter |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular 01 | store |  | Microscope Binocular |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Otoscope 01 | store |  | Otoscope |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Patient Screen 05 | store |  | Patient Screen |  | Nor engraved | 19/12/22 |  |  |  |  |  |  | -- | Not in use and not verified because it is in store |
| Patient Trolley 01 | store |  | Patient Trolley |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Refrigerator, Basic 02 | store |  | Refrigerator, Basic |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Stethoscope 08 | store |  | Stethoscope |  | Not engraved | 19/12/22 |  |  |  |  |  |  | -- | Not in use and not verified because it is in store |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher 01 | store |  | Stretcher |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler 01 | store |  | Weighing Scale, Toddler |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Wheel Chair 04 | store |  | Wheel Chair |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 20 | Outpatient |  | Medical Waste Bin |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 02 |
|  | store |  | Medical Waste Bin |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH 02 | store |  | Diagnostic Equipment Set for MCH |  | Not engraved | 19/12/22 |  |  |  |  |  |  |  | Not in use and not verified because it is in store |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic 02 | store |  | Glassware Set, Laboratory, Basic |  | Not engraved | 19/12/22 |  |  |  |  |  |  |  | Not in use and not verified because it is in store |
| Hollow Ware Set, Treatment 02 | store |  | Hollow Ware Set, Treatment |  | Not engraved | 19/12/22 |  |  |  |  |  |  |  | Not in use and not verified because it is in store |
| Instrument Set, Dressing 04 | store |  | Instrument Set, Dressing |  | Not engraved | 19/12/22 |  |  |  |  |  |  |  | Not in use and not verified because it is in store |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held 01 | store |  | Pulse Oximeter, Hand held |  | Not engraved | 19/12/22 |  |  |  |  |  |  |  | 01 not delivered |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 02 | store |  | Oxygen Therapy Apparatus, Mininum 45L cylinder |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) 01 | store |  | Suction Apparatus, (Electric) |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Nebulizer, Ultrasonic 01 | store |  | Nebulizer, Ultrasonic |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Oxygen Concentrator, Duo Flow 01 | store |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot 02 | store |  | Baby Cot |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward 02 | store |  | Hollow Ware Set, Ward |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Instrument Set, Delivery 02 | store |  | Instrument Set, Delivery |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit 05 | store |  | MVA Kit |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Stool, Laboratory 03 |  |  | Stool, Laboratory |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 03 |
| Penguin Sucker 03 |  |  |  |  |  |  |  |  |  |  |  |  |  | Not in use and not verified because it is in store |
| Fetoscope, Dopplar 02 | store |  | Fetoscope, Dopplar |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) 01 | store |  | Centrifuge (Electric) |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Kangaroo Mother Care Chair 01 | store |  | Kangaroo Mother Care Chair |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli 02 | store |  | Haemoglobin Meter, Sahli |  |  | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Delivery Bed 01 | store |  | Delivery Bed |  |  | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Examination light 03 | store |  | Examination light |  |  | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Instrument set, ENT Basic for HCIII 01 | store |  | Instrument set, ENT Basic for HCIII |  |  | 19/12/22 |  |  |  |  |  |  | - | Not in use and not verified because it is in store |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair 07 | Outpatient |  | Office Chair |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | In use 01 |
|  | Clinical room |  | Office Chair |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | In use 01 |
|  | Laboratory |  | Office Chair |  | Not engraved | 19/12/22 |  |  |  |  |  |  | - | In use 02 |
| Desk | Outpatient |  | Desk |  | Not engraved | 19/12/22 |  |  |  |  |  |  | In good condition | In use 03 |
| Filing Cabinet | Outpatient |  | Filing Cabinet |  | Not engraved | 19/12/22 |  |  |  |  |  |  | Good condition | In use 04 |
| Non Residential Buildings | Patient pit latrines |  | Non Residential Buildings |  | - |  | - |  |  |  |  |  | Good condition | In use |
|  | Placenta pit |  | Non Residential Buildings |  | - |  | - |  |  |  |  |  |  |  |
| Residential Buildings | Maternity ward |  | Residential builldings |  | - |  | - |  |  |  |  |  | Good condition | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |