ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | ACHOLI REGION |
| Name of Local Government | LAKWAYA, OMORO DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | NASSUUNA DORIS |
| Contact/ email and Telephone | 0757079068/ nassuunaddiba64@gmail.com |
| Supervisor/ Sub team leader | DENIS TAWOODA BUDAALI |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTERS

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: LOYOAJONGA HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT? (Obtain a record and verify if it has the costs and numbers supplied.) | Yes. They have a delivery note by the supplier that was used to verify the assets. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

With the minor repairs, we use the PHC Fund that was allocated by MOH. We source for local labour and they come in to do the repairs and maintenance.

With the major ones, the process involves writing to the DHO informing them of repairs, and they follow up from there. Usually, they will send a team to the HC to look at the items and repair those that can be done in real time, after which they detail the non-repairable and carry on.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No |
| --- | --- | --- |

The facility does not do it regularly. They update their asset register only every financial year (once a year)

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

UGIFT support

- Currently serving a big number of people in this area, and the fact that we got a new block, i.e., the maternity block, a lot more patients are comfortable coming in for treatment. We had only one block previously, and it was too small.

Issues/Challenges

- None of the assets are engraved

- Our HC does not have power (direct current), i.e., UEDCL. We solely depend on solar, and thus anything that requires the use of direct current in our possession cannot be used. All machines from UGIFT are unused due to this.

- The quality of items brought is/was not all that good. We have had some items that should be long-lasting getting spoiled very fast, e.g., patient screens and chairs. Basically the ones we had before are outliving the new items, yet it should be the opposite.

- The placenta and medical waste pits covers were made of concrete (slab) and thus very heavy to open. Over time we have failed to use them and thus depend on the old one. Because of this, they have been left redundant.

- The water tanks attached to the new maternity block are of no use. Out of the 3, only 1 is in use and stores water. The other two that should be connecting to the building for full water flow is empty. This is because they are not connected and the pump is missing, as reported by the engineers who came previously.

- We do not have a proper store for all our items. Currently the store we have keeps medicines and a few other things. The beds and machines were piled up in a section of the maternity block, making them inaccessible for verification itself. The same space is being used as an inpatient ward for the males. It is quite inconveniencing.

Recommendations

- We need training for the machines we were given.

- Many of the items were not assembled, and we have no knowledge of how to do it ourselves

- Change and fix the covers of the placenta and medical waste pits so we can use them

- Fix the water system of the maternity block so we can have free flow of water

- If possible, support us with getting direct current (UEDCL) so the machines we were given can be put to use.

- Can we have a store constructed for us? That way we can have all our hardware, etc., kept there in one place. Separate from the medicines.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: LAKWAYA, OMORO DISTRICT… NAME OF HEALTH FACILITY: LOYOAJONGA HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 02 | Clinical room/OPD |  | B.P. Machine, Digital |  | Not engraved | 10/6/26 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Maternity |  | B.P. Machine, Digital |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
| B.P. Machine (Aneroid wall mounted) 02 | store |  |  |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand 02 | Labour suite |  | Bowl Stand |  | Not engraved | 20/6/26 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Maternity |  | Bowl Stand |  | Not engraved | 20/6/26 |  |  |  |  |  |  | Good condition | Not in use. 01 Was just gathering dust in a corner at the reception. The area was previously an open store |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable 02 | Dispensary |  | Cupboard Steel, Lockable |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Inpatient |  | Cupboard Steel, Lockable |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Maternity |  | Cupboard Steel, Lockable |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01. But not sure if it is a UGIFT asset |
| Drip Stand 08 | Inpatient |  | Drip Stand |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 02 |
|  | Maternity |  | Drip Stand |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use (02) |
|  | Post natal |  | Drip Stand |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 02 |
|  | Labour suite |  | Drip Stand |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use (02) |
| ESR Stand 1 |  |  | ESR Stand |  | Not engraved | 10/6/25 |  |  |  |  |  |  | - | Reported on delivery note but not seen |
| Examination Couch 02 | Maternity |  | Examination Couch |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | In use (02) |
| Examination light,LED 02 | Maternity |  | Examination light,LED |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | In use (02) |
| Glucometer 02 | Maternity |  | Glucometer |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Store |  | Glucometer |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use 01. |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley 02 | Dispensary |  | Instrument Trolley |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Inpatient |  | Instrument Trolley |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Microscope Binocular 01 |  |  | Laboratory |  | Not engraved | 10/6/25 |  |  |  |  |  |  | In good condition | Not fully in use. Still locked away in its protective casing. Also the facility does not have direct current |
| Otoscope 01 |  | Store |  |  | Not engraved | 10/6/25 |  |  |  |  |  |  |  | Not in use 01 |
| Patient Screen 04 |  | Inpatient | Patient Screen |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Fair/ broken side | Has a broken side 01 |
|  |  | Post natal | Patient Screen |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | In use (03) |
| Patient Trolley 01 |  | Postnatal | Patient Trolley |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Refrigerator, Basic 01 | Maternity |  |  |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Stethoscope 04 | Store |  |  |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use (04) |
| Stop Watch 02 | Store |  |  |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Stretcher 01 |  |  |  |  | Not engraved | 20/625 |  |  |  |  |  |  | - | Reported on delivery note but not seen |
| Stove, Gas 01 | Sterilization room |  |  |  | Not engraved | 10/6/26 |  |  |  |  |  |  | Good condition | In use 01 |
| Weighing Scale with Height Meter, Adult 02 | inpatient |  |  |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | maternity |  |  |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Weighing Scale, Infant 02 | store |  |  |  | Not engraved | 10/6/25 |  |  |  |  |  |  | In good condition | Not in use (02) |
| Weighing Scale, Toddler 02 | store |  |  |  | Not engraved | 10/6/25 |  |  |  |  |  |  | In good condition | Not in use (02) |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 06 | Labour suite |  |  |  | Not engraved | 10/6/25 |  |  |  |  |  |  | In good condition | In use 02 |
|  | store |  |  |  |  | 10/6/25 |  |  |  |  |  |  | In good condition | Not in use 04 |
| Wall Clock 04 | Maternity |  | Wall Clock |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Laboratory |  | Wall Clock |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Store |  |  |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Diagnostic Equipment Set for MCH 02 | Store |  | Diagnostic Equipment Set for MCH |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Diagnostic Equipment Set for OPD 02 | Store |  | Diagnostic Equipment Set for OPD |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Glassware Set, Laboratory, Basic 02 | Store |  | Glassware Set, Laboratory, Basic |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Hollow Ware Set, Treatment 03 | Store |  | Hollow Ware Set, Treatment |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use 03 |
| Instrument Set, Dressing 02 | Store |  | Instrument Set, Dressing |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Instrument Set, Basic ENT 03 | Store |  | Instrument Set, Basic ENT |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use 03 |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held 02 | Inpatient |  | Pulse Oximeter, Hand held |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Store |  | Pulse Oximeter, Hand held |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Bed, Adult Patient with Mattress 10 | Store |  | Bed, Adult Patien |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition 02 assembled: 07 not assembled | Not in use. The beds were piled up in one of the open areas (ward) and is shared with male patients 02 assembled: 07 not assembled |
|  | Duty room |  | Bed, Adult Patien |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Bed, Pediatric Patient, With Mattress 05 | store |  | Bed, Pediatric Patient, With Mattress |  | Not engraved | 20/6/26 |  |  |  |  |  |  | Good condition | 02 are assembled but not in use. Instead piled up with the adult beds |
|  | Inpatient |  | Bed, Pediatric Patient, With Mattress |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Post natal |  | Bed, Pediatric Patient, With Mattress |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | In use 02 |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument 01 | - |  | Cupboard, Instrument |  | Not engraved | 10/6/25 |  |  |  |  |  |  | - | Reported on delivery note but not seen |
| Delivery Bed, Hydraulic Manual 01 | Maternity |  | Delivery Bed, Hydraulic Manual |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Fair/bad condition Parts of it underneath keep falling off. | Not in use. A patient once lay on it while in labour and it broke with the patient falling. Since then no use. 01 |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 02 | Store |  | Store |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Facility has no direct current (UEDCL) thus machines are not in use. 02 |
| Resuscitator Manual, Infant, with all Mask sizes 02 | Store |  | Store |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Facility has no direct current (UEDCL) thus machines are not in use. 02 |
| Resuscitator Manual, Adult, with all mask sizes 02 | Store |  | Store |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Facility has no direct current (UEDCL) thus machines are not in use. 02 |
| Suction Apparatus, (Electric) 02 | Store |  | Store |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Facility has no direct current (UEDCL) thus machines are not in use. 02 |
| Nebulizer, Ultrasonic 01 | Store |  | Nebulizer, Ultrasonic |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Facility has no direct current (UEDCL) thus machines are not in use. 01 |
| Oxygen Concentrator, Duo Flow 04 | Maternity |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Facility has no direct current (UEDCL) thus machines is not fully in use. 01 |
|  | Store |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Facility has no direct current (UEDCL) thus machines are not in use. 03 |
| Bench 04 | Maternity |  | Bench |  | Not engraved | - |  |  |  |  |  |  | Good condition | In use 04 |
| Disinfection Buckets 06 | Labour suite |  | Disinfection Buckets |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 04 |
|  | Store |  |  |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Baby Cot 05 | Post natal |  | Baby cot |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | In use 02 |
|  | Store |  | Baby cot |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | Not in use (03). Piled up in a section of the maternity ward |
| Diagnostic Equipment Set for Ward 03 |  |  | Diagnostic Equipment Set for Ward |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use (03) |
| Hollow Ware Set, Ward 03 |  |  | Hollow Ware Set, Ward |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use (03) |
| Instrument Set, Delivery 03 | Store |  | Instrument Set, Delivery |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use. (03) |
| Instrument Set, Stitch Removing 03 | Store |  | Instrument Set, Stitch Removing |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use(03) |
| MVA Kit 04 | Store |  | MVA Kit |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use(04) |
| Stool, Laboratory 01 | Labour suite |  | Stool, Laboratory |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | In use via the labour suite 01 |
| Penguin Sucker 03 | - |  | Penguin Sucker |  | Not engraved | 10/6/25 |  |  |  |  |  |  | - | Reported on delivery note but not seen |
| Fetoscope, Dopplar 02 | Labor suite |  | Fetoscope, Dopplar |  | Not engraved | 10/6/2025 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Store |  | Fetoscope, Dopplar |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Bubble CPAP 02 | Store |  | Bubble CPAP |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use due to the fact that there is no direct current (UEDCL) 01 |
|  | Transferred |  | Bubble CPAP |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Transferred to Lalogi HC III 01 |
| Centrifuge (Electric) 02 | Store |  | Centrifuge (Electric) |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | Not in use due to no direct current at the facility 02 |
| Kangaroo Mother Care Chair 01 | postnatal |  | Kangaroo Mother Care Chair |  | Not engraved | 20/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair 07 | Dispensary |  | Office Chair |  | Not engraved | 10/6/26 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Cliinical room |  | Office Chair |  | Not engraved | 10/6/26 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Laboratory |  | Office Chair |  | Not engraved | 10/6/26 |  |  |  |  |  |  | 1 faulty chair | There are 02 here. However, 01 chair is broken |
|  | Records |  | Office Chair |  | Not engraved | 10/6/26 |  |  |  |  |  |  | Good condition | In use 01 |
|  | In patient |  | Office Chair |  | Not engraved | 10/6/26 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Maternity |  | Office Chair |  | Not engraved | 10/6/26 |  |  |  |  |  |  | Good condition | In use 01 |
| Desk 03 | Store/maternity |  | Desk |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition. | All 03 desks were left un-assembled and packed in the maternity block-inpatient section. Sharing space with the patients |
| Filing Cabinet 02 | EPI room |  | Filing Cabinet |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Duty room |  | Filing Cabinet |  | Not engraved | 10/6/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Non Residential Buildings | Placenta pit |  | Placenta pit |  | - | - |  |  |  |  |  |  | - | Not in use due to the cover that is heavy. Made of slab |
|  | Medical waste pit |  | Medical waste pit |  | - | - |  |  |  |  |  |  | - | Not in use due to the cover that is heavy. Made of slab |
|  | Latrines |  | male/03: female/03 |  | - | -- |  |  |  |  |  |  | Good condition | In use with enough space and privacy |
| Residential Buildings | Maternity block/ward |  | Maternity block/ward |  | - | - |  |  |  |  |  |  | Good condition | In use. However, ward spaces have been turned into stores with things piled up there |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |