ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN REGION |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | OMORO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | NAMATA MARIA |
| Contact/ email and Telephone | 0760793798 |
| Supervisor/ Sub team leader |  |
| Name | MR BUDALI DENNIS |
| Contact | 0779622063 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: TEKULU HEALTH CENTRE THREE

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes inventory book |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

No repairs, replacement or service has been done.

The microscope which is the only equipment that was faulty under UGIFT assets received was sent back to the district for repairs

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes it does |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Challenges

Faulty equipment like a microscope.

Shortage of power supply to run equipment like oxygen concentrators

Insufficient knowledge on how to use certain equipment and their connections for example oxygen apparatus, refrigerators, desktop computers

Incomplete structure for example the construction of the maternity ward is still on going

Success

Some of the equipment are being used to provide services for example drip stands

Recommendations

Repair and servicing of faulty equipment is required to make it functional

Orientation on the use and installation of some equipment is necessary for example desktop computers

The hospital should receive on grid connection so as to receive enough power supply to run all the equipment

The maternity ward which is under construction should be completed .

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

HEALTH CENTRE CHECKLIST

NAME OF LG OMORO DISTRICT NAME OF HEALTH FACILITY: TEKULU HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) 02 | Maternity |  | Manual |  |  |  | 14/9/2023 |  |  |  |  |  | Good condition | In use (2). Not engraved. |
| Autoclave 20 Liters.,Duo Operated 02 | Store |  | Metallic and cylindrical |  |  |  | 14/9/2023 |  |  |  |  |  | Good condition | Not in use (2) Not engraved |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand 03 | Store |  | Metallic stainless steel |  |  |  | 14/9/2023 |  |  |  |  |  | In good state | Not in use (3) Not engraved |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable 07 | Maternity (Incomplete) Maternity (Currently being used as maternity) Laboratory Dispensary |  |  |  |  |  | 14/9/2023 |  |  |  |  |  | Good condition | Not engraved In use (3) Not in use (4) because they are in the new maternity ward which is still under construction. |
| Drip Stand 12 | Laboratory Maternity ward (Incomplete) Maternity(Currently being used as maternity) Store |  |  |  |  |  | 14/9/2023 |  |  |  |  |  | Good condition | In use (1) Not in use (12) 10 are in the store and 2 are in the incomplete maternity ward. Not engraved |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch 12 | Men’s ward Store Maternity ward (Incomplete) |  | Metal with blue mattress |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | In use (2) Not in use (9) because 7 are in the maternity ward which is still under construction and the 3 are in store. Not engraved |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter 02 | Store |  | Height meter |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | Not engraved Not in use (2) |
| Instrument Trolley 04 | Maternity ward (Incomplete) Store |  | metallic with 2 cabins |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | Not in use (2) because 1 is in the store and another is in the maternity ward building which is still under construction. Not engraved |
| Microscope Binocular 01 | Laboratory |  |  |  |  |  | 14/9/2023 |  |  |  |  |  | Faulty | The microscope was delivered but it was taken to the district headquarters for repair . |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen 07 | Men’s ward Laboratory Maternity (Currently being used) Maternity (Incomplete) Store |  |  |  |  |  | 14/9/2023 |  |  |  |  |  | In good state | In use (2) Not in use (3) because 2 are in the store and 1 is in the maternity ward which is incomplete.. Not engraved Not functional (2) |
| CPU | Men’s ward |  | Corei7 CPU |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | Not in use because the health personnels do not know how to use it. |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic 02 | Store |  | Refrigerator |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | Not in use (2) Not engraved |
| Stethoscope 05 | Store |  | Stethoscope |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | Not in use (5) Not engraved |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas 01 | Store |  | Stove gas with 2 plates |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | Not in use (1) Not engraved |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair 01 | Maternity ward (Incomplete) |  |  |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | In use (1) Not engraved |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 20 | Store |  | Metallic waste bins |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | Not in use (19) Not engraved |
| Wall Clock 05 | Store Laboratory |  | Wall clock |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | In use (1) Not in use (4) Not engraved |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  | 14/9/2023 |  |  |  |  |  |  |  |
| Tv 01 | Men’s ward |  | Smart Tv |  |  |  | 14/9/2023 |  |  |  |  |  | In good state. | Not in use (1). |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desktop computer 1 | Men’s ward |  | Dell |  |  |  |  |  |  |  |  |  |  | Not in use (1).This is because the health personnels do not know how to use it. |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker 09 | Laboratory Maternity (Incomplete) Store |  | Grey |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | In use (1) Not in use (8).1 is in the maternity ward which is incomplete and 7 are in the store. Not engraved |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes 01 | Maternity (Currently being used) |  |  |  |  |  | 14/9/2023 |  |  |  |  |  | In good state | In use (1) |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow 01 | In store |  |  |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | Not in use (1) Not engraved |
| Bench | Maternity |  | Varnished with brown |  |  |  | 14/9/2023 |  |  |  |  |  | In good state | Not yet in use (2) Not engraved |
| Disinfection Buckets 07 | Store |  | Disinfection buckets |  |  |  | 14/9/2023 |  |  |  |  |  | In good state | Not in use Not engraved |
| Kangaroo bed with mattress 02 | Maternity (Incomplete) |  | Metallic bed with mattress |  |  |  | 14/9/2023 |  |  |  |  |  | In good state | Not yet in use (2) Not engraved |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery 02 | Maternity | Delivery set | Delivery set |  |  |  | 14/9/2023 |  |  |  |  |  | In good state | In use (2) |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair 01 | Maternity (Incomplete) |  | Orange cushioned chair |  |  |  | 14/9/2023 |  |  |  |  |  | In good state | Not in use (1) The maternity is not yet in use (still under construction) |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed 01 | Maternity (Incomplete) |  | Metallic with black mattress |  | Not engraved |  | 14/9/2023 |  |  |  |  |  | In good state | Not yet in use (1). The maternity ward is not yet complete but the items have been put in the ward |
| Examination light 02 | Store Maternity |  | Metallic stand with black lamp |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | In use (1) Not in use (1) Not engraved |
| Bed pans 02 | Store |  | Bed pans |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | Not in use (1) Not engraved |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Armless rotating chairs | Drug store Laboratory Store |  | Black with rollers |  |  |  | 14/9/2023 |  |  |  |  |  | In good condition | In use (2) Not in use (2) Not engraved |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tables 03 | Dispensary Laboratory |  | Ta\bles |  | Not engraved |  | 14/9/2023 |  |  |  |  |  | In good state | In use (3) Not engraved |
| Office Chair 05 | Men’s ward Dispensary Maternity (Incomplete) Laboratory |  | Black and armless |  | Not engraved |  | 14/9/2023 |  |  |  |  |  | In good state | In use (3) Not in use 2 are in the maternity ward which is still under construction Not engraved |
| Desk 02 | Maternity | Varnished with brown |  |  | Not engraved |  | 14/9/2023 |  |  |  |  |  | In good state | Not yet in use (2) Not engraved |
| Filing Cabinet |  |  |  |  | Filing cabinet |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maternity ward | Maternity |  | 1 block |  |  |  | 2023 |  |  |  |  |  |  | Not in use since its still under construction |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff quarters |  |  | 2 blocks |  |  |  | 2023 |  |  |  |  |  | Good condition | In use |
| Staff kitchen |  |  | 2 blocks |  |  |  | 2023 |  |  |  |  |  | Good condition | In use |
| Latrines for staff quarters |  |  | 2 blocks |  |  |  | 2023 |  |  |  |  |  | Good condition | In use |
| Latrines for patients |  |  | 2 blocks with 4 latrines |  |  |  | 2023 |  |  |  |  |  | Good condition | In use |
| Water tank | Behind maternity block |  | 5000l Crest tank |  |  |  | 2023 |  |  |  |  |  | Good condition | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: LAKWANA SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No delivery notes were obtained from the inventory person at the district |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The door knob that became faulty on the ICT/Library block was replaced with a new one.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes, the facility has records |
| --- | --- | --- |

The records are kept in the inventory book which is updated by the headteacher

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Success

The program has provided buildings where learners can study from

Challenges

Incomplete structures for example the ICT/Library block has a ply wood ceiling which needs to be replaced

The sitting facilities like desks and chairs are not enough

ICT/Library block was wired with electricity but the rest like classroom blocks were not wired

Learning materials are not enough

The contractors were supposed to plant flowers and level the ground which they did not do.

Recommendations

Increase the number of text books supplied

Finish incomplete works

Supply more furniture

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG OMORO DISTRICT LOCAL GOVERNMENT  Name of  SCHOOL LAKWANO SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desks 99 | Classroom Multi-purpose building |  | Varnished desks |  | LAKWANA SEED SS OMORO DISTRICT |  | 14/06/2022 |  |  |  |  |  | In good state | The desks were not engraved properly The desks are supposed to be in all the classroom blocks however there is one classroom block without desks and it is being used as a dormitory for girls. No desks were supplied for the multipurpose building. The desks supplied were 99 |
| Chairs 06 | ICT/Library block |  | Varnished armless chairs |  |  |  | 2022 |  |  |  |  |  | In good state | In use (6) The classrooms don’t have chairs because all the classes are small and desks occupy most of the space but they were also not supplied Not engraved |
| Tables 79 | ICT Library block |  | Varnished rectangular with 4 stands |  |  |  | 2022 |  |  |  |  |  | In good state | Not engraved Tables were not supplied in ICT lab. The school improvised (7) in use Tables for the classes were not supplied In use (71) Not engraved Some have top round part which is not completely round (1) |
| Book shelves | Library |  |  |  |  |  | 2022 |  |  |  |  |  |  | Not engraved In use |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG OMORO DISTRICT LOCAL GOVERNMENT Name of SCHOOL: LAKWANA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop computers 28 | ICT Library block |  | Dell |  |  |  | 14/06/2022 |  |  |  |  |  | In good state although 1 is faulty | Not in use (28) Not engraved 1 was delivered when it was faulty The server computer was not delivered No wiring was done for the computers in the room |
| Triple lite extension cable 10 | ICT Library block |  | Triple lite |  |  |  |  |  |  |  |  |  |  | In use (10) not engraved |
| CCTV Camera 01 | ICT Library block |  | CCTV camera |  |  |  | Delivered in 2nd term of 2026 |  |  |  |  |  |  | In use (1) Not engraved |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: LAKWANA, OMORO DISTRICT  Name of SCHOOL: LAKWANA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ICT/ Library block | Non residential |  | 1 block with 2 rooms |  |  |  | 2022 |  |  |  |  |  | In good state | In use |
| Classroom block | Non residential |  | 3 blocks each with 2 classrooms |  |  |  | 2022 |  |  |  |  |  | In good state | 2blocks are used as classes and 1 block is used as the dormitory for girls |
| Science laboratory | Non residential |  | 1 block with 2 labs |  |  |  |  |  |  |  |  |  | In good state | In use No apparatus was supplied except burners and gas taps |
| Water tanks |  |  | 10000l 5000l |  |  |  | 2022 |  |  |  |  |  | In good state | In use |
| Staff quarters | Residential |  | 3 blocks each with 2 rooms |  |  |  |  |  |  |  |  |  | In good state | In use |
| Kitchen for staff quarters | Residential |  | 3 blocks each staff quarter block having 1 kitchen block |  |  |  | 2022 |  |  |  |  |  | In good state | In use |
| Latrines for staff quarters | Residential |  | 3 blocks each having 2 bathrooms and toilets |  |  |  | 2022 |  |  |  |  |  | In good state | In use |
| Latrine for boys and girls | Non residential |  | 1 block with 2 rooms |  |  |  | 2022 |  |  |  |  |  | In good state | In use |
| Administration block | Non residential |  | 1 block with 2 rooms |  |  |  | 2022 |  |  |  |  |  | In good state | In use |