ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | ABELA, OYAM DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | NAMATA MARIA |
| Contact/ email and Telephone | 0760793798 |
| Supervisor/ Sub team leader |  |
| Name | MR. BUDALI DENNIS |
| Contact | 0779622063 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …ABELA HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | There are delivery notes at the facility although not all the assets appear on the delivery notes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility reported that most of the assets provided under UgIFT have not required repair or replacement. However, two damaged chairs were replaced in 2023.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes. The facility maintains regular records on the functionality and breakdown of the assets provided under UgIFT.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Success

- According to the facility in charge, UgIFT support has contributed to improved access to and The facility received essential equipment that has contributed to improved service delivery, particularly in laboratory and diagnostic services.

Challenges

- Some of the items supplied were reported to be of poor quality.

- The quantities of some items supplied were insufficient to meet the facility's needs.

Recommendations

- The quality of equipment and other items should be assessed and verified before delivery to ensure they meet the required standards.

- The quantities of items supplied should be increased based on the facility's needs and service demand.

- extent of verification for items that could not be accessed at the time of the visit.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: ABELA, OYAM DISTRICT        NAME OF HEALTH FACILITY……ABELA HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 02 | Female and male wards |  | B.P. Machine, Digital |  | Not engraved |  | 15/12/22 |  |  |  |  |  | Not damaged | Functional (2) |
| B.P. Machine (Aneroid wall mounted) 01 | Laboratory |  | Machine (Aneroid wall mounted |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | Not damaged | Functiona l(1) |
| Autoclave 20 Liters.,Duo Operated 01 | Female ward |  | Autoclave 20 Liters.,Duo Operated |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | Not damaged | Functional (1) |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand 10 | All wards |  | Stainless steel metal with rollers |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | In good state | Functional (10) |
| ESR Stand | Laboratory |  | ESR stand |  | Not engraved |  | 15/2/22 |  |  |  |  |  | In use | One seen but not under Ugift |
| Examination Couch 03 | Male and female wards |  | Examination couch |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | In good condition | Functional (3) |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter 02 | Male and female wards |  | Height Meter |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | In good state | Functional (2) |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen 05 | All wards |  | Patient Screen |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | Not damaged | Functional (5) |
| Patient Trolley 03 | Female ward |  | Patient Trolley |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | Not damaged | Functional (3) |
| Refrigerator, Basic 01 | Laboratory |  | Refrigerator, Basic |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | Not damaged | Functional (1) |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher 02 | Female ward |  | Stretcher |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | Not damaged | Functional (2) |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult 04 | Female ward Male ward Maternity |  | Weighing scale with height meters |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | In good condition | Functional (4) |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler | 0PD |  | WEIGHING SCALE TODDLER |  | Not engraved |  | 15/2/2022 |  |  |  |  |  | In good condition | Was supplied but not in use |
| Wheel Chair 03 | Maternity |  | Wheel chair |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | In good condition | Functional (3) |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 20 | Laboratory Male ward Female ward |  | Medical Waste Bin |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | In good condition | Functional (20) |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient with Mattress 04 |  |  | Bed, Adult Patient with Mattress |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | In good condition | Functional (4) |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 01 | - |  | Oxygen Therapy Apparatus, Mininum 45L cylinder |  | Not engraved |  |  |  |  |  |  |  | - | Supplied/On delivery note but not seen 01 |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) 01 |  |  | Suction Apparatus, (Electric) |  | Not engraved |  | 15/12/22 |  |  |  |  |  |  | Supplied/On delivery note but not seen 01 |
| Nebulizer, Ultrasonic 01 |  |  | Nebulizer, Ultrasonic |  | Not engraved |  | 15/12/22 |  |  |  |  |  |  | Supplied/On delivery note but not seen 01 |
| Oxygen Concentrator, Duo Flow 01 |  |  | Oxygen Concentrator, Duo Flow |  | Not engraved |  | 15/12/22 |  |  |  |  |  |  | Supplied/On delivery note but not seen 01 |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot 05 | - |  | Baby cot |  | - |  |  |  |  |  |  |  | - | Supplied/On delivery note but not seen |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit 03 | - |  | MVA Kit |  | Not engraved |  | 15/12/22 |  |  |  |  |  |  | Supplied/Not seen on delivery note |
| Stool, Laboratory 01 |  |  | Stool Laboratory |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | - | Supplied/On delivery note but not seen 01 |
| Penguin Sucker 03 |  |  | Penguin sucker |  | Not engraved |  | 15/12/22 |  |  |  |  |  |  | Supplied/On delivery note but not seen 03 |
| Fetoscope, Dopplar 02 |  |  | Fetoscope, Dopplar |  | Not engraved |  | 15/12/22 |  |  |  |  |  |  | Supplied/On delivery note but not seen 02 |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) 01 | Female ward |  | Centrifuge (Electric) |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | Not damaged | Functional (1) |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed 01 | Maternity |  | Delivery Bed |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | Not damaged | Functional (1) |
| Examination light 02 | Marternity |  | Examination light |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | Not damaged | Functional (2) |
| Instrument set, ENT Basic for HCIII 01 | - |  | Instrument set, ENT Basic for HCIII |  | - |  | - |  |  |  |  |  | - | On delivery notebut not seen |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair 06 | In- charge’s office |  | Office Chair |  | Not engraved |  | 15/12/2022 |  |  |  |  |  | Not damaged | Functional (6) |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………NGAI SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. Delivery notes are available with the district. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility reported that most of the assets provided under UgIFT have not required repair or replacement.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

Yes. The facility maintains regular records on the functionality and breakdown of the assets provided under UgIFT.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Success

- The facility received essential equipment that has contributed to improved service delivery, particularly in laboratory and diagnostic services.

Challenges

- Some of the items supplied were reported to be of poor quality.

- The quantities of some items supplied were insufficient to meet the facility's needs.

Recommendations

- The quality of equipment and other items should be assessed and verified before delivery to ensure they meet the required standards.

- The quantities of items supplied should be increased based on the facility's needs and service demand.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG…NGAI, OYAM DISTRICT                          Name of SCHOOL…………NGAI SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desks 120 | Classroom block |  | 3 seater desks which are wooden and varnished |  | Not engraved |  | 2025 |  |  |  |  |  | In good condition . | In use (120). |
| Chairs 18 | Classroom block Administration block Multipurpose building |  | Armless wooden chairs and varnished |  | Not engraved |  | 2025 |  |  |  |  |  | In good condition . | In use (18). . |
| Laboratory stools 126 | Laboratory block |  | Round flat top with 4 straight metal bars painted black and the top is varnished. |  | Not engraved |  | 2025 |  |  |  |  |  | In good condition | Not in use (126) because the laboratory is not yet in use. Not engraved. |
| Tables 92 | Administration block Classroom block Multipurpose block |  | A wooden rectangular table with rounded edges and varnished |  | Not engraved |  | 2025 |  |  |  |  |  | In good condition . | In use (69).Not in use (23) because they are within the science lab which is not yet commissioned. Not engraved. |
| Book shelves 06 | Classroom block Administration block Ict/Library block |  | Wooden varnished book shelves |  | Not engraved |  | 2025 |  |  |  |  |  | In good condition . | In use (6). Not engraved. Those in the library were not verified because there was no access to the ICT/LIB block because the place was out of bounds for investigation against the theft of computers in the ICT lab. |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…NGAI, OYAM DISTRICT         Name of SCHOOL……NGAI SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop computer | ICT/LIB block |  | Desktop computer |  |  | 2/6/2025 |  |  |  |  |  |  |  | The ICT equipment was not verified because the place was out of bounds for investigation since there was a theft of 16 computers on the night of 22/08/2026. The equipment status was not verified as well.equipment |
| Server processor | ICT/LIB block |  | Server processor |  |  | 2/6/2025 |  |  |  |  |  |  |  |  |
| Network switch 24 port | ICT/LIB block |  | Network switch 24 port |  |  | 2/6/2025 |  |  |  |  |  |  |  |  |
| Multipurpose printer | ICT/LIB block |  | Multipurpose printer |  |  | 2/6/2025 |  |  |  |  |  |  |  |  |
| Desktop computer | ICT/LIB block |  | Desktop computer |  |  | 2/6/2025 |  |  |  |  |  |  |  | The ICT equipment were not verified because the place was out of bounds for investigation since there was a theft of 16 computers in the night of 22/08/2026. The equipment status was not verified as well.equipment |
| Server processor | ICT/LIB block |  | Server processor |  |  | 2/6/2025 |  |  |  |  |  |  |  |  |
| Network switch 24 port | ICT/LIB block |  | Network switch 24 port |  |  | 2/6/2025 |  |  |  |  |  |  |  |  |
| Multipurpose printer | ICT/LIB block |  | Multipurpose printer |  |  | 2/6/2025 |  |  |  |  |  |  |  |  |
| LAN | ICT/LIB block |  | LAN |  |  | 2/6/2025 |  |  |  |  |  |  |  |  |
| UPS | ICT/LIB block |  | UPS |  |  | 2/6/2025 |  |  |  |  |  |  |  |  |
| Server UPS | ICT/LIB block |  | Server UPS |  |  | 2/6/2025 |  |  |  |  |  |  |  |  |
| Public Address system 01 | Multipurpose building |  | Public Address system |  | Not engraved |  |  |  |  |  |  |  | In good state | In use.01 |
| LAN | ICT/LIB block |  | LAN |  |  | 2/6/2025 |  |  |  |  |  |  |  |  |
| Projector | ICT/LIB block |  | Projector |  |  | 2/6/2025 |  |  |  |  |  |  |  |  |
| Internet connection | ICT/LIB block |  | Internet connection |  |  | 2/6/2025 |  |  |  |  |  |  |  |  |
| Network rack cabinet | ICT/LIB block |  | Network rack cabinet |  |  |  | 2/6/2025 |  |  |  |  |  |  |  |
| Router | ICT/LIB block |  | Router |  |  |  | 2/6/2025 |  |  |  |  |  |  |  |
| CCTV Camera | ICT/LIB block |  | CCTV Camera |  |  |  | 2/6/2025 |  |  |  |  |  |  |  |
| Air conditioner | ICT/LIB block |  | Air conditioner |  |  |  | 2/6/2025 |  |  |  |  |  |  |  |
| Firewall | ICT/LIB block |  | Firewall |  |  |  | 2/6/2025 |  |  |  |  |  |  |  |
| Power surge protector | ICT/LIB block |  | Power surge protector |  |  |  | 2/6/2025 |  |  |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…NGAI, OYAM DISTRICT………………… Name of SCHOOL……NGAI SEED SECONDARY SCHOOL……

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Classroom block | Non residential |  | 3blocks each with 2 classrooms making a total of 6. |  |  |  | 2025 |  |  |  |  |  | In good state | In use |
| Administration block | Non residential |  | 1 block having 2 rooms one with administrative offices and another is a staffroom. |  |  |  | 2025 |  |  |  |  |  | In good state | In use |
| Science laboratory | Non residential |  | 1 block having 2 labs. |  |  |  | 2025 |  |  |  |  |  | In good state | In use |
| Fence | Non residential |  | Concrete chain link fence |  |  |  | 2025 |  |  |  |  |  | In good state | In use |
| Multipurpose hall | Non residential |  | 1 block |  |  |  | 2025 |  |  |  |  |  | In good state | In use |
| ICT/LIB block | Non residential |  | 1 block with ICT lab and a library |  |  |  | 2025 |  |  |  |  |  | In good state | In use |
| Teachers houses | Residential |  | 3 blocks each with 2 rooms. |  |  |  | 2025 |  |  |  |  |  | In good state | In use |
| Staff kitchen | Residential |  | 3 blocks |  |  |  | 2025 |  |  |  |  |  | In good state | In use |
| Staff latrines | Residential |  | 3 blocks of 2 stance drainable latrines |  |  |  | 2025 |  |  |  |  |  | In good state | In use |
| Girls latrines | Non residential |  | 1 block of 5 stance drainable latrines. |  |  |  | 2025 |  |  |  |  |  | In good state | In use |
| Boys latrines | Non residential |  | 1 block of 5 stance drainable latrines. |  |  |  | 2025 |  |  |  |  |  | In good state | In use |
| Foot ball pitch | Sports |  | Football pitch |  |  |  | 2025 |  |  |  |  |  | In good state | In use |
| Staff latrines | Non residential |  | 1 block of 2 stance drainable latrines. |  |  |  | 2025 |  |  |  |  |  | In good state | In use |