ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | OYAM DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | NAMATA MARIA |
| Contact/ email and Telephone | 0760793798 |
| Supervisor/ Sub team leader |  |
| Name | MR. BUDALI DENNIS |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …AJAGA HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. A delivery note was obtained. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

No repairs, servicing, or replacements have been carried out on the assets provided under UgIFT since they were supplied to the facility. The facility continues to use and manage the assets in their current condition.

| 3 | Does the facility take regular record about In use ity/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes. The facility maintains regular records on the In use ity and condition of the assets provided, including monitoring whether the assets are In use  or have broken down. Any instances of non-In use ity are recorded for follow-up and appropriate action.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- The facility received equipment that has contributed to improved service delivery, particularly in laboratory and diagnostic services.

- The availability of the equipment has strengthened the facility's capacity to provide essential diagnostic services and respond to the needs of patients more effectively.

Challenges

- Some of the items supplied were reported to be of poor quality, which may affect their durability and long-term In use ity.

Recommendation

- All equipment and other items should undergo thorough quality assessment and inspection before delivery to ensure that they meet the required standards and are suitable for sustained use at the facility.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: AJAGA, OYAM DISTRICT        NAME OF HEALTH FACILITY……AJAGA HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status |  | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 02 | Labour suite |  | B.P. Machine, Digital |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | In good state |  | In use (2). |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated 01 | Loose room |  | Autoclave 20 Liters.,Duo Operated |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use (1) |
| Bowl, Kick 02 | In store |  | Bowl, kick |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | Not In use (2) |
| Bowl Stand 01 | In store |  | Bowl Stand |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | Not In use (1) |
| Counting chamber Neubauer- Improved 01 | - |  | Counting chamber Neubauer- Improved |  | - |  | 15/6/23 |  |  |  |  |  |  | - | On delivery note with a comment saying “not supplied) |
| Cupboard Steel, Lockable 03 | Antental |  | Cupboard Steel, Lockable |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use 01 |
|  | Labour suite |  | Cupboard Steel, Lockable |  | Not engraved |  | 16/6/23 |  |  |  |  |  | Not damaged |  | 01 |
|  | Laboratory |  | Cupboard Steel, Lockable |  | Not engraved |  | 15/6/23 |  |  |  |  |  | Not damaged |  | 01 |
| Drip Stand 04 | OPD |  | Drip Stand |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use (1) |
|  | Labour suite |  | Drip Stand |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use (1) |
|  | Antenatal |  | Drip Stand |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use (1) |
|  | Maternity |  | Drip Stand |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use (1) |
| ESR Stand 01 | Laboratory |  | ESR Stand | Laboratory | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use (1) |
| Examination Couch 02 | In store |  | Examination Couch |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | Not In use (2) |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer 01 | Laboratory |  | Glucometer |  | Not engrave |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use (1) |
| Haemoglobin Meter, Digital 01 | Laboratory |  | Haemoglobin Meter, Digital |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use (1) |
| Height Meter 01 | Antenantal |  | Height Meter |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | In good condition |  | In use (1) |
| Instrument Trolley | Labour suite |  | Instrument Trolley |  | Not engrave |  | 15/6/2023 |  |  |  |  |  | In good condition |  | In use (2) |
|  | OPD |  | Instrument Trolley |  | Not engraved |  | 15/6/22 |  |  |  |  |  | Good condition |  | In use 01 |
| Microscope Binocular 02 | Laboratory |  | Microscope Binocular |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | In good state |  | In use (1) |
|  | - |  | Microscope Binocular |  | Not engraved |  | 15/6/23 |  |  |  |  |  | Good state |  | 01 was given to another health facility |
| Otoscope 01 | store |  | Otoscope |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | Not In use (1) |
| Patient Screen 05 | Labour suite |  | Patient Screen |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use 01 |
|  | Antenatal |  | Patient Screen |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use 01 |
|  | OPD |  | Patient Screen |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use 01 |
|  | Maternity |  | Patient Screen |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use 02 |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic 02 | Laboratory |  | Refrigerator, Basic |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use 01 |
|  |  |  | Refrigerator, Basic |  | Not engraved |  | 15/6/23 |  |  |  |  |  | Not damaged |  | Not in use 01 |
| Stethoscope 04 | Store |  | Stethoscope |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | Not in use 02 |
|  | OPD |  | Stethoscope |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use 01 |
|  | Maternity ward |  | Stethoscope |  | Not engraved |  | 15/6/2023 |  |  |  |  |  |  |  | In use 01 |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher 01 | store |  | Stretcher |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Good condition |  | Not in use (1) |
| Stove, Gas | Store |  | Stove, Gas |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | Not In use (1) |
| Weighing Scale with Height Meter, Adult 02 | Maternity |  | Weighing Scale with Height Meter, Adult |  | Not engrave |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use 01 |
|  | OPD |  | Weighing Scale with Height Meter, Adult |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use 01 |
| Weighing Scale, Infant 04 | Store Maternity |  | Weighing Scale, Infant |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | Not in use 02 |
|  | OPD |  | Weighing Scale, Infant |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use 02 |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 04 | In store |  | Plastic bins |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | In good state |  | Not In use (4) |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH 01 | store |  | Diagnostic Equipment Set for MCH |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | Not In use (1) |
| Diagnostic Equipment Set for OPD 01 | store |  | Diagnostic Equipment Set for OPD |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | Not In use (1) |
| Glassware Set, Laboratory, Basic 01 | store |  | Glassware Set, Laboratory, Basic |  | Not engrave |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | Not In use (1) |
| Hollow Ware Set, Treatment 01 | store |  | Hollow Ware Set, Treatment |  | Not engraved |  | 15/6/23 |  |  |  |  |  |  |  | Not in use 01 |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture 01 | store |  | Instrument Set, Suture |  | Not engrave |  | 15/6/2023 |  |  |  |  |  |  | Not damaged | Not In use (1) |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes | Store |  | Resuscitator Manual, Adult, with all mask sizes |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | In good state |  | Not In use (1) |
| Suction Apparatus, (Electric) | Store |  | Suction Apparatus, (Electric) |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | In good state |  | Not In use (1) |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) 01 | Laboratory |  | Centrifuge (Electric) |  | Not engrave |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use (1) |
| Kangaroo Mother Care Chair 01 | Kangaroo mother ward |  | Kangaroo Mother Care Chair |  | Not engrave |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | Functiona (1) |
| Radiant Infant Warmer 01 | Labour suite |  | Radiant Infant Warmer |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | In use (1) |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light 02 | Store |  | Examination light |  | Not engraved |  | 15/6/2023 |  |  |  |  |  | Not damaged |  | Not In use (2) |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | health |  | OPD,Maternity, Laboratory, Labour suite,Antenantal,Kangaroo mother ward |  | Not engraved |  | 2023 |  |  |  |  |  | Not damaged |  | In use |
| Residential Buildings |  |  | S |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ALEKA SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. Delivery notes were obtained. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

No repairs, servicing, or replacements have been carried out on the assets provided under UgIFT. This is because the school has not yet been commissioned and is therefore not yet operational.

| 3 | Does the facility take regular record about In use ity/ or breakdown of the assets provided? NonIn use / working, and reasons for non-In use ity. |  |
| --- | --- | --- |

Not yet. The school does not currently maintain records on the In use ity or breakdown of the assets because the school has not yet been commissioned and is not operational. Regular monitoring and documentation of asset In use ity is expected to commence once the school becomes operational.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

This information was not obtained because the person that was assigned to me (Mr.Odongo Dan) was not available since he had gone to distribute  medicine to HC III and couldn't make it .te askari who was around couldn’t provide satisfactory information sincere did not know anything about the program

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: OYAM DISTRICT LOCAL GOVERNMENT……Name of SCHOOL : ALEKA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desks 121 | Classroom block |  | 3 seater desks which are wooden and varnished |  |  |  |  |  |  |  |  |  | In good condition . | Not yet in use since the school has not yet been commissioned.(121) |
| Chairs 135 | Classroom block Administration block Multipurpose building |  | Armless wooden chairs and varnished |  |  |  |  |  |  |  |  |  | In good condition . | Not yet in use since the school has not yet been commissioned.(135) |
| Laboratory stools 136 | Laboratory block |  | Round flat top with 4 straight metal bars painted black and the top is varnished. |  |  |  |  |  |  |  |  |  | In good condition . | Not yet in use since the school has not yet been commissioned.(136) |
| Tables | Administration block Classroom block Multipurpose block |  | A wooden rectangular table with rounded edges and varnished |  |  |  |  |  |  |  |  |  | In good condition . | Not yet in use since the school has not yet been commissioned and they have not finished making them. There are just metallic frames painted black of the tables in the compound. |
| Book shelves | Classroom block Administration block Ict/Library block |  | Metal frames painted black |  |  |  |  |  |  |  |  |  | In good condition . | Not yet in use since the school has not yet been commissioned. The book shelves have also not been constructed fully. (25) |
| Cupboards | Laboratory |  | Wooden and varnished with 03 rows and 3 columns |  |  |  |  |  |  |  |  |  | In good condition |  |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…… OYAM DISTRICT LOCAL GOVERNMENT……… Name of SCHOOL…ALEKA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop computer 20 | District store |  | Hp Desktop computer |  | Not engraved | 2/6/2025 |  |  |  |  |  |  | Good state | ICT equipment is not yet in use since the school has not yet been commissioned. The computers are not in use (20) |
| Server processor 01 | District store |  | D-Link 24 port PoE Gigabit Un managed switch 250 W | Server processor | Not engraved | 2/6/2025 |  |  |  |  |  |  | Good state | Not in use 01 |
| Network switch 24 port 02 | District store |  | Network switch 24 port |  | Not engraved | 2/6/2025 |  |  |  |  |  |  | Good state | Not in use 02 |
| Multipurpose printer 01 | District store |  | Hp Laser Jet Pro MFP 4103dW | Multipurpose printer | Not engraved | 2/6/2025 |  |  |  |  |  |  | Good state | Not in use 01 |
| LAN 01 | District store |  | LAN | LAN | Not engraved | 2/6/2025 |  |  |  |  |  |  | Good state | Not in use 01 |
| UPS 20 | District store |  | LW UPS 850 | UPS | Not engraved | 2/6/2025 |  |  |  |  |  |  | Good state | Not in use 20 |
| Server UPS 01 | District store |  | Server UPS | Server UPS | Not engraved | 2/6/2025 |  |  |  |  |  |  | Good state | Not in use 01 |
| Router 01 | District store |  | Router | Router |  | 2/6/2025 |  |  |  |  |  |  | Good state | Not in use 01 |
| CCTV Camera 01 | District store |  | CCTV Camera | CCTV Camera |  | 2/6/2025 |  |  |  |  |  |  | Good state | Not in use 01 |
| Air conditioner 02 | District store |  | Air conditioner | Air conditioner |  | 2/6/2025 |  |  |  |  |  |  | Good state | Not in use 02 |
| Firewall 01 | District store |  | Firewall | Firewall | Not engraved | 2/6/2025 |  |  |  |  |  |  | Good state | Not in use 01 |
| Power surge protector 08 | District store |  | Power surge protector | Power surge | Not engraved | 2/6/2025 |  |  |  |  |  |  | Good state | 10 were delivered but only 8 were found. The contractor took two and promised to bring them back on the day of installation. All 08 not In use |
| Internet connection 12 | School store |  | Internet connection | Not engraved |  | 2/6/2025 |  |  |  |  |  |  | Good state | Not In use (12). |
| Projector 01 | District store |  | Projector | Not engraved |  | 2/6/2025 |  |  |  |  |  |  | Good state | Not In use (1). Not engraved |
| Network rack cabinet 01 | District store |  | Network rack cabinet | Not engraved |  | 2/6/2025 |  |  |  |  |  |  | Good state | Not In use (1) |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG… OYAM DISTRICT LOCAL GOVERNMENT  Name of School: ALEKA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Classroom block | Non residential |  | 3 blocks each with 2 classrooms making a total of 6. |  | - |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |
| Administration block | Non residential |  | 1 block has 2 rooms, one with administrative offices and another is a staffroom. |  | - |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |
| Science laboratory | Non residential |  | 1 block having 2 labs. |  | - |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |
| Fence | Non residential |  | Concrete chain link fence |  | - |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |
| Multipurpose hall | Non residential |  | 1 block |  | - |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |
| ICT/LIB block | Non residential |  | 1 block with ICT lab and a library |  |  |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |
| Teachers houses | Residential |  | 3 blocks each with 2 rooms. |  |  |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |
| Staff kitchen | Residential |  | 3 blocks |  |  |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |
| Staff latrines | Residential |  | 3 blocks of 2 stance drainable latrines |  |  |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |
| Girls latrines | Non residential |  | 1 block of 5 stance drainable latrines. |  |  |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |
| Boys latrines | Non residential |  | 1 block of 5 stance drainable latrines. |  |  |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |
| Football pitch | Sports |  | Football pitch |  |  |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |
| Staff latrines | Non residential |  | 1 block of 2 stance drainable latrines. |  |  |  | 2025 |  |  |  |  |  | In good state | Not in use because the school has not been commissioned yet |