ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | ATURA, OYAM DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | NASSUUNA DORIS |
| Contact/ email and Telephone | 0757079068/nassuunaddiba64@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | DENIS TAWOODA BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …ATURA HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. They have an inventory book however it was last updated months ago |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility reported that it has only recently started using the UGIFT-supported assets and, at the time of the verification visit, none of the items had experienced any breakdown or required repair. Consequently, no significant maintenance or replacement needs had arisen to date.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

The facility reported that it maintains an inventory book to regularly track the movement and status of its assets. The inventory book is updated whenever an item is issued or taken from the store for use, as well as when an asset is disposed of. This provides the facility with a record of asset movements and supports monitoring of the items under its custody. Regular updating of the inventory book also helps the facility maintain accountability and keep track of the current status and location of its assets.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

According to the facility in charge, UgIFT support has contributed to improved access to and delivery of health services within the community. The availability of the supported equipment has particularly strengthened the facility’s diagnostic capacity, enabling patients to access diagnostic services closer to their communities and contributing to more timely and effective service delivery.

### Issues/Challenges

- The facility has inadequate space to accommodate all the equipment effectively. Given the space constraints, the facility recommended that some items that cannot be appropriately utilized at the facility be considered for redistribution to other health centers where they can be put to effective use.

- The UGIFT-supported assets were not engraved or marked with project-specific identification. This presents a potential accountability and security concern, as it may make it difficult to distinguish the assets from other facility equipment and could increase the risk of loss or theft.

### Notes

- The facility in-charge was not present at the time of the visit. The verification exercise was therefore conducted with the support of a facility representative who was available on site.

- The team used the facility’s inventory book as the main facility-level reference, supplemented by the available delivery notes, to support the physical verification of assets. None of the assets at the facility are engraved.

- The storekeeper was not present during the visit. Consequently, the team was unable to access and physically verify some of the assets that were reportedly kept in the store. This limited the extent of verification for items that could not be accessed at the time of the visit.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: ATURA, OYAM DISTRICT        NAME OF HEALTH FACILITY……ATURA HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 02 | maternity |  | B.P. Machine, Digital |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | In use -01 |
|  | store |  | B.P. Machine, Digital |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | Not in use 01 |
| B.P. Machine (Aneroid wall mounted) 02 | store |  | B.P. Machine (Aneroid wall mounted) |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand 02 | store |  | Bowl Stand |  |  | 16/4/26 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Counting chamber Neubauer- Improved 02 | store |  | Counting chamber Neubauer- Improved |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Cupboard Steel, Lockable 02 | Clinical room |  | Cupboard Steel, Lockable |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Chronic care room |  | Cupboard Steel, Lockable |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Drip Stand 09 | store |  | Drip Stand |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (09) |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch 02 | store |  | Examination Couch |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Examination light,LED 02 | store |  | Examination light,LED |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Glucometer 02 | laboratory |  | Glucometer |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | In use (01) |
|  | store |  | Glucometer |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | Not in use (01) |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter 01 | store |  | Height Meter |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (01) |
| Instrument Trolley 02 | store |  | Instrument Trolley |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Microscope Binocular 02 | store |  | Microscope Binocular |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Otoscope 01 | store |  | Otoscope |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (01) |
| Patient Screen 04 | store |  | Patient Screen |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (04) |
| Patient Trolley 01 | store |  | Patient Trolley |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (01) |
| Refrigerator, Basic 02 | records |  | Refrigerator, Basic |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition/functional | Not in use 02 |
| Stethoscope 04 | store |  | Stethoscope |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | Not in use 04 |
| Stop Watch 02 | laboratory |  | Stop Watch |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | store |  | Stop Watch |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Stretcher 01 | store |  | Stretcher |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Stove, Gas 01 | maternity |  | Stove, Gas |  | Not engraved | 26/4/25 |  |  |  |  |  |  | functional | in use 01 |
| Weighing Scale with Height Meter, Adult 02 | store |  | Weighing Scale with Height Meter, Adult |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Weighing Scale, Infant 02 | store |  | Weighing Scale, Infant |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Weighing Scale, Toddler 02 | store |  | Weighing Scale, Toddler |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 06 | store |  | Medical Waste Bin |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (06) |
| Wall Clock 04 | laboratory |  | Wall Clock |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Functional | In use (01) |
|  | store |  | Wall Clock |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Functional | Not in use (03) |
| Diagnostic Equipment Set for MCH 04 | store |  | Diagnostic Equipment Set for MCH |  | Not engraved | 26/4/25 |  |  |  |  |  |  | functional | Not in use (04) |
| Diagnostic 02 Equipment Set for OPD | store |  | Diagnostic Equipment Set for OPD |  | Not engraved | 16/4/25 |  |  |  |  |  |  | functional | Not in use (02) |
| Glassware Set, Laboratory, Basic 02 | store |  | Glassware Set, Laboratory, Basic |  | Not engraved | 16/4/25 |  |  |  |  |  |  | functional | Not in use (02) |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing 02 | store |  | Instrument Set, Dressing |  | Not engraved | 16/4/25 |  |  |  |  |  |  | functional | Not in use (02) |
| Instrument Set, Basic ENT 03 | store |  | Instrument Set, Basic ENT |  | Not engraved | 16/4/25 |  |  |  |  |  |  | functional | Not in use (03) |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held 02 | maternity |  | Pulse Oximeter, Hand held |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | In use 02 |
|  | store |  | Pulse Oximeter, Hand held |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | Not in use (01) |
| Bed, Adult Patient with Mattress 10 | maternity |  | Bed, Adult Patient with Mattress |  | Not engraved | 16/4/25 |  |  |  |  |  |  | functional | 7 out of 10 are in use in staff homes due to space constraints |
|  | store |  | Bed, Adult Patient with Mattress |  | Not engraved | 16/4/25 |  |  |  |  |  |  | functional | 03 not in use |
| Bed, Pediatric Patient, With Mattress 05 | store |  | Bed, Pediatric Patient, With Mattress |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Not assembled/ in good condition | Not in use (05) |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual 01 | store |  | Delivery Bed, |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Not assembled | Not in use 01 |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 02 | store |  | Oxygen Therapy Apparatus, Mininum 45L cylinder |  | Not engraved | 16/4/25 |  |  |  |  |  |  | functional | Not in use (02) |
| Resuscitator Manual, Infant, with all Mask sizes 02 | store |  | Resuscitator Manual, Infant, with all Mask sizes |  | Not engraved | 16/4/25 |  |  |  |  |  |  | - | Not in use (02) |
| Resuscitator Manual, Adult, with all mask sizes 02 | store |  | Resuscitator Manual, Adult, with all mask sizes |  | Not engraved | 16/4/25 |  |  |  |  |  |  | - | Not in use (02) |
| Suction Apparatus, (Electric) 02 | store |  | Suction Apparatus, (Electric) |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | Not in use (02) |
| Nebulizer, Ultrasonic 01 | store |  | Nebulizer, Ultrasonic |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | Not in use(01) |
| Oxygen Concentrator, Duo Flow 02 | store |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 16/4/25 |  |  |  |  |  |  | functional | Not in use 01 |
|  | store |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 26/4/25 |  |  |  |  |  |  | functional | Not in use |
| Bench 04 | maternity/labour suite reception |  | Bench |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use (04) |
|  |  |  |  |  |  | 16/4/25 |  |  |  |  |  |  |  |  |
| Disinfection Buckets 06 | maternity |  | Disinfection Buckets |  | Not engraved | 26/4/25 |  |  |  |  |  |  | Good condition | In use (04 |
|  | store |  | Disinfection Buckets |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use (04) |
| Baby Cot 05 | inpatient |  | Baby Cot |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | store |  | Baby Cot |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (04) |
| Diagnostic Equipment Set for Ward 03 | store |  | Diagnostic Equipment Set for Ward |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (03) |
| Hollow Ware Set, Ward 03 | - |  |  |  | Not engraved | 16/4/25 |  |  |  |  |  |  | - | On delivery note but not in the facility inventory |
| Instrument Set, Delivery 03 | store |  | Instrument Set, Delivery |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (03) |
| Instrument Set, Stitch Removing 03 | store |  | Instrument Set, Stitch Removing |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (03) |
| MVA Kit 04 | store |  | MVA Kit |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in use (03) |
|  | maternity |  | MVA Kit |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (01) |
| Stool, Laboratory | - |  |  |  |  | - |  |  |  |  |  |  | - | Not supplied |
| Penguin Sucker 05 | maternity |  | Penguin Sucker |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (02) |
|  | store |  |  |  | Not engraved | 16/4/25 |  |  |  |  |  |  |  | Not in use (03) |
| Fetoscope, Dopplar 02 | Clinical room |  | Fetoscope, Dopplar |  | Not engraved | 16/4/25 |  |  |  |  |  |  |  | In use 01 |
|  | maternity |  | Fetoscope, Dopplar |  | Not engraved | 16/4/25 |  |  |  |  |  |  |  | In use 01 |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric)02 | store |  | Centrifuge (Electric) |  | Not engraved | 16/4/25 |  |  |  |  |  |  |  | Not in use (02) |
| Kangaroo Mother Care Chair 01 | maternity |  | Kangaroo Mother Care Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  |  | In use (01) |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair 08 | Clinical room |  | Office Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use (2) |
|  | Chronic care room |  | Office Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use(1) |
|  | maternity |  | Office Chair |  | Not engraved | 15/4/25 |  |  |  |  |  |  | Good condition | In use(1) |
|  | records |  | Office Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use(1) |
|  | store |  | Office Chair |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | Not in us e (03 |
| Desk 03 | laboratory |  | Desk |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | maternity |  | Desk |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
|  | store |  | Desk |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Good condition | In use 01 |
| Filing Cabinet 02 | store |  | Filing Cabinet |  | Not engraved | 16/4/25 |  |  |  |  |  |  | Not assembled | Not in use (02) |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |