ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | ICHEME HEALTH CENTER III |
| Name of Local Government | ICHEME, OYAM DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | APIO RUTH |
| Contact/ email and Telephone | 0760328927 Apioruth285@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | DENIS TAWOODA BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ……ICHEME HEALTH CENTER III ………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

So far no repairs have been done or required.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

No. They do not.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Challenges

- Iceme HC III did not receive its own on-site twin staff houses (which were allocated to sibling facilities like Alira and because the new UgIFT assets expanded the facility's role to handle 24/7 maternal deliveries and admissions, the lack of immediate on-site housing means medical workers must commute. This directly contributes to staff absenteeism and delayed emergency responses during late-night medical crises, compromising the utility of the newly built maternity ward and others.

- The physical infrastructure expanded rapidly, but the human resource capacity did not keep pace. For instance, a newly built UgIFT maternity block or expanded OPD is often left under-attended because a facility might only have a fraction of the required staff (such as just two midwives to handle massive daily patient volumes). This causes the newly constructed wings to operate far below their intended utility.

- Vital clinical equipment packages such as functional high-capacity centrifuges for the new labs and reliable medical refrigerators for the vaccine storage wings have faced rolling deficits or delayed deployments, limiting the immediate diagnostic capability of the new structures.

- Battery depletion during overcast seeding because while the modern lithium-ion setups have long warranties, prolonged heavy rains and overcast weather in Northern Uganda significantly reduce solar absorption. During these consecutive cloudy days, the high energy draw from running both the laboratory equipment (centrifuges, microscope lights) and the maternity ward assets simultaneously occasionally triggers power shedding, forcing staff to choose which wing to keep online.

- The "water mismatch" for lab/maternity waste as reported by local staff is that while the buildings have electricity, the facility lacks an automated solar-powered water pumping system. Because water still has to be fetched or relies heavily on rain harvesting, keeping the newly electrified labs, latrines, and placenta pits properly sanitized remains a major daily struggle.

Recommendations

- Build a minimum of two on-site twin staff quarters. In the interim, establish a subsidized rental or transport allowance for key personnel (such as midwives) to live within an immediate radius of the facility.

- Upgrade the hybrid solar inverter and battery storage capacity to handle extended overcast days without dropping critical clinical loads and establish clear "Power-Use Protocols" prioritizing the maternity wing and laboratory diagnostics over non-essential lighting during low-solar periods.

- Integrate a high-capacity solar water pump with an elevated storage tank system directly connected to the facility's active AC solar mini-grid.

Note: The verification was done very late in the evening we were unable to take pictures as we reached the facility very late as per the itinerary.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG… ICHEME, OYAM DISTRICT……… NAME OF HEALTH FACILITY: ICHEME HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 02 | Outpatient |  | B.P. Machine, Digital |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
|  | Maternity |  | B.P. Machine, Digital |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick 01 | Outpatient |  | Bowl kick |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | In use 01 |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable 02 | Outpatient |  | Cupboard Steel, Lockable |  | Not engraved | 2020 |  |  |  |  |  |  |  |  |
|  | Maternity |  | Cupboard Steel, Lockable |  | Not engraved | 2020 |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand 01 | Laboratory |  | ESR Stand |  | Not engraved | 2020 |  |  |  |  |  |  | In good state | In use 01 |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley 01 | Maternity ward |  | Patient Trolley |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | In use 01 |
| Refrigerator, Basic 01 | Laboratory |  | Refrigerator, Basic |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | In use 01 |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas 01 | Maternity ward |  | Stove, Gas |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Weighing Scale with Height Meter, Adult 01 | Outpatient |  | Weighing Scale with Height Meter, Adult |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Weighing Scale, Infant 01 | Maternity and neonatal ward |  | Weighing Scale, Infant |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair 01 | Maternity and neonatal ward |  | Wheel Chair |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock 02 | Maternity |  | Wall Clock |  | Not engraved | 2020 |  |  |  |  |  |  | Good state and functional | In use 01 |
|  | Outpatient |  | Wall Clock |  | Not engraved | 2020 |  |  |  |  |  |  | Good state and functional | In use 01 |
| Diagnostic Equipment Set for MCH 01 | Maternity ward |  | Diagnostic Equipment Set for MCH |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing 02 | Maternity ward |  | Instrument Set, Dressing |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
|  | Store |  | Instrument Set, Dressing |  | Not engraved | 2020 |  |  |  |  |  |  | - | Not seen and not verified 01 |
| Instrument Set, Basic ENT 01 | Maternity ward |  | Instrument Set, Basic ENT |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Instrument Set, Suture 01 | Maternity ward |  | Instrument Set, Suture |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Pulse Oximeter, Hand held 02 | Maternity ward |  | Pulse Oximeter, Hand held |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
|  | store |  | Pulse Oximeter, Hand held |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | Not in use 01 |
| Bed, Adult Patient with Mattress 10 | Maternity and neonatal ward |  | Bed, Adult Patient with Mattress |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 10 |
| Bed, Pediatric Patient, With Mattress 10 | Maternity and neonatal ward |  | Bed, Pediatric Patient, With Mattress |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 10 |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 01 | Maternity and neonatal ward |  | Oxygen Therapy Apparatus, Mininum 45L cylinder |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Resuscitator Manual, Infant, with all Mask sizes 05 | Maternity |  | Resuscitator Manual, Infant, with all Mask sizes |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 02 |
| Resuscitator Manual, Infant, with all Mask sizes 05 | Store |  | Resuscitator Manual, Infant, with all Mask sizes |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | Not in use 03 |
| Resuscitator Manual, Adult, with all mask sizes 05 | Maternity |  | Resuscitator Manual, Adult, with all mask sizes |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
|  | store |  | Resuscitator Manual, Adult, with all mask sizes |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | Not in use 03 |
| Suction Apparatus, (Electric) 01 | Maternity |  | Suction Apparatus, (Electric) |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Nebulizer, Ultrasonic 01 | Maternity |  | Nebulizer, Ultrasonic |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Oxygen Concentrator, Duo Flow 02 | Maternity ward |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
|  | Store |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | Not in use |
| Bench 04 | Maternity |  | Bench |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | In use 04 |
| Disinfection Buckets 06 | Maternity ward |  | Disinfection Buckets |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 04 |
|  | store |  | Disinfection Buckets |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | Not in use 02 |
| Baby Cot 02 | Maternity ward |  | Baby Cot |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 02 |
| Diagnostic Equipment Set for Ward 02 | store |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward 02 | store |  | Hollow Ware Set, Ward |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | In use 02 |
| Instrument Set, Delivery 03 | Maternity ward |  | Instrument Set, Delivery |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | In use 01 |
|  | store |  | Instrument Set, Delivery |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Instrument Set, Stitch Removing 02 | maternity |  | Instrument Set, Stitch Removing |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | In use 01 |
|  | store |  | Instrument Set, Stitch Removing |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | Not in use 01 |
| MVA Kit 03 | Maternity ward |  | MVA Kit |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
|  | store |  | MVA Kit |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | Not in use 02 |
| Stool, Laboratory 02 | Laboratory |  | Stool, Laboratory |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | In use 02 |
| Penguin Sucker 03 | Maternity ward |  | Stool, Laboratory |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | In use 03 |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP 02 | Maternity ward |  | Bubble CPAP |  | Not engraved | 2020 |  |  |  |  |  |  | Good condition | In use 01 |
| Centrifuge (Electric) 01 | Laboratory |  | Centrifuge (Electric) |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer 01 | Maternity |  | Radiant Infant Warmer |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Haemoglobin Meter, Sahli 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair 03 | Outpatient |  | Office Chair |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
|  | Maternity |  | Office Chair |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
|  | Laboratory |  | Office Chair |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Desk 03 | Outpatient |  | Desk |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
|  | Maternity |  | Desk |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
|  | Laboratory |  | Desk |  | Not engraved | 2020 |  |  |  |  |  |  | Good state | In use 01 |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | 4-stance VIP Latrine Block |  | Non-Residential Buildings |  | - | 2020 | - |  |  |  |  |  | Good condition | In use |
|  | Laboratory block |  | Non-Residential Buildings |  | - | 2020 | - |  |  |  |  |  | Good condition | In use |
|  | Medical waste pit |  | Non-Residential Buildings |  | - | 2020 | - |  |  |  |  |  | Good condition | In use |
|  | Placenta pit |  | Non-Residential Buildings |  | - | 2020 | - |  |  |  |  |  | Good condition | In use |
| Residential Buildings | Maternity and neonatal ward |  | Residential buildings |  | - | 2020 | - |  |  |  |  |  | Good condition | In use |
|  | Outpatient block |  | Residential buildings |  | - | 2020 |  |  |  |  |  |  | Good condition | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |