ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | LANGO - NORTHERN |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | ICHEME, OYAM DISTRICT |
| VERIFIER PARTICULARS APIO RUTH |  |
| Full name |  |
| Contact/ email and Telephone | 0760328927 apioruth285@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | MR. DENIS BUDALI |
| Contact | 0779622063 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ECEME (OKWIR) HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | kkkkk |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility carries out routine repairs and maintenance on UgIFT-provided assets that can be repaired locally. For example, items such as chairs and tables are repaired when they become damaged or require maintenance. Where necessary, the facility addresses minor repairs to ensure the assets remain functional and usable.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes. The facility maintains records on the functionality and breakdown of the assets provided under UgIFT. These records help the facility monitor the condition of the assets and identify those that may require repair or maintenance.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Challenges

- Inadequate or unreliable electricity supply, which limits the operation and effective use of some of the machines and equipment provided under UgIFT.

- All assets were not engraved.

Recommendations

- Provide a reliable power supply to the facility to enable the proper operation and utilization of UgIFT-provided machines and equipment.

- Where possible, consider alternative power solutions for facilities facing persistent electricity challenges to ensure the equipment remains functional and contributes effectively to service delivery.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…ICHEME, OYAM DISTRICT…… NAME OF HEALTH FACILITY………ICHEME (OKWIR) HEALTH CENTER III…

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 02 | In store |  | B.P machine Digital |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | Not in use (2) |
| B.P. Machine (Aneroid wall mounted) 01 | Clinical room |  | B.P machine (Aneroid wall mounted) |  | Not engraved |  | 2024 |  |  |  |  |  | All in good condition | All in use 01 |
|  | OPD room |  | B.P machine (Aneroid wall mounted) |  | Not engraved |  | 2024 |  |  |  |  |  | All in good condition | All in use 01 |
| Autoclave 20 Liters.,Duo Operated 02 | Store |  | Autoclave 20 Liters.,Duo Operated |  | Not engraved |  | 2024 |  |  |  |  |  | All in good condition | All in use (2) |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable 01 | Children’s ward |  | Cupboard Steel, Lockable |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use 01 |
| Drip Stand 08 | Maternity ward |  | Drip stand |  | Not engraved |  | 2024 |  |  |  |  |  | All in good condition | In use 08 |
| ESR Stand 01 | Female ward |  | ESR Stand |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use 01 |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED 02 | Store |  | Examination light, LED |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | All are not in use 02 |
| Glucometer 03 | Maternity ward |  | Glucometer |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use (3) |
| Haemoglobin Meter, Digital 02 | store |  | Haemogdan meter, Digital |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | Not in use (2) |
| Height Meter 02 | Female ward |  | Not engraved |  |  |  | 2024 |  |  |  |  |  | Good condition | in use (2) |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular 02 | Laboratory |  | Microscope Binocular |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | in use (2) |
| Otoscope 01 | Laboratory |  | Otoscope |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | in use (2) |
| Patient Screen 06 | Female ward |  | Patient Screen |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | in use (2) |
|  | Male ward |  | Patient Screen |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | in use (2) |
|  | Maternity ward |  | Patient Screen |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | in use (2) |
| Patient Trolley 02 | Female ward |  | Patient Trolley |  | Not engraved |  | 2024 |  |  |  |  |  | In good condition | All in use (2) |
| Refrigerator, Basic 02 | OPD |  | Refrigerator for basic |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | Not in use (2) |
| Stop Watch 02 | OPD room |  | Stop watch |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use (2) |
| Stretcher 02 | OPD room |  | Stretcher |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use (2) |
|  |  |  |  |  |  |  | 2024 |  |  |  |  |  |  |  |
| Stove, Gas 02 | Store |  | Store Gas |  |  |  |  |  |  |  |  |  | Not in use | Not in use (2) |
| Weighing Scale with Height Meter, Adult 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler 01 | Store |  | Weighing Scale, Toddler |  | Not engraved | 2024 | - |  |  |  |  |  | Good condition | Not in use (1) |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin 05 | Laboratory room |  | Medical Waste Bin |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use (02) |
|  | Female ward |  | Medical Waste Bin |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use 03 |
| Wall Clock 03 | Clinical room |  | Wall Clock |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | All in use (2) |
|  | In charge room |  | Wall Clock |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use 01 |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress 10 | Female ward |  | Bed, Adult Patient with Mattress |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use 01 |
|  | Male ward |  | Bed, Adult Patient with Mattress |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use 02 |
|  | Maternity ward |  | Bed, Adult Patient with Mattress |  | Not engraved |  | 2024 |  |  |  |  |  | In good condition | In use 06 |
| Bed, Pediatric Patient, With Mattress 05 | Pediatric ward |  | Bed, Pediatric Patient, With Mattress |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | All in use (5) |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument 01 | OPD room |  | Cupboard instrument |  | Not engraved |  | 2024 |  |  |  |  |  | Good state | In use 01 |
| Delivery Bed, Hydraulic Manual | Maternity ward |  | Delivery bed hydraulic |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use (2) |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | store |  | Oxygen therapy appatus, minimum 45L cylinder |  |  |  |  |  |  |  |  |  | Good state | Not in use (1) |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) 01 | Store |  | Suction Apparatus, (Electric) |  | Not engraved | 2024 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow 01 | Store |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 2024 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Bench 04 | OPD waiting area |  | Bench |  | Not engraved | 2024 |  |  |  |  |  |  | Good condition | In use 04 |
| Disinfection Buckets 06 | Laboratory |  | Disinfection Buckets |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | All in use (02) |
|  | Maternity ward |  | Disinfection Buckets |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use 04 |
| Baby Cot 01 | Maternity ward |  | Small bed for babies |  | Not engraved |  | 2024 |  |  |  |  |  | Good state | In use (1) |
| Diagnostic Equipment Set for Ward 01 | Female ward |  | Diagnostic equipment set for ward |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use (1) |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery 01 | Maternity |  | Instrument Set, Delivery |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use (1) |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory 01 | Laboratory |  | Laboratory stool |  | Not engraved | 2024 |  |  |  |  |  |  | Good condition | All in use 01 |
| Penguin Sucker 03 | Store |  | Penguin Sucker |  | Not engraved | 2024 |  |  |  |  |  |  | Good condition | Not in use 03 |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | Kangaroo room |  | Kangaroo Mother Care Chair |  | Not engraved | 2024 |  |  |  |  |  |  | Good condition | Is in use (1) |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed 01 | Maternity ward |  | Delivery Bed |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use (1) |
| Examination light 03 | maternity ward |  | Examination light |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | Not in use (3) |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair 03 | Incharge room |  | Office chair |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | All in use (01) |
|  | Records |  | Office chair |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | All in use (01) |
|  | Laboratory |  | Office chair |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | All in use (01) |
| Desk 03 | Waiting area |  | Desk |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | All in use (01) |
|  | Clinical room |  | Desk |  | Not engraved |  | 2024 |  |  |  |  |  |  | In use 02 |
| Filing Cabinet | Laboratory |  | Filing Cabinet |  | Not engraved |  | 2024 |  |  |  |  |  | Good condition | In use (01) |
|  | OPD |  | Filing Cabinet |  | Not engraved |  | 2024 |  |  |  |  |  |  | In use 01 |
| Non Residential Buildings | - |  | Patient latrines (4 stance for male and female) |  | - | - |  |  |  |  |  |  | Good condition | In use |
|  |  |  | Placenta pit |  | - | - |  |  |  |  |  |  |  |  |
| Residential Buildings | Maternity ward |  | Maternity ward (inpatient, labor suite, postnatal) |  | - | - | 2024 |  |  |  |  |  | Good condition | In use |
|  | Staff quarters |  | 3 blocks: 2 units each, 2 stance block, kitchen |  | - | - | 2024 |  |  |  |  |  | Good condition | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |