ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | LORO, OYAM DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | NASSUUNA DORIS |
| Contact/ email and Telephone | 0757079068/nassuunaddiba64@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | DENIS TAWOODA BUDALI |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ………LORO HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. Inventory book |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility engages individuals with the appropriate technical knowledge and skills to undertake repairs and maintenance of the assets when required. According to the facility, most maintenance needs have been minimal and are addressed as they arise to keep the assets functional.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

The facility reported that it does not maintain regular and comprehensive records specifically documenting the functionality or breakdown of the assets. However, the inventory book is used to record the status of the assets, with updates made periodically as needed. The records are subsequently reviewed and signed by the facility in charge to confirm the information documented.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

According to the facility staff, UgIFT support has contributed positively to service delivery in the area in several ways:

- The facility reported a high patient turnout, which they attributed partly to its location within a trading center and its status as a Health Centre III. The availability of improved equipment has supported the facility in responding to the needs of the growing number of patients seeking services.

- The support has increased the facility’s capacity to conduct diagnoses by providing additional equipment required for patient assessment and diagnosis. This has reduced reliance on limited equipment and strengthened the facility’s ability to identify and manage patients’ health needs.

### Issues/Challenges

- The facility raised concerns regarding the suitability and quality of some of the items provided. For example, some of the tables supplied were reportedly not well suited to the hospital working environment. This may affect their usability and ability to adequately support routine service delivery.

- None of the assets at this facility are engraved

### Recommendation

- Future procurement should place greater emphasis on the suitability, quality, durability, and functionality of equipment within the intended health facility setting. Where possible, end-user facilities should be consulted during specification and procurement to ensure that items supplied are appropriate for the working environment and service needs.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…LORO, OYAM DISTRICT                                  NAME OF HEALTH FACILITY……LORO HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated 02 | MCH |  | Autoclave 20 Liters.,Duo Operated |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | MCH |  | Autoclave 20 Liters.,Duo Operated |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand 03 | maternity |  | Bowl Stand |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | ward |  | Bowl Stand |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | store |  | Bowl Stand |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand 08 | maternity |  | Drip Stand |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | General ward |  | Drip Stand |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | store |  | Drip Stand |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 06 |
| ESR Stand 01 | Laboratory |  | ESR Stand |  | Not engraved | 2022 |  |  |  |  |  |  | Functional | In use 01 |
| Examination Couch 02 | General ward |  | Examination Couch |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | 01 couch was sent to Adyedda HC III |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer 02 | Laboratory |  | Glucometer |  | Not engraved |  |  |  |  |  |  |  | Functional | In use 01 |
|  | store |  | Glucometer |  | Not engraved |  |  |  |  |  |  |  | Not functional | Not in use 01 |
| Haemoglobin Meter, Digital 02 | MCH |  | Haemoglobin Meter, Digital |  | Not engraved |  |  |  |  |  |  |  | Not functional | Not in use 01 |
|  | Laboratory |  | Haemoglobin Meter, Digital |  | Not engraved |  |  |  |  |  |  |  | Not functional | Not in use 01 |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular 02 | Laboratory |  | Microscope Binocular |  | Not engraved | 2025 |  |  |  |  |  |  | Functional | Redistributed to Abela HC III |
| Otoscope 01 | Store |  |  |  |  |  |  |  |  |  |  |  | Good condition | Not in use 01 |
| Patient Screen 04 | General ward |  | Patient Screen |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | MCH |  | Patient Screen |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use 01 |
|  | Store |  | Patient Screen |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use (02) |
| Patient Trolley 01 | Genral ward |  | Patient Trolley |  | Not engraved | 2022 |  |  |  |  |  |  | functional/good condition | In use 01 |
| Refrigerator, Basic 02 | Laboratory |  | Refrigerator, Basic |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use 01 |
|  | Staff quarters |  | Refrigerator, Basic |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. Kept at the staff quarters due to renovations at the HC 01 |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher 02 | Power room |  | Stretcher |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use 01 |
|  | store |  | Stretcher |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use 01 |
| Stove, Gas 01 | Power room |  | Stove, Gas |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Weighing Scale with Height Meter, Adult 01 | maternity |  | Weighing Scale with Height Meter, Adult |  | Not engraved | 2022 |  |  |  |  |  |  | functional/in good condition | In use 01 |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair 02 | Maternity ward |  | Wheel Chair |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | store |  | Wheel Chair |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Audio Visual Equipment 01 | MCH Triage |  | Audio Visual Equipment |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Medical Waste Bin 06 | All departments |  | Medical Waste Bin |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 06 |
| Wall Clock 03 | maternity |  | Wall Clock |  | Not engraved | 2022 |  |  |  |  |  |  | Functiona | In use 01 |
|  | ANC |  | Wall Clock |  | Not engraved | 2022 |  |  |  |  |  |  | Functional | In use 01 |
|  | Laboratory |  | Wall Clock |  | Not engraved | 2022 |  |  |  |  |  |  | Not functional | Spoilt 01 |
| Diagnostic Equipment Set for MCH 01 | MCH |  | Diagnostic Equipment Set for MCH |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | Set is dismantled (not fully in use) 01 |
| Diagnostic Equipment Set for OPD 01 | OPD |  | Diagnostic Equipment Set for OPD |  |  | 2022 |  |  |  |  |  |  | Good condition | Set is dismantled (not fully in use) 01 |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing 01 | Store |  | Instrument Set, Dressing |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | Set is dismantled (not fully in use 01 |
| Instrument Set, Basic ENT 01 | Store |  | Instrument Set, Basic ENT |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | Set has few instruments 01 |
| Instrument Set, Suture 01 | Store |  | Instrument Set, Suture |  |  | 2022 |  |  |  |  |  |  | Good condition | Set is dismantled (not fully in use 01 |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress 10 | Wards, T/C store |  | Bed, Adult Patient with Mattress |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | 1 to Adyedda HC III 2 to Adigo HC III 07 in use |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 01 | Maternity |  | Oxygen Therapy Apparatus, Mininum 45L cylinder |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Resuscitator Manual, Infant, with all Mask sizes 03 | maternity |  | Resuscitator Manual, Infan |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 03 |
| Resuscitator Manual, Adult, with all mask sizes 03 | store |  | Resuscitator Manual, Adult, with all mask sizes |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | Not in use 03 |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic 01 | store |  | Nebulizer, Ultrasonic |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Oxygen Concentrator, Duo Flow 01 | maternity |  | Oxygen Concentrator, Duo Flow |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot 05 | maternity |  | Baby Cot |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 02 |
|  | store |  | Baby Cot |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | Not in use 03 |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit 03 | Clinical room |  | MVA Kit |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | MCH |  | MVA Kit |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | store |  | MVA Kit |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker 03 | MCH |  | Penguin Sucker |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 03 |
| Fetoscope, Dopplar 02 | MCH |  | Fetoscope, Dopplar |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | All in use (02) |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) 01 | Laboratory |  | Centrifuge (Electric) |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Kangaroo Mother Care Chair 01 | maternity |  | Kangaroo Mother Care Chair |  |  | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed 10 | MCH |  | Delivery Bed |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 10 |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk 04 | General ward |  | Desk |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Labour suite |  | Desk |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | Counselling room |  | Desk |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | In use 01 |
|  | store |  | Desk |  | Not engraved | 2022 |  |  |  |  |  |  | Good condition | Not in use 01 |
| Filing Cabinet | Store |  | Filing cabinet |  |  | 2022 |  |  |  |  |  |  | Good Condition | 3 in store |
| Non Residential Buildings | Pit latrines (patients) |  | 3-stance pit latines |  | Not engraved |  |  |  |  |  |  |  | Good condition | 1 block (3 stance) in use |
| Residential Buildings | Maternity block |  | Maternity ward |  | Not engraved |  |  |  |  |  |  | - | Good condition | In use 01 |
|  | Staff houses |  | Staff houses |  | Not engraved |  |  |  |  |  |  |  | Good condition | 3 blocks (2 units each) In use |
| Projector 01 | store |  | Projector |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use (01) |
| Inverters 01 | Power room |  | Inverters |  | Not engraved |  |  |  |  |  |  |  | Bad condition | In use (01) |
| Fire extinguishers 03 | MCH |  | Fire extinguishers |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use (03) |
| Bed pans 08 | Store |  | Bed pans |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use (08) |
| Urinals 08 | Store |  | Urinals |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use (08) |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |