ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Northern Region |
| --- | --- |
| SUB-REGION: | Lango Sub- Region |
| Name of Local Government | Apac Local Government |
| VERIFIER PARTICULARS |  |
| Full name | Namono Shirley Mercy |
| Contact/ email and Telephone | 0761805490 |
| Supervisor/ Sub team leader | SUPVERVISOR |
| Name | MR DENIS |
| Contact | 0779622063 |
| Date of submission | 07th September 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KIDILANI HEALTH CENTER II…………………………………………

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

This facility maintains the assets provided under Ugift by repairing them themselves or getting help from the Local government.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | yes |
| --- | --- | --- |

Yes, this facility takes regular record about functionality or breakdown of the assets provided.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Ugift has greatly helped in service delivery in this area but some of the challenges include;

- Inadequate staff quarters since there are only two rooms available which can not accommodate most of the staff.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG:…APAC LOCAL GOVERNMENT…… NAME OF HEALTH FACILITY: …KIDILANI HEALTH CENTER II……………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (1) | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | In use | Good working condition |
| Autoclave 20 Liters.,Duo Operated (1) | Health |  | Steel, grey in color |  | Not engraved |  |  |  |  |  |  |  | In use | Good working condition |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved (2) | Health |  | White colour, rectangle |  | Not engraved |  |  |  |  |  |  |  | In use | Good working condition |
| Cupboard Steel, Lockable (2) | Health |  | Gey in colour, metallic |  | KID HC III/CSL/01 |  |  |  |  |  |  |  | In use | Good working condition |
| Drip Stand (3) | Health |  | Grey in colour |  | Not engraved |  |  |  |  |  |  |  | Three in use and 3 are not | Some in good condition |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch (3) | Health |  | Black and white colour |  | KID HCIII/EXC/O3 |  |  |  |  |  |  |  | In use | 1 not in use and others good condition |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  | White colour |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Haemoglobin Meter, Digital |  |  | Black and red colour |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Height Meter (3) | Health |  | White in colour |  | Not engraved |  |  |  |  |  |  |  | In use | All in good condition |
| Instrument Trolley (6) | Health |  | Grey in colour |  | Not engraved |  |  |  |  |  |  |  | In use | All in good condition |
| Microscope Binocular (2) | Health |  | White and black colour |  | Not engraved |  |  |  |  |  |  |  | 1 in use | 1 spoilt |
| Otoscope | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (4) | Health |  | Blue in colour |  | KID/ HC III/PS/01 |  |  |  |  |  |  |  | In use | Good condition |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic (1) | Health |  | White colour |  | KID HCIII/FR/01 |  |  |  |  |  |  |  | In use | Good working condition |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas (1) | Health |  | Black colour |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Weighing Scale with Height Meter, Adult (1) | Health |  | White colour |  | Not engraved |  |  |  |  |  |  |  | spoilt | Bad condition |
| Weighing Scale, Infant(1) | Health |  | White colour |  | KID HC III/ CWS/ 04 |  |  |  |  |  |  |  | spoilt | Bad condition |
| Weighing Scale, Toddler (1) | Health |  | White |  | Not engraved |  |  |  |  |  |  |  | Not in use | Spoilt |
| Wheel Chair (2) | Health |  | Black colour |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin(3) | Health |  | Grey colour |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Wall Clock (3) | Health |  | Grey colour, round |  | KID HC III/ WC/03 |  |  |  |  |  |  |  | In use | Good condition |
| Diagnostic Equipment Set for MCH(3) | Health |  | Grey colour |  | Not engraved |  |  |  |  |  |  |  | In use | God condition |
| Diagnostic Equipment Set for OPD(2) | Health |  | Grey colour |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Glassware Set, Laboratory, Basic (2) | Health |  | Glass |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT (1) | Health |  | Grey, steel |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (2) | Health |  |  |  | HC III/OX/01 |  |  |  |  |  |  |  | In use | Good condition |
| Bed, Adult Patient with Mattress (10) | Health |  | White colour |  | KID PBA/ HC II/ 02 |  |  |  |  |  |  |  | In use | Good condition |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker (5) | Health |  | Grey in colour |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual (1) | Health |  | Black colour |  | KID HC III/ DP/01 |  |  |  |  |  |  |  | Not in use | Broken |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) (1) | Health |  | White colour |  | KID HC III/ SUC/01 |  |  |  |  |  |  |  | Not in use | Mechanical break down |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow (1) | Health |  | White colour |  | KID HCIII/ OC/01 |  |  |  |  |  |  |  | In use | Good condition |
| Bench (7) | Health |  | Brown colour |  | KID HCIII/BEN/01[ |  |  |  |  |  |  |  | In use | Good condition |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot (2) | Health |  | Grey colour, steel |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker (3) | Health |  | White colour, plastic |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  | White and black colour |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (1) | Health |  | Black colour |  | KID HC III/ DP/01 |  |  |  |  |  |  |  | Not in use | Broken |
| Examination light (4) | Health |  | Black colour |  | KID HC III/ LT/01 |  |  |  |  |  |  |  | In use | Good condition |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal (2) | Health |  | Green colour |  | Not engraved |  |  |  |  |  |  |  | I in use | I spoilt |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (6) | Health |  | Black colour |  | KID HC III/CH/06 |  |  |  |  |  |  |  | In use | Good condition |
| Desk (3) | Health |  | Brown colour |  | KID HC III/ TAB/ 01 |  |  |  |  |  |  |  | In use | Good condition |
| Filing Cabinet (6) | Health |  | Grey colour |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Non Residential Buildings | Health |  | Cream and orange colour, (1)Placenta pit, (2)toilets, (1)maternity ward |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |
| Residential Buildings | Health |  | (1)Staff quarters Cream and orange colour |  | Not engraved |  |  |  |  |  |  |  | In use | Good condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school……AKWON SEED SCHOOL…………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

This facility is still under construction and all the assets that have been provided are still new and have not yet been used.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | YES |
| --- | --- | --- |

Yes, but it is still under construction and has not been operated yet.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Ugift has greatly provided support in the area and has no challenges at the moment.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG……AMOLATAR LOCAL GOVERNMENT…… Name of SCHOOL………AKWON SEED SCHOOL…………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Softwood pinboards | Education |  | Brown colour |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |
| (88) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Inbuilt shelves (16) | Education |  | Brown colour |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |
| Desks (120) | Education |  | Brown colour |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |
| Tables (133) | Education |  | Brown colour |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |
| Lockable shelves (15) | Education |  | Brown colour |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |
| Book shelves (19) | Education |  | Brown colour |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |
| Stools(124) | Education |  | Brown colour |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG……………AMOLATAR LG…………………… Name of SCHOOL…………AKWON SEED SCHOOL……………….……………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Toilets (4) | Education |  | Yellow colour |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |
| Water tanks(2) | Education |  | Black |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |
| Administration block (1) | Education |  | Cream and brown |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |
| Staff quarters (2) | Education |  | Cream and brown |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |
| Science laboratory (1) | Education |  | Cream and brown |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |
| Classroom(3) | Education |  | Cream and brown |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |
| Multi-purpose hall(1) | Education |  | Cream and brown |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good |