ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | LANGO |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | KWANIA |
| VERIFIER PARTICULARS |  |
| Full name | MUYOBYA EPHRAIM |
| Contact/ email and Telephone | rubumbephraim@gmail.com +256700589049 |
| Supervisor/ Sub team leader |  |
| Name | DENIS BUDALI |
| Contact | O779622063 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …………OWINY HEALTH CENTRE III……………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- It has improved on health service delivery.

- It has helped the facility to perform minor procedures.

- The facility can now do sterilization with the help of some machines got from UGIFT.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………KWANIA………………………………… NAME OF HEALTH FACILITY…Kwania Owinyi HCIII………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  |  |  |  |  |  |  |  |  |  |  |  | Do not have B.P machine digital |
| B.P. Machine (Aneroid wall mounted) (2) | Health | 009-INV-0636 | Black | 56 |  | 29/12/21 | 15/01/22 |  | 202789 each |  |  |  | Not functioning | All the wall mount B.P machines are not functionining |
| Autoclave 20 Liters.,Duo Operated (2) | Health | 009-INV-0638 | Stainless steel | 56 |  |  |  |  |  |  |  |  | It’s in good condition | The facility received autoclaves, one in use and the other still in store. |
| Bowl, Kick | Health |  | Stainless steel | 56 |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved | Health |  |  | 56 |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable 6 | Health |  | Cream in color | 56 |  |  |  |  |  |  |  |  | In Good conditions | They received 6 lockable cupboards, all are in use |
| Drip Stand 9 | Health |  | Stainless and black | 56 |  |  |  |  |  |  |  |  | They are not in good functioning conditions | They received 9 and 6 are not functioning. |
| ESR Stand | Health | BLLP2 | White in color | 56 |  |  |  |  |  |  |  |  | In use |  |
| Examination Couch 4 | Health |  | Black and cream in color | 56 |  |  |  |  |  |  |  |  | Still looking good | The facility has 4 couches and are all in use |
| Examination light,LED 3 | Health |  | Black in color | 56 |  |  |  |  |  |  |  |  | Not in good condition | Received 3 and all are in use |
| Glucometer 2 | Health |  | Black in color | 56 |  |  |  |  |  |  |  |  | Not in use | Received 2 Glucometers but not in use because the strips got finished and getting them is not easy. |
| Haemoglobin Meter, Digital 3 | Health | 310030 | White in color | 56 |  |  |  |  |  |  |  |  | In use |  |
| Height Meter 2 | Health |  | White | 56 |  |  |  |  |  |  |  |  | Not in use | They received 2 and all are broken |
|  | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley 4 | Health |  | Stainless steel | 56 |  |  |  |  |  |  |  |  | good | All are in use |
|  | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular 1 | Health |  | Black and white | 56 |  |  |  |  |  |  |  |  | Good | Received one and its in use |
|  | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope 1 | Health |  | White | 56 |  |  |  |  |  |  |  |  | Good working condition |  |
|  | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen 5 | Health |  | White in color | 56 |  |  |  |  |  |  |  |  | Looks new | Received 5 patient screens and all are in use |
|  | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley 1 | Health |  | Stainless steel | 56 |  |  |  |  |  |  |  |  | Still good | Only received 1 and is in use |
| Refrigerator, Basic 2 | Health |  | White in color | 56 |  |  |  |  |  |  |  |  | They are still good | They received and all are in use |
| Stethoscope 8 |  |  | Black | 56 |  |  |  |  |  |  |  |  | Very good | The hospital got 8 of them and 6 are only in use and 2 are in store |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher 2 | Health |  | Cream in color | 56 |  |  |  |  |  |  |  |  | Not good looking | 2 stretchers but all are spoiled though still in use |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult 2 | Health |  | White and pink color | 56 |  |  |  |  |  |  |  |  | Not in use | 2 were received but all are not functioning |
| Weighing Scale, Infant 2 | Health |  | White in color | 56 |  |  |  |  |  |  |  |  | In good use | Received 2 and all are in use |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair 4 | Health |  | black | 56 |  |  |  |  |  |  |  |  | Not in good condition | 4 wheel chairs received and working |
| Audio Visual Equipment 1 | Health |  | black | 56 |  |  |  |  |  |  |  |  | In use | Only received 1 |
| Medical Waste Bin 20 | Health |  | Stainless steel | 56 |  |  |  |  |  |  |  |  |  | Got 20 and all in use |
| Wall Clock 4 | Health |  | White in color | 56 |  |  |  |  |  |  |  |  | Good looking | Got 4 and all working |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD 2 | Health |  | White | 56 |  |  |  |  |  |  |  |  | Good | Got 2 all working |
| Glassware Set, Laboratory, Basic 2 | Health |  | whiite | 56 |  |  |  |  |  |  |  |  | Good | 2 boxes received all in use |
| Hollow Ware Set, Treatment 6 | Health |  |  | 56 |  |  |  |  |  |  |  |  | seen | They received 6 sets and all are use |
| Instrument Set, Dressing 6 | Health |  |  | 56 |  |  |  |  |  |  |  |  | Still looking good | 6 sets all are working |
| Instrument Set, Basic ENT 1 | Health |  |  | 56 |  |  |  |  |  |  |  |  |  | 1 set of ENT and it is used up |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held 2 | Health |  |  | 56 |  |  |  |  |  |  |  |  |  | 2 Oximeter and all working |
| Bed, Adult Patient with Mattress 10 | Health |  | Blue and cream in color | 56 |  |  |  |  |  |  |  |  | Good in use | 10 beds got and all in use |
| Bed, Pediatric Patient, With Mattress 4 | Health |  | Color white | 56 |  |  |  |  |  |  |  |  | Good | 4 beds got and all in use |
| Bedside Locker 10 | Health |  | Light grey color | 56 |  |  |  |  |  |  |  |  | Good | 10 side lockers all in use |
| Cupboard, Instrument 1 | Health |  | Grey in color | 56 |  |  |  |  |  |  |  |  | Good | Got 1 cup board and it’s in use |
| Delivery Bed, Hydraulic Manual 1 | Health |  | Blue and white | 56 |  |  |  |  |  |  |  |  | Good | Received 1 delivery bed and in use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 2 | Health |  | Red color | 56 |  |  |  |  |  |  |  |  | Still good | 2 cylinders and all in use |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) 1 | Health |  | Black color | 56 |  |  |  |  |  |  |  |  | Not in use | The asset is still in store because there is an old one in use which is not a UGIFT asset. |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow 2 | Health |  | White color | 56 |  |  |  |  |  |  |  |  |  | Received 2 cylinders, all in use |
| Bench 3 | Health |  | Coffee brown color | 56 |  |  |  |  |  |  |  |  | Good looking | 3 benches and all in use |
| Disinfection Buckets | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot 2 | Health |  | Stainless steel | 56 |  |  |  |  |  |  |  |  | Good looking | 2 received and working |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward 2 | Health |  |  | 56 |  |  |  |  |  |  |  |  |  | They received 2 sets. One in use and the other in store |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit 5 | Health |  |  | 56 |  |  |  |  |  |  |  |  | Good | 5 sets received and all in use |
| Stool, Laboratory 3 | Health |  |  | 56 |  |  |  |  |  |  |  |  | Nice | 3 received and all in use |
| Penguin Sucker 3 | Health |  |  | 56 |  |  |  |  |  |  |  |  | Not good looking | 3 sucker received and only 1 functioning |
| Fetoscope, Dopplar 2 | Health |  | Stainless and black | 56 |  |  |  |  |  |  |  |  | Good | Received 2 and all in use |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) 1 | Health | CNT-12A | Black and white | 56 |  |  |  |  |  |  |  |  |  | In use |
| Kangaroo Mother Care Chair | Health |  | Brown and white | 56 |  |  |  |  |  |  |  |  | Not in use | One broken down Kangarooo |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed 1 | Health |  | Black | 56 |  |  |  |  |  |  |  |  | Good | Received 1 bed and in use |
| Examination light 3 | Health |  | Black | 56 |  |  |  |  |  |  |  |  |  | 3 exam light and not in good working conditions |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal 15 | Health |  |  | 56 |  |  |  |  |  |  |  |  |  | 15 packets were received and most them still in store |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair 7 | Health |  | Black | 56 |  |  |  |  |  |  |  |  |  | Got 7 office chairs only 1 not in good condition |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | Health |  | Cream and orange painted | 56 |  |  |  |  |  |  |  |  |  | The facility has one complete structure/building, 1 pit latrine and 1 placenta pit |
| Residential Buildings | Health |  | Cream and orange painted | 56 |  |  |  |  |  |  |  |  |  | 1 staff quarters and a kitchen |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ……………………AROCHA SEED SECONDATY SCHOOL…………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG……APAC DISTRICT…………Name of SCHOOL…AROCHA  SEED SECONDARY……………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………… ……………………………………… Name of ……………………….……

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG……APAC MUN……………………………………………………Name of SCHOOL…AROCHA SEED SEC SCHOOL……………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |