ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bugisu |
| Name of Local Government | Bududa District |
|  | Bududa District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bubungi HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes with no cost, but with numbers. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | 17/09/2023, 147 Qty / 62 Items as an Issue Voucher indicate. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift If equipment is not expensive, the in-charge purchases on her behalf. Cleaning is by damp dusting, for example the weighing scale. For faulty equipment, the in-charge repairs using PHC funds. Community personnel such as Defence / LC1 report cases or damage through the suggestion box, for example when a weighing scale is spoilt or stolen. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, a regular record on functionality is taken, but there is not enough evidence of this in the form of a written document. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has helped in provision of beds where patients rest; provision of MCH equipment such as delivery sets that ease work, and some help in identifying risks, for example the B.P. machine; and reduction of the spread of infection to patients through provision of plastic buckets. Job opportunities are provided to cleaners, cooks and gate keepers because of facilities put forward by UgIFT. Presence of oxygen cylinders from UgIFT has enabled saving of patients' lives through oxygen supply to critically ill clients. Challenges: some equipment arrives already broken because the roads are rugged; there is no electricity, so the centrifuge is unused; assets have stayed long without being used; staff have not been trained to use the equipment; the solar batteries are down; the plywood ceiling in the maternal and postnatal wards is peeling and sheds dust; storage is poor, all unused assets sharing one room though space exists elsewhere. Recommendations: cement and plaster the MCH ceiling rather than wood; make the floors terrazzo; fence the facility for the safety of the equipment; replace or maintain the solar batteries. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bududa District        NAME OF HEALTH FACILITY: Bubungi HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | O.P.D / M.C.H |  | Has an electronic upper arm |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (2) | M.C.H |  | Has a hand bulb pump |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated (1) | M.C.H ward |  | Steam steriliser tool |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick (1) | M.C.H |  | Stainless with bucket |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  | Basin like stainless tool |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved (2) | Laboratory |  | Has a glass microscope |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable (2) | Office of Incharge |  | Has swing doors |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand (8) | M.C.H / Post natal ward |  | Hooked made for bottle holding |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand (1) | Laboratory |  | Aligned vertically |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch (2) | O.P.D / Maternal ward |  | Made of height adjustable |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED (2) | M.C.H |  | With head light component |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer (2) | Laboratory |  | Striped with lancets |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital (2) | Laboratory |  | Hand handled with specs |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (1) | O.P.D / M.C.H |  | Fixed with headpiece |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley (1) | O.P.D / M.C.H |  | Movable with rails wheels |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular (1) | Laboratory |  | Ocular lens made |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope (1) | O.P.D / Store |  | Handheld with lens |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (4) | Post natal ward / M.C.H |  | Standing curtains |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley (1) | Labour suit |  | Made of casters |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic (1) | Office in charge |  | Has double door |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope (4) | M.C.H / Post natal ward |  | Has stern valve |  |  |  |  |  |  |  |  |  |  | Description reading of stern / stem valve is soft. |
| Stop Watch (2) | M.C.H |  | Reset / pause featured |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (1) | M.C.H / O.P.D |  | Wheeled gurney |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas (1) | Laboratory |  | Has a cooktop |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult (2) | O.P.D |  | Has meter reading feature |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant (2) | O.P.D |  | Stainless with bag |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler (2) | O.P.D |  | Stainless tray movable |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | M.C.H / O.P.D |  | Has a rest arm |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  | 00 written in the count and description columns. |
| Medical Waste Bin | M.C.H |  | Made of pedals / metallic |  |  |  |  |  |  |  |  |  |  | N/R written in the count column. |
| Wall Clock (4) | O.P.D / Post natal |  | Decorative mounted on wall |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH (2) | M.C.H |  | Has surgical scoped tool |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD (2) | O.P.D |  | Triage pack set |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic (2) | Laboratory |  | Silicate made |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment (3) | M.C.H |  | Container with tools |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing (2) | O.P.D |  | Sterile tools |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT (3) | O.P.D |  | Has mirrors |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture | O.P.D |  | Scalp made |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (2) | M.C.H |  | Plastic finger reader |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress (10) | Maternal and child health ward |  | Adjustable with rails, movable |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress (5) | M.C.H |  | Adjustable |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker | Post natal ward |  | Has lockers wooden |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument (1) | M.C.H |  | Glassy made with key locker |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual (1) | Labour suit |  | Has foot pump |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (1) | Store |  | Made of tubes |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes (2) | Labour suit |  | Handheld with bag reservoir valve |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes (2) | Labour suit |  | Handled with reservoir |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) (2) | Laboratory |  | Battery operated electronically |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic (1) | Laboratory |  | Chargeable with battery |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow (4) | Store / Post natal ward |  | Medical tool chargeable |  |  |  |  |  |  |  |  |  |  |  |
| Bench (4) | O.P.D |  | Wood made with covers |  |  |  |  |  |  |  |  |  | Available and in use in good |  |
| Disinfection Buckets (6) | Maternity ward |  | Plastic made for linen treatment |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot (5) | MCH |  | Made with mattress |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward (3) | M.C.H |  | Scoped with equipments |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward (3) | M.C.H ward |  | Surgical tools |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery (2) | Labour suit |  | Stainless medical tool |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing (2) | Ward / O.P.D |  | Has scissors needle |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit (2) | Labour suit |  | Made of valve and hand held |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory (1) | Laboratory |  | Rolling / movable |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker (2) | Labour suit |  | Plastic made with carry handle |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Doppler (2) | Maternity |  |  |  |  |  |  |  |  |  |  |  |  | Item description on the page is too soft to settle. |
| Bubble CPAP (2) | M.C.H |  | Surgical tools made of timber |  |  |  |  |  |  |  |  |  |  | Description wording on the page is odd for this item. |
| Centrifuge (Electric) (2) | Laboratory |  | New control panel |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair (1) | Labour suit |  | Castor made |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  | 00 written in the count column. |
| Haemoglobin Meter, Sahli | Laboratory |  | Has stirring rod, glass |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (1) | Antenatal ward / Labour suit |  |  |  |  |  |  |  |  |  |  |  |  | Handwritten addition on the penguin-to-cheatle page. |
| Examination light (2) | Labour suit |  | Covered with macintosh stainless |  |  |  |  |  |  |  |  |  |  | Handwritten addition on the penguin-to-cheatle page. |
| Instrument set, ENT Basic for HCIII (3) | O.P.D / Maternity Postnatal ward |  | Basic surgery equipment with mirror |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal (2) | Labour suit |  | Hand handled with inflating bag |  |  |  |  |  |  |  |  |  |  | Handwritten Ambu Bag line on the ENT-to-desk page. |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | N/R written in the count column. |
| Office Chair (4) | Office in charge / M.C.H |  | Adjustable with mesh back |  |  |  |  |  |  |  |  |  |  | Page also labels the line Swivel chair. |
| Desk (3) | O.P.D |  | Flat work space |  |  |  |  |  |  |  |  |  |  | Page also labels the line Office desks; NR appears beside the count. |
| Filing Cabinet (2) | O.P.D / M.C.H |  | Metallic with multiple drawers |  |  |  |  |  |  |  |  |  | Available and kept in store |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings - staff quarters (7) | Shelter / house houses |  | 2 stance building |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings - toilets / latrine Masonry pit (3) | General use / staff |  |  |  |  |  | Opened in the month of October 2025 |  |  |  |  |  | Assets are available and used in good condition | Assets are not engraved / named by UgIFT |
| Mid Upper Arm Tape (4) | M.C.H |  | 6-59 months instrument equipment |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bududa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bududa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bududa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The region line on the page reads Bugisu Eastern Region. Structured output uses Eastern as the region and Bugisu as the sub-region; the sub-region field on the page is filled with Mangiya, Bunabutiti Sub County, Bubungi Parish instead.

- Programme sources name Bubungi HC II. Structured output records Bubungi HC III, with programme alias Bubungi HC II.

- The supervisor line on the page reads Mr Luminsa Kassim (variants Lumunsa / Luminia appear elsewhere); the contact line reads about 0783725419 / 0702806116. Filled toolkit output uses Kassim Luminsa / +256 702 806116 per RULES.md 3.15.

- Date of submission is blank in structured output per RULES.md 3.15.

- The hand-filled Asset Number cells are quantity counts. They are carried into the item name where clear and left blank in the Asset Number column.

- Grouped Date Placed in Service entries on the right-hand pages mix 17.09.23 and 17.09.25 and are too soft to assign to each line with confidence, so they are left blank except where a buildings line carries its own clear note.

- Grouped Equipment status / Remarks entries on the right-hand pages are often written across several lines and are left blank where they cannot be paired safely to a single schedule row.

- Instrument tray and Marker Tape printed lines on the ESR-to-patient-trolley spread have no clear hand fill and are not carried.

- Kidney dish and Kidney dish basin printed lines at the top of the bedside-locker-to-bench spread are not clearly filled; only a soft fragment description (about cushions / cases) appears above Bedside Locker, so those printed lines are not carried as separate schedule rows.

- Vaginal speculum (Cusco) on the disinfection-buckets page has no clear hand fill and is not carried.

- Bowl, lotion; Bed pans; Male urinal; Female urinal; and Cheatle jar on the penguin-sucker page are not clearly filled; handwritten Delivery Bed and Examination light lines are carried instead.

- Drawing pin and Bowl, lotion printed lines on the ENT-to-desk page are not carried; handwritten Bag Valve mask (Ambu Bag), Neonatal and Incubator lines are carried instead.

- N/R or 00 appears in the count column for Audio Visual Equipment; Medical Waste Bin; Radiant Infant Warmer; and Incubator, so no quantity is carried into those item names. Wheel Chair; Bowl Stand; Instrument Set, Suture; Bedside Locker; and Haemoglobin Meter, Sahli also lack a clear count.

- Staff quarters carries count 07 beside a description reading 2 stance building; both are kept as written.

- Asio Miriam's telephone digit on the cover may read 0784893786 or 0784898786; structured output uses 0784893786 to match the team contact used on other Team 14 covers.