ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Elgon |
| Name of Local Government | Bududa District |
|  | Bududa District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bumusi HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. The health centre holds the inventory list of items delivered to it. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift The health centre holds the inventory list of items delivered to it and works from that record. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. The facility keeps a record of functionality through its loose minutes. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Challenges: poor security, the facility is not fenced, so the community encroaches on the property and on services such as the water and the pit latrines. There is no electricity, and the solar cannot last a night. The structures are of low quality; the ceiling of the facility is already cracked and threatens life. Structures are limited and the water system is not linked up. Recommendation: fence the facility. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bududa District        NAME OF HEALTH FACILITY: Bumusi HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (4) | OPD and MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| B.P. Machine (Aneroid wall mounted) (1) | OPD and MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Autoclave 20 Liters.,Duo Operated (2) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Bowl, Kick (2) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Bowl Stand (3) |  |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Counting chamber Neubauer- Improved (2) | Laboratory |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Cupboard Steel, Lockable (6) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Drip Stand (15) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| ESR Stand (2) |  |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Examination Couch (4) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Examination light,LED (3) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Glucometer (2) | Laboratory |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Haemoglobin Meter, Digital | Laboratory |  |  |  |  |  | 2024 |  |  |  |  |  |  | A dash is written in the count column. |
| Height Meter (2) | OPD and MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Instrument Trolley (4) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Microscope Binocular (2) | Laboratory |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Otoscope (1) |  |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Patient Screen (5) | Laboratory |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Patient Trolley (1) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Refrigerator, Basic (3) | General |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Stethoscope (8) | OPD and MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Stop Watch (1) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Stretcher (2) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Stove, Gas (2) | Kitchen |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Weighing Scale with Height Meter, Adult (3) | OPD / MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Weighing Scale, Infant (2) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Weighing Scale, Toddler (1) | OPD and MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Wheel Chair (4) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Audio Visual Equipment | Laboratory |  |  |  |  |  | 2024 |  |  |  |  |  | Functional | No count is written against this line. |
| Medical Waste Bin (30) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Wall Clock (5) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for MCH (3) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for OPD (2) | OPD |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Glassware Set, Laboratory, Basic (2) | Laboratory |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Hollow Ware Set, Treatment (2) | General |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Instrument Set, Dressing (4) | General |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Instrument Set, Basic ENT (2) |  |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Instrument Set, Suture (3) |  |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Pulse Oximeter, Hand held (12) | OPD |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Bed, Adult Patient with Mattress (11) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Bed, Pediatric Patient, With Mattress (4) | Children ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Bedside Locker (10) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Cupboard, Instrument (1) | General |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Delivery Bed, Hydraulic Manual (1) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (2) | MCH / Theatre |  |  |  |  |  | 2024 |  |  |  |  |  |  | The facility received two, and both were taken to Bududa HC III for an emergency there. |
| Resuscitator Manual, Infant, with all Mask sizes (6) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Resuscitator Manual, Adult, with all mask sizes (10) | General |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Suction Apparatus, (Electric) (1) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Nebulizer, Ultrasonic (1) | Laboratory |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Oxygen Concentrator, Duo Flow (1) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Bench (4) | General |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Disinfection Buckets (6) | General wards |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Baby Cot (4) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for Ward (2) | General wards |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Hollow Ware Set, Ward (2) | General wards |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Instrument Set, Delivery (5) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Instrument Set, Stitch Removing (5) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| MVA Kit (5) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Stool, Laboratory (4) | Laboratory |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Penguin Sucker (3) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Fetoscope, Doppler (2) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  | No count is written against this line. |
| Centrifuge (Electric) (1) | Laboratory |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Kangaroo Mother Care Chair (1) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Radiant Infant Warmer | MCH |  |  |  |  |  |  |  |  |  |  |  |  | A dash is written in the count column. |
| Haemoglobin Meter, Sahli | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  | No count is written against this line. |
| Delivery Bed (1) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Examination light (3) | OPD / MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Instrument set, ENT Basic for HCIII | OPD / MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional | A dash is written in the count column. |
| Bag Valve mask (Ambu Bag), Neonatal (15) | MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Incubator | MCH |  |  |  |  |  |  |  |  |  |  |  |  | A dash is written in the count column. |
| Office Chair (8) | General |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Desk (6) | OPD and MCH |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Filing Cabinet (4) | General ward |  |  |  |  |  | 2024 |  |  |  |  |  | Functional |  |
| Non Residential Buildings (5) |  |  |  |  |  |  |  |  |  |  |  |  |  | Recorded as including the pit latrine and the placenta room. |
| Residential Buildings (2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bududa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bududa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bududa District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- Two oxygen therapy cylinders were received here and both were taken to Bududa HC III for an emergency. Where they stand now, and under whose record, should be settled with the district health office.

- No count is written against the bubble CPAP, the Sahli haemoglobin meter or the audio visual equipment, so none of them can be set against what was supplied.

- A dash stands in the count column against the digital haemoglobin meter, the radiant infant warmer, the ENT instrument set and the incubator.

- No engraved number or serial number is written against any line on the copy, so no item at this facility can be identified again.

- The cost, recoverable cost and depreciation columns are empty on every page, so nothing at this facility carries a value.

- The facility is not fenced and the community draws on its water and pit latrines. The ceiling is already cracked. Both are for the district engineer and the district health officer.

- The supervisor block and the date of submission are blank on the cover. Filled toolkit output uses Kassim Luminsa and +256 702 806116 per RULES.md 3.15, and leaves the date of submission blank.