ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Elgon |
| Name of Local Government | Bulambuli District |
|  | Bulambuli District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bulaago HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. An inventory list of UgIFT assets was produced at the facility. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift According to Mrs Nandutu Annet, the UgIFT assets are not yet broken. When repair or service is needed, they hire a specialist. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Mrs Nandutu Annet said a regular record about functionality and breakdown of UgIFT assets is followed through the DHO inventory officer. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has constructed a maternal ward, staff quarters and patients' latrines, and provided water tanks. This has improved water storage, cleaning of the assets, immunisation, inpatient and outpatient care, and allows patients to get treatment and stay. Challenges: water is inadequate in the dry season because the community also draws on the facility supply; health workers are few; staff quarters are not enough; the security guard has no shelter. Recommendations: provide more staff quarters, more water tanks, a main gate and gatekeeper's house, and more financial support and instruments. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bulambuli District        NAME OF HEALTH FACILITY: Bulaago HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | Consultation room |  | Patient medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (2) | Maternity ward |  | Manual medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated (1) | Laboratory |  | Steel autoclave for patients |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick (1) | Dispensing room |  | Medical equipment / utensil |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand (3) | Immunization room |  | Movable patients' medical tool |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved (1) | Laboratory area |  | Medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable (6) | In-charge's office / dispensing |  | Steel metallic cupboards and handles |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand (8) | Antenatal room |  | Stainless drip stands |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand (1) | Dispensing / OPD |  | Medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch (4) | Female ward |  | Furniture fixture |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED (3) | Children ward |  | Portable examination light |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer (2) | Laboratory |  | Medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital (2) | Laboratory |  | Medical equipment / lancets |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (2) | Consultation room |  | Medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley (4) | Antenatal ward |  | Movable instrument set |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular (1) | Laboratory |  | Medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope (1) | Laboratory |  | Medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley | Maternity ward |  | Movable patients' carrier |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic (2) | Dispensing room |  | Patient equipment |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope (8) | Maternity ward |  | Abdominal medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch (1) | Staff office / lockers |  | General office item |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (1) | Labour suite |  | Oxygen medical movable |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | Kitchen |  |  |  |  |  |  |  |  |  |  |  |  | N/R written in the count column. |
| Weighing Scale with Height Meter, Adult (2) | Outpatient / consultation room |  | Measuring equipment |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant (2) |  |  | General infant equipment |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler (1) | Children ward |  | Infant / child scale |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair (4) | Antenatal / labour suite |  | Patient and cleaner medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  | Equipment |  |  |  |  |  |  |  |  |  |  | N/R written in the count column. |
| Medical Waste Bin (12) | Family planning room |  | Metallic foot-operated container for general use |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock (4) | Children ward |  | Decorative / practical item |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH (2) | MCH ward |  | Diagnostic medical set |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD (2) | OPD ward |  | Diagnostic set / medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic (2) | Laboratory |  | Glassware and flasks |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment (2) |  |  | Medical / surgical set |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing (4) | Maternity ward |  | Set and dressing medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture (3) | Maternity ward |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (2) | Labour suite |  | Diagnostic medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | Antenatal room / female ward / maternity ward |  | Side room with equipment |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress (4) | Children ward |  | Adjustable for children |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker (7) | Maternity ward |  | Movable patient lockers |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument (1) |  |  | Emergency cupboard |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual (1) | Maternity ward / labour room |  | Patients' medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (2) | Labour room |  | Oxygen cylinder medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes (1) | Maternal ward |  | New set for baby |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes (1) |  |  | New set for mothers |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) (1) | Laboratory |  | Tube medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  | N/R written in the count column. |
| Oxygen Concentrator, Duo Flow (4) |  |  | Medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Bench (3) | Waiting / dressing room |  | Furniture and fixtures, metal |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets (3) | Labour suite |  | Items for cleaning instruments |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot (2) | Children ward |  | Medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward (2) | Labour ward |  | Surgical record monitor |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward (1) |  |  | Medical tool |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery (2) | Antenatal room |  | Surgical / record set |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing (3) | Maternity ward / antenatal ward |  | Medical pack |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit (5) | Maternity ward |  | Medical machine |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory (3) | Laboratory |  | Rolling stool |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker (3) | Children ward |  | Suction machine |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Doppler (2) | Maternity ward |  | Medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP (3) |  |  | Machine |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) (1) | Laboratory |  | Medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | Labour suite |  |  |  |  |  |  |  |  |  |  |  |  | N/R written in the count column. |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  | N/R written in the count column. |
| Haemoglobin Meter, Sahli (1) | Laboratory |  | Medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII (1) |  |  | Medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (4) | OPD / family planning room |  | Furniture, rolling and fixed |  |  |  |  |  |  |  |  |  |  |  |
| Placenta pit (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, lotion (6) |  |  | 4-litre general bowl |  |  |  |  |  |  |  |  |  |  |  |
| Drawing pin (3) |  |  | Instrument / utensil |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  | General office furniture |  |  |  |  |  |  |  |  |  |  | Recorded on the page as office tables; N/R written in the count column. |
| Cheatle jar (4) |  |  | Instrument utensil |  |  |  |  |  |  |  |  |  |  |  |
| Female urinal (5) |  |  | Medical bottles |  |  |  |  |  |  |  |  |  |  |  |
| Male urinal (5) | Labour suite |  | Medical bottle |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet (6) | Low health room / medical store |  | Furniture and fixtures / general |  |  |  |  |  |  |  |  |  |  |  |
| Bed pans (10) | Female ward |  | Furniture fixtures |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, lotion (6) |  |  | 6 L bowls |  |  |  |  |  |  |  |  |  |  |  |
| Vaginal speculum (Cusco) (4) |  |  | Instrument and utensils |  |  |  |  |  |  |  |  |  |  |  |
| Kidney dish basin (10) |  |  | Utensils |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings - toilets (5) | General / utility |  | Concrete toilets |  |  |  |  |  |  |  |  |  |  |  |
| Kidney dish (25) |  |  | Patients' furniture |  |  |  |  |  |  |  |  |  |  |  |
| Marker Tape (3) |  |  | Patients' instrument equipment |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings - staff quarters (2 units) | Housing |  | 6 rooms and toilets / quarters / utilities |  |  |  |  |  |  |  |  |  |  |  |
| Mid Upper Arm Tape | Labour suite |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument tray (6) |  |  | Instrument tray |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, lotion | Examination and consultation room |  | General-use bowls |  |  |  |  |  |  |  |  |  |  | Figures 10, 11 and 8 are written in the count column but do not resolve to separate safe quantities. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The sub-region field on the page is misused as Bulaago Sub County. Structured output uses Elgon as the sub-region and Bulambuli District as the local government.

- The facility name on the pages reads Bulaago / Bulago Health Centre. Structured output records Bulaago HC III, with programme alias Bulaago HC II.

- The supervisor line on the page reads Mr Luminia Kassim; the contact line reads about 0702806116 / 0783725419. Filled toolkit output uses Kassim Luminsa / +256 702 806116 per RULES.md 3.15.

- Date of submission is blank in structured output per RULES.md 3.15 even though the cover page has a handwritten line there.

- The hand-filled Asset Number cells are quantity counts. They are carried into the item name where clear and left blank in the Asset Number column.

- Grouped Date Placed in Service entries on the right-hand pages are too soft to assign to each line with confidence, so they are left blank.

- Grouped Equipment status / Remarks entries on the right-hand pages are often written across several lines and are left blank where they cannot be paired safely to a single schedule row.

- The extra Bowl, lotion row on the first checklist page carries figures 10, 11 and 8 in the count column; it is not clear whether these are separate counts, sizes or continuation marks.

- N/R appears in the count column for Stove, Gas; Audio Visual Equipment; Kangaroo Mother Care Chair; Radiant Infant Warmer; and the Desk / office tables line, so no quantity is carried into those item names.

- Several added handwritten lines are too soft to separate confidently as their own items, including one line between Stethoscope and Stop Watch, one line after Oxygen Concentrator, and one short line after Instrument set, ENT Basic for HCIII. They are not carried as separate schedule lines.