ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Elgon |
| Name of Local Government | Bulambuli District |
|  | Bulambuli District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Bumugibole HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift They keep them in a store for repair, though there are not many assets currently for repair. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, records are taken for any asset that breaks down. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Health services are closer to people. Employment opportunities for the staff. Challenges: limited staff shelter; lack of enough water at the facility as one tank is broken. Recommendations: more staff quarters required. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bulambuli District        NAME OF HEALTH FACILITY: Bumugibole HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) |  |  | Measures blood pressure electronically |  | NA | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | In use |
| B.P. Machine (Aneroid wall mounted) (2) |  |  | Measures blood pressure manually |  | NA | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | In use |
| Autoclave 20 Liters, Duo Operated (2) |  |  | Sterilises instruments with steam |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | 1 in use and the other in store |
| Bowl, Kick |  |  | Collects waste fluid during procedures |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2022-01-26 |  |  |  |  |  | Functional | In use |
| Bowl Stand |  |  | Holds kick bowls securely |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | In use |
| Counting chamber Neubauer- Improved |  |  | Counts blood cells under microscope |  | NA | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Not seen | Not seen at the facility |
| Cupboard Steel, Lockable (6) |  |  | Stores drugs and equipment safely |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | 4 in use, 2 not functional |
| Drip Stand (9) |  |  | Holds IV fluid bags |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | All 9 in use |
| ESR Stand |  |  | Holds ESR tubes for sedimentation test |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  |  |  |  |  |  | The facility failed to assemble the equipment |
| Examination Couch (4) |  |  | Patient lies for examination |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | All 4 available are in use |
| Examination light, LED (3) |  |  | Provides bright light for procedures |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | All 3 are in use |
| Glucometer (1) |  |  | Measures blood sugar level |  | NA | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | In use |
| Haemoglobin Meter, Digital (2) |  |  | Measures haemoglobin level |  | NA | 2022-02-13 | 2023-01-26 |  | 618,452 |  |  |  | Functional | 2 available, 1 in use and another in store |
| Height Meter (2) |  |  | Measures patient height |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  | 110,778 |  |  |  | Functional | In use, all the 2 available |
| Instrument Trolley (4) |  |  | Carries instruments during procedure |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  | 539,958 |  |  |  | Functional | All 4 available in use |
| Microscope Binocular (1) |  |  | Examines specimens |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  | 1,158,032 |  |  |  | Functional | One available and in use |
| Otoscope (1) |  |  | Examines ears |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-21 |  | 95,393 |  |  |  | Functional | 1 available and in use |
| Patient Screen (5) |  |  | Provides privacy during examination |  |  | 2022-02-13 | 2023-01-21 |  | 346,908 |  |  |  |  | 3 in use, 2 taken to Bukibologoto due to an emergency after that facility was washed away |
| Patient Trolley (1) |  |  | Transfers patients |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-21 |  | 712,764 |  |  |  | Functional | One available and in use |
| Refrigerator, Basic (2) |  |  | Stores vaccines and drugs that need cooling |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  | 18,157,507 |  |  |  | Functional | All 2 in use |
| Stethoscope (2) |  |  | Listens to heart, lungs and bowel sounds |  | NA | 2023-02-13 | 2023-01-26 |  | 21,649 |  |  |  | Functional | All in use |
| Stop Watch (2) |  |  | Times procedures |  | NA | 2023-02-13 | 2023-01-26 |  | 19,489 |  |  |  | Functional | In use, all 2 |
| Stretcher (2) |  |  | Carries patients |  | BUMU/2020-2021/UGIFT | 2023-02-13 | 2023-01-26 |  | 658,347 |  |  |  | Functional | All 2 in use |
| Stove, Gas (2) |  |  | Heats water for sterilising |  | NA | 2023-02-13 | 2023-01-26 |  | 13,629 |  |  |  | Functional | 1 in use and another one in the store |
| Weighing Scale with Height Meter, Adult |  |  | Weighs and measures adult height |  | BUMU/2020-2021/UGIFT | 2023-02-13 | 2023-01-26 |  | 52,043 |  |  |  | Functional | All 2 in use |
| Weighing Scale, Infant |  |  | Weighs babies |  | BUMU/2020-2021/UGIFT | 2023-02-13 | 2023-01-26 |  | 100,413 |  |  |  | Functional | All 2 in use |
| Weighing Scale, Toddler |  |  | Weighs young children |  | BUMU/2020-2021/UGIFT | 2023-02-13 | 2023-01-26 |  | 93,178 |  |  |  | Functional | 1 in use |
| Wheel Chair |  |  | Moves patients who cannot walk |  | BUMU/2020-2021/UGIFT | 2023-02-13 | 2023-01-26 |  | 582,985 |  |  |  | Functional | All 4 in use |
| Audio Visual Equipment |  |  | Used for health education training |  | NA | 2022-02-13 | 2023-01-26 |  | 8,097,750 |  |  |  |  | The status cell carries two entries written over each other and neither can be read |
| Medical Waste Bin |  |  | Collects waste |  | BUMU/2020-2021/UGIFT | 2023-02-13 | 2023-01-26 |  | 85,512 |  |  |  | Functional | 15 in use |
| Wall Clock |  |  | Keeps time at the facility |  | NA | 2023-02-13 | 2023-01-26 |  | 161,955 |  |  |  | Not functional | Not working |
| Diagnostic Equipment Set for MCH |  |  | Basic tools for mother and child health checks |  | NA | 2023-02-13 | 2023-01-26 |  | 4,858,650 |  |  |  | Functional | In use |
| Diagnostic Equipment Set for OPD |  |  | Basic tools for out patient examination |  | NA |  | 2023-01-26 |  |  |  |  |  | Functional | In use |
| Glassware Set, Laboratory, Basic |  |  | Holds samples and reagents in the lab |  | NA | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | In use |
| Hollow Ware Set, Treatment |  |  | Bowls, trays and containers for procedures |  | NA |  |  |  | 5,344,515 |  |  |  |  |  |
| Instrument Set, Dressing |  |  | For cleaning and dressing wounds |  | NA | 2022-02-13 | 2022-01-26 |  | 207,141 |  |  |  | Functional | In use |
| Instrument Set, Basic ENT |  |  | For ear, nose and throat |  | NA | 2022-02-13 | 2023-01-26 |  | 404,889 |  |  |  | Functional | In use |
| Instrument Set, Suture |  |  | For stitching wounds |  | NA | 2022-02-13 | 2022-01-26 |  | 473,449 |  |  |  | Functional | In use |
| Pulse Oximeter, Hand held (2) |  |  | Measures oxygen level and pulse rate |  | NA |  |  |  |  |  |  |  | Functional | In use |
| Bed, Adult Patient with Mattress (10) |  |  | Patient rest |  | BUMU/2020-2021/UGIFT |  |  |  |  |  |  |  | Functional | All 8 in use and the 2 are used by the nurses in their quarters |
| Bed, Pediatric Patient, With Mattress |  |  | Child patient rests |  | BUMU/2020-2021/UGIFT |  |  |  |  |  |  |  | Functional | All 4 in use |
| Bedside Locker |  |  | Stores patients' personal items |  | BUMU/2020-2021/UGIFT |  |  |  |  |  |  |  | Functional | Only 6 are in use, 4 in staff houses |
| Cupboard, Instrument |  |  | Stores clean instruments safely |  | BUMU/2020-2021/UGIFT | 2022-02-18 | 2023-01-26 |  |  |  |  |  | Functional | In use |
| Delivery Bed, Hydraulic Manual |  |  | Supports mother during labour |  | BUMU/2020-2021/UGIFT | 2022-02-18 |  |  |  |  |  |  | Functional | In use |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (2 cylinders) |  |  | Gives oxygen to patients |  | NA |  | 2023-01-26 |  | 88,859 |  |  |  | Functional | Operational though they have not received patients to use it on |
| Resuscitator Manual, Infant, with all Mask sizes |  |  | Helps breath for newborn |  | NA | 2022-02-13 | 2023-01-26 |  | 37,466 |  |  |  | Functional | In use |
| Resuscitator Manual, Adult, with all mask sizes |  |  | Helps breath for adult in emergency |  | NA | 2022-02-13 | 2023-01-26 |  | 47,724 |  |  |  | Functional | In use |
| Suction Apparatus, (Electric) (1) |  |  | Removes fluid from airway |  | NA | 2022-02-13 | 2023-01-26 |  | 136,529 |  |  |  | Functional | In use |
| Nebulizer, Ultrasonic (1) |  |  | Delivers medicine as mist to breathe |  | NA | 2022-02-13 | 2023-01-26 |  | 69,318 |  |  |  | Functional | In use |
| Oxygen Concentrator, Duo Flow |  |  | Produces continuous oxygen for patients |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  | 8,745,570 |  |  |  | Functional | In use |
| Bench (4) |  |  | Seating for patients or staff |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2022-01-26 |  | 1,619,550 |  |  |  | Functional | All 4 in use |
| Disinfection Buckets |  |  | Hold disinfectant for cleaning instruments |  | NA |  |  |  |  |  |  |  | Not seen | The supplied one got damaged years ago |
| Baby Cot |  |  | Safe bed for newborn babies |  | NA |  |  |  |  |  |  |  | Not seen | Not supplied to the health facility |
| Diagnostic Equipment Set for Ward |  |  | Basic tools for ward patient examination |  | NA | 2022-02-13 | 2023-01-26 |  | 4,858,650 |  |  |  | Functional | In use |
| Hollow Ware Set, Ward |  |  | Bowls and containers used on the ward |  | NA | 2022-02-13 | 2022-01-26 |  | 4,858,650 |  |  |  | Functional | In use |
| Instrument Set, Delivery |  |  | Used during child birth |  | NA | 2022-02-13 | 2023-01-26 |  | 539,958 |  |  |  | Functional | In use |
| Instrument Set, Stitch Removing |  |  | For removing sutures |  | NA | 2022-02-13 | 2023-01-26 |  | 116,662 |  |  |  | Functional | In use |
| MVA Kit (5) |  |  | Manual vacuum aspiration for uterine evacuation |  | NA | 2022-02-13 | 2023-01-26 |  | 96,958 |  |  |  | Functional | 2 in use, 3 in store |
| Stool, Laboratory |  |  | Seating for lab staff |  | BUMU/2020-2021/UGIFT | 2023-02-13 | 2023-01-26 |  | 23,788 |  |  |  | Functional | In use |
| Penguin Sucker |  |  | Clears newborn airway |  |  | 2022-02-13 | 2023-01-26 |  | 103,382 |  |  |  | Functional | In use |
| Fetoscope, Dopplar |  |  | Listens to foetal heart |  |  | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | In use |
| Bubble CPAP |  |  | Helps baby breath |  |  | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | In use |
| Centrifuge (Electric) |  |  | Spins blood samples |  |  | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Not seen | Relocated to Muyembe HC IV by the District Health Officer because it had a lot of work there |
| Kangaroo Mother Care Chair (1) |  |  | To hold newborn, especially premature |  |  | 2022-02-13 | 2023-01-26 |  | 647,820 |  |  |  | Functional | In use |
| Radiant Infant Warmer |  |  | Keeps newborn warm |  |  |  |  |  |  |  |  |  | Not seen | Not supplied |
| Haemoglobin Meter, Sahli |  |  | Measures haemoglobin |  |  | 2022-02-13 | 2023-01-26 |  | 618,452 |  |  |  | Functional | In use |
| Delivery Bed (1) |  |  | For labour and delivery |  |  | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | In use |
| Examination light (3) |  |  | Bright light for procedures |  |  | 2022-02-13 | 2023-01-26 |  |  |  |  |  | Functional | In use |
| Instrument set, ENT Basic for HCIII |  |  | For basic ENT procedures |  | NA | 2022-02-13 | 2023-01-26 |  | 6,586,170 |  |  |  | Functional | In use |
| Bag Valve mask (Ambu Bag), Neonatal (45) |  |  | For neonatal resuscitation |  | NA | 2022-02-13 | 2023-01-26 |  | 269,925 |  |  |  | Functional | 10 in use, 35 in store |
| Incubator |  |  | For caring for premature babies |  | NA | 2023-02-13 | 2023-01-26 |  |  |  |  |  |  | Not delivered at the facility |
| Office Chair (6) |  |  | For office seating |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  | 242,934 |  |  |  | Functional | All 6 in use |
| Desk (6) |  |  | For office work |  | BUMU/2020-2021/UGIFT | 2022-02-13 | 2023-01-26 |  | 798,978 |  |  |  | Functional | All 6 in use |
| Filing Cabinet (6) |  |  | For storing files and documents |  |  | 2022-02-13 | 2023-01-26 | 971,730 |  |  |  |  | Functional | 4 in use while 2 are malfunctional |
| Non Residential Buildings |  |  | Health facilities such as wards, toilets and placenta pits |  | NA |  |  |  |  |  |  |  | Functional | Maternity ward, laboratory, toilets for the facility and staff quarters, also the placenta pits |
| Residential Buildings |  |  | Staff housing for health workers |  | NA |  |  |  |  |  |  |  | Poor state | Staff quarters are in poor state with a huge crack on the walls, hence a risk. Staff now occupy the store where they stay |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- Two patient screens were taken to Bukibologoto HC II after that facility was washed away, and the electric centrifuge was relocated to Muyembe HC IV by the District Health Officer. Neither move is on any asset record; settle where each item stands and under whose charge.

- Two of the ten adult patient beds are used by the nurses in their quarters and four of the bedside lockers stand in staff houses. Establish whether the district authorised either move.

- The baby cot, the radiant infant warmer and the incubator are recorded as never supplied, and the goods received notes on file for this district carry baby cots. Set the two records against each other.

- The counting chamber and the disinfection buckets were not seen, the buckets recorded as damaged years ago. Establish whether either is to be replaced or written off.

- The facility failed to assemble the ESR stand, so it has never been used. Establish who is to assemble it.

- The status cell against the audio visual equipment carries two entries written over each other and cannot be read. Have that cell written again.

- The figure of 971,730 against the filing cabinets is written in the Recovery Cost column and no line carries a recoverable cost anywhere else. Confirm whether it is the cost of the six cabinets.

- Two of the six filing cabinets are marked malfunctional and the wall clock is not working. Record each as unserviceable or for repair.

- The staff quarters carry a huge crack and the staff have moved into the store. This is for the district engineer.

- No line of the copy carries an engraved number; the tag cells read either the mark BUMU/2020-2021/UGIFT or NA, so no single item can be identified again.