FACILITY REPORT — Bumugibole H/C 111

| District: Bulambuli. | Sub-county: Bumugibole |
| --- | --- |
| Facility Name: Bumugibole | Type (Seed School / Health Center): Health center |
| Incharge: Wozebili Besmesi Peter | Contact: 0784684841 |
| Date Visited: 25/08/2026 | Team Members: Ahabwe Derrick, Asio Miriam J and Kyanamira Nathan |

Assets Verified / Condition Summary (Good / Fair / Poor)

- Asset verification was a success at the health center.

- The Incharge and all the assistant personnel were very helpful during the whole process.

- All assets are engraved with BUMU/2020-2021/UGIFT, that is all assets engravable.

Successes

- Asset verification was a success at the health center.

- The Incharge and all the assistant personnel were very helpful during the whole process.

Challenges

- Accessing the facility was very difficult, the road is slippery especially during rains and the facility is located on top of the mountain.

- The facility has limited staff accommodation facilities.

- The available facility has deep cracks that the medical personnel vacated the premises because it was a risk hazard and it is currently occupied by the police guarding the community.

- The health facility has only one functioning water tank out of the 3 provided by UGIFT.

- The medical personnel have turned on the facility drug and equipment into a shelter as the constructed not only is it not enough but not safe too.

Recommendations

- The staff quarters should be renovated to accommodate the medical personnel.

- Water tanks at the facility need to be fixed for the facility to have enough running water.