ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Elgon |
| Name of Local Government | Bulambuli District |
|  | Bulambuli District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Kamu HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. The facility holds a record of the assets provided under UgIFT. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift The facility maintains and repairs through its budget plans. The items are all still very new, so the in-charge says the only things planned for are those delivered faulty, for example the patient screens. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. The facility handles this through loose minutes and keeps inventory files. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Community health service delivery has improved, access to health care and road development have improved, and there is now access to water and electricity. Challenges: some items came with fewer parts than they should, for example the examination beds, and the patient screens are outdated. Recommendation: equipment should be examined and verified before delivery. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Bulambuli District        NAME OF HEALTH FACILITY: Kamu HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (5) | OPD / MCH |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| B.P. Machine (Aneroid wall mounted) (3) | OPD / MCH |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Autoclave 20 Liters.,Duo Operated (2) | MCH |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Bowl, Kick (2) | Labour suite |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Bowl Stand (2) |  |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Counting chamber Neubauer- Improved (2) | Laboratory |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Cupboard Steel, Lockable | General |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional | The count column reads 5 or 7 and does not resolve to one figure. |
| Drip Stand (13) | General ward |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| ESR Stand (1) |  |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Examination Couch (6) | MCH |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Examination light,LED | General |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional | The count column is written over and does not resolve to a figure. |
| Glucometer (4) | Laboratory |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Haemoglobin Meter, Digital (2) | Laboratory |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Height Meter (2) | OPD / MCH |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Instrument Trolley (5) | MCH |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Microscope Binocular (2) | Laboratory |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Otoscope (1) | ENT / OPD |  |  | 12 |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Patient Screen (8) | Laboratory |  | 6 functional | 12 |  |  | 2025-08-06 |  |  |  |  |  | 2 faulty |  |
| Patient Trolley (3) | General |  | 1 for theatre |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Refrigerator, Basic (3) | Laboratory, labour suite and MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Stethoscope (8) | General |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Stop Watch (1) | General |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Stretcher (1) | General |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Stove, Gas (1) | Kitchen |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Weighing Scale with Height Meter, Adult (5) | OPD / MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Weighing Scale, Infant (4) | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Weighing Scale, Toddler (2) | OPD / MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Wheel Chair (3) | General |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Audio Visual Equipment | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  | No count is written against this line. |
| Medical Waste Bin (20) | General ward |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Wall Clock (5) | General |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for MCH (2) | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for OPD (2) | OPD |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Glassware Set, Laboratory, Basic (2) | Laboratory |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Hollow Ware Set, Treatment (2) | General |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Instrument Set, Dressing (2) | General |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Instrument Set, Basic ENT (2) |  |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Instrument Set, Suture (2) |  |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Pulse Oximeter, Hand held (1) | OPD |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Bed, Adult Patient with Mattress (20) | General ward |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Bed, Pediatric Patient, With Mattress (4) | Children ward |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Bedside Locker (6) | General wards |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Cupboard, Instrument (3) | General ward |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Delivery Bed, Hydraulic Manual (4) | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (2) | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Resuscitator Manual, Infant, with all Mask sizes (6) | Labour suite |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Resuscitator Manual, Adult, with all mask sizes (5) | General |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Suction Apparatus, (Electric) (2) | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Nebulizer, Ultrasonic (1) | Laboratory |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Oxygen Concentrator, Duo Flow (2) | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Bench (4) | General |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Disinfection Buckets (4) | General wards |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Baby Cot (3) | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for Ward (2) | General wards |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Hollow Ware Set, Ward (2) | General wards |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Instrument Set, Delivery (2) | Labour suite / MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Instrument Set, Stitch Removing (2) | General wards |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| MVA Kit (2) | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Stool, Laboratory (3) | Laboratory |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Penguin Sucker (3) | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Fetoscope, Doppler (3) | Labour suite |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Bubble CPAP (2) |  |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Centrifuge (Electric) (1) | Laboratory |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Kangaroo Mother Care Chair (1) | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Radiant Infant Warmer (2) | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Haemoglobin Meter, Sahli (2) | Laboratory |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Delivery Bed (4) | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Examination light (4) | OPD / MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Instrument set, ENT Basic for HCIII (2) | OPD / MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Bag Valve mask (Ambu Bag), Neonatal (15) |  |  | Planning to engrave |  |  |  | 2025-08-06 |  |  |  |  |  | All functional | Engraving is planned but not yet done. |
| Incubator | MCH |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional | A dash is written in the count column. |
| Office Chair (7) | General |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Desk (5) | General |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Filing Cabinet (7) | General wards |  |  |  |  |  | 2025-08-06 |  |  |  |  |  | Functional |  |
| Non Residential Buildings (5) |  |  | Two pit latrines, two wards and stores |  |  |  | 2025-08-06 |  |  |  |  |  | In use |  |
| Residential Buildings (2) |  |  | Two blocks of staff houses |  |  |  | 2025-08-06 |  |  |  |  |  | In use |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Bulambuli District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The steel lockable cupboard count reads 5 or 7 and does not resolve to one figure, so the quantity cannot be set against what was supplied.

- The count against the LED examination light is written over and cannot be read.

- No count is written against the audio visual equipment, and a dash stands against the incubator.

- Two of the eight patient screens are faulty, and the in-charge says some items were delivered with fewer parts than they should carry, naming the examination beds. This is for the supplier and the district.

- The fifteen neonatal bag valve masks are the only line marked for engraving, and the engraving is planned rather than done. No engraved number or serial number is written against any line, so no item at this facility can be identified again.

- The cost, recoverable cost and depreciation columns are empty on every page, so nothing at this facility carries a value.

- The supervisor block and the date of submission are blank on the cover. Filled toolkit output uses Kassim Luminsa and +256 702 806116 per RULES.md 3.15, and leaves the date of submission blank.