ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Elgon |
| Name of Local Government | Sironko District |
|  | Sironko District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Buyobo HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Not all. The facility holds a record of only some of the assets provided under UgIFT. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | The items on that record were supplied in 2021 to 2022. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift The facility maintains repairs of assets provided under UgIFT by working on them. The in-charge, Awayo Christine Betty, said the items were brought long before she came to the facility. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. The facility takes a record about the functionality of items provided, through loose minutes of maintenance. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has improved infrastructure development to the level of admission of patients. Privacy for patients is provided for through enough beds and wards. Health service delivery has improved, for example enough delivery kits. Challenges: use of non-qualified technocrats, which affects other services; breakdown of the solar system and the water pumps. Recommendations: deliver up-to-date microscopes; construct a store for drugs; check on the plumbing system and replace the solar. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Sironko District        NAME OF HEALTH FACILITY: Buyobo HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | OPD / MCH |  | 1 in operation | 60 |  |  | 2022 |  |  |  |  |  | 1 is spoilt, non functional |  |
| B.P. Machine (Aneroid wall mounted) (2) | OPD / MCH |  | Spoiled and outdated |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Autoclave 20 Liters.,Duo Operated (2) | MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Bowl, Kick (8) | MCH |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Bowl Stand (3) | MCH |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Counting chamber Neubauer- Improved | Laboratory |  |  |  |  |  | 2022 |  |  |  |  |  | Functional | No count is written against this line. |
| Cupboard Steel, Lockable (5) | General wards |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Drip Stand (28) | General wards |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| ESR Stand (1) |  |  |  |  |  |  |  |  |  |  |  |  | Not seen | The in-charge came to the facility one year ago and could not speak to this item. |
| Examination Couch (3) | MCH |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Examination light,LED (3) | Theatre / MCH |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Glucometer (1) | Laboratory |  | Outdated |  |  |  | 2022 |  |  |  |  |  | Outdated |  |
| Haemoglobin Meter, Digital | Laboratory |  |  |  |  |  | 2022 |  |  |  |  |  | Functional | No count is written against this line. |
| Height Meter (2) | OPD / MCH |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Instrument Trolley (4) | MCH |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Microscope Binocular (1) | Laboratory |  | Functional |  |  |  | 2022 |  |  |  |  |  | Not standard | Recorded as needing another one, an Olympus. |
| Otoscope (1) | ENT / OPD |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Patient Screen (5) | Laboratory |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Patient Trolley (3) | General ward |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Refrigerator, Basic (2) | General ward |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Stethoscope (5) | General ward |  | Functional |  |  |  | 2022 |  |  |  |  |  | Some are not working |  |
| Stop Watch | General |  |  |  |  |  | 2022 |  |  |  |  |  | Functional | No count is written against this line. |
| Stretcher (2) | General |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Stove, Gas (2) | Kitchen |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Weighing Scale with Height Meter, Adult (2) | OPD / MCH |  | 1 functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Weighing Scale, Infant (1) | MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Weighing Scale, Toddler (2) | OPD / MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Wheel Chair (2) | General |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Audio Visual Equipment | Laboratory |  |  |  |  |  | 2022 |  |  |  |  |  | Functional | No count is written against this line. |
| Medical Waste Bin (13) | General |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Wall Clock (2) | General |  | Functional |  |  |  | 2022 |  |  |  |  |  | Needs a battery |  |
| Diagnostic Equipment Set for MCH (2) | MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for OPD (2) | OPD |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Glassware Set, Laboratory, Basic | Laboratory |  | Consumables | Has a short life span |  |  | 2022 |  |  |  |  |  | Consumable | Discarded after use. |
| Hollow Ware Set, Treatment (1) | General |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Instrument Set, Dressing (5) | General |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Instrument Set, Basic ENT (2) |  |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Instrument Set, Suture (2) |  |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Pulse Oximeter, Hand held (2) | OPD |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Bed, Adult Patient with Mattress (11) | General |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Bed, Pediatric Patient, With Mattress (4) | Children ward |  | Functional |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Bedside Locker (2) | General |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Cupboard, Instrument (3) | General |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Delivery Bed, Hydraulic Manual (1) | MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional | A dash is written in the count column. |
| Resuscitator Manual, Infant, with all Mask sizes | MCH |  |  |  |  |  | 2022 |  |  |  |  |  |  | The facility has no information about these. |
| Resuscitator Manual, Adult, with all mask sizes | General wards |  |  |  |  |  | 2022 |  |  |  |  |  |  | Not seen, and the facility has no information about these. |
| Suction Apparatus, (Electric) (1) | MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Nebulizer, Ultrasonic | Laboratory |  |  |  |  |  | 2022 |  |  |  |  |  | Functional | A dash is written in the count column. |
| Oxygen Concentrator, Duo Flow (1) |  |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Bench (4) | General |  | Functional |  |  |  | 2022 |  |  |  |  |  | One is broken |  |
| Disinfection Buckets (4) | General wards |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Baby Cot (4) | MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for Ward (2) | General |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Hollow Ware Set, Ward (1) | General |  | Not used |  |  |  | 2022 |  |  |  |  |  | Not in use |  |
| Instrument Set, Delivery (4) | MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Instrument Set, Stitch Removing (5) | MCH / General |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| MVA Kit (4) | MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Stool, Laboratory (2) | Laboratory |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Penguin Sucker | MCH |  |  |  |  |  |  |  |  |  |  |  |  | A dash is written in the count column and no information is recorded. |
| Fetoscope, Doppler (1) | Laboratory |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  | A dash is written in the count column. |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  | A dash is written in the count column. |
| Kangaroo Mother Care Chair (1) | MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Radiant Infant Warmer (1) | MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Haemoglobin Meter, Sahli (0) | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  | Recorded as none held. |
| Delivery Bed (2) | MCH |  |  |  |  |  | 2022 |  |  |  |  |  | Functional |  |
| Examination light | OPD / MCH |  |  |  |  |  |  |  |  |  |  |  |  | A dash is written in the count column. |
| Instrument set, ENT Basic for HCIII (1 set) | OPD / MCH |  | Functional |  |  |  | 2022 |  |  |  |  |  | 1 functional |  |
| Bag Valve mask (Ambu Bag), Neonatal (0) |  |  |  |  |  |  |  |  |  |  |  |  |  | Recorded as none held. |
| Incubator (0) | MCH |  |  |  |  |  |  |  |  |  |  |  |  | Recorded as none held. |
| Office Chair (6) | General |  | 3 faulty |  |  |  |  |  |  |  |  |  | 3 faulty |  |
| Desk (4) | General |  | Provided by the local government |  |  |  |  |  |  |  |  |  | Functional | The in-charge claims these were provided by the local government. |
| Filing Cabinet (3) | General |  |  |  |  |  | 2022 |  |  |  |  |  | All functional |  |
| Non Residential Buildings (1) |  |  | Functional |  |  |  |  |  |  |  |  |  | Functional |  |
| Residential Buildings (1) |  |  | Functional |  |  |  |  |  |  |  |  |  | Functional |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Sironko District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Sironko District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Sironko District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The facility holds a record of only some of the assets provided under UgIFT. The rest of the record should be assembled with the district health office.

- The ESR stand was not seen. The in-charge came to the facility a year ago and could not speak to it, so where it stands is unknown.

- The facility has no information about the manual resuscitators, infant and adult. Neither was seen.

- No count is written against the counting chamber, the digital haemoglobin meter, the stop watch or the audio visual equipment, so none of them can be set against what was supplied.

- The penguin sucker, the bubble CPAP, the electric centrifuge, the oxygen therapy apparatus, the ultrasonic nebulizer and the examination light each carry a dash in the count column.

- No engraved number or serial number is written against any line on the copy, so no item at this facility can be identified again.

- The desks are recorded as provided by the local government rather than under UgIFT. Which of them the programme supplied should be settled with the district.

- The binocular microscope is recorded as not of standard and another one is asked for. The glucometer is recorded as outdated.

- The cost, recoverable cost and depreciation columns are empty on every page, so nothing at this facility carries a value.

- The supervisor block and the date of submission are blank on the cover. Filled toolkit output uses Kassim Luminsa and +256 702 806116 per RULES.md 3.15, and leaves the date of submission blank.