ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bugisu |
| Name of Local Government | Sironko District |
|  | Sironko District |
| VERIFIER PARTICULARS |  |
| Full name | Kyanamira Nathan, Ahabwe Derrick, Asio Miriam Joyce |
| Contact/ email and Telephone | 0783701410, 0701565787, 0784893786 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Simu Pondo HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. An inventory list of UgIFT assets was produced at the facility. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Currently, assets are integrated under the O&M workplan. If funds are available not exceeding one million, simple repairs are made through PHC. The sub-county also extends support on infrastructural work at the centre; culverts on roads leading to the centre have been put in place. The district contacts Mbale Hospital to help with broken items such as the fridge at the centre. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has improved infrastructural buildings such as the delivery room and maternal and child health room, and has enhanced provision of equipment used at the health centre such as patient beds with drips to ease services. Challenges: water supply is still limited in dry seasons; roads leading to the health centre are in bad condition, not wide enough and slippery when it rains, so pregnant mothers fail to reach the facility. Recommendations: Mr Woniala James requests UgIFT to supply water at the centre during the dry season; finish the medical laboratory building, which is ongoing slowly, in time to ease better service provision. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Sironko District        NAME OF HEALTH FACILITY: Simu Pondo HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | Health Examination |  | Palm aneroid |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (2) | Consultation room |  | Manual medical equipment |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters, Duo Operated (2) | Laboratory |  | Steam sterilizer medical tool |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick (1) | O.P.D |  | Kicked bucket stainless |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand (3) | Antenatal room |  | With sterile basins |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved (2) | Cold chain room |  | With a glass microscope |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable (12) | Examination unit assistance |  | Multi-compartment lockers |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand (8) | Medical ward |  | Hooked for bottle holding |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand (2) | Health examination / consultation room |  | Vertical aligned with slots |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch (4) | Antenatal room |  | Steel stainless and adjustable of height |  |  |  |  |  |  |  |  |  |  |  |
| Examination light, LED (6) | Labour suite |  | Head lights |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer (2) | Laboratory |  | Medical equipment with a test strip, lancet |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital (2) | Laboratory |  | Medical tool with lancets |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter, Mounted (4) | Immunisation room |  | Fixed with head piece |  |  |  |  |  |  |  |  |  |  | 2011 written on the printed item line. |
| Instrument Trolley (4) | Labour suite / ward |  | Open shelved with rails |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular (1) | Laboratory |  | Binocular lenses and knobs |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope (1) | Laboratory |  | Hand held with lens |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (5) | Labour suite / ward |  | Have free standing curtain |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley (1) | Labour suite |  | With safety side rails |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic (4) | O.P.D |  | Double door |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope (8) | Examination and consultation |  | With tubing complete item |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch (2) | Labour suite |  | Reset, start/pause feature |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (1) | Antenatal room |  | Scooped medical tool |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas (2) | Staff quarters |  | Has 4 cook top |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult (4) | O.P.D |  | Manual height meter reading |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant (4) | Immunisation room |  | Hanging with stainless steel |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler (2) | Labour suite |  | Has movable tray |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair (8) | Antenatal room |  | With foot rest, arm rest |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment (1) | Dispensary O.P.D |  | TV set with DVD |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (20) | Ward / labour suite / immunisation room |  | Metallic with pedal operated lid (container) |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received under UgIFT written on the line. |
| Diagnostic Equipment Set for MCH (2) | Examination room / antenatal |  | Surgical scalpel set |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD (2) | O.P.D / dispensary |  | Has triage pace set |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic (2) | Laboratory room |  | Borosilicate glass made |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment (2) | Labour suite |  | Container made with surgical tools |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing (6) | Labour suite |  | Sterile surgical tools made |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT (1) | Examination and consultation |  | With mirror and forceps |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture (3) | Immunisation room |  | Has scalpel handle |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held (4) | Immunisation room |  | Non-electronic plastic finger tip reader |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received under UgIFT written on the line. |
| Bed, Pediatric Patient, With Mattress (4) | Ward |  | Made of manual; hand-cranks for adjustment |  |  |  |  |  |  |  |  |  |  | Hand-cranks / antenatal-room writing sits on the blank kidney-dish rows of the next page and is treated as continuation of this line. |
| Bedside Locker (10) | Labour suite |  | Movable with steel |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument (2) | Records room |  | Key lockable with glass doors |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual (1) | Labour suite |  | L&D bed with manual foot pump |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder (4) | Laboratory |  | Made of face mask etc with plastic tubes |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes (2) | Antenatal room |  | Hand held bags / valves |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes (2) | Immunisation room |  | Hand held with oxygen reservoir |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | Laboratory room |  |  |  |  |  |  |  |  |  |  |  |  | Not Received written in the count column. |
| Nebulizer, Ultrasonic (2) | Laboratory room |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow (1) | Laboratory |  | Power and changeable medical tool |  |  |  |  |  |  |  |  |  |  |  |
| Bench (4) | O.P.D / records |  | Padded cushion made of furniture |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | Labour suite / records room |  | Plastic made for utensils and instruments |  |  |  |  |  |  |  |  |  |  | Count column carries figures that look like 02 (02) and 06 / sets of 06; no single safe quantity. |
| Baby Cot (2) | Ward / antenatal room |  | Stainless made with mattress and movable |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward (2) | Ward / labour suite |  | Surgical scopes with materials |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward (2) | Sluice room / immunisation room |  | Surgical scope with equipments |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery (5) | Sluice room / labour suite |  | Stainless steel tools |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing (5) | Labour suite / ward |  | Stitcher scissors and needle equipments |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit (5) | Antenatal room / examination and consultation |  | Handheld with valves and tubes |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory (1) | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker (6) | Ward / antenatal room |  | Made of plastic rubber candy holder |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Doppler (2) | Immunisation room |  | Hollow surgical tool |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  | Not Received written in the count column. |
| Centrifuge (Electric) (1) | Laboratory |  | Electric chambered with control panel |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair (1) | Labour suite |  | Maternity custom furniture |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  | Not Received written in the count column. |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  | Not Received written in the count column. |
| Delivery Bed (1) | Labour suite / antenatal room |  | Stainless and cushioned with macintosh cover |  |  |  |  |  |  |  |  |  |  |  |
| Examination light (6) | Labour suite |  | Head lamp and wheel |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received written on the line. |
| Bag Valve mask (Ambu Bag), Neonatal (14) | Antenatal room |  | Hand handled with inflating bag |  |  |  |  |  |  |  |  |  | Functioning |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | Not provided written on the line. |
| Office Chair (14) | Records department room / OPD admission room |  | Adjustable with mesh back |  |  |  |  |  |  |  |  |  | Available and in use / functioning |  |
| Guard house (1) | Shelter / housing |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  | Not Received written on the line. |
| Pit latrines (3) | Sanitation |  | Has waste bucket |  |  |  |  |  |  |  |  |  |  |  |
| Placenta pit (1) | General / public |  | Covered with pit |  |  |  |  |  |  |  |  |  |  |  |
| Gates (2) and fence (1) |  |  | Chain ringed |  |  |  |  |  |  |  |  |  |  | Count written as gates 02 / fence 01; fence figure soft. |
| Cabinet (3) | Consultation room |  | With multiple drawer |  |  |  |  |  |  |  |  |  |  |  |
| Medical equipment (1 set) | Public |  | Made with cylinders |  |  |  |  |  |  |  |  |  |  |  |
| Water tanks (4) | General |  | Plastic |  |  |  |  |  |  |  |  |  |  | Count written as 03+1. |
| Flow splitter (4) | Immunisation room |  | With multiple fluid flow meter |  |  |  |  |  |  |  |  |  | Functioning and in use |  |
| Venturi mask (15) |  |  | Plastic mask / Venturi mask |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool Surgeon (1) |  |  | Adjustable leathered |  |  |  |  |  |  |  |  |  |  |  |
| MUAC Tapes (4) | Examination area / immunisation room |  | Striped with arm bands |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings - staff quarters (3 stance) | Shelter / housing |  | Buildings with doors and windows |  |  |  |  |  |  |  |  |  |  |  |
| Inverter (1) |  |  | Black in colour electronic |  |  |  |  |  |  |  |  |  |  |  |
| Batteries MPP (4) | Power room |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire extinguishers (2) | Laboratory suite |  | Cylindrical with carbon dioxide foam |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Sironko District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Sironko District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Sironko District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- The sub-region field on the page is filled as Budadiri East Health Sub District. Structured output uses Bugisu as the sub-region and Sironko District as the local government.

- The facility name on the pages reads Simupondo Health Centre III. Structured output records Simu Pondo HC III.

- The supervisor line on the page reads Mr Luminsa Kassim; the contact line reads about 0783725419 / 0702806116. Filled toolkit output follows RULES.md 3.15 for supervisor naming where settled elsewhere.

- Date of submission is blank in structured output per RULES.md 3.15.

- The hand-filled Asset Number cells are quantity counts. They are carried into the item name where clear and left blank in the Asset Number column.

- Grouped Date Placed in Service entries on the right-hand pages are too soft to assign to each line with confidence, so they are left blank.

- Grouped Equipment status / Remarks entries on the right-hand pages are often written across several lines (including repeated NOT ENGRAVED BY / UNDER UGIFT notes) and are left blank where they cannot be paired safely to a single schedule row.

- Instrument tray, Mid Upper Arm Tape, Marker Tape, Kidney dish, Kidney dish basin, Vaginal speculum (Cusco), and several other printed lines are blank on the hand-filled copy and are not carried.

- Handwriting that reads as antenatal room / hand-cranks for adjustment sits on the blank kidney-dish rows after Bed, Pediatric Patient; it is treated as continuation of the pediatric bed description.

- Disinfection Buckets carries ambiguous count figures (02 (02) / 06 or sets of 06); no quantity is written into the item name.

- Not received / not provided / N/R appears for Wall Clock; Bed, Adult Patient with Mattress; Suction Apparatus, (Electric); Bubble CPAP; Radiant Infant Warmer; Haemoglobin Meter, Sahli; Instrument set, ENT Basic for HCIII; Incubator; and Desk, so no quantity is carried into those item names.

- Examination light, LED (6) and a later Examination light (6) line both appear filled; it is unclear whether these are the same stock counted twice.

- Delivery Bed, Hydraulic Manual (1) and a later Delivery Bed (1) both appear; treat as separate page lines unless confirmed as one item.

- The handwritten Medical equipment (1 set) buildings-page line is too generic to resolve to a programme item name with confidence.

- Gates / fence count is soft (gates 02; fence 01 on one reading); fence quantity should be confirmed.

- A note below the buildings page records ongoing construction of the laboratory building (non-residential); it is not carried as a completed schedule quantity.

- Tag marks on the buildings page (including a possible KH/UG 492-style mark on pit latrines and soft marks on the guard house) cannot be assigned safely and stay blank.

- The informant name in the recommendations looks like Mr Woniala / Wioniala James; spelling is soft.