ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WAKISO AND GREATER MPIGI |
| --- | --- |
| SUB-REGION: | GOMBA |
| Name of Local Government | GOMBA LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | NAMPEBWA EMILY |
| Contact/ email and Telephone | emilynampebwa@gmail.com 0767056346 |
| Supervisor/ Sub team leader |  |
| Name | Lawrence Kalwoya |
| Contact | 0774106047 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: NGOMENENE HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility uses PHC funds to repair/service and replace the assets provided under Ugift

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

BENEFITS

- Better service delivery- number of deliveries and OPD patients has increased because the facility has enough equipment’s and supplies to meet the targeted population.

- Fridge and centrifuge in the laboratory help to keep vaccines safe and samples safe too.

CHALLENGES

- Power challenge- the existing power source is not enough to enable the efficient running of some of the machines that were received by the facility.

- Toilets still under construction and aren’t functional.

- There’s no incinerator which makes disposal of wastes difficult

RECOMMENDATIONS

- Extend solar/ or an alternative power backup

- Provide a linkage between the facility administration and service providers for maintenance of faulty equipment.

NOTE: MICROSCOPE WAS GIVEN TO ANOTHER HEALTH FACILITY

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health center checklist

NAME OF LG; GOMBA LOCAL GOVERNMENT                                                            NAME OF HEALTH FACILITY; NGOMENENE HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | HEALTH |  | White with a screen in color |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 121,268 |  |  |  | Good | In use |
| B.P. Machine (Aneroid wall mounted)(2) | HEALTH |  |  |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 161,690 |  |  |  | Good | In use |
| Autoclave 20 Liters., Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick(01) | HEALTH |  | A mobile stainless-steel bowl mounted on a metal frame that can be moved around by kicking with foot |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 169,775 |  |  |  | Good | In use |
| Bowl Stand(02) | HEALTH |  | Low stand made of stainless steel with two circular rings to hold wahing bowls |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 388,056 |  |  |  | Good | In store |
| Counting chamber Neubauer- Improved(02) | HEALTH |  | Rectangular glass slide with dropers |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 25,870 |  |  |  | Good | In store |
| Cupboard Steel, Lockable(02) | HEALTH |  | Double door storage cabinet, locking steel handles and shelves inside |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 646,760 |  |  |  | Good | In use |
| Drip Stand(08) | HEALTH |  | Stainless steel with adjustable height with wheels and hooks to hang medicine drips |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 105,099 |  |  |  | Good | In store |
| ESR Stand(01) | HEALTH |  | Rectangular plastic stand with holes and clips to hold ESR tubes |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 80,845 |  |  |  | Good | In store |
| Examination Couch(02) | HEALTH |  | Washable padded black surface with a metallic frame adjustable black rest (head) |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 565,915 |  |  |  | Good | In use |
| Examination light,LED (02) | HEALTH |  | White in color, movable with functional rollers and cables to enable charging |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 266,789 |  |  |  | Good | In store |
| Glucometer(02) | HEALTH |  | Hand held electronic device with a small screen, a slot where you insert a test strip and button for control |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 97,014 |  |  |  | Good | In store |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter(01) | HEALTH |  | Head piece that rests on patients head, with a scale in centimeters |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 210,197 |  |  |  | Good | In store |
| Instrument Trolley(02) | HEALTH |  | Stainless steel with shelves, push handles and a ring for inserting a bowl |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 590,169 |  |  |  | Good | In store |
| Microscope Binocular (01) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope(01) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (04) | HEALTH |  | Foldable, white and blue curtains with a steel frame and movable from one place to another |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 323,380 |  |  |  | Good | Wheels are off and cannot stand |
| Patient Trolley(01) | HEALTH |  | Stainless steel with wheeled push handles at both ends |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 2,684,054 |  |  |  | Good | In store |
| Refrigerator, Basic(01) | HEALTH |  | 2 doors, silver in color |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 3,880,560 |  |  |  | Good | In store |
| Stethoscope(04) | HEALTH |  | Black tube, ear tip stainless steel chest piece |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 52,549 |  |  |  | Good | In use |
| Stop Watch(02) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher(01) | HEALTH |  | Blue mattress wheeled with a steel frame |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 2,684,054 |  |  |  | Good | In store |
| Stove, Gas(01) | HEALTH |  | White cylinder Stabex 8kg |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 218,282 |  |  |  | Good | In store |
| Weighing Scale with Height Meter, Adult(02) | HEALTH |  | White in color with a steel platform, aluminum height rod, rubber mat |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 371,887 |  |  |  | Good | In use |
| Weighing Scale, Infant(02) | HEALTH |  | White in color tray type that uses batteries to operate |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 210,197 |  |  |  | Good | In store, thou with one in use in the delivery room |
| Weighing Scale, Toddler(02) | HEALTH |  | Spring-loaded hanging mechanism with an analog circular dial face. |  |  |  |  |  | 60,634 |  |  |  | Good | In store |
| Wheel Chair | HEALTH |  | Foldable, black in color with a drip stand, rubber tires |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 444,648 |  |  |  | Good |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (06) | HEALTH |  | Stainless metallic containers with foot operation. |  |  |  |  |  | 97,014 |  |  |  | Good | In store |
| Wall Clock (04) | HEALTH |  | Battery operated circular device with numbers and a frame with glass |  |  |  |  |  | 32,338 |  |  |  | Good | In store |
| Diagnostic Equipment Set for MCH (02) | HEALTH |  | Contains many equipment in a carry case |  |  |  |  |  | 363,803 |  |  |  | Good | In store |
| Diagnostic Equipment Set for OPD (02) | HEALTH |  |  |  |  |  |  |  | 808,450 |  |  |  | Good | In store |
| Glassware Set, Laboratory, Basic((02) | HEALTH |  | A set of glass apparatus used in the laboratory |  |  |  |  |  | 646,760 |  |  |  | Good | In store |
| Hollow Ware Set, Treatment ( | HEALTH |  | A set of stainless-steel equipment |  |  |  |  |  | 808,450 |  |  |  | Good | In store |
| Instrument Set, Dressing (02) | HEALTH |  | Stainless steel and contains all equipment |  |  |  |  |  | 404,225 |  |  |  | Good | In store |
| Instrument Set, Basic ENT (02) | HEALTH |  | Set of stainless-steel instrument |  |  |  |  |  | 2,554,702 |  |  |  | Good | In store |
| Instrument Set, Suture | HEALTH |  |  |  |  |  |  |  | 428,479 |  |  |  | Good | In store |
| Pulse Oximeter, Hand held(02) | HEALTH |  | Digital white display rechargeable battery, |  |  |  |  |  | 2,231,322 |  |  |  | Good | In store |
| Bed, Adult Patient with Mattress (10) | HEALTH |  | Metallic frame white in color with a black washable mattress, adjustable back rest with wheels and a drip stand |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 892,529 |  |  |  | Good | Seen |
| Bed, Pediatric Patient, With Mattress (5) | HEALTH |  | Black mattress with ,side rails, white andpink with drip stand |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 1,409,937 |  |  |  | Good | Seen |
| Bedside Locker ( |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument (01) | HEALTH |  | Grey steel with shelves inside |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 937,802 |  |  |  | Good | In store |
| Delivery Bed, Hydraulic Manual(01) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder(03) | HEALTH |  | Metallic cylinder 47kgs |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 905,464 |  |  |  | Good | In store |
| Resuscitator Manual, Infant, with all Mask sizes (02) | HEALTH |  | White containers containing masks |  |  |  |  |  | 226,366 |  |  |  | Good | In store |
| Resuscitator Manual, Adult, with all mask sizes (02) | HEALTH |  | White container containing adult masks |  |  |  |  |  | 234,451 |  |  |  | Good | In store |
| Suction Apparatus, (Electric) (02) | HEALTH |  | Has 2 jars, suction tubing and a foot pedal |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 1,075,239 |  |  |  | Good | In store |
| Nebulizer, Ultrasonic (01) | HEALTH |  | Has mask, mouth piece, air tubing medication cups |  |  |  |  |  | 339,549 |  |  |  | Good | In store |
| Oxygen Concentrator, Duo Flow (04) | HEALTH |  | Humidifier bottle air filter with a nasal cannula |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 3,492,504 |  |  |  | Good | In store |
| Bench | HEALTH |  | Wooden metallic frame furniture |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 1,293,520 |  |  |  | Good | In store |
| Disinfection Buckets (06) | HEALTH |  | White plastic with covers |  |  |  |  |  | 50,932 |  |  |  | Good | In store |
| Baby Cot (05) | HEALTH |  | Small bed with a metallic frame, drop sides, wheels and a black mattress |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  | 970,140 |  |  |  | Good | In store |
| Diagnostic Equipment Set for Ward (03) | HEALTH |  | Contains a set of equipment |  |  |  |  |  | 606,338 |  |  |  | Good | In store |
| Hollow Ware Set, Ward (03) | HEALTH |  | Contains a set of equipment |  |  |  |  |  | 751,859 |  |  |  | Good | In store |
| Instrument Set, Delivery (03) | HEALTH |  | Contains a set of equipment |  |  |  |  |  | 1,091,408 |  |  |  | Good | In store |
| Instrument Set, Stitch Removing (03) | HEALTH |  | Contains a set of equipment in a carry bag |  |  |  |  |  | 242,535 |  |  |  | Good | In store |
| MVA Kit (04) | HEALTH |  | Packed in stainless tray with a cover |  |  |  |  |  | 242,535 |  |  |  | Good | In store |
| Stool, Laboratory (01) | HEALTH |  | Wheeled round adjustable seat |  |  |  |  |  | 388,056 |  |  |  | Good | In store |
| Penguin Sucker (03) | HEALTH |  | Soft rubber liked bulb shaped with a penguin nozzle |  |  |  |  |  | 17,786 |  |  |  | Good | In store |
| Fetoscope, Doppler (02) | HEALTH |  | Cone shaped plastic instrument |  |  |  |  |  | 14,553 |  |  |  | Good | In store |
| Bubble CPAP (02) | HEALTH |  | Patient circuit nasal interface |  |  |  |  |  | 3,298,476 |  |  |  | Good | In store |
| Centrifuge (Electric) (02) | HEALTH |  | A grey and blue machine with a timer used in the laboratory |  |  |  |  |  | 970,140 |  |  |  | Good | In store |
| Kangaroo Mother Care Chair (01) | HEALTH |  | Brown chair padded with seat, has a back rest that can be adjusted with arm and foot rests |  |  |  |  |  | 1,681,576 |  |  |  | Good | In store |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | HEALTH |  | Blue in color, adjustable with padded shoulder rests, a large metal base with brakes |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  |  |  |  |  | Good | Seen |
| Examination light | HEALTH |  | Led lights with adjustable heights |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  |  |  |  |  | Good | In use |
| Instrument set, ENT Basic for HCIII | HEALTH |  | A set of ear, nose and throat examination and procedure instruments for diagnosis and minor treatment in stainless steel tray with cover |  |  |  |  |  |  |  |  |  | Good | In store |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | Black leather with handles and wheels |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  |  |  |  |  | Good | In use, thou two chairs have broken arm rests. |
| Desk | HEALTH |  | Long brown wooden tables with lockable drawers |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  |  |  |  |  | Good | In use |
| Filing Cabinet | HEALTH |  | Grey 4 drawer with a vertical locking system |  | UGIFT/NGO HC 3/FY 24-25 |  |  |  |  |  |  |  | Good | In use |
| Non-Residential Buildings | HEALTH |  | Placenta pit Pit latrine with showers |  |  |  |  |  |  |  |  |  | Good | In a good condition |
| Residential Buildings | HEALTH |  | 1 floored building with maternity wing, male and female wards , delivery room |  |  |  |  |  |  |  |  |  | Good | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |