ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: |  |
| --- | --- |
| SUB-REGION: | WAKISO AND GREATER MPIGI |
| Name of Local Government | MAKINDYE SSABAGABO DIVISON |
| VERIFIER PARTICULARS |  |
| Full name | NAMPEBWA EMILY |
| Contact/ email and Telephone | 0767056346 emilynampebwa@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Lawrence Kalwoya |
| Contact | 0774106047 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KIBIRI HEALTH III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility commenced operations on 31st August 2026.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

The facility commenced operations on 31st August 2026.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG : MAKINDYE- SSABAGABO DIVISON           NAME OF HEALTH FACILITY: KIBIRI HEALTH III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed in Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (2) | HEALTH |  | Clinical sphygmomanometer with a large, rotatable round dial |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Autoclave 20 Liters.,Duo Operated (03) | HEALTH |  | Cylindrical drum made of stainless steel with a heavy cover with black pressure valves S/N 110166495026 |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Bowl, Kick (1) | HEALTH |  | A mobile stainless-steel bowl mounted on a metal frame that can be moved around by kicking with foot |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Bowl Stand | HEALTH |  | Low stand made of stainless steel with two circular rings to hold wahing bowls |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Counting chamber Neubauer- Improved (2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | HEALTH |  | Double door storage cabinet, locking steel handles and shelves inside |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Drip Stand(4) | HEALTH |  | Stainless steel with adjustable height with wheels and hooks to hang medicine drips |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| ESR Stand (1) | HEALTH |  | Rectangular plastic stand with holes and clips to hold ESR tubes |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Examination Couch(3) | HEALTH |  | Washable padded black surface with a metallic frame adjustable black rest (head) |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Examination light,LED (2) | HEALTH |  | White in color, movable with functional rollers and cables to enable charging |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Glucometer (1) | HEALTH |  | Hand held electronic device with a small screen, a slot where you insert a test strip and button for control |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (2) | HEALTH |  | Head piece that rests on patient’s head, with a scale in centimeters |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Instrument Trolley(2) | HEALTH |  | Stainless steel with shelves, push handles and a ring for inserting a bowl |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Microscope Binocular (1) | HEALTH |  | Brand; Euromex White in color with black lens S/N EC2210082 |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (4) | HEALTH |  | Foldable, white and blue curtains with a steel frame and movable from one place to another |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic (1) | HEALTH |  | 2 doors, silver in color |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Stethoscope (9) | HEALTH |  | Black tube, ear tip stainless steel chest piece |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Stop Watch (1) | HEALTH |  |  |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Stretcher (2) | HEALTH |  | Blue mattress wheeled with a steel frame |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Stove, Gas (2) | HEALTH |  | 2 Burner gas with auto ignition |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant(2) | HEALTH |  | White in color tray type that uses batteries to operate |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Weighing Scale, Toddler(2) | HEALTH |  | Spring-loaded hanging mechanism with an analog circular dial face. |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Wheel Chair (3) | HEALTH |  | Foldable, black in color with a drip stand, rubber tires |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Pead wheel chair=2 Adult wheel chair=1 |
| Audio Visual Equipment | HEALTH |  | TV 40 inch projector |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD |  |
| Medical Waste Bin (19) | HEALTH |  | Stainless metallic containers with foot operation. |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Wall Clock (2) | HEALTH |  | Battery operated circular device with numbers and a frame with glass |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Diagnostic Equipment Set for MCH (2)s | HEALTH |  | Contains many equipment in a carry case |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic (2) | HEALTH |  | A set of glass apparatus used in the laboratory |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Hollow Ware Set, Treatment (3) | HEALTH |  | A set of stainless-steel equipment |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Instrument Set, Dressing (2) | HEALTH |  | Stainless steel and contains all equipment |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture (3) | HEALTH |  |  |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Pulse Oximeter, Hand held (4) | HEALTH |  | Digital white display rechargeable battery, |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Bed, Adult Patient with Mattress (10) | HEALTH |  | Metallic frame white in color with a black washable mattress, adjustable back rest with wheels and a drip stand |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Bed, Pediatric Patient, With Mattress (10) | HEALTH |  | Black mattress with ,side rails, white and blue with drip stand |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Bedside Locker | HEALTH |  | Grey like lockers with a blue base, has wheels |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (3) | HEALTH |  | Metallic cylinder black in color |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Resuscitator Manual, Infant, with all Mask sizes (5) | HEALTH |  | White containers containing masks |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Resuscitator Manual, Adult, with all mask sizes (4) | HEALTH |  | White container contains adult masks |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Suction Apparatus, (Electric) (2) | HEALTH |  | Has 2 jars, suction tubing and a foot pedal S/N 043825 |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Nebulizer, Ultrasonic (2) | HEALTH |  | Has mask, mouth piece, air tubing medication cups Brand: FLO CLINEB S/N 10642 |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Oxygen Concentrator, Duo Flow (4) | HEALTH |  | Humidifier bottle air filter with a nasal cannula S/N MZJIOD148655 |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Bench (4) | HEALTH |  | Wooden metallic frame furniture |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Disinfection Buckets(4) | HEALTH |  | White plastic with covers |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Baby Cot (5) | HEALTH |  | Small bed with a metallic frame, drop sides, wheels and a black mattress |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing (2) | HEALTH |  | Contains a set of equipment in a carry bag |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| MVA Kit (5) | HEALTH |  | Packed in stainless tray with a cover |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Stool, Laboratory | HEALTH |  | Wheeled round adjustable seat |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Penguin Sucker (1) | HEALTH |  | Soft rubber liked bulb shaped with a penguin nozzle |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Fetoscope, Dopplar |  |  |  |  |  |  | 31st August 2026 |  |  |  |  |  |  |  |
| Bubble CPAP (2) | HEALTH |  | Patient circuit nasal interface |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Centrifuge (Electric) (1) | HEALTH |  | A grey and blue machine with a timer used in the laboratory S/N LXJLC4KB2504035 |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Kangaroo Mother Care Chair (2) | HEALTH |  | Brown chair padded with seat, has a back rest that can be adjusted with arm and foot rests |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Radiant Infant Warmer (2) | HEALTH |  | Mobile electronically operstaed warmer with galsses consisting of trolley with a base net, switch , control panels and alarms |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (2) | HEALTH |  | Black in color, adjustable with padded shoulder rests, a large metal base with brakes |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal (04) | HEALTH |  |  |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (6) | HEALTH |  | Black leather with handles and wheels |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Desk (4) | HEALTH |  | Long brown wooden tables with lockable drawers |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Filing Cabinet | HEALTH |  | Grey 4 drawer with a vertical locking system |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | Seen |
| Non Residential Buildings | HEALTH |  | Placenta pit Incinerator Medical waste pit Pit latrine with showers |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | All fit for use |
| Residential Buildings | HEALTH |  | 3 floored building Ground floor has OPD 1ST floor has maternity wing 2nd floor has IPD with male ward and women together with children’s ward. 2 staff quarter houses |  | Not engraved |  | 31st August 2026 |  |  |  |  |  | GOOD | All fit for use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |