ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WAKISO AND GREATER MPIGI |
| --- | --- |
| SUB-REGION: | NASANANA |
| Name of Local Government | NASANANA MUNICIPAL COUNCIL |
| VERIFIER PARTICULARS |  |
| Full name | NAMPEBWA EMILY |
| Contact/ email and Telephone | emilynampebwa@gmail.com 0767056346 |
| Supervisor/ Sub team leader |  |
| Name | Lawrence Kalwoya |
| Contact | 0774106047 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: MATUGGA HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility uses PHC funds to repair/service and replace the assets provided under Ugift

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

BENEFITS

- Better service delivery- number of deliveries and OPD patients has increased because the facility has enough equipment’s and supplies to meet the targeted population.

- Fridge and centrifuge in the laboratory help to keep vaccines safe and samples safe too.

CHALLENGES

- Power challenge- the existing power source is not enough to enable the efficient running of some of the machines that were received by the facility.

- Toilets still under construction and aren’t functional.

- Incinerator isn’t yet complete which makes the challenge of burning sharp items difficult.

- Fence is made of bribed ware which increases the risk of theft

RECOMMENDATIONS

- Complete the toilet and incinerator

- Extend solar/ or an alternative power backup

- Provide a linkage between the facility administration and service providers for maintenance of faulty equipment.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG; NASANANA MUNCIPAL COUNICL  NAME OF HEALTH FACILITY; MATUGGA HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | HEALTH |  | White with a screen in color |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| B.P. Machine (Aneroid wall mounted) | HEALTH |  |  |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Autoclave 20 Liters., Duo Operated | HEALTH |  | Cylindrical drum made of stainless steel with a heavy cover with black pressure valves |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Bowl, Kick | HEALTH |  | A mobile stainless-steel bowl mounted on a metal frame that can be moved around by kicking with foot |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use, thou some are still kept in the stores |
| Bowl Stand | HEALTH |  | Low stand made of stainless steel with two circular rings to hold wahing bowls |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use, thou some are still kept in the stores |
| Counting chamber Neubauer- Improved | HEALTH |  | Rectangular glass slide with dropers |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Not yet in use |
| Cupboard Steel, Lockable | HEALTH |  | Double door storage cabinet, locking steel handles and shelves inside |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Drip Stand(6) | HEALTH |  | Stainless steel with adjustable height with wheels and hooks to hang medicine drips |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| ESR Stand | HEALTH |  | Rectangular plastic stand with holes and clips to hold ESR tubes |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Under use |
| Examination Couch(7) | HEALTH |  | Washable padded black surface with a metallic frame adjustable black rest (head) |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Examination light,LED (5) | HEALTH |  | White in color, movable with functional rollers and cables to enable charging |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Glucometer | HEALTH |  | Hand held electronic device with a small screen, a slot where you insert a test strip and button for control |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Haemoglobin Meter, Digital | HEALTH |  | Hand held device with a LDC display, has a meter where the cuvette is inserted |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good |  |
| Height Meter | HEALTH |  | Head piece that rests on patients head, with a scale in centimeters |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Instrument Trolley(6) | HEALTH |  | Stainless steel with shelves, push handles and a ring for inserting a bowl |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Some are in use, while others are kept in the store |
| Microscope Binocular (1) | HEALTH |  | Brand: Primostar 3 Has a metal body, with rotatable see-through lens |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Under use. |
| Otoscope | HEALTH |  | Magnifying lens and light source battery |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good |  |
| Patient Screen (11) | HEALTH |  | Foldable, white and blue curtains with a steel frame and movable from one place to another |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use thou 8 white patient screens have no engravement on them. |
| Patient Trolley | HEALTH |  | Stainless steel with wheeled push handles at both ends |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Refrigerator, Basic | HEALTH |  | 2 doors, silver in color |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | All in under usage |
| Stethoscope | HEALTH |  | Black tube, ear tip stainless steel chest piece |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  | Good |  |
| Stretcher | HEALTH |  | Blue mattress wheeled with a steel frame |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Stove, Gas | HEALTH |  | White cylinder Stabex 8kg |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Weighing Scale with Height Meter, Adult | HEALTH |  | White in color with a steel platform, aluminum height rod, rubber mat |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Some are in use |
| Weighing Scale, Infant | HEALTH |  | White in color tray type that uses batteries to operate |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Some are in use |
| Weighing Scale, Toddler | HEALTH |  | Spring-loaded hanging mechanism with an analog circular dial face. |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Some are in use |
| Wheel Chair | HEALTH |  | Foldable, black in color with a drip stand, rubber tires |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Seen |
| Audio Visual Equipment | HEALTH |  |  |  |  |  | 30-Mar-2026 |  |  |  |  |  | Good | NOT SEEN |
| Medical Waste Bin | HEALTH |  | Stainless metallic containers with foot operation. |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Wall Clock | HEALTH |  | Battery operated circular device with numbers and a frame with glass |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Diagnostic Equipment Set for MCH | HEALTH |  | Contains many equipment in a carry case |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In store |
| Diagnostic Equipment Set for OPD | HEALTH |  |  |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Glassware Set, Laboratory, Basic | HEALTH |  | A set of glass apparatus used in the laboratory |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Hollow Ware Set, Treatment | HEALTH |  | A set of stainless steel equipment |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In store thou seen |
| Instrument Set, Dressing | HEALTH |  | Stainless steel and contains all equipment |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Seen |
| Instrument Set, Basic ENT | HEALTH |  | Set of stainless steel instrument |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Seen |
| Instrument Set, Suture | HEALTH |  |  |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Seen |
| Pulse Oximeter, Hand held | HEALTH |  | Digital white display rechargeable battery, |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Seen |
| Bed, Adult Patient with Mattress ( | HEALTH |  | Metallic frame white in color with a black washable mattress, adjustable back rest with wheels and a drip stand |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Seen/ in use |
| Bed, Pediatric Patient, With Mattress (16) | HEALTH |  | Black mattress with ,side rails, white and blue with drip stand |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Seen |
| Bedside Locker(8) | HEALTH |  | Grey like lockers with a blue base, has whhels |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Seen |
| Cupboard, Instrument | HEALTH |  | Grey steel with shelves inside |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | HEALTH |  | Metallic cyclinder |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Not yet in use |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  | White conatiners containing masks |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Not yet in use |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  | White container containg adult masks |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Not yet in use |
| Suction Apparatus, (Electric) | HEALTH |  | Has 2 jars, suction tubing and a foot pedal |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Not yet in use |
| Nebulizer, Ultrasonic | HEALTH |  | Has mask, mouth piece,air tubing medication cups |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Not yet in use |
| Oxygen Concentrator, Duo Flow | HEALTH |  | Humidifier bootle air filter with a nasal cannula |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Not yet in use |
| Bench | HEALTH |  | Wooden metallic frame furniture |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Disinfection Buckets | HEALTH |  | White plastic with covers |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Baby Cot | HEALTH |  | Small bed with a metallic frame, drop sides, wheels and a black mattress |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Diagnostic Equipment Set for Ward | HEALTH |  | Contains a set of equipment |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Not yet in use |
| Hollow Ware Set, Ward | HEALTH |  | Contains a set of equipment |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Not yet in use |
| Instrument Set, Delivery | HEALTH |  | Contains a set of equipment |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Seen |
| Instrument Set, Stitch Removing | HEALTH |  | Contains a set of equipment in a carry bag |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Seen |
| MVA Kit | HEALTH |  | Packed in stainless tray with a cover |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | seen |
| Stool, Laboratory | HEALTH |  | Wheeled round adjustable seat |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Penguin Sucker | HEALTH |  | Soft rubber liked bulb shaped with a penguin nozzle |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use thou some are also kept in the store |
| Fetoscope, Dopplar | HEALTH |  | Cone shaped plastic instrument |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Bubble CPAP | HEALTH |  | Patient circuit nasal interface |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In store |
| Centrifuge (Electric) | HEALTH |  | A grey and blue machine with a timer used in the laboratory |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Kangaroo Mother Care Chair | HEALTH |  | Brown chair padded with seat, has a back rest that can be adjusted with arm and foot rests |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Seen |
| Radiant Infant Warmer (2) | HEALTH |  | Mobile electronically operstaed warmer with galsses consisting of trolley with a base net, switch , control panels and alarms |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Not yet in use |
| Haemoglobin Meter, Sahli | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | HEALTH |  | Blue in color, adjustable with padded shoulder rests, a large metal base with brakes |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | Seen |
| Examination light | HEALTH |  | Led lights with adjustable heights |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Instrument set, ENT Basic for HCIII | HEALTH |  | A set of ear,nose and throat examinationand procedure instruments for diagnosis and minor treatment in stainless steel tray with cover |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In store |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | Black leather with handles and wheels |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Desk | HEALTH |  | Long brown wooden tables with lockable drawers |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Filing Cabinet | HEALTH |  | Grey 4 drawer with a vertical locking system |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |
| Non Residential Buildings | HEALTH |  | Placenta pit Incinerator Medical waste pit Pit latrine with showers |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | The incinerator is not yet complete The pit latrine is still under construction |
| Residential Buildings | HEALTH |  | 3 floored building Ground floor has OPD 1ST floor has maternity wing 2nd floor has IPD with male ward and women together with children’s ward. Total;39 rooms |  | NMC/MTG HC/UGIFT |  | 30-Mar-2026 |  |  |  |  |  | Good | In use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |