ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | GREATER MASAKA |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | MASAKA CITY |
| VERIFIER PARTICULARS |  |
| Full name | NANTUME PENNINAH/NASSALI VICTORIA K |
| Contact/ email and Telephone | 0760349649/0704321431 |
| Supervisor/ Sub team leader |  |
| Name | KALYOWA LAWRENCE |
| Contact | 0774106047 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: NYENDO HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

They get funds from different organizations

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Challenges

They don’t have enough staffs

Some of the equipments came incomplete

Recommendations

Most staffs are needed

But all are happy on what ugift gave them

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: MASAKA CITY		 NAME OF HEALTH FACILITY: NYENDO HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | OPD |  | They received 2 white in colour |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| B.P. Machine (Aneroid wall mounted) | OPD |  | They received 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | MOH |  | It was 1 with stainless steel |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Bowl Stand | MOH |  | They were 2 stainless steel |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Counting chamber Neubauer- Improved | MOH |  | They received 2 white in colour |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Cupboard Steel, Lockable | OPD |  | They received 2 grey in colour |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Drip Stand | WARD |  | Received 8 white in colour |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| ESR Stand | MOH |  | Received 1 with sedimentation tubes |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Examination Couch | MOH |  | They are 2 metallic |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Examination light,LED | MOH |  | They are 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Glucometer | MOH |  | They are 2 white in colour |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Haemoglobin Meter, Digital | MOH |  | They are 2 but not verified |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Height Meter | MOH |  | It was 1 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Instrument Trolley | MOH |  | It was 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Microscope Binocular | LAB |  | It was 1 white in colour |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Otoscope | OPD |  | It was1 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Patient Screen | OPD |  | They were 4 metallic blue colour |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Patient Trolley | OPD |  | It was 1 silver and black in colour with wheels |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Refrigerator, Basic | MOH |  | It was 1 grey in colour |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Stethoscope | MOH |  | They were four but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Stop Watch | MOH |  | They were 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Stretcher | OPD |  | It was 1 with black matress |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Stove, Gas | LAB |  | It was 1 black in colour with wheels |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Weighing Scale with Height Meter, Adult | MOH |  | They were 2 white in colour height meter |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Weighing Scale, Infant | MOH |  | They were 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Weighing Scale, Toddler | MOH |  | They were 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health |  | They were 6 stainless wastebins |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Wall Clock | Health |  | They were 4 round and white |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Diagnostic Equipment Set for MCH | MOH |  | They were 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Diagnostic Equipment Set for OPD | OPD |  | They were 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Glassware Set, Laboratory, Basic | LAB |  | They were 2 colourless and breakable |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | MOH |  | They were 2 and consists scissors for kidney operation |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Instrument Set, Basic ENT | MOH |  | They were not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | MOH |  | They were 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Bed, Adult Patient with Mattress | Ward |  | They received 10 beds with black mattresses |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Bed, Pediatric Patient, With Mattress | Ward |  | They received 5 beds small with black mattresses |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | OPD |  | It was 1 but not stainless |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Delivery Bed, Hydraulic Manual | MOH |  | It was 1 with a blue mattress |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | MOH |  | They were 2 oxygen therapy apparatuses |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Resuscitator Manual, Infant, with all Mask sizes | MOH |  | They were 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Resuscitator Manual, Adult, with all mask sizes | MOH |  | They were 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Suction Apparatus, (Electric) | MOH |  | They were 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Nebulizer, Ultrasonic | MOH |  | It was 1 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench | OPD |  | They were 4 brown in colour |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Disinfection Buckets | MOH |  | They were 6 in normal form |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Baby Cot | MOH |  | They were 5 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Diagnostic Equipment Set for Ward | MOH |  | They were 3 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Hollow Ware Set, Ward | MOH |  | They were 3 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Instrument Set, Delivery | MOH |  | They were 3 still packed |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Instrument Set, Stitch Removing | MOH |  | They were 3 still packed |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| MVA Kit | MOH |  | They were 4 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Stool, Laboratory | LAB |  | It was 1 black in colour |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Penguin Sucker | MOH |  | They were 3 rubber in nature |  | Not engraved | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Fetoscope, Dopplar | MOH |  | They were 2 silver in nature with a round top |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Bubble CPAP | MOH |  | They were 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Centrifuge (Electric) | MOH |  | They were 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Kangaroo Mother Care Chair | MOH |  | It was 1 but broken |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Office |  | They were 7 black in nature with wheels |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Desk | OPD |  | They were 3 brown in colour |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Filing Cabinet | OPD |  | They were 2 but not verified |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | Building |  | It was 1 with different rooms |  |  | 2024/2025 | 2024/2025 |  |  |  |  |  | Good | Functional |

Cabin                                                              Stool                                                  Glassware                                                     Weighing scale

Kangaroo chair                                                      Delivery bed

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |