ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN REGION |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | KAMULI LOCAL DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | NAMUGANGA SHARYPHA |
| Contact/ email and Telephone | 0782 619901 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …BUSOTA HC III………

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health Centre checklist

NAME OF LG…KAMULI MUNICIPAL COUNCIL…… NAME OF HEALTH FACILITY…BUSOTA HC III…

| Equipment/item | Department | Asset number | Item description | Life in months | Tag number (Engravement number) | Date of purchase | Date placed in service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Depn | Equip status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Stretcher | OPD | 2297577 | Adjustable, | 60 | BUSOTA HCIII |  | 30-Sep-25 | 2,400,000 | 2,400,000 | 480,000 | 1,920,000 | 480,000 | Functional |  |
| Nebulizer, Ultrasonic | In store | 2297578 | Ultrasonic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 259,739 | 259,739 | 51,947 | 207,792 | 51,947 | Functional |  |
| Kangaroo Mother Care, Chair- | Maternity ward | 2297579 | leather and brown in color | 60 | BUSOTA HCIII |  | 30-Sep-25 | 450,000 | 450,000 | 90,000 | 360,000 | 90,000 | Functional |  |
| Kick Bowl | OPD, female and male ward | 2297580 | Stainless | 60 | BUSOTA HCIII |  | 30-Sep-25 | 400,000 | 400,000 | 80,000 | 320,000 | 80,000 | Functional |  |
| Cup Board instrument | In charge's office | 2297581 | Large size with compartments | 60 | BUSOTA HCIII |  | 30 Sep 25 | 900,000 | 900,000 | 180,000 | 720,000 | 180,000 | Functional |  |
| Delivery Bed Hydraulic- | Labor suite | 2297582 | Manual with mackintosh cover | 60 | BUSOTA HCIII |  | 30-Sep-25 | 4,000,000 | 4,000,000 | 800,000 | 3,200,000 | 800,000 | Functional |  |
| Drip Stands | Female & male wards | 2297600 | Stainless stands | 60 | BUSOTA HCIII |  | 30-Sep-25 | 160,000 | 160,000 | 32,000 | 128,000 | 32,000 | Functional |  |
| Disinfection Buckets | Laboratory, Admission wards, OPD | 2297608 | Metallic, mid sized, blue in colour | 60 | BUSOTA HCIII |  | 30-Sep-25 | 780,000 | 780,000 | 156,000 | 624,000 | 156,000 | Functional |  |
| Baby cot | Paediatric ward | 2297615 | metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Baby cot | Paediatric ward | 2297616 | metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Baby cot | Paediatric ward | 2297618 | metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Wall Clocks | OPD, Admission ward | 2297619 | Quartz, circular shaped | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Wall Clocks | OPD, Admission ward | 2297620 | Quarzt, circular shaped | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Wall Clocks | OPD, Admission ward | 2297621 | Quarzt, circular shaped | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Wall Clocks- | OPD, Admission ward | 2297622 | Quarzt, circular shaped | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Stethoscope | OPD | 2297623 | Black | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Stethoscope | OPD | 2297624 | Black | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Stethoscope | OPD | 2297625 | Black | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Stethoscope | OPD | 2297626 | Black | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| B.P Machine- Wall Mount- | Wall Mount | 2297627 | Wall Mount | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional | Missing adult cuffs |
| B.P Machine- Wall Mount- | Wall Mount | 2297628 | Wall Mount | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional | Missing adult cuffs |
| Weighing Scale-toddlers | OPD | 2297629 | Convertible tray with an analogue screen | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Weighing Scale-toddlers | OPD | 2297630 | Convertible tray with an analogue screen | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Mid Upper Arm Tape- Baby | OPD | 2297631 | flexible PVC ribbon with colour zones | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Mid Upper Arm Tape | OPD | 2297632 | flexible PVC ribbon with colour zones | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Mid Upper Arm Tape | OPD | 2297633 | flexible PVC ribbon with colour zones | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Mid Upper Arm Tape | OPD | 2297634 | flexible PVC ribbon with colour zones | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Rescustator, infant and Adult | podiatric, adult ward | 2297635 | hand held, multi-part layout, rubbery material | 60 | Rescustator, infant and Adult-BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Rescustator, infant and Adult | Pediatric, adult ward | 2297636 | hand held, multi-part layout, rubbery material | 60 | Rescustator, infant and Adult-BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Rescustator, infant and Adult | Pediatric, adult ward | 2297637 | hand held, multi-part layout, rubbery material | 60 | Rescustator, infant and Adult-BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Rescustator, infant and Adult | Pediatric, adult ward | 2297638 | hand held, multi-part layout, rubbery material | 60 | Rescustator, infant and Adult-BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Bench | OPD, Immunisation area | 2297639 | Wooden with metallic bracing | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Bench | OPD, Immunisation area | 2297640 | Wooden with metallic bracing | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Bench | OPD, Immunisation area | 2297641 | Wooden with metallic bracing | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Bench | OPD, Immunisation area | 2297642 | Wooden with metallic bracing | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| MVA Kit | maternity ward | 2297643 | translucent silicone | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| MVA Kit | maternity ward | 2297644 | translucent silicone | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| MVA Kit | maternity ward | 2297645 | translucent silicone | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| MVA Kit | maternity ward | 2297646 | translucent silicone | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| MVA Kit | maternity ward | 2297646 | translucent silicone | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Diagnostic Equipment set-Ward- | Adult ward | 2297647 | Full set, stainless | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Diagnostic Equipment set-Ward- | Adult ward | 2297648 | Full set, stainless | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Diagnostic Equipment set-Ward- | Adult ward | 2297649 | Full set, stainless | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Instrument Set-Delivery- | Maternity ward | 2297650 | Full set, stainless | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Instrument Set-Delivery- | Maternity ward | 2297651 | Full set, stainless | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Instrument Set-Delivery- | Maternity ward | 2297652 | Full set, stainless | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Stitch Removal Set | OPD | 2297653 | Full set, stainless | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Stitch Removal Set | OPD | 2297654 | Full set, stainless | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Stitch Removal Set | OPD | 2297655 | Full set, stainless | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Desk | In charge's office, Nurse's office | 2297656 | Wooden | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Desk | In charge's office, Nurse's office | 2297657 | Wooden | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Desk | In charge's office, Nurse's office | 2297658 | Wooden | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Instrument - Basic ENT | In store | 2297659 | Full set, stainless | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | new | Equipment still in store |
| Instrument - Basic ENT | In store | 2297660 | Full set, stainless | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | new | Equipment still in store |
| Instrument - Basic ENT | In store | 2297661 | Full set, stainless | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | new | Equipment still in store |
| Penguin Sucker- | In store | 2297662 | translucent Silicone | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | new | Equipment still in store |
| Penguin Sucker- | In store | 2297663 | translucent Silicone | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | new | Equipment still in store |
| Penguin Sucker- | In store | 2297664 | translucent Silicone | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | new | Equipment still in store |
| Patient Screen | Female & male wards, | 2297665 | Metallic stand, blue | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Patient Screen | Female & male wards, | 2297666 | Metallic stand, blue | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Examination Couch | Maternity ward, admission ward | 2297667 | Metallic stand, black mackintosh | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Examination Couch | Maternity ward, admission ward | 2297668 | Metallic stand, black mackintosh | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Cupboard-steel-lockable- | In charge, Laboratory | 2297669 | steel-lockable | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Cupboard-steel-lockable- | In charge, Laboratory | 2297670 | steel-lockable | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Glass ware set-Lab-Basic- | Laboratory | 2297672 | Full set, Stainless | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Stools-Laboratory- | Laboratory | 2297583 | Metallic, with soft seat | 60 | BUSOTA HCIII |  | 30-Sep-25 | 150,000 | 150,000 | 30,000 | 120,000 | 30,000 | Functional |  |
| Microscope, Binoccular- |  | 2297584 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 700,000 | 700,000 | 140,000 | 560,000 | 140,000 | Functional |  |
| Refrigerator, basic |  | 2297585 | medium sized with 2 compartments | 60 | BUSOTA HCIII |  | 30-Sep-25 | 4,000,000 | 4,000,000 | 800,000 | 3,200,000 | 800,000 | Functional |  |
| Stove, Gas | In store | 2297586 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 800,000 | 800,000 | 160,000 | 640,000 | 160,000 | In store | Gas want provided and therefore the stove can not be utilised |
| ESR stand | OPD | 2297587 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 150,000 | 150,000 | 30,000 | 120,000 | 30,000 | Functional |  |
| Height Meter | OPD, adult, pediatric ward | 2297588 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 250,000 | 250,000 | 50,000 | 200,000 | 50,000 | Functional |  |
| Bowl Kick | OPD, adult, pediatric ward | 2297589 | stainless | 60 | BUSOTA HCIII |  | 30-Sep-25 | 194,806 | 194,806 | 38,961 | 155,845 | 38,961 | Functional |  |
| Glass ware set-Lab-Basic- | OPD, adult, pediatric ward | 2297671 | Basic set | 60 | not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Instrument Trolley | OPD, adult, pediatric ward | 2297673 | metallic with carrier trays | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Instrument Trolley | OPD, adult, pediatric ward | 2297674 | metallic with carrier trays | 60 | not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Diagnostic Equipment Set-MCH- | OPD, adult, pediatric ward | 2297675 | full set | 60 | not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Diagnostic Equipment Set-MCH- | OPD, adult, pediatric ward | 2297676 | full set | 60 | not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Diagnostic Equipment Set-CPD- | OPD, adult, pediatric ward | 2297677 | full set | 60 | not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Diagnostic Equipment Set-CPD- | OPD, adult, pediatric ward | 2297678 | full set | 60 | not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Stop Watch | Maternity ward | 2297679 |  | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Stop Watch | Maternity ward | 2297680 |  | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Instrument Set-Dressing- | OPD, adult, pediatric ward | 2297681 | full set | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Instrument Set-Dressing- | OPD, adult, pediatric ward | 2297682 | full set | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Glucometer | OPD | 2297683 | hand held | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Glucometer | OPD | 2297684 | hand held | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Counting Chamber, Nebulizer-1m | Laboratory | 2297685 | thick glass microscope slide | 60 | BUSOTA HCIII |  | 30-Sep-25 | 240,000 | 240,000 | 48,000 | 192,000 | 48,000 | Functional |  |
| Counting Chamber, Nebulizer-1m | Laboratory | 2297686 | thick glass microscope slide | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Bowl Stand- | Laboratory, OPD | 2297687 | metallic | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Bowl Stand- | Laboratory, OPD | 2297688 | metallic | 60 | Not engraved |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Patient Screen- | adult, pediatric ward | 2297689 | metallic with blue fabric | 60 | BUSOTA HCIII |  | 30-Sep-25 | 300,000 | 300,000 | 60,000 | 240,000 | 60,000 | Functional |  |
| Patient Screen- | adult, pediatric ward | 2297690 | metallic with blue fabric | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Suction Machine- | Pediatric ward | 2297691 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Suction Machine- | Pediatric ward | 2297692 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Pulse-Oximeter-Handheld- | OPD | 2297693 | Handheld | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Pulse-Oximeter-Handheld- | OPD | 2297694 | Handheld | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Oxygen Therapy | Female & male wards | 2297695 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Oxygen Therapy | Female & male wards | 2297696 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Fetoscope Doppler- | Maternity ward | 2297697 | Hand held | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Fetoscope Doppler- | Maternity ward | 2297698 | Hand held | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Hollow Ware Sets- |  | 2297699 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Hollow Ware Sets- |  | 2297700 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 0 | 0 | 0 | 0 | 0 | Functional |  |
| Bed -Adult with Mattress- | Female & male ward | 2299168 | Metallic with black mackintosh covered mattresses | 60 | BUSOTA HCIII |  | 30-Sep-25 | 750,000 | 750,000 | 150,000 | 600,000 | 150,000 | Functional |  |
| Bed -Adult with Mattress- | Female & male ward | 2299169 | Metallic with black mackintosh covered mattresses | 60 | BUSOTA HCIII |  | 30-Sep-25 | 750,000 | 750,000 | 150,000 | 600,000 | 150,000 | Functional |  |
| Bed -Adult with Mattress- | Female & male ward | 2299170 | Metallic with black mackintosh covered mattresses | 60 | BUSOTA HCIII |  | 30-Sep-25 | 750,000 | 750,000 | 150,000 | 600,000 | 150,000 | Functional |  |
| Bed -Adult with Mattress- | Female & male ward | 2299171 | Metallic with black mackintosh covered mattresses | 60 | BUSOTA HCIII |  | 30-Sep-25 | 750,000 | 750,000 | 150,000 | 600,000 | 150,000 | Functional |  |
| Bed -Adult with Mattress- | Female & male ward | 2299172 | Metallic with black mackintosh covered mattresses | 60 | BUSOTA HCIII |  | 30-Sep-25 | 750,000 | 750,000 | 150,000 | 600,000 | 150,000 | Functional |  |
| Bed -Adult with Mattress- | Female & male ward | 2299173 | Metallic with black mackintosh covered mattresses | 60 | BUSOTA HCIII |  | 30-Sep-25 | 750,000 | 750,000 | 150,000 | 600,000 | 150,000 | Functional |  |
| Bed -Adult with Mattress- | Female & male ward | 2299174 | Metallic with black mackintosh covered mattresses | 60 | BUSOTA HCIII |  | 30-Sep-25 | 750,000 | 750,000 | 150,000 | 600,000 | 150,000 | Functional |  |
| Bed -Adult with Mattress- | Female & male ward | 2299175 | Metallic with black mackintosh covered mattresses | 60 | BUSOTA HCIII |  | 30-Sep-25 | 750,000 | 750,000 | 150,000 | 600,000 | 150,000 | Functional |  |
| Bed -Adult with Mattress- | Female & male ward | 2299176 | Metallic with black mackintosh covered mattresses | 60 | BUSOTA HCIII |  | 30-Sep-25 | 750,000 | 750,000 | 150,000 | 600,000 | 150,000 | Functional |  |
| Glucometer | In store | 2299178 | Hand held | 60 | not engraved |  | 30-Sep-25 | 50,000 | 50,000 | 10,000 | 40,000 | 10,000 | Functional |  |
| Glucometer | In store | 2299179 | Hand held | 60 | not engraved |  | 30-Sep-25 | 50,000 | 50,000 | 10,000 | 40,000 | 10,000 | Functional |  |
| Drip Stands | Female & male ward | 2299180 | stainless | 60 | BUSOTA HCIII |  | 30-Sep-25 | 50,000 | 50,000 | 10,000 | 40,000 | 10,000 | Functional |  |
| Drip Stands | Female & male ward | 2299181 | stainless | 60 | BUSOTA HCIII |  | 30-Sep-25 | 50,000 | 50,000 | 10,000 | 40,000 | 10,000 | Functional |  |
| Drip Stands | Female & male ward | 2299182 | stainless | 60 | BUSOTA HCIII |  | 30-Sep-25 | 50,000 | 50,000 | 10,000 | 40,000 | 10,000 | Functional |  |
| Drip Stands | Female & male ward | 2299183 | stainless | 60 | BUSOTA HCIII |  | 30-Sep-25 | 50,000 | 50,000 | 10,000 | 40,000 | 10,000 | Functional |  |
| Drip Stands | Female & male ward | 2299184 | stainless | 60 | BUSOTA HCIII |  | 30-Sep-25 | 50,000 | 50,000 | 10,000 | 40,000 | 10,000 | Functional |  |
| Drip Stands | Female & male ward | 2299185 | stainless | 60 | BUSOTA HCIII |  | 30-Sep-25 | 50,000 | 50,000 | 10,000 | 40,000 | 10,000 | Functional |  |
| Disinfection Buckets | OPD, Laboratory, Female & male ward | 2299186 | metallic, blue in colour | 60 | BUSOTA HCIII |  | 30-Sep-25 | 80,000 | 80,000 | 16,000 | 64,000 | 16,000 | Functional |  |
| Disinfection Buckets | OPD, Laboratory, Female & male ward | 2299187 | metallic, blue in color | 60 | BUSOTA HCIII |  | 30-Sep-25 | 80,000 | 80,000 | 16,000 | 64,000 | 16,000 | Functional |  |
| Disinfection Buckets | OPD, Laboratory, Female & male ward | 2299188 | metallic, blue in color | 60 | Disinfection Buckets-BUSOTA HCIII |  | 30-Sep-25 | 80,000 | 80,000 | 16,000 | 64,000 | 16,000 | Functional |  |
| Disinfection Buckets | OPD, Laboratory, Female & male ward | 2299189 | metallic, blue in color | 60 | BUSOTA HCIII |  | 30-Sep-25 | 80,000 | 80,000 | 16,000 | 64,000 | 16,000 | Functional |  |
| Disinfection Buckets | OPD, Laboratory, Female & male ward | 2299190 | metallic, blue in color | 60 | BUSOTA HCIII |  | 30-Sep-25 | 80,000 | 80,000 | 16,000 | 64,000 | 16,000 | Functional |  |
| Disinfection Buckets | OPD, Laboratory, Female & male ward | 2299191 | metallic, blue in color | 60 | BUSOTA HCIII |  | 30-Sep-25 | 80,000 | 80,000 | 16,000 | 64,000 | 16,000 | Functional |  |
| Baby cot- | Pediatric ward | 2299192 | Small size, metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 350,000 | 350,000 | 70,000 | 280,000 | 70,000 | Functional |  |
| Baby cot- | Pediatric ward | 2299193 | Small size, metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 350,000 | 350,000 | 70,000 | 280,000 | 70,000 | Functional |  |
| Baby cot- | Pediatric ward | 2299194 | Small size, metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 350,000 | 350,000 | 70,000 | 280,000 | 70,000 | Functional |  |
| Baby cot- | Pediatric ward | 2299195 | Small size, metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 350,000 | 350,000 | 70,000 | 280,000 | 70,000 | Functional |  |
| Baby cot- | Pediatric ward | 2299196 | Small size, metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 350,000 | 350,000 | 70,000 | 280,000 | 70,000 | Functional |  |
| Wall Clocks | OPD, Laboratory, Female & male ward | 2299197 | Quartz, circular shape | 60 | BUSOTA HCIII |  | 30-Sep-25 | 30,000 | 30,000 | 6,000 | 24,000 | 6,000 | Functional |  |
| Wall Clocks | OPD, Laboratory, Female & male ward | 2299198 | Quartz, circular shape | 60 | Wall Clocks-BUSOTA HCIII |  | 30-Sep-25 | 30,000 | 30,000 | 6,000 | 24,000 | 6,000 | Functional |  |
| Wall Clocks | OPD, Laboratory, Female & male ward | 2299199 | Quartz, circular shape | 60 | BUSOTA HCIII |  | 30-Sep-25 | 30,000 | 30,000 | 6,000 | 24,000 | 6,000 | Functional |  |
| Wall Clocks | OPD, Laboratory, Female & male ward | 2299200 | Quartz, circular shape | 60 | BUSOTA HCIII |  | 30-Sep-25 | 30,000 | 30,000 | 6,000 | 24,000 | 6,000 | Functional |  |
| Wall Clocks | OPD, Laboratory, Female & male ward | 2299201 | Quartz, circular shape | 60 | BUSOTA HCIII |  | 30-Sep-25 | 30,000 | 30,000 | 6,000 | 24,000 | 6,000 | Functional |  |
| Wall Clocks | OPD, Laboratory, Female & male ward | 2299202 | Quartz, circular shape | 60 | BUSOTA HCIII |  | 30-Sep-25 | 30,000 | 30,000 | 6,000 | 24,000 | 6,000 | Functional |  |
| Stethoscope | OPD | 2299203 | black | 60 | Not engraved |  | 30-Sep-25 | 30,000 | 30,000 | 6,000 | 24,000 | 6,000 | Functional |  |
| Stethoscope | OPD | 2299204 | black | 60 | Not engraved |  | 30-Sep-25 | 30,000 | 30,000 | 6,000 | 24,000 | 6,000 | Functional |  |
| Mid Upper Arm Tape- Baby- | In store | 2299205 | flexible PVC ribbon with color zones | 60 | Not engraved |  | 30-Sep-25 | 70,000 | 70,000 | 14,000 | 56,000 | 14,000 | new | Equipment still in store |
| Mid Upper Arm Tape- Baby- | In store | 2299206 | flexible PVC ribbon with color zones | 60 | Not engraved |  | 30-Sep-25 | 70,000 | 70,000 | 14,000 | 56,000 | 14,000 | new | Equipment still in store |
| Mid Upper Arm Tape- Baby- | In store | 2299207 | flexible PVC ribbon with color zones | 60 | Not engraved |  | 30-Sep-25 | 70,000 | 70,000 | 14,000 | 56,000 | 14,000 | new | Equipment still in store |
| Mid Upper Arm Tape- Baby | In store | 2299208 | flexible PVC ribbon with color zones | 60 | Not engraved |  | 30-Sep-25 | 70,000 | 70,000 | 14,000 | 56,000 | 14,000 | new | Equipment still in store |
| B.P Machine- Wall Mount- | OPD | 2299209 | Wall Mount- | 60 | BUSOTA HCIII |  | 30-Sep-25 | 150,000 | 150,000 | 30,000 | 120,000 | 30,000 |  | Missing adult cuffs |
| B.P Machine- Wall Mount- | OPD | 2299210 | Wall Mount- | 60 | BUSOTA HCIII |  | 30-Sep-25 | 150,000 | 150,000 | 30,000 | 120,000 | 30,000 | Functional | Missing adult cuffs |
| Weighing Scale-toddlers- | OPD | 2299211 | Convertible tray with an analog screen | 60 | BUSOTA HCIII |  | 30-Sep-25 | 150,000 | 150,000 | 30,000 | 120,000 | 30,000 | Functional |  |
| Weighing Scale-toddlers- | OPD | 2299212 | Convertible tray with an analog screen | 60 | BUSOTA HCIII |  | 30-Sep-25 | 150,000 | 150,000 | 30,000 | 120,000 | 30,000 | Functional |  |
| Rescustator, Infant and Adult- | Female, male, Pediatric ward | 2299213 | manual, silicone | 60 | Not engraved |  | 30-Sep-25 | 90,000 | 90,000 | 18,000 | 72,000 | 18,000 | Functional |  |
| Rescustator, Infant and Adult- | Female, male, Pediatric ward | 2299214 | manual, silicone | 60 | Not engraved |  | 30-Sep-25 | 90,000 | 90,000 | 18,000 | 72,000 | 18,000 | Functional |  |
| Rescustator, Infant and Adult- | Female, male, Pediatric ward | 2299215 | manual, silicone | 60 | Not engraved |  | 30-Sep-25 | 90,000 | 90,000 | 18,000 | 72,000 | 18,000 | Functional |  |
| Rescustator, Infant and Adult- | Female, male, Pediatric ward | 2299216 | manual, silicone | 60 | Not engraved |  | 30-Sep-25 | 90,000 | 90,000 | 18,000 | 72,000 | 18,000 | Functional |  |
| Bench | OPD, Immunisation area | 2299217 | Wooden with metallic bracing | 60 | Bench-BUSOTA HCIII |  | 30-Sep-25 | 280,000 | 280,000 | 56,000 | 224,000 | 56,000 | Functional |  |
| Bench | OPD, Immunisation area | 2299218 | Wooden with metallic bracing | 60 | Bench-BUSOTA HCIII |  | 30-Sep-25 | 280,000 | 280,000 | 56,000 | 224,000 | 56,000 | Functional |  |
| Bench | OPD, Immunisation area | 2299219 | Wooden with metallic bracing | 60 | Bench-BUSOTA HCIII |  | 30-Sep-25 | 280,000 | 280,000 | 56,000 | 224,000 | 56,000 | Functional |  |
| Bench | OPD, Immunisation area | 2299220 | Wooden with metallic bracing | 60 | Bench-BUSOTA HCIII |  | 30-Sep-25 | 280,000 | 280,000 | 56,000 | 224,000 | 56,000 | Functional |  |
| MVA Kit | Maternity ward | 2299221 | Full set | 60 | not engraved |  | 30-Sep-25 | 49,992 | 49,992 | 9,998 | 39,994 | 9,998 | Functional |  |
| MVA Kit | Maternity ward | 2299222 | Full set | 60 | not engraved |  | 30-Sep-25 | 49,992 | 49,992 | 9,998 | 39,994 | 9,998 | Functional |  |
| MVA Kit | Maternity ward | 2299223 | Full set | 60 | not engraved |  | 30-Sep-25 | 49,992 | 49,992 | 9,998 | 39,994 | 9,998 | Functional |  |
| MVA Kit | Maternity ward | 2299224 | Full set | 60 | not engraved |  | 30-Sep-25 | 49,992 | 49,992 | 9,998 | 39,994 | 9,998 | Functional |  |
| Diagnostic Equipment set-Ward- | OPD | 2299225 | Full set | 60 | not engraved |  | 30-Sep-25 | 500,000 | 500,000 | 100,000 | 400,000 | 100,000 | Functional |  |
| Diagnostic Equipment set-Ward- | OPD | 2299226 | Full set | 60 | not engraved |  | 30-Sep-25 | 500,000 | 500,000 | 100,000 | 400,000 | 100,000 | Functional |  |
| Diagnostic Equipment set-Ward- | OPD | 2299227 | Full set | 60 | not engraved |  | 30-Sep-25 | 500,000 | 500,000 | 100,000 | 400,000 | 100,000 | Functional |  |
| Instrument Set-Delivery | Labor ward | 2299228 | Full set | 60 | not engraved |  | 30-Sep-25 | 400,000 | 400,000 | 80,000 | 320,000 | 80,000 | Functional |  |
| Instrument Set-Delivery | Labor ward | 2299229 | Full set | 60 | not engraved |  | 30-Sep-25 | 400,000 | 400,000 | 80,000 | 320,000 | 80,000 | Functional |  |
| Instrument Set-Delivery | Labor ward | 2299230 | Full set | 60 | not engraved |  | 30-Sep-25 | 400,000 | 400,000 | 80,000 | 320,000 | 80,000 | Functional |  |
| Stitch Removal Set | OPD | 2299231 | Full set | 60 | not engraved |  | 30-Sep-25 | 432,900 | 432,900 | 86,580 | 346,320 | 86,580 | Functional |  |
| Stitch Removal Set | OPD | 2299232 | Full set | 60 | not engraved |  | 30-Sep-25 | 432,900 | 432,900 | 86,580 | 346,320 | 86,580 | Functional |  |
| Stitch Removal Set | OPD | 2299233 | Full set | 60 | not engraved |  | 30-Sep-25 | 432,900 | 432,900 | 86,580 | 346,320 | 86,580 | Functional |  |
| Desk | OPD, Immunisation area | 2299234 | Wooden with metallic bracing | 60 | BUSOTA HCIII |  | 30-Sep-25 | 500,000 | 500,000 | 100,000 | 400,000 | 100,000 | Functional |  |
| Desk | OPD, Immunisation area | 2299235 | Wooden with metallic bracing | 60 | BUSOTA HCIII |  | 30-Sep-25 | 500,000 | 500,000 | 100,000 | 400,000 | 100,000 | Functional |  |
| Desk | OPD, Immunisation area | 2299236 | Wooden with metallic bracing | 60 | BUSOTA HCIII |  | 30-Sep-25 | 500,000 | 500,000 | 100,000 | 400,000 | 100,000 | Functional |  |
| Instrument - Basic ENT | In store | 2299237 | Full set | 60 | not engraved |  | 30-Sep-25 | 5,600,000 | 5,600,000 | 1,120,000 | 4,480,000 | 1,120,000 | new | Equipment new and still in store |
| Instrument - Basic ENT | In store | 2299238 | Full set | 60 | not engraved |  | 30-Sep-25 | 5,600,000 | 5,600,000 | 1,120,000 | 4,480,000 | 1,120,000 | new | Equipment new and still in store |
| Instrument - Basic ENT | In store | 2299239 | Full set | 60 | not engraved |  | 30-Sep-25 | 5,600,000 | 5,600,000 | 1,120,000 | 4,480,000 | 1,120,000 | new | Equipment new and still in store |
| Penguin Sucker | In store | 2299240 | small sized, hand-held silicone bulb | 60 | not engraved |  | 30-Sep-25 | 20,000 | 20,000 | 4,000 | 16,000 | 4,000 | new | Equipment new and still in store |
| Penguin Sucker | In store | 2299241 | small sized, hand-held silicone bulb | 60 | not engraved |  | 30-Sep-25 | 20,000 | 20,000 | 4,000 | 16,000 | 4,000 | new | Equipment new and still in store |
| Penguin Sucker | In store | 2299242 | small sized, hand-held silicone bulb | 60 | not engraved |  | 30-Sep-25 | 20,000 | 20,000 | 4,000 | 16,000 | 4,000 | new | Equipment new and still in store |
| Patient Screen | Female & male ward | 2299243 | metallic stands | 60 | BUSOTA HCIII |  | 30-Sep-25 | 150,000 | 150,000 | 30,000 | 120,000 | 30,000 | Functional |  |
| Patient Screen | Female & male ward | 2299244 | metallic stands | 60 | BUSOTA HCIII |  | 30-Sep-25 | 150,000 | 150,000 | 30,000 | 120,000 | 30,000 | Functional |  |
| Examination Couch | Maternity, admission wards | 2299245 | Metallic with black mackintosh covered mattresses | 60 | BUSOTA HCIII |  | 30-Sep-25 | 300,000 | 300,000 | 60,000 | 240,000 | 60,000 | Functional |  |
| Examination Couch | Maternity, admission wards | 2299246 | Metallic with black mackintosh covered mattresses | 60 | BUSOTA HCIII |  | 30-Sep-25 | 300,000 | 300,000 | 60,000 | 240,000 | 60,000 | Functional |  |
| Oxygen Therapy | Admissions ward | 2299247 | duo flow | 60 | BUSOTA HCIII |  | 30-Sep-25 | 1,500,000 | 1,500,000 | 300,000 | 1,200,000 | 300,000 | Functional |  |
| Oxygen Therapy | Admissions ward | 2299248 | duo flow | 60 | BUSOTA HCIII |  | 30-Sep-25 | 1,500,000 | 1,500,000 | 300,000 | 1,200,000 | 300,000 | Functional |  |
| Diagnostic Equipment Set | OPD | 2299249 | Full set | 60 | BUSOTA HCIII |  | 30-Sep-25 | 1,500,000 | 1,500,000 | 300,000 | 1,200,000 | 300,000 | Functional |  |
| Diagnostic Equipment Set | OPD | 2299250 | Full set | 60 | BUSOTA HCIII |  | 30-Sep-25 | 1,500,000 | 1,500,000 | 300,000 | 1,200,000 | 300,000 | Functional |  |
| Instrument Trolley | OPD, admissions ward | 2299251 | metallic with wheelers | 60 | BUSOTA HCIII |  | 30-Sep-25 | 800,000 | 800,000 | 160,000 | 640,000 | 160,000 | Functional |  |
| Instrument Trolley | OPD, admissions ward | 2299252 | metallic with wheelers | 60 | BUSOTA HCIII |  | 30-Sep-25 | 800,000 | 800,000 | 160,000 | 640,000 | 160,000 | Functional |  |
| Diagnostic Equipment Set-MCH | OPD, admissions ward | 2299253 | Full set, Stainless | 60 | not engraved |  | 30-Sep-25 | 1,500,000 | 1,500,000 | 300,000 | 1,200,000 | 300,000 | Functional |  |
| Diagnostic Equipment Set-MCH | OPD, admissions ward | 2299254 | Full set, Stainless | 60 | not engraved |  | 30-Sep-25 | 1,500,000 | 1,500,000 | 300,000 | 1,200,000 | 300,000 | Functional |  |
| Glass ware set-Lab-Basic- | Laboratory | 2299255 | Basic set | 60 | not engraved |  | 30-Sep-25 | 1,500,000 | 1,500,000 | 300,000 | 1,200,000 | 300,000 | Functional |  |
| Glass ware set-Lab-Basic- | Laboratory | 2299256 | Basic set | 60 | not engraved |  | 30-Sep-25 | 1,500,000 | 1,500,000 | 300,000 | 1,200,000 | 300,000 | Functional |  |
| Stop Watch | Laboratory, Maternity ward | 2299257 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 40,000 | 40,000 | 8,000 | 32,000 | 8,000 | Functional |  |
| Stop Watch | Laboratory, Maternity ward | 2299258 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 40,000 | 40,000 | 8,000 | 32,000 | 8,000 | Functional |  |
| Instrument Set-Dressing | OPD | 2299259 | Full set | 60 | not engraved |  | 30-Sep-25 | 800,000 | 800,000 | 160,000 | 640,000 | 160,000 | Functional |  |
| Instrument Set-Dressing | OPD | 2299260 | Full set | 60 | not engraved |  | 30-Sep-25 | 800,000 | 800,000 | 160,000 | 640,000 | 160,000 | Functional |  |
| Drip Stands | Female & male wards | 2299261 | Metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 50,000 | 50,000 | 10,000 | 40,000 | 10,000 | Functional |  |
| Drip Stands | Female & male wards | 2299262 | Metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 50,000 | 50,000 | 10,000 | 40,000 | 10,000 | Functional |  |
| Counting Chamber, Nebulizer | Laboratory, OPD | 2299263 | thick glass microscope slide | 60 | BUSOTA HCIII |  | 30-Sep-25 | 120,000 | 120,000 | 24,000 | 96,000 | 24,000 | Functional |  |
| Counting Chamber, Nebulizer | Laboratory, OPD | 2299264 | thick glass microscope slide | 60 | BUSOTA HCIII |  | 30-Sep-25 | 120,000 | 120,000 | 24,000 | 96,000 | 24,000 | Functional |  |
| Bowl Stand | Laboratory, OPD | 2299265 | Metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 194,806 | 194,806 | 38,961 | 155,845 | 38,961 | Functional |  |
| Bowl Stand | Laboratory, OPD | 2299266 | Metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 194,806 | 194,806 | 38,961 | 155,845 | 38,961 | Functional |  |
| Patient Screen | Female & male wards | 2299267 | Metallic with blue fabric | 60 | BUSOTA HCIII |  | 30-Sep-25 | 150,000 | 150,000 | 30,000 | 120,000 | 30,000 | Functional |  |
| Patient Screen | Female & male wards | 2299268 | Metallic with blue fabric | 60 | BUSOTA HCIII |  | 30-Sep-25 | 150,000 | 150,000 | 30,000 | 120,000 | 30,000 | Functional |  |
| Sunction Machine | Pediatric ward | 2299269 | small sized, hand held, manual, silicone | 60 | BUSOTA HCIII |  | 30-Sep-25 | 548,340 | 548,340 | 109,668 | 438,672 | 109,668 | Functional |  |
| Sunction Machine | Pediatric ward | 2299270 | small sized, hand held, manual, silicone | 60 | BUSOTA HCIII |  | 30-Sep-25 | 548,340 | 548,340 | 109,668 | 438,672 | 109,668 | Functional |  |
| Pulse-Oxymeter-Handheld | OPD | 2299271 | Handheld | 60 | BUSOTA HCIII |  | 30-Sep-25 | 250,000 | 250,000 | 50,000 | 200,000 | 50,000 | Functional |  |
| Pulse-Oxymeter-Handheld | OPD | 2299272 | Handheld | 60 | BUSOTA HCIII |  | 30-Sep-25 | 250,000 | 250,000 | 50,000 | 200,000 | 50,000 | Functional |  |
| Cupboard-steel-lockable- | administrators' office, records | 2299273 | steel-lockable | 60 | BUSOTA HCIII |  | 30-Sep-25 | 1,500,000 | 1,500,000 | 300,000 | 1,200,000 | 300,000 | Functional |  |
| Cupboard-steel-lockable- | administrators' office, records | 2299274 | steel-lockable | 60 | BUSOTA HCIII |  | 30-Sep-25 | 1,500,000 | 1,500,000 | 300,000 | 1,200,000 | 300,000 | Functional |  |
| Fetoscope Doppler- | Maternity ward | 2299275 | hand held | 60 | BUSOTA HCIII |  | 30-Sep-25 | 173,160 | 173,160 | 34,632 | 138,528 | 34,632 | Functional |  |
| Fetoscope Doppler- | Maternity ward | 2299276 | hand held | 60 | BUSOTA HCIII |  | 30-Sep-25 | 173,160 | 173,160 | 34,632 | 138,528 | 34,632 | Functional |  |
| Hollow Ware Sets- | In store | 2299277 | full set | 60 | BUSOTA HCIII |  | 30-Sep-25 | 1,400,000 | 1,400,000 | 280,000 | 1,120,000 | 280,000 | Functional |  |
| Hollow Ware Sets- | In store | 2299278 | full set | 60 | BUSOTA HCIII |  | 30-Sep-25 | 1,400,000 | 1,400,000 | 280,000 | 1,120,000 | 280,000 | Functional |  |
| Infant radiant warmer | Labor suite | 2339459 | Electronic | 60 | Busota HCIII |  | 30-Sep-25 | 6,901,152 | 6,901,152 | 1,380,230 | 5,520,922 | 1,380,230 | Functional |  |
| Autoclave 20 litres Duo operated- | In store | 2339460 | 20 litres Duo operated- | 60 | BUSOTA HCIII |  | 30-Sep-25 | 1,470,000 | 1,470,000 | 294,000 | 1,176,000 | 294,000 | Functional |  |
| Refrigerator Basic | Laboratory | 2339461 | medium sized with 2 compartments | 60 | BUSOTA HCIII |  | 30-Sep-25 | 5,500,000 | 5,500,000 | 1,100,000 | 4,400,000 | 1,100,000 | Functional |  |
| Medical, Laboratory and Research & appliances - Improvement for Busota HCIII |  | 2311484 |  | 60 | Medical, Laboratory and Research & appliances - Improvement for Busota HCIII |  | 30-Sep-25 | 5,000,000 | 5,000,000 | 1,000,000 | 4,000,000 | 1,000,000 | Functional |  |
| MVA Kit | Maternity ward | 2313256 | full kit | 60 | BUSOTA HCIII |  | 30-Sep-25 | 199,968 | 199,968 | 39,993 | 159,975 | 39,993 | Functional |  |
| Stool Laboratory | Laboratory | 2313257 | metallic stands with soft seat | 60 | BUSOTA HCIII |  | 30-Sep-25 | 150,000 | 150,000 | 30,000 | 120,000 | 30,000 | Functional |  |
| penguin sucker | Maternity ward | 2313258 | small sized, hand-held silicone bulb | 60 | BUSOTA HCIII |  | 30-Sep-25 | 60,000 | 60,000 | 12,000 | 48,000 | 12,000 | Functional |  |
| fetoscope doppler | Maternity ward | 2313259 | Hand held | 60 | BUSOTA HCIII |  | 30-Sep-25 | 346,320 | 346,320 | 69,264 | 277,056 | 69,264 | Functional |  |
| bubble cpap | In store | 2313260 |  | 60 | BUSOTA HCIII |  | 30-Sep-25 | 24,000,000 | 24,000,000 | 4,800,000 | 19,200,000 | 4,800,000 | Functional |  |
| centrifuge (electric) | Laboratory | 2313261 | upper loader, electric | 60 | BUSOTA HCIII |  | 30-Sep-25 | 4,401,152 | 4,401,152 | 880,230 | 3,520,922 | 880,230 | Functional |  |
| kangaroo mother care chair- | Maternity ward | 2313262 | Leather with brown color | 60 | BUSOTA HCIII |  | 30-Sep-25 | 450,000 | 450,000 | 90,000 | 360,000 | 90,000 | Functional |  |
| oxygen therapy apparatus, minimum 45L cylinder- | In store | 2313263 | minimum 45L cylinder- | 60 | not engraved |  | 30-Sep-25 | 4,200,000 | 4,200,000 | 840,000 | 3,360,000 | 840,000 | Functional |  |
| hollow ware set ward | OPD | 2313264 | full set | 60 | not engraved |  | 30-Sep-25 | 1,200,000 | 1,200,000 | 240,000 | 960,000 | 240,000 | Functional |  |
| instrument set delivery | Labor ward | 2313265 | Full set | 60 | not engraved |  | 30-Sep-25 | 1,298,700 | 1,298,700 | 259,740 | 1,038,960 | 259,740 | Functional |  |
| instrument set stitch removing- | OPD | 2313266 | Full set | 60 | not engraved |  | 30-Sep-25 | 1,500,000 | 1,500,000 | 300,000 | 1,200,000 | 300,000 | Functional |  |
| diagnostic equipment set for ward | OPD | 2313267 | Full set | 60 | not engraved |  | 30-Sep-25 | 180,000 | 180,000 | 36,000 | 144,000 | 36,000 | Functional |  |
| Resuscitator manual, infant, with all mask sizes- | In store | 2313269 | manual, infant, with all mask sizes- | 60 | not engraved |  | 30-Sep-25 | 180,000 | 180,000 | 36,000 | 144,000 | 36,000 | Functional |  |
| Suction apparatus (electric) | Pediatric ward | 2313270 | electric | 60 | not engraved |  | 30-Sep-25 | 1,096,660 | 1,096,660 | 219,336 | 877,324 | 219,336 | Functional |  |
| Nebulizer Ultrasonic | In store | 2313271 | Ultrasonic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 259,739 | 259,739 | 51,947 | 207,792 | 51,947 | Functional |  |
| oxygen concentrator duo flow- | Pediatric ward | 2313272 | duo flow | 60 | BUSOTA HCIII |  | 30-Sep-25 | 7,600,000 | 7,600,000 | 1,520,000 | 6,080,000 | 1,520,000 | Functional |  |
| Bench | Reception | 2313273 | Wooden with metallic bracing | 60 | Bench-BUSOTA HCIII |  | 30-Sep-25 | 1,120,000 | 1,120,000 | 224,000 | 896,000 | 224,000 | Functional |  |
| disinfection buckets | Laboratory | 2313274 | metallic, blue in color | 60 | BUSOTA HCIII |  | 30-Sep-25 | 480,000 | 480,000 | 96,000 | 384,000 | 96,000 | Functional |  |
| baby cot | Pediatric ward | 2313275 | metallic | 60 | BUSOTA HCIII |  | 30-Sep-25 | 1,750,000 | 1,750,000 | 350,000 | 1,400,000 | 350,000 | Functional |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Functional |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |