ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL REGION |
| --- | --- |
| SUB-REGION: | BUGANDA |
| Name of Local Government | MUBENDE MUNICIPALITY |
| VERIFIER PARTICULARS |  |
| Full name | KATO CHARLES |
| Contact/ email and Telephone | 0755790124 & katoc560@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Prof: MBONIGABA DEPAUL |
| Contact | 0788483159 |
| Date of submission | 06/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: LWEMIKOMAGO

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | The list was available but didn’t have costs as well as asset numbers and expected lifetime for the equipment. |
| --- | --- | --- |
| 1b | If not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility funds minor repairs using PHC funds. The facility is also aided by staff from mubende regional referral hospital to do repairs of medical equipment.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, the facility had a list of the items available |
| --- | --- | --- |

The facility conducts functionality checks on equipment at the end of every financial year to identify those that are faulty or broken.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The incharge expressed gratitude to UGIFT for providing equipment and structures which increased their OPD and attendance. She also complained about the short life span of some equipment such as office chairs, tables, bedside lockers and lab stool.

She recommended that Ugift should coordinate nationwide repairs for equipment in the health centers and supply an ultrasonic sound scan.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: MUBENDE MUNCIPAL COUNCIL    NAME OF HEALTH FACILITY: LWEMIKOMAGO HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed in Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | sinoheart, model BA-801 sionocare bp machine |  | Not engraved |  | 13/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Sinocare bp machine, Model |  | Not engraved |  | 13/06/2025 |  |  |  |  |  | functional |  |
| B.P. Machine (Aneroid wall mounted) | health |  | BP machine (aneroid wall mounted, Navy blue in colour |  | 723/MEQUIP/1630 |  | 13/06/2025 |  |  |  |  |  | functional | 1 at OPD, 1 at the maternity |
|  | health |  | BP machine (aneroid wall mounted, Navy blue in colour |  | 723/MEQUIP/1631 |  | 13/06/2025 |  |  |  |  |  | functional |  |
| Autoclave 20 Liters., Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | Autoclave, external heated, 20liters |  | 723/MEDQUIP/1660 |  | 13/06/2025 |  |  |  |  |  | Not functional |  |
| Bowl, Kick | Health |  | 1 stainless steel equipment with a removable bowl |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | functional |  |
| Bowl Stand | Health |  | Stainless steel movable |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | health |  | Stainless steel movable |  |  |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | Rectangular shaped apparatus with droppers |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional | In the store |
|  | Health |  | Rectangular shaped apparatus with droppers |  |  |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Cupboard Steel, Lockable | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 cupboard steel with transparent glass, lockable (grey) |  | 723/MEDQUIP/1661 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 cupboard steel with transparent glass, lockable (grey) |  | 723/MEDQUIP/1662 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 1Drip stand, stainless steel attached to the beds |  | 723/MEDQUIP/852 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Drip stand, MK-ISO, SN MM220210C01 |  | 723/MEDQUIP/853 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 1Drip stand, MK-ISO, SN MM220210C01 |  | 723/MEDQUIP/854 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Drip stand, MK-ISO, SN MM220210C01 |  | 723/MEDQUIP/855 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Drip stand, MK-ISO, SN MM220210C01 |  | 723/MEDQUIP/856 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Drip stand, MK-ISO, SN MM220210C01 |  | 723/MEDQUIP/857 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 1Drip stand, MK-ISO, SN MM220210C01 |  | 723/MEDQUIP/858 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Drip stand, MK-ISO, SN MM220210C01 |  | 723/MEDQUIP/859 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 ESR was available with sedimentation tubes |  | 723/MEQUIP/1641 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Examination couch metallic with a mattress |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Examination couch metallic with a mattress |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | examination light, LED |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | health |  | examination light, LED |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  | The strips for the glucometers were used up and the facility cannot get them from NMS |
|  | health |  | A Yuwell glucometer, SN: B25070000104 |  | 723/MEDQUIP/801 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | health |  | A Yuwell glucometer, SN: B25070000104 |  | 723/MEDQUIP/802 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Haemoglobin Meter, Digital | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Haemoglobin Meter, Digital |  | 723/MEDQUIP/1664 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | Haemoglobin Meter, Digital |  | 723/MEDQUIP/1665 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 height meter |  | 723/MEDQUIP/1 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 instrument trolly |  | 723/MEDQUIP/1679 |  | 10/06/2025 |  |  |  |  |  | Not Functional | Not seen, facility received one trolley |
|  | health |  | 1 instrument trolly |  | 723/MEDQUIP/1680 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 microscope binocular, |  | 723/MEQUIP/1625 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Otoscope | health |  | 1 otoscope |  | 723/MEQUIP/1663 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 patient screen, super care model TS-19 |  | 723/MEQUIP/1626 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | health |  | 1 patient screen, metallic, blue in colour, movable |  | 723/MEQUIP/1627 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | health |  | 1 patient screen |  | 723/MEQUIP/1628 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | health |  | 1 patient screen |  | 723/MEQUIP/1629 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 patient trolley of casp |  | 723/MEDQUIP/1629 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 refrigerator basic, Hisense brand | 18 months | 723/MEQUIP/1668 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | stethoscope |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | stethoscope |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | stethoscope |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | stethoscope |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Stopwatch | Health |  | 1 stopwatch |  | 723/MEQUIP/1699 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  |  |  | 1 stopwatch |  | 723/MEQUIP/1700 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 stretcher, movable |  | 723/MEDQUIP/1658 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | STOVE GAS |  | 723/MEQUIP/5602 |  | 10/06/2025 |  |  |  |  |  | Not Functional |  |
| Weighing Scale with Height Meter, Adult | health |  | 1 weighing scale with height measure |  | 723/MEDQUIP/1666 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 weighing scale with height measure |  | 723/MEDQUIP/1667 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Hanging weighing scale foe infants, |  | 723/MEQUIP/1623 |  | 10/06/2025 |  |  |  |  |  | NOT FUNCTIONAL |  |
|  | Health |  | Hanging weighing scale foe infants, |  | 723/MEQUIP/1624 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Weighing Scale, Toddler | Health |  | 1 weighing scale toddler, KUANYI MODEL, BS-50 |  | 723/MEQUIP/1675 |  | 10/06/2025 |  |  |  |  |  | Functional in the maternity ward |  |
|  | Health |  | 1 weighing scale toddler, KUANYI MODEL, BS-50 |  | 723/MEQUIP/1676 |  | 10/06/2025 |  |  |  |  |  | Functional in the maternity ward |  |
| Wheelchair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Stainless steel bins |  | 723/MEDQUIP/866 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Stainless steel bins |  | 723/MEDQUIP/867 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Medical waste bins |  | 723/MEDQUIP/868 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Medical waste bins |  | 723/MEDQUIP/869 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Medical waste bins |  | 723/MEDQUIP/870 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Medical waste bins |  | 723/MEDQUIP/871 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Wall clock |  | 723/MEQUIP/1693 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Wall clock |  | 723/MEQUIP/1694 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Wall clock |  | 723/MEQUIP/1695 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Wall clock |  | 723/MEQUIP/1696 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health | SL304 | Full diagnostic set consisting of all equipment (full medical package) |  | NOT ENGRAVED |  | 10/06/2025 |  |  |  |  |  | NOT FUNCTIONAL |  |
|  | Health | SL304 | Full diagnostic set consisting of all equipment (full medical package) |  | NOT ENGRAVED |  | 10/06/2025 |  |  |  |  |  | NOT FUNCTIONAL |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health | SL304 | 1 diagnostic equipment set |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health | SL304 | 1 diagnostic equipment set |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 glass ware set` |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 glass ware set` |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Handheld |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Pulse oximeter, handheld |  | 723/MEDQUIP/8838 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 Pulse oximeter, handheld |  | 723/MEDQUIP/839 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | 723/MEDQUIP/1642 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | 723/MEDQUIP/1643 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | 723/MEDQUIP/1644 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | 723/MEDQUIP/1645 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | 723/MEDQUIP/1646 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | 723/MEDQUIP/1647 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | 723/MEDQUIP/1648 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | 723/MEDQUIP/1649 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | 723/MEDQUIP/1650 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | 723/MEDQUIP/1651 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Pediatric beds with metallic mattresses |  | 723/MEDQUIP/1652 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | pediatrics beds with mattresses metallic |  | 723/MEDQUIP/1653 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | pediatrics beds with mattresses metallic |  | 723/MEDQUIP/1654 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | pediatric beds with mattresses metallic |  | 723/MEDQUIP/1655 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Pediatric beds with metallic mattresses |  | 723/MEDQUIP/1656 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Metallic bedside lockers, steel |  | 723/MEDQUIP/840 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | 723/MEDQUIP/841 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside lockers, steel |  | 723/MEDQUIP/842 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | 723/MEDQUIP/843 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside lockers, steel |  | 723/MEDQUIP/844 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | 723/MEDQUIP/845 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside lockers, steel |  | 723/MEDQUIP/846 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | 723/MEDQUIP/847 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside lockers, steel |  | 723/MEDQUIP/848 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | 723/MEDQUIP/849 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1 cupboard steel lockable |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 Delivery bed manual hydraulic |  | 723/MEDQUIP/1657 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1 Oxygen cylinders of 49,8L 2, oxygen regulators (2), humidifier bottles (2) |  | 723/MEDQUIP/850 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 Oxygen cylinders of 49,8L 2, oxygen regulators (2), humidifier bottles (2) |  | 723/MEDQUIP/851 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | 1 resuscitator manual |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 resuscitator manual |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | 1 resuscitator manual, adult |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 resuscitator manual, adult |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Suction Apparatus, (Electric) | Health |  | 1 suction apparatus, electric |  | 723/MEQUIP/1634 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 suction apparatus, electric |  | 723/MEQUIP/1635 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 nebulizer ultrasonic |  | 723/MEQUIP/1640 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Oxygen concentrator |  | 723/MEQUIP/1636 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Oxygen concentrator |  | 723/MEQUIP/1637 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1Oxygen concentrator |  | 723/MEQUIP/1638 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1Oxygen concentrator |  | 723/MEQUIP/1639 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 metallic vanished bench |  | 723/FUR/1288 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 metallic vanished bench |  | 723/FUR/1289 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 metallic vanished bench |  | 723/FUR/1290 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 metallic vanished bench |  | 723/FUR/1291 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 disinfection bucket |  | 723/MEDQUIP/860 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | 723/MEDQUIP/861 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | 723/MEDQUIP/862 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | 723/MEDQUIP/863 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | 723/MEDQUIP/864 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | 723/MEDQUIP/865 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Diagnostic Equipment Set for Ward | Health |  |  |  |  |  | 10/06/2025 |  |  |  |  |  |  |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not Functional |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not Functional |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  | 10/06/2025 |  |  |  |  |  |  |  |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Instrument Set, Delivery | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
| MVA Kit | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 movable metallic stool |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 penguin |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 penguin |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 penguin |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 fetoscope |  | 723/MEQUIP/1666 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 bubble CPAP |  | 723/MEQUIP/1632 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 bubble CPAP |  | 723/MEQUIP/1633 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Centrifuge, new |  | 723/MEQUIP/1621 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 Centrifuge, new |  | 723/MEQUIP/1622 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 kangaroo mother care chair, brown colour |  | 723/MEQUIP/1672 |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 haemoglobin meter |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 haemoglobin meter |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Delivery bed |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 examination light |  | 723/MEQUIP/1677 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 examination light |  | 723/MEQUIP/1678 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 instrument set , ENT Basic |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 instrument set , ENT Basic |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 instrument set , ENT Basic |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  | 1 ambu bag |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Not functional |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Office chair, leather cushioned |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Desk | Health |  | Table metallic frame of wooden top |  | 723/FUR/814 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Table metallic frame of wooden top |  | 723/FUR/815 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Table metallic frame of wooden top |  | 723/FUR/816 |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Table metallic frame of wooden top |  | 723/FUR/817 |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Filing Cabinet |  |  |  |  |  |  | 10/06/2025 |  |  |  |  |  |  |  |
|  | Health |  | Filling cabinet |  | 723/MEDQUIP/1671 |  | 10/06/2025 |  |  |  |  |  | Functional |  |
| Non-Residential Buildings | Health |  | MATERNITY BUILDING, with a placenta pit |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 six-stance lined pit latrine |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 fenced solar house with solar panels and batteries |  | Not engraved |  | 10/06/2025 |  |  |  |  |  | functional |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

The table below illustrates some physical status of the verified assets with photographic evidence.

Table 1: Physical verification photos

| SIGNPOST |  |
| --- | --- |
| COMMISSIONING PLAQUE | THE BUILDING HAD NO COMISSIONING PLAQUE |
| MATERNITY BUIL DING WITH A WASTE PIT AND A PLACENTA PIT |  |
| Refrigerator |  |
| Sample of BP machine, aneroid |  |
| Spoilt bedside lockers |  |
| Examination couch, and patient screen |  |
| Delivery bed, hydraulic |  |
| Delivery sets, and instrument trolley |  |
| ESR STAND, engraved |  |
| Oxygen therapy apparatus |  |
| Tables, that are engraved |  |
| Sample of the benches that are engraved |  |
| Cupboard with glass. |  |
| Weighing scale toddler, and other equipment packed in the store |  |
| Sample of wighing scale, adult with a height meter |  |
| Spoilt office chairs in the store |  |
| Sample of patient screens in the store, and drip stands |  |
| Sample autoclave |  |
| Sample of Stretcher, engraved |  |
| Sample of adult patient beds with drip stands |  |
| Sample of a drip stand, engraved |  |
| Patients screens engraved |  |