## FIELD REPORT ON UgIFT ASSET VERIFICATION.

## Facility visited: Rubingo HC III

## Introduction

A field exercise was conducted to verify UGIFT assets in Rubingo HC III in fort portal city. The exercise involved onsite physical verification of all asset acquired under ugift program for the period 2018-2025. This was intended to establish the status of the assets and identify any issues requiring follow-up

Process/ methodology

Provide a brief on what was done and how it was done

The team kick started the exercise with a courtesy visit to the office of the city clerk, fort portal city council where it met with the deputy city clerk and then had an entry meeting with the team in her office. She then received a copy of the introductory letters where she recommended and forwarded the team to the relevant in charges /head teachers of schools and health centres funded by UGIFT.

After the meeting with the city clerk, the team, dispatched to different facilities where KATO CHARLES, went to Rubingo hc III.

At Rubingo hc III, the incharge did not have an asset register, so the researcher was provided with delivery notes of the items that were from UGIFT.

# Emerging Issues/Challenges

Limited knowledge about the location of the health facilities caused issues of double transportation whereby the first motorcycle took the research to fort portal regional referral hospital instead of Rubingo.

The absence of asset registers both at the city council offices and health centres slowed down the verification process and some crucial information on asset numbers, life in months could not be obtained.

Un assembled equipment at the health facility made it hard to verify some assets since they were tightly packed in the store.

Inadequate storage at health centres was also a challenge, to properly store UGIFT assets.

In addition, the facility staff did not know the some of the medical equipment, their functions, and that they were supplied with some equipment that should be used in schools e.g. counting chambers, glucometers were supplied with strip, but they were used up and the facility could not get their replacement from NMS

# Recommendations

The Program implementers should make final payments to the suppliers of medical equipment after receiving confirmation from the end users about the quality of the equipment supplied, and that all equipment has been assembled.

Facility in charge should be involved during the procurement of medical equipment so that issues of over stock and facility needs are catered for. Eg Rubingo HC III lab technician recommended that HC IIIs should be given a CBC Machine instead of counting chambers.