ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: |  |
| --- | --- |
|  | NORTHERN UGANDA |
| SUB-REGION: |  |
|  | LANGO SUB REGION |
| Name of Local Government |  |
|  | ALEBTONG |
| VERIFIER PARTICULARS |  |
| Full name | NANYONJO PARVIN ABIGAIL |
| Contact/ email and Telephone | 0704562685 |
| Supervisor/ Sub team leader |  |
| Name | MR.DENIS |
| Contact | 0779622063 |
| Date of submission | 25TH AUGUST 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:	ABIA HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

INCASE OF BREAKAGE, THEY USE TEN PERCENT OF THE PRIMARY HEALTH CARE TO REPAIR DAMAGES

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

YES, THEY DO. THEY CARRY OUT REGULAR CHECK UPS ON THE ASSETS.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

IT HAS HELPED IN IMPROVING THE HELATH OF THE COMMUNITY MEMBERS. ABIA HEALTH CENTER CAN ADMIT PATIENTS SINCE THEY GOT BEDS

MAKING CONSULTATIONS NEEDS BEFORE PROVIDING THE EQUIPMENT

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

| MCH | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | - | -- | - | -- | - | -- | -- | -- | - | - | - | - | - | - |
| B.P. Machine (Aneroid wall mounted) OPD[1]MCH[1] | OPD[1]MCH[1] |  | MANUAL | 40 | Not engraved | 9th DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Autoclave 20 Liters., Duo Operated. MCH [1] | MCH [1] |  | MANUAL | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Bowl, Kick MCH[1] | MCH[1] |  | MANUAL | 45 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | NON FUNCTIONING | STILL IN STORE DUE TO INSECURITY |
| Counting chamber Neubauer- Improved (2) | STORE[1] MCH[1] |  | PLASTIC | 80 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING FUNCTIONING | GOOD CONDITION STILL IN STORE DUE TO INSECURITY |
| Cupboard Steel, Lockable (12) | OPD[2] MCH[4] WARD[6] |  | METALLIC | 70 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | MCH [4] WARD[5] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand (1) | LAB[1] |  | PLASTIC | 50 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | GOOD | SOME PARTS ARE MISSING THOUGH |
| Examination Couch | OPD[1] MCH[3] |  | 2 WOODEN 2 METALLIC | 80 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | WELL | GOOD CONDITION |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light, LED | MCH [1] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONAL 2 IN STORE | IT ONLY CONNECTS TO POWER IE DOESN’T SAVE POWER |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | MCH[1] LAB[1] |  | PLASTIC AND METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Haemoglobin Meter, Digital | LAB[1] |  | PLASTIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONALFUNCTIONAL | GOOD CONDITION 2 ARE IN STORE DUE TO INSECURITY |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | MCH[1] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONAL FUNCTIONAL | GOOD CONDTION ONE IS IN STORE DUE TO SPACE SHORTAGE |
| Instrument Trolley (4) | MCH[2I1PD[2] |  | MOVABLE AND METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Microscope Binocular (1) | LAB[1] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH DEC 2025 |  |  |  |  |  | FUNCTION. | GOOD CONDITION |
| Otoscope (1) | OPD[1] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTION | GOOD CONDITION |
| Patient Screen (4) | MCH[2] IPD[2] |  | MOVABLE | 60 | Not engraved | 9TH DEC 2021 | 14 TH SEPT 2025 |  |  |  |  |  | 3 FUNCTIONING ONE SPOILT | GOOD CONDITION ONE IS SPOILT |
| Patient Trolley (1) | MCH[1] |  | MOVABLE | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Refrigerator, Basic | LAB[1] |  | DIGITAL | 70 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Stethoscope (8) | OPD[3] MCH[4] IPD[1] |  | METALLIC AND DIGITAL | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | (6) ARE Functional | 2 SPOILT AND NEED REPLACEMENT GOOD CONDITION |
| Stop Watch (2) | MCH[2] |  | CIRCULAR | 60 | Not engraved | 9TH DEC 2021 |  | 14TH SEPT 2025 |  |  |  |  | FUNCTIONAL | GOOD CONDITION ONE IN STORE |
| Stretcher (2) | IPD[2] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 |  | 14TH SEPT 2025 |  |  |  |  | FUNCTIONAL | GOOD CONDITION 0NE IS IN STORE |
| Stove, Gas (2) | MCH[2] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 |  | 14TH SEPT 2025 |  |  |  |  | FUNCTIONAL | GOOD CONDITION ONE IS IN STORE |
| Weighing Scale with Height Meter, Adult (2) | OPD[1] IPD[1] |  | THEY USE BATTERY | 60 | Not engraved | 9TH DEC 2021 |  | 14TH SEPT 2025 |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Weighing Scale, Infant (2) | OPD[1] IPD[1] |  | THEY USE BATTERY | 60 | Not engraved | 9TH DEC 2021 |  | 14TH SPET 2025 |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Weighing Scale, Toddler | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Wheel Chair (4) | 1PD[2] MCH[2] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING NON FUNCTIONING | GOOD CONDITION STILL IN STORE |
| Audio Visual Equipment (1) | OPD[1] |  | PLASTIC | 50 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITIO N |
| Medical Waste Bin (20) | OPD[5] LAB[3] MCH[5] 1PD[4] OFFICES[3] |  | PLASTIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Wall Clock (4) | OPD[2] LAB[1] MCH[1] |  | DIGITAL | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION ONE IS IN STORE DUE TO INSECURITY |
| Diagnostic Equipment Set for MCH | MCH[2] |  | EQUIPMENT FOR DIAGNOSIS eg FETOSCOPE | 24 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Diagnostic Equipment Set for OPD | OPD[2] |  | EQUIPMENT eg PATELLAR HARMAR | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Glassware Set, Laboratory, Basic | LAB[2] |  | MICROSCOPE | 70 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Hollow Ware Set, Treatment (1) | MCH[1] |  | STAINLESS STEEL | 38 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION ONE IS STILL IN STORE DUE TO INSECURITY |
| Instrument Set, Dressing (7) | OPD[4] IPD[2] MCH[1] |  | STAINLESS STEEL | 46 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION 4 STILL IN STORE DUE TO INSECURITY |
| Instrument Set, Basic ENT | OPD[1] |  | STAINLESS STEEL | 50 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Instrument Set, Suture (3) | MCH[1] OPD[2] |  | STAINLESS STEEL | 50 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Pulse Oximeter, Hand held (2) | IPD[2] |  | DIGITAL | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Bed, Adult Patient with Mattress (14) | IPD[8] MCH[6] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Bed, Pediatric Patient, With Mattress (2) | MCH[2] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Bedside Locker (10) | OPD[2] LAB[1] MCH[3] IPD[4] |  | METALLIC | 50 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Cupboard, Instrument. (10) | OPD[2] LAB[1] MCH[4] OFFICE[3] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Delivery Bed, Hydraulic Manual (3) | MCH[3] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION ONE IS STILL IN STORE DUE TO INSECURITY |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (1) | IPD[1] |  | PLASTIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Resuscitator Manual, Infant, with all Mask sizes (1) | IPD[1] |  | PLASTIC | 58 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Resuscitator Manual, Adult, with all mask sizes (1) | IPD[1] |  | PLASTIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Suction Apparatus, (Electric) (1) | IPD[1] |  | PLASTIC | 59 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Nebulizer, Ultrasonic (1) | IPD[1] |  | PLASTIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Bench (4) | MCH[2] IPD[2] |  | WOODEN | 70 | Not engraved | 9TH DEC 2021 | 14TH SPET 2025 |  |  |  |  |  | FUNCTIONING | GOOD |
| Disinfection Buckets (2) | 2 |  | PLASTIC | 40 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | DGOO |
| Baby Cot (2) | MCH[2] |  | COTTON IN NATURE | 40 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD |
| Diagnostic Equipment Set for Ward (2) | IPD[2] |  | METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING 0NE IS IN STORE | GOOD ONE IS IN STORE DUE TO INSECURITY |
| Hollow Ware Set, Ward (2) | MCH[2] |  | STAINLESS STEEL | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONAL ONE IS IN STORE | GOOD ONE IS IN STORE DUE TO INSECURITY |
| Instrument Set, Delivery (5) | MCH[5] |  | STAINSTEEL | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONAL | G |
| Instrument Set, Stitch Removing (5) | IPD[5] |  | STAINSTEEL | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONAL |  |
| MVA Kit (5) | MCH[5] |  | PLASTIC | 70 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONAL |  |
| Stool, Laboratory(3) | LAB[2] IPD[1] |  | STAINLESS STEEL | 50 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONAL | GOOD GG |
| Penguin Sucker (3) | MCH[3] |  | RUBBER IN NATURE | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONAL |  |
| Fetoscope, Dopplar (2) | MCH[2] |  | ELECTRICAL | 50 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONAL ONE IS IN STORE | GOOD CONDITION ONE IS IN STORE DUE TO INSECURITY |
| Bubble CPAP | - | - | - | - | - | - | -- | - | - | -- | -- |  | - |  |
| Centrifuge (Electric) (1) | LAB[1] |  | ELECTRICAL AND METALLIC | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING |  |
| Kangaroo Mother Care Chair (1) | MCH[1] |  | MOVABLE | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING |  |
| Radiant Infant Warmer | -- | - | - | --- | - | - | - | -- | - | - | - | - | - |  |
| Haemoglobin Meter, Sahli (2) | LAB[2] |  | DIGITAL | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING |  |
| Delivery Bed(3) | MCH[3] |  | TWO FOR NORMAL PEOPLE ONE FOR DISABLED | 70 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING |  |
| Examination light (3) | MCH[3] |  | ELECTRICAL | 60 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING 2 ARE IN STORE | GOOD CONDITION 2 IN STORE DUE TO INSECURITY |
| Instrument set, ENT Basic for HCIII(1) | OPD[1] |  | STEEL |  | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING |  |
| Bag Valve mask (Ambu Bag), Neonatal IPD[3] MCH[2] (11 in Store | IPD[3] MCH[2] (11 in Store) |  | PLASTIC AND RUBBER |  | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING 11 ARE IN STORE | GOOD CONDITION 11 IN STORE DUE TO INSECURITY |
| Incubator | -- |  | - | -- | -- | -- | - | - | - | - | - | -- | - |  |
|  |  |  |  | - |  |  |  |  |  |  |  |  |  |  |
| Office Chair (7) | OPD[1] LAB[3] IPD[1] MCH[1] |  | COMFORTABLE AND METALLIC | 90 | Not engraved | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | - | - | - | - | - | - | - | -- | - | -- | - | - | - |  |
| Filing Cabinet (6) | OPD[1] LAB[1] MCH[4] |  | METALLIC | 60 | Not engraved | 14TH SEPT 2025 | 9TH DEC 2021 |  |  |  |  |  | FUNCTIONING | GOOD |
| Non Residential Buildings (3) | HEALTH |  | 4 STANCE LATRINES MEDICAL WASTE BINS MATERNITY | 200 |  | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD |
| Residential Buildings (1) | TWIN HOUSE |  | SEMI DETACHED | 200 |  | 9TH DEC 2021 | 14TH SEPT 2025 |  |  |  |  |  | FUNCTIONING | GOOD |

Health center checklist

NAME OF LG…ALEBTONG……………………………… NAME OF HEALTH FACILITY…………ABIA HEALTH CENTRE III…………………………………

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: 		AWEI SEED SSS

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

MOST OF THEMARE IN GOOD CONDITION, AND INCASE OF ANY BREAKAGE,THEYBHAVE A BUDGET FOR REPAIRING THE ASSETS

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | YES |
| --- | --- | --- |

THEY MONITOR THE ASSETS ON THE MONTHLY BASIS TO ENSURE EFFICIENCY

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | YES |
| --- | --- | --- |

THE FACILITIES CATER FOR DISABLED AND HAVE IMPREOVED ON THE EDUCATION LEVELS OF THE LOCALS

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG	ALEBTONG		 Name of SCHOOL		AWET SEED SSS

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SCHOOL DESKS 120 Three seaters 120 | EDUCATION |  | WOODEN | 100 | Not engraved | 8TH JULY 2023 | 5TH MAY 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| OFFICE CHAIRS 266 | EDUCATION |  | WOODEN AND METALLIC BROWM IN COLOUR | 200 | Not engraved | 8TH JULY 2023 | 5TH MAY 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| 266 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LABARATORY STOOLS 98 | EDUCATION |  | WOODEN IN NATURE | 200 | Not engraved | 8TH JULY 2023 | 5TH MAY 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| 98 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BOOK SHELVES 19 19 | EDUCATION |  | 2 BIG ONES 17 SMALL ONES | 300 | Not engraved | 8TH JULY 2023 | 5TH MAY 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG……	ALEBTONG		 Name of SCHOOL…		AWEI SEED SSS

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DIDN’T RECEIVE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG		ALEBTONG		 Name of SCHOOL		AWEI SEED SSS

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CLASSROOMS 6 Blocks | EDUCATION |  | BLOCK BUILDING | 90 |  | JULY 2023 | NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| COMPUTER LAB 1 Block | EDUCATION |  | BLOCK BUILDING | 90 |  | JULY 2023 | NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| STANCES LATRINES 12 stances | EDUCATION |  | BLOCKS WITH SHUTTERS | 90 |  | JULY 2023 | NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| LIBRARY (1) Block | EDUCATION |  | BLOCK BUILDING | 80 |  | JULY 2023 | NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| ADMINISTRATIVE BLOCK (1) | EDUCATION |  | BLOCK BUILDING | 120 |  | JULY 2023 | NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| STAFF ROOM (1) | EDUCATION |  | BLOCK BUILDING | 200 |  | JULY 2023 | NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| TEACHERS HOUSE (1) | EDUCTION |  | BLOCK BUILDING | 190 |  | JULY2023 | NOV 2025 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |