ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN REGION |
| --- | --- |
| SUB-REGION: | LANGO SUB REGION |
| Name of Local Government |  |
|  | DOKOLO |
| VERIFIER PARTICULARS |  |
| Full name | NANYONJO PARVIN ABIGAIL |
| Contact/ email and Telephone | 0704562686 nanyonjoparvin036@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Mr. Denis |
| Contact | 0779622063 |
| Date of submission | 31st August, 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: 		ADOK HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift? |
| --- | --- |

Adok Health Centre III has a team from Lira who take the assets to Dokolo Health Centre IV for repair

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes, they do and they do it annually.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation? |  |
| --- | --- | --- |

Have issues with the oxygen concentrator. It keeps going on and off.

Therefore, we recommend some equipment maintenance.

One delivery bed was given to Amwoma Health Centre III

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health Centre checklist

NAME OF LG:		DOKOLO 	NAME OF HEALTH FACILITY:		ADOK HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | DIGITAL | 40 | Not engraved | 21/04/2025 | June 2025 | 150,000 |  |  |  |  | Functioning | Good condition |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (1) STORE (1) |  | Manual | 50 | Not engraved | 21/04/2025 | June 2025 | 700,000 |  |  |  |  | Functioning | Good condition |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Manual Uses gas | 50 | Not engraved | 21/04/2025 | June 2025 | 700,000 |  |  |  |  | Functioning | Good condition |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | IPD (1) MCH (1) |  | Manual | 60 | Not engraved | 21/04/2025 | June 2025 | 360,000 |  |  |  |  | Functioning | Good condition |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Metallic | 60 | Not engraved | 21/04/2025 | June 2025 | 150,000 |  |  |  |  | Functioning | Good condition |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (1) STORE (1) |  | Plastic | 60 | Not engraved | 21/04/2025 | June 2025 | 60,000 |  |  |  |  | Functioning functional | Good condition One in store due to space shortage |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Metallic | 60 | Not engraved | 21/04/2025 | June 2025 | 1,400,000 |  |  |  |  | Functioning | Good condition |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | MCH (4) |  | Metallic | 60 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Plastic | 50 | Not engraved | 21/04/2025 | June 2025 | 150,000 |  |  |  |  | Functioning | Good condition |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Metallic & Wooden | 50 | Not engraved | 21/04/2025 | June 2025 | 1,300,000 |  |  |  |  | Functioning | Good condition |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Plastic & Metallic | 50 | Not engraved | 21/04/2025 | June 2025 | 2,800,000 |  |  |  |  | Functioning | Good condition |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Plastic & Metallic | 50 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | OPD (2) |  | Metallic | 50 | Not engraved | 21/04/2025 | June 2025 | 400,000 |  |  |  |  | Functioning | Good condition |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (1) IPD (1) |  | Movable Metallic | 50 | Not engraved | 21/04/2025 | June 2025 | 1,000,000 |  |  |  |  | Functioning | Good condition |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  | Metallic | 50 | Not engraved | 21/04/2025 | June 2025 | 290,000 |  |  |  |  | Functioning | Good condition |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | MCH (2) IPD (2) |  | Movable Metallic | 50 | Not engraved | 21/04/2025 | June 2025 | 1,800,000 |  |  |  |  | Functioning | Good condition |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Movable | 50 | Not engraved | 21/04/2025 | June 2025 | 2,200,000 |  |  |  |  | Functioning | Good condition |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | LAB (1) |  | Digital | 60 | Not engraved | 21/04/2025 | June 2025 | 1,800,000 |  |  |  |  | Functioning | Good condition |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | OPD (3) MCH (2) IPD (3) |  | Digital & Metallic | 60 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (1) IPD (1) |  | Circular | 60 | Not engraved | 21/04/2025 | June 2025 | 20,000 |  |  |  |  | Functioning | Good condition |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | IPD (1) |  | Metallic | 60 | Not engraved | 21/04/2025 | June 2025 | 700,000 |  |  |  |  | Functioning | Good condition |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Metallic | 60 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD (1) IPD (1) |  | Uses Battery | 60 | Not engraved | 21/04/2025 | June 2025 | 1,700,000 |  |  |  |  | Functioning | Good condition |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Uses Battery | 60 | Not engraved | 21/04/2025 | June 2025 | 600,000 |  |  |  |  | Functioning | Good condition |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Uses Battery | 60 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | IPD (2) |  | Metallic | 60 | Not engraved | 21/04/2025 | June 2025 | 1,300,000 |  |  |  |  | Functioning | Good condition |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | MCH (1) IPD (1) OPD (1) |  | Plastic | 60 | Not engraved | 21/04/2025 | June 2025 | 750,000 |  |  |  |  | Functioning | Good condition |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | MCH (1) IPD (1) OPD (1) WARD (1) |  | Digital | 60 | Not engraved | 21/04/2025 | June 2025 | 480,000 |  |  |  |  | Functioning | Good condition |
| Diagnostic Equipment Set for MCH2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MCH (2) |  |  | Diagnosis e.g. tetoscope | 54 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD (2) |  | Diagnosis e.g. patellaham | 54 | Not engraved | 21/04/2025 | June 2025 | 860,000 |  |  |  |  | Functioning | Good condition |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | LAB (2) |  | Microscope cleaning | 54 | Not engraved | 21/04/2025 | June 2025 | 1,120,000 |  |  |  |  | Functioning | Good condition |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Stainless steel | 54 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | MCH (1) OPD (2) |  | Stainless steel | 54 | Not engraved | 21/04/2025 | June 2025 | 3,000,000 |  |  |  |  | Functioning | Good condition |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD (2) |  | Stainless steel | 54 | Not engraved | 21/04/2025 | June 2025 | 3,000,000 |  |  |  |  | Functioning | Good condition |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (1) OPD (1) |  | Stainless steel | 54 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | IPD (1) STORE (1) |  | Digital | 54 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | IPD (4) MCH (3) OPD (3) |  | Metallic | 54 | Not engraved | 21/04/2025 | June 2025 | 15,000,000 |  |  |  |  | Functioning | Good condition |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | MCH (5) |  | Metallic | 54 | Not engraved | 21/04/2025 | June 2025 | 4,000,000 |  |  |  |  | Functioning | Good condition |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | OPD (2) MCH (1) IPD (2) |  | Metallic | 70 | Not engraved | 21/04/2025 | June 2025 | 980,000 |  |  |  |  | Functioning | Good condition |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | LAB (1) MCH (1) OPD (1) |  | Metallic | 70 | Not engraved | 21/04/2025 | June 2025 | 950,000 |  |  |  |  | Functioning | Good condition |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Metallic | 40 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | IPD (1) |  | Plastic | 50 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | IPD (3) |  | Plastic | 50 | Not engraved | 21/04/2025 | June 2025 | 750,000 |  |  |  |  | Functioning | Good condition |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | IPD (3) |  | Plastic | 50 | Not engraved | 21/04/2025 | June 2025 | 750,000 |  |  |  |  | Functioning | Good condition |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | IPD (1) |  | Plastic | 50 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | IPD (1) |  | Plastic | 50 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Electric | 50 | Not engraved | 21/04/2025 | June 2025 | 13,200,000 |  |  |  |  | Functioning | Good condition |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | MCH (2) IPD (2) |  | Wooden | 70 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Plastic | 50 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Cotton in nature | 50 | Not engraved | 21/04/2025 | June 2025 | 1,160,000 |  |  |  |  | Functioning | Good condition |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | IPD (1) |  | Metallic | 60 | Not engraved | 21/04/2025 | June 2025 | 1,900,000 |  |  |  |  | Functioning | Good condition |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Stainless steel | 60 | Not engraved | 21/04/2025 | June 2025 | 2,200,000 |  |  |  |  | Functioning | Good condition |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | MCH (3) |  | Stainless steel | 60 | Not engraved | 21/04/2025 | June 2025 | 5,100,000 |  |  |  |  | Functioning | Good condition |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | IPD (5) |  | Stainless steel | 50 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | MVA (3) |  | Plastic | 50 | Not engraved | 21/04/2025 | June 2025 | 1,350,000 |  |  |  |  | Functioning | Good condition |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | LAB (1) IPD (1) |  | Stainless steel | 50 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | MCH (3) |  | Rubber in nature | 60 | Not engraved | 21/04/2025 | June 2025 | 120,000 |  |  |  |  | Functioning | Good condition |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Electric | 60 | Not engraved | 21/04/2025 | June 2025 | 1,000,000 |  |  |  |  | Functioning | Good condition |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | STORE (2) |  | Metallic | 60 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | LAB (1) |  | Electrical | 60 | Not engraved | 21/04/2025 | June 2025 | 3,500,000 |  |  |  |  | Functioning | Good condition |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Movable & Metallic | 60 | Not engraved | 21/04/2025 | June 2025 | 1,900,000 |  |  |  |  | Functioning | Good condition |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | MCH (1) |  | Metallic | 70 | Not engraved | 21/04/2025 | June 2025 | 25,000,000 |  |  |  |  | Functioning | Good condition |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | LAB (2) |  | Digital | 60 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (1) |  |  | 50 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition One delivery bed was given to Amwoma HC III |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | MCH (2) |  | Electrical | 50 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | OPD (3) |  | Steel | 40 | Not engraved | 21/04/2025 | June 2025 | 3,000,000 |  |  |  |  | Functioning | Good condition |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | IPD (2) MCH (2) |  | Plastic & Rubber | 50 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | OPD (1) LAB (1) IPD (1) MCH (1) |  | Comfortable & metallic | 80 | Not engraved | 21/04/2025 | June 2025 | 5,600,000 |  |  |  |  | Functioning | Good condition |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | MCH (3) |  | Wooden | 70 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | OPD (1) LAB (1) |  | Metallic | 60 | Not engraved | 21/04/2025 | June 2025 | 1,500,000 |  |  |  |  | Functioning | Good condition |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | HEALTH |  | Stance latrines Maternity Waste pit | 160 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | HEALTH |  | Twin House | 150 | Not engraved | 21/04/2025 | June 2025 |  |  |  |  |  | Functioning | Good condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation? |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |