ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHEN UGANDA |
| --- | --- |
| SUB-REGION: | LANGO SUB REGION |
| Name of Local Government |  |
|  | ALEBTONG |
| VERIFIER PARTICULARS |  |
| Full name | NANYONJO PARVIN ABIGAIL |
| Contact/ email and Telephone | 0704562685 |
| Supervisor/ Sub team leader |  |
| Name | MR.DENNIS |
| Contact |  |
|  | 0782913296 |
| Date of submission | MONDAY 24TH AUGUST 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: 	ANARA HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

In case of breakage, they repair using the ten percent of the consolidated Primary Health Care and RBF .Applies the same with managing and servicing the assets.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

They carry out regular checkups for example the weighing scale for the infants got damaged and they are devising means of repairing it.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation? |  |
| --- | --- | --- |

It has improved the health of the community member. However there is poor technical work during construction of infrastructure. Endurable equipment supplied. Solar system is done already.

Recommendations. Provision of high quality equipment, renovation of poorly constructed buildings and the solar system should be improved.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG	ALEBTONG		 NAME OF HEALTH FACILITY:		ANARA HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (1) | MCH [1] |  | DIGITAL | 20 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | NON-FUNCTIONAL | STILL IN STORE |
| B.P. Machine (Aneroid wall mounted) (1) | MCH [1] |  | ANALOGUE | 40 | Not Engraved | FEB2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | STILL IN STORE DUE TO SPACE SHORTAGE |
| Autoclave 20 Liters., Duo Operated (1) | MCH[1] |  | CYLINDRICAL | 30 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Bowl, Kick (1) | MCH[1] |  | METALLIC | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Bowl Stand (1) | MCH[1] |  | METALLIC | 60 | Not Engraved | FEB 2022 | NOV 2023N |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Counting chamber Neubauer- Improved.(1) | MCH[1 |  | PLASTIC | 50 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Cupboard Steel, Lockable (5) | MCH[5] |  | METALLIC | 40 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL NON FUNCTIONAL | 3 ARE IN GOOD CONDTION 2 ARE SPOILT |
| Drip Stand. (6) | MCH[6] |  | METALLIC | 50 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDTION |
| ESR Stand (1) | LAB [1] |  | PLASTIC AND METALLIC | 40 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITIONAL |
| Examination Couch (3) | ANC [2] OPD[1] |  | WOODEN AND METALLIC | 50 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Examination light,LED (2) | IPD[1] MCH[1] |  | METALLIC AND PLASTIC | 40 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Glucometer, (2) | LAB[1] |  | METALLIC AND PLASTIC | 40 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Haemoglobin Meter, Digital (1) | LAB[1] |  | PLASTIC | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Height Meter. (1) | OPD[1] |  | WOODEN AND METALLIC | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Instrument Trolley (2) | MCH[1] IPD[1] |  | METALLIC | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDTION |
| Microscope Binocular LBA (1) | LAB[1] |  | METALLIC | 50 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Otoscope | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Patient Screen (5) | GENERAL WARD [5] |  | RECTANGULARAND METALLIC | 50 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Patient Trolley (2) | IPD[1] MCH[1] |  | METALLIC | 30 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Refrigerator, Basic (1) | LAB[1] |  | DIGITAL | 40 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Stethoscope (6) | MCH[1]OPD[2] IPD[1] ANC[2] |  | DIGITAL AND METALLIC | 40 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION- |
| Stop Watch | - | - | - | - | -- | -- | - | - | - | - | - | - | - | - |
| Stretcher (1) |  |  | METALLIC | 90 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Stove, Gas. MCH[1] | MCH[1] |  | METALLIC | 80 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Weighing Scale with Height Meter, Adult (OPD 1) | OPD[1] |  | DIGITAL | 0 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | NON FUNCTIONING | NEED IMPROVEMENT |
| Weighing Scale, Infant. MCH(1) | MCH[1] |  | DIGITAL | 0 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | NON FUNCTIONING | NEED IMPROVEMENT |
| Weighing Scale, Toddler. MCH(1) | MCH[1] |  | DIGITAL | 0 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | NON FUNCTIONING | NEED IMPROVEMENT |
| Wheel Chair. IPD (1) | IPD[1] |  | METALLIC | 0 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | NON FUNCTIONING | NEED IMPROVEMENT- |
| Audio Visual Equipment | - | - | - | - | - | - | - | - | - | - | --- | - | - | - |
| Medical Waste Bin. (3) | OPD[1]MCH[1] 1PD[1] |  | PLASTIC | 56 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Wall Clock. (2) | OPD[1] MCH[1] |  | DIGITAL | 59 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | NEED MORE WALL CLOCKS |
| Diagnostic Equipment Set for MCH | - | - | - | - | -- | - | -- | - | - | -- | - | - | - | - |
| Diagnostic Equipment Set for OPD | -- | - | - | - | - | - | - | - | -- | - | - | -- | - | - |
| Glassware Set, Laboratory, Basic | -- | -- | -- | -- | - | -- | - | - | - | - | - | - | - | -- |
| Hollow Ware Set, Treatment | -- | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Instrument Set, Dressing (2) |  |  | METALLIC | 40 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | STILL IN STORE DUE TO SPACE SHORTAGE |
| Instrument Set, Basic ENT | -- | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Instrument Set, Suture. (2) | OPD[1] IPD[1] |  | NLYON AND METALLIC | 50 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Pulse Oximeter, Hand held. MCH(1) | MCH[1] |  | DIGITAL | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | NEED MORE |
| Bed, Adult Patient with Mattress. (10) | MCH[4] OPD[3] IPD[3] |  | METALLIC | 50 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Bed, Pediatric Patient, With Mattress. (14) | PEDIATRIC WARD [14] |  | METALLIC | 34 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Bedside Locker. (7) | OPD[3] IPD[4] |  | METALLIC | 50 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Cupboard, Instrument. (5) | OPD[3] IPD[2] |  | METALLIC | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Delivery Bed, Hydraulic Manual. MCH(2) | MCH[2] |  | MANUAL AND HYDRAULIC | 40 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | - | - | - | -- | - | - | - | - | -- | - | - | - | -- | - |
| Resuscitator Manual, Infant, with all Mask sizes | -- | --- | -- | -- | -- | -- | - | - | - | - | - | - | --- | - |
| Resuscitator Manual, Adult, with all mask sizes | - | -- | - | -- | - | - | -- | -- | - | - | -- | - | -- | - |
| Suction Apparatus, (Electric) (1) | HEALTH |  |  | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | STILL IN STORE DUE TO SPACE SHORTAGE |
| Nebulizer, Ultrasonic | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Oxygen Concentrator, Duo Flow | - | - | - | - | -- | - | - | - | - | - | - | - | - | - |
| Bench. (10) | MCH[4]OPD[6] |  | WOODEN | 70 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDTION |
| Disinfection Buckets. (7) | MCH[2] 0PD[2] IPD[3] |  | PLASTIC | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Baby Cot (8) |  |  | PLASTIC | 40 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | STILL IN STORE DUE TO SPACE SHORTAGE |
| Diagnostic Equipment Set for Ward | - | -- | - | - | - | - | - | - | - | - | - | - | - | - |
| Hollow Ware Set, Ward | - | - | - | - | - | - | - | - | -- | - | - | - | - | - |
| Instrument Set, Delivery. (1) | MCH[1] |  | METALLIC | 40 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Instrument Set, Stitch Removing. (2) | MCH[1] OPD[1]- |  | METALLIC | 40 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| MVA Kit | - | - | - | -- | - | - | -- | - | - | -- | - | - | - | - |
| Stool, Laboratory. (2) | LAB[2] |  | PLASTIC | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONAL | GOOD CONDITION |
| Penguin Sucker (1) | MCH [1] |  | PLASTIC | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Fetoscope, Dopplar. (1) | MCH[1] |  | PLASTIC | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Bubble CPAP | - | - | -- | - | - | - | - | - | - | - | - | - | - | - |
| Centrifuge (Electric) (1) | LAB[1] |  | ELECTRIC | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION- |
| Kangaroo Mother Care Chair | - | - | - | - | - | - | - | - | - | - | --- | - | - | - |
| Radiant Infant Warmer | - | - | -- | -- | - | - | -- | -- | -- | -- | -- | -- | - | - |
| Haemoglobin Meter, Sahli | - | -- | - | - | - | --- | -- | - | -- | -- | -- | - | - | - |
| Delivery Bed. (2) | MCH[1] IPD[1] |  | METALLIC |  | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Examination light | - | - | -- | -- | - | - | -- | -- | -- | - | --- | - | - | - |
| Instrument set, ENT Basic for HCIII | - | -- | - | - | - | - | - | - | -- | - | -- | - | - | - |
| Bag Valve mask (Ambu Bag), Neonatal MCH(1) | MCH[1] |  | PLASTIC | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Incubator | -- | - | - | -- | - | -- | - | -- | - | - | - | - | - | - |
| Office Chair. (6) | MCH[2] IPD[2] OPD[2] |  | BLACK AND COMFORTABLE | 60 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Desk | - | --- | -- | - | - | - | - | - | - | -- | - | - | - | - |
| Filing Cabinet. (5) | OPD[2] MCH[1] LAB[1] IPD[1] |  | METALLIC | 50 | Not Engraved | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDTON |
| Non Residential Buildings | HEALTH |  | PIT LATRINE WASTE PIT WATER TANK PLACENTA PIT |  |  | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| Residential Buildings | HEALTH |  | TWIN HOUSE |  |  | FEB 2022 | NOV 2023 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school;  		ABIA SEED  SS

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

THROUGH PUTTING CONTROL MEASURES ON STUDENTS TO AVOID BREAKAGES AND DESTRUCTIONS

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

YES, THEY DO FOREXAMPLE ON THE 9TH JULY.THEY RECORED THAT 21 DESKS WERE BROKEN AND WERE KEPT IN STORE

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation? |  |
| --- | --- | --- |

IT HAS HELPED ON EDUCATING ON THE CHILDREN IN THE COMMUNITY THROUGH PROVIDING THE NECESSARY EQUIPMENTS

NO ICT MATERILAS WERE SUPPLIED, THEREFORE RECOMMEND UGIFT TO SUPPLY ICT MATERIALS.

NO LIBRIAN, NO NURSE, LABORATORY CHEMICALS EXPIRED

NO SECRETARY

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of the LG…	ALEBTONG… 			Name of SCHOOL…	ABIA SEED SSS…………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SCHOOL DESKS | EDUCATION 120, Three seater Desks |  | WOODEN SCHOOL DESKS (120) | 160 | ASSS/DK/001 ASSS/DK/002 ASSS/DK/010 ASSS/DK/020 ASSS/DK/034 ASSS/DK/057 ASSS/DK/098 ASSS/DK/120 | 31ST JAN 2022 | DECEMBER 2023 |  |  |  |  |  | 21 ARE BROKEN. THE REST ARE OKAY | GOOD CONDITION |
|  | EDUCATION Office Chairs (20) |  | OFFICE CHAIRS WITH QOUTIONS (20) | 300 | ASSS/CH/001 ASSS/CH/004 ASSS/CH/013 ASSS/CH/008 ASSS/CH/009 ASSS/CH/010 ASSS/CH/020 | 31ST JAN 2022 | DECEMBER 2023 |  |  |  |  |  | FUNCTIONING | GOODCONDITION |
|  | EDUCATION Laboratory Stools 192 |  | WOODEN AND METALLIC 192 | 100 | ASSS/CH/001 ASSS/ST/004 ASSS/ST/009 ASSS/ST/010 ASSS/ST/030 ASSS/ST/090 ASSS/ST/100 ASSS/ST/150 ASSS/ST/192 | 31ST JAN 2022 | DECEMBER 2023 |  |  |  |  |  | 13 ARE BROKEN 179 ARE FUNCTIONING | GOOD CONDITION |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG……		ALEBTONG			 Name of SCHOOL……		ABIA SEED

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DIDN’T RECEIVE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG 	ALEBTONG		Name of SCHOOL……		ABIA SEED SS

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ICT AND LIBRARY BLOCK. 1 BLOCK | EDUCATION |  | BLOCK BUILDING | 130 |  |  |  |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| ADMINISTRATION. 1 BLOCK | EDUCATION |  | BLOCK BUILDING | 140 |  | MARCH 2021 | 18th MARCH 2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| SCIENCE LABARATORY. 1 BLOCK | EDUCATION |  | BLOCK BULIDING | 150 |  | MARCH 2021 | 18TH MARCH 2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |
| CLASSROOMS.Three blocks | EDUCATION |  | 3BLOCKS | 122 |  | MARCH 2021 | 18TH MARCH 2021 |  |  |  |  |  | FUNCTIONING | GOOD CONDITION |