ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN REGION |
| --- | --- |
| SUB-REGION: | LANGO-SUB REGION |
| Name of Local Government | ALEBTONG DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | AGANYO MERCY |
| Contact/ email and Telephone | 0786551826 |
| Supervisor/ Sub team leader |  |
| Name | MR.DENIS |
| Contact | 0779622063 |
| Date of submission | 29TH AUGUST 2026 |

NAME OF HEALTH CENTER  ADWIR HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Incase of any damage, repair and servicing, Adwir Health Center III uses 10% of the primary Health Care to service the damages and maintain the equipment in a good condition.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Yes, Adwir Health Center III often conducts regular checks on the equipment that were provided to ensure that they are working well as intended. Any damages are recorded for better service delivery and making informed decisions

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

It has improved the health of the community members since many service are now accessible to the locals for example expectant mothers can now put to bed within the facility due to delivery beds provided. However there is no power to run some of the equipment that were provided therefore some equipment are still in the store.

Recommendation. UGIFT should support with building a fence for the health facility’

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health Centre checklist

NAME OF LG: ALEBTONG DISTRICT LOCAL GOVERNMENT.	 NAME OF HEALTH FACILITY: ADWIR HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | MCH |  | Digital | 26 months | Not engraved | June 2023 | OCT 2024 |  |  |  |  |  | Non- functional | They got spoilt. |
| B.P. Machine (Aneroid wall mounted) (2) | Store |  | Manual | 12 months | Not engraved | June 2023 | OCT 2024 |  |  |  |  |  | Non-functional | They all got spoilt because they were sub-standard |
| Autoclave 20 Liters.,Duo Operated (2) | MCH WARD |  | Metallic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Bowl, Kick (1) | MCH |  | Metallic | 60 |  | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition. |
| Bowl Stand | --- | -- | --- | --- | --- | - | ---- | --- | --- | --- | --- | --- | --- | --- |
| Counting chamber Neubauer- Improved (2) | Wards |  | Plastic in nature | 60 |  | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition. |
| Cupboard Steel, Lockable (6) | MCH LAB |  | Metallic | 70 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working Condition. |
| Drip Stand (9) | MCH WARD |  | Metallic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition. |
| ESR Stand (1) | MCH |  | Glass in nature | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition. |
| Examination Couch (4) | MCH OPD WARDS |  | Metallic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Examination light,LED (3) | MCH OPD |  | Plastic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Glucometer (1) | LAB |  | Digital | 12 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Non-functional | Its faulty |
| Haemoglobin Meter, Digital (1) | LAB |  | Digital | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Height Meter (2) | MCH OPD |  | Metallic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Instrument Trolley (4) | MCH WARDS |  | Metallic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Microscope Binocular (1) | LAB |  | Metallic and digital | 80 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Otoscope (1) | OPD |  | Metallic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Patient Screen (5) | MCH WARDS STORE |  | Metallic and plastic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition. |
| Patient Trolley (1) | MCH |  | Metallic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Refrigerator, Basic (2) | LAB MCH |  | Metallic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Stethoscope (8) | OPD MCH |  | Plastic and metallic | 12 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Non-functional | They got spoilt |
| Stop Watch (1) | OPD |  | Plastic | 12 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Non-functional | They got spoilt |
| Stretcher (2) | MCH OPD |  | Metallic with leather | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Stove, Gas (2) | MCH |  | Metallic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Weighing Scale with Height Meter, Adult (2) | OPD MCH |  | Metallic | 24 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Weighing Scale, Infant(2) | MCH |  | Plastic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Weighing Scale, Toddler (1) | MCH |  | Metallic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Wheel Chair (4) | Store |  | Metallic with leather | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Non- functional | They were brought without tyres |
| Audio Visual Equipment (1) | OPD |  | Digital | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Medical Waste Bin (20) | MCH LAB WARDS OPD |  | Metallic and plastic | 24 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition but 8 are still in the store |
| Wall Clock (4) | OPD MCH |  | Metallic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Non -functional | They all got spoilt |
| Diagnostic Equipment Set for MCH (3) | MCH |  | Metallic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for OPD (2) | OPD |  | Metallic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional and non-functional | One is functional and the other is still in the store. |
| Glassware Set, Laboratory, Basic (2) | LAB |  | Glass in nature | 24 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Hollow Ware Set, Treatment (2) | STORE |  | Metallic | 36 | Not engraved | June 2023 | - |  |  |  |  |  | Non-functional | Still in the store |
| Instrument Set, Dressing (7) | MCH WARD |  | Metallic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Instrument Set, Basic ENT (1) | STORE |  | Metallic | 60 | Not engraved | June 2023 | ………. |  |  |  |  |  | Non-functional | Still in the store |
| Instrument Set, Suture (3) | OPD MCH |  | Metallic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Pulse Oximeter, Hand held (2) | OPD STORE |  | Plastic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | 1 is functional | Good condition and 1 is still in the store |
| Bed, Adult Patient with Mattress (4) | MCH WARD |  | Metallic with mattress | 90 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Bed, Pediatric Patient, With Mattress (4) | WARD |  | Metallic with mattress | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Bedside Locker (10) | WARDS MCH |  | Metallic | 70 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition and 2 are still in the store |
| Cupboard, Instrument (1) | MCH |  | Metallic | 70 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Delivery Bed, Hydraulic Manual (1) | MCH |  | Metallic with cushion | 80 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (2) | OPD |  | Metallic | 80 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Resuscitator Manual, Infant, with all Mask sizes (1) | MCH |  | Plastic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Resuscitator Manual, Adult, with all mask sizes (1) | STORE |  | Plastic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Non-functional | Still in store |
| Suction Apparatus, (Electric) 1 | STORE |  | Electrical | 70 | Not engraved | June 2023 | …….. |  |  |  |  |  | Non-functional | Still in store |
| Nebulizer, Ultrasonic (1) | STORE |  | Digital | 60 | Not engraved | June 2023 | ……….. |  |  |  |  |  | Non-functional | Still in the store |
| Oxygen Concentrator, Duo Flow (1) | STORE |  | Electrical and metallic | 90 |  | June 2023 | ………. |  |  |  |  |  | Non-functional | Still in the store because there is no power |
| Bench (4) | MCH LAB OPD |  | Wooden | 80 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Disinfection Buckets (2) | MCH |  | Plastic | 12 | Not engraved | June 2023 | Oct 2 | 2024 |  |  |  |  | Non -functional | They are all broken |
| Baby Cot (1) | MCH |  | Plastic | 12 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for Ward (2) | Store |  | Metallic | 36 | Not engraved | June 2023 | …….. |  |  |  |  |  | Non-functional | Still in the store |
| Hollow Ware Set, Ward (2) | STORE |  | Metallic | 36 | Not engraved | June 2023 | …….. |  |  |  |  |  | Non-functional | Still in the store |
| Instrument Set, Delivery (7) | MCH |  | Metallic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition and 2 are in still in the store |
| Instrument Set, Stitch Removing (5) | MCH |  | Metallic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition and 2 are still in store |
| MVA Kit | ….. | …… | ……. | …….. | …….. | …….. | …….. | …….. | ……… | …….. | …….. | ……… | …… | …….. |
| Stool, Laboratory (1) | LAB |  | Metallic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Penguin Sucker (2) | MCH |  | Plastic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Fetoscope, Dopplar (2) | MCH |  | Metallic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Bubble CPAP (15) | STORE |  | Plastic | 36 | Not engraved | June 2023 | ……. |  |  |  |  |  | Non-functional | Still in the store |
| Centrifuge (Electric) 1 | STORE |  | Electrical | 60 | Not engraved | June 2023 | …… |  |  |  |  |  | Non-Functional | Still in the store because there is no power |
| Kangaroo Mother Care Chair (1) | MCH |  | Metallic with cushion | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Radiant Infant Warmer |  | …….. | ……. | ……. | ……… | ……… | ……… | ……… | ……… | ……. | ……. | ……. | …… | ……… |
| Haemoglobin Meter, Sahli (1) | LAB |  | Metallic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good working condition |
| Delivery Bed (1) | MCH |  | Metallic with cushion | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Examination light (3) | MCH OPD |  | Metallic and plastic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Instrument set, ENT Basic for HCIII | ….. | ……. | ………. | ……….. | ………. | ……. | ……. | ……… | ……… | ……… | ……. | ……… | ……… | ……… |
| Bag Valve mask (Ambu Bag), Neonatal (15) | MCH |  | Plastic | 36 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition but some are still in the store |
| Incubator | … | …. | ……. | ……. | ……. | …… | ….. | ……. | …… | ….. | ……. | ……. | …… | …… |
| Office Chair (7) | MCH OPD |  | Metallic with cushions | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Desk (5) | OPD LAB MCH |  | Wooden | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good condition |
| Filing Cabinet (6) | OPD MCH WARDS |  | Metallic | 60 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | The locks are spoilt |
| Non Residential Buildings (2) | HEALTH |  | Block buildings | 150 |  | June 2023 | Oct 2024 |  |  |  |  |  | Functional | They are in a good state |
| Residential Buildings (1) | MCH BUILDING |  | Block building | 300 | Not engraved | June 2023 | Oct 2024 |  |  |  |  |  | Functional | Good state |

SAMPLE PICTURES OF ADWIR HEALTH CENTRE III

Delivery Bed Hydraulic Manual

Cupboard Steel Lockable

Oxygen Concentrator

Dual Flow

MCH Ward

and

Pit Latrine

OPD Equipment

Water Tank

Examination Couch

and

Filing Cabinet

Sample of Equipment

in MCH Ward

Assets in the Store

Centrifuge

Sample of Office Chair

Auto Clave

B.P Machine Manual

Instrument Trolley

Sample of a Spoilt Bed

Microscope

Weighing Scale

Laboratory

Stool

Staff House

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |