ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN REGION |
| --- | --- |
| SUB-REGION: | LANGO SUB-REGION |
| Name of Local Government | OTUKE DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | AGANYO MERCY |
| Contact/ email and Telephone | 0786551826 mercyaganyo22@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | MR. DENIS |
| Contact | 0779622063 |
| Date of submission | 29TH AUGUST 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ALANGO HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

YES, The facility always conducts regular evaluation and takes records of the functionality of the equipment provided.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The UGIFTS support has improved the Health of community for example expectant mothers can now put to bed within the facility due to the equipment provided, the hospital is now well equipped.

Recommendation UGIFT should help to construct staff houses because most staff members are residing outside the facility.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health center checklist

NAME OF LG OTUKE DISTRICT LOCAL GOVERNMENT.	 NAME OF HEALTH FACILITY ALANGO HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (3) | MCH(2) OPD(1) |  | Digital | 60 | Not engraved | 15/11/2025 | May 2026 |  |  |  |  |  | Functional | Good working condition |
| B.P. Machine (Aneroid wall mounted) (2) | OPD MCH |  | Manual | 60 | Not engraved | 15/11/2025 | May 2026 |  |  |  |  |  | Functional | Good condition |
| Autoclave 20 Liters.,Duo Operated (1) | MCH |  | Plastic | 60 | Not engraved | 15/11/2025 | May 2026 |  |  |  |  |  | Functional | Good condition |
| Bowl, Kick (2) | MCH |  | Metallic | 60 | Not engraved | 15/11/2025 | May 2026 |  |  |  |  |  | Functional | Good condition |
| Bowl Stand (2) | MCH |  | Metallic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good Working condition |
| Counting chamber Neubauer- Improved (2) | MCH |  | Plastic |  | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good Working condition |
| Cupboard Steel, Lockable (3) | MCH |  | Metallic | 80 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good Working condition |
| Drip Stand | - |  | - | - | - | - | - | - | - | - | - | - | - | - |
| ESR Stand (1) | LAB |  | Glass in nature | 70 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Examination Couch (4) | MCH(2) OPD (2) |  | Metallic with cushion | 120 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Examination light,LED (2) | MCH |  | Plastic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Glucometer (4) | LAB MCH |  | Plastic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Haemoglobin Meter, Digital (2) | LAB MCH |  | Plastic Digital | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good Condition |
| Height Meter (2) | OPD MCH |  | Plastic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Instrument Trolley (1) | MCH |  | Metallic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Microscope Binocular (1) | LAB |  | Metallic electrical | 70 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Otoscope (1) | OPD MCH |  | Metallic | 90 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Patient Screen (1) | MCH |  | Metallic | 70 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good conditionN |
| Patient Trolley (2) | Ward MCH |  | Metallic | 80 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Refrigerator, Basic (1) | MCH |  | Metallic | 90 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Stethoscope (12) | OPD MCH Store |  | Metallic with rubber | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition and 4 are still in the store |
| Stop Watch (2) | MCH |  | Metallic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Stretcher | - | - | - | - | - | - | - | - | -- | - | - | - | - | -- |
| Stove, Gas (1) | MCH |  | Metallic | 70 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Weighing Scale with Height (4) Meter, Adult | OPD MCH |  | Metallic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Weighing Scale, Infant (4) | EPI |  | Metallic | 80 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Weighing Scale, Toddler (2) | MCH |  | Plastic | 70 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Wheel Chair (2) | MCH WARD |  | Metallic with fabric | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Audio Visual Equipment - | - | - | - | - | - | -- | - | - | - | - | - | -- |  | - |
| Medical Waste Bin (3) | MCH |  | Plastic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Wall Clock (5) | LAB OPD |  | Plastic | 60 | Not engraved | 15/11/2026 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
|  | MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | WARD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH (3) | MCH |  | Metallic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Diagnostic Equipment Set for OPD (2) | OPD |  | Metallic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Glassware Set, Laboratory, Basic (2) | LAB |  | Glass in nature | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition but they are the outdated type |
| Hollow Ware Set, Treatment | - | - | - | - | - | - | -- | - | - | - | - | - | - | - |
| Instrument Set, Dressing (2) | WARD |  | Metallic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Basic ENT | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Instrument Set, Suture | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Pulse Oximeter, Hand held (2) | OPD WARD |  | Plastic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Bed, Adult Patient with Mattress (20) | Ward MCH |  | Metallic and mattress | 120 | Not engraved | 15/11/2026 | May, 2026 |  |  |  |  |  | Functional | Good working |
| Bed, Pediatric Patient, With Mattress(4) | PAED |  | Metallic | 90 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working Condition |
| Bedside Locker | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Cupboard, Instrument | - | - | - | - | - | -- | - | - | - | - | -- | - | - | - |
| Delivery Bed, Hydraulic Manual | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Resuscitator Manual, Infant, with all Mask sizes (3) | MCH |  | Plastic | 70 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Resuscitator Manual, Adult, with all mask sizes (45) | WARD MCH |  | Plastic | 80 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Suction Apparatus, (Electric) (2) | MCH |  | Electric | 70 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Nebulizer, Ultrasonic (2) | WARD MCH |  | Electrical | 90 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Oxygen Concentrator, Duo Flow (4) | WARD |  |  | 120 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Bench (4) | MCH WARD |  | Wooden with metallic stand | 70 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Disinfection Buckets (9) | MCH |  | Plastic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Baby Cot (2) | MCH |  | Plastic | 70 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Diagnostic Equipment Set for Ward (3) | IPD PN |  | Metallic | 90 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Hollow Ware Set, Ward (1) | Inpatient Ward |  | Metallic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Delivery (5) | MCH |  | Metallic | 60 | Not engraved | 15/11/2026 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Instrument Set, Stitch Removing | - | - | - | - | - | - | - | -- | - | - | - | -- | - | - |
| MVA Kit (6) | MCH |  | Plastic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Stool, Laboratory (1) | LAB |  | Metallic with cushion | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working |
| Penguin Sucker (6) | MCH STORE |  | Plastic | 70 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition but 2 are still in store |
| Fetoscope, Dopplar (02) | MCH |  | Plastic | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Bubble CPAP (2) | MCH |  | Plastic | 90 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Centrifuge (Electric) (1) | LAB |  | Electrical | 90 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Kangaroo Mother Care Chair (1) | MCH |  | Metallic with cushion | 80 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Radiant Infant Warmer (1) | MCH |  | Electrical | 120 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Haemoglobin Meter, Sahli (2) | LAB MCH |  | Manual | 60 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good condition |
| Delivery Bed (3) | MCH |  | Metallic with mattress | 120 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Examination light | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Instrument set, ENT Basic for HCIII | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Bag Valve mask (Ambu Bag), Neonatal | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Incubator | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Office Chair (7) | OPD MCH LAB |  | Metallic with leather | 90 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Desk (6) | OPD MCH LAB |  | Wooden | 90 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Filing Cabinet (2) | IPI MCH |  | Metallic | 120 | Not engraved | 15/11/2025 | May, 2026 |  |  |  |  |  | Functional | Good working condition |
| Non Residential Buildings (01) | Health |  | Concrete building | 200 | Not engraved | 15/11/2025 | May 2025 |  |  |  |  |  | Functional | Good condition |
| Residential Buildings (02) | MCH |  | Concrete block building | 600 | Not engraved | 15/11/2025 | May 2026 |  |  |  |  |  | Functional | Good condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: OGOR SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

OGOR SEED SECONDARY SCHOOL uses USE and PTA contribution to repair and maintain the assets provided in a good condition.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

Yes, Ogor Seed Secondary School always does regular checkups of the assests provided to ensure that they are functioning well.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The assets have improved the education of the community for example the computers provided has digital learning.

Recommendation; UGIFT should construct more classrooms in the school to accommodate the increasing numbers of learners.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG OTUKE DISTRICT LOCAL GOVERNMENT  	Name of SCHOOL OGOR SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School Desk 120 |  |  | Wooden | 80 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | The desks are in a good working condition except that 10 desks are broken |
| Office Chairs (20) |  |  | Metallic with cushion |  |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | They are all in good working condition |
| Laboratory stools (192) |  |  | Wooden and metallic in nature | 80 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | 189 stools are in a good working condition 3 stools are broken |
| Bookshelves |  |  | Wooden | 80 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | They are all in a good working condition |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG OTUKE DISTRICT LOCAL GOVERNMENT Name of SCHOOL OGOR SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desktop Computer (48) | Education |  | Digital | 60 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good working condition |
| S |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Server Processor (01) | Education |  | Digital | 70 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good working condition |
| Network switch port | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Multipurpose printer | Education |  | Digital | 70 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good working condition |
| UPS | - | - | - | - | - | - | - | - | - | - | - | - | - | - |
| Projector | Education |  | Digital | 70 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good working condition |
| Air conditioner (01) | Education |  | Digital | 75 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good working condition |
| CCTV Camera | Education |  | Digital | 80 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good working condition |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG OTUKE DISTRICT LOCAL GOVERNMENT Name of SCHOOL OGOR SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Classroom buildings (6) | Education |  | Block buildings | 600 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | The buildings are in a good State |
| Admin block | Education |  | Block building | 600 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | The buildings are in a good State |
| twin staff houses (03) | Education |  | Twin building | 600 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good state |
| Multipurpose hall | Education |  | Block building | 600 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good state |
| ICT and Library Block | Education |  | Block Building | 600 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good state |
| Science Lab. | Education |  | Block building | 600 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good state |
| Kitchen (03) | Education |  | Twin block building | 600 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good state |
| Pit Latrine (03) | Education |  | Twin building | 400 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good state |
| Water Tank | Education |  | Plastic with concrete building | 90 |  | Jan, 2022 | Feb, 2022 |  |  |  |  |  | Functional | Good working condition |
| Fence | - | - | - | - | - | - | - | - | - | - | - | - | - | - |

SAMPLE PICTURES OF ALANGO H/C III

Penguin Sucker

Drip Stand and Examination Light LED

Wheel Chairs

Stretcher

Examination Couch

and Weighing Scale

Infant

Assets in the Store

Delivery Bed Hydraulic

Manual

Disinfection Buckets

Wall Clock

Cupboard Steel Lockable

Refrigerator

Patient Bed and Bedside Locker

MCH Ward

Staff Houses

SAMPLE PICTURES OF OGOR SEED SECONDARY SCHOOL

Ogor S.S.

Classroom

Block

Ogor Seed

S.S Science

Laboratory

Ogor Seed

S.S

Pit Latrine

Ogor Seed S.S

Multipurpose Hall

And Library

Block

Ogor Seed S.S.

Water Tank

Ogor Seed S.S.

Twin Staff House

Sample of Desks

Sample of Bookshelves

Sample of Ogor Seed S.S

Laboratory Tables

Ogor Seed S.S

Laboratory Stools Sample