ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN UGANDA |
| --- | --- |
| SUB-REGION: | LANGO SUB-REGION |
| Name of Local Government | ALEBTONG DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | AGANYO MERCY |
| Contact/ email and Telephone | 0786551826 mercyaganyo22@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | MR. DENIS |
| Contact | 0779622063 |
| Date of submission | 25TH AUGUST, 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: AWEI HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

In case of any damage, Awei Health Centre III uses 10% of the Primary Health Care Fund (PHC) to repair and service the damages.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

Awei Health Centre tags the responsibility on the staff who are on duty to keep them well. The equipment in the store are kept safely by the store keeper who records all the equipment provided.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The assets provided have helped in improving the lives of the locals.

There is no power in the Out Patient Department (OPD), Some equipment are still kept in the store because the laboratory and the general wards are too small to accommodate all the equipment provided.

They lack well trained staff to work on the machines like the instrument Set Basic, ENT

Recommendations: UGIFT should help Awei Health Center III to train its staff in order equip them with the relevant skills to operate the machines.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG ALEBTONG DISTRICT LOCAL GOVERNMENT, NAME OF HEALTH FACILITY AWEI HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | MCH OPD |  | Digital | 60 | Not engraved | 27th May 2025 | October 2025 |  | 300000 |  |  |  | Functional | Good condition |
| B.P. Machine (Aneroid wall mounted) (2) | MCH STORE |  | Manual | 60 | Not engraved | 27th May 2025 | October 2025 |  | 700000 |  |  |  | 1is functional | Good working condition and 1 is still in the store. |
| Autoclave 20 Liters.,Duo Operated | ………. | …….. | ………. | ……….. | ………… | ………. | ………. | ………. | …………. | …… | …….. | ……… | ……….. | ……. |
| Bowl, Kick (1) | Health |  | Manual | 60 | Not engraved | 27th May 2025 | October 2025 |  | 180000 |  |  |  | Non-functional | Still in the store. |
| Bowl Stand | Health |  | Metallic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in the store |
| Counting chamber Neubauer- Improved(2) | LAB STORE |  | Plastic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good working condition and 1 is still in the store |
| Cupboard Steel, Lockable (2) | OPD MCH |  | Metallic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good working condition. |
| Drip Stand (8) | General ward MCH |  | Metallic | 70 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good working condition. |
| ESR Stand (1) | Health |  | Plastic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in the store. |
| Examination Couch (2) | OPD MCH |  | Metallic and cushion | 60 | Not engraved | 27th may 2025 | October 2025 |  |  |  |  |  | Functional | Good working condition. |
| Examination light,LED (2) | OPD MCH |  | Plastic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition. |
| Glucometer (2) | LAB MCH |  | Plastic | 50 | Not engraved | 27th May 2025 | October 2025 |  | 400000 |  |  |  | Functional | Good working condition. |
| Haemoglobin Meter, Digital (2) | STORE |  | Digital and plastic | 50 |  | 27th May 2025 | October 2025 |  | 700000 |  |  |  | Non-functional | Still in the store because there are others in use |
| Height Meter(1) | STORE |  | Metallic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in the store |
| Instrument Trolley (2) | MCH WARD |  | Movable metallic | 50 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good working condition. |
| Microscope Binocular (1) | STORE |  | Metallic | 60 | Not engraved | 27th May 2025 | October 2025 |  | 2800000 |  |  |  | Non-functional | Still in the store because it is sub-standard and does not see objects clearly |
| Otoscope (1) | IPD |  | Metallic | 40 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition. |
| Patient Screen (4) | MCH IPD GENERAL WARD |  | Movable metallic | 50 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition. |
| Patient Trolley (1) | IPD |  | Movable metallic | 40 | Not engraved | 27th May 2025 | October 2025 |  | 2200000 |  |  |  | Functional | Good working condition |
| Refrigerator, Basic (1) | LAB |  | Metallic | 80 | Not engraved | 27th May 2025 | October 2025 |  | 1800000 |  |  |  | Functional | Good condition. |
| Stethoscope (4) | MCH OPD |  | Metallic and digital | 70 | Not engraved | 27th may 2025 | October 2025 |  | 360000 |  |  |  | Functional | Good condition and 2 are in the store |
| Stop Watch (2) | STORE |  | Plastic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in the store. |
| Stretcher (1) | IPD |  | Metallic with leather | 70 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition. |
| Stove, Gas (1¦) | IPD |  | Metallic | 60 | Not engraved | 27th May 2025 | October 2025 |  | 750000 |  |  |  | Functional | Good condition. |
| Weighing Scale with Height Meter, Adult (2) | OPD MCH |  | Use battery | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good working condition. |
| Weighing Scale, Infant (2) | MCH |  | Plastic and use battery | 40 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional and 1 is non-functional | Good working condition and 1 is still in the store. |
| Weighing Scale, Toddler (2) | MCH |  | Plastic | 50 | Not engraved | 27th May 2025 | October 2025 |  | 1000000 |  |  |  | Functional | Good condition. |
| Wheel Chair (1) | IPD |  | Metallic with leather | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good working condition. |
| Audio Visual Equipment | ….. | …….. | ……. | ……. | ……. | …….. | ……… | ……… | ……… | …….. | .. | …….. | ……. | …… |
| Medical Waste Bin (6) | Store |  | Plastic | 50 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in the store. |
| Wall Clock (4) | MCH IPD |  | Plastic | 40 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | 2 are in a good condition and 2 are still in the store. |
| Diagnostic Equipment Set for MCH (2) | MCH |  | Metallic | 60 | Not engraved | 27th May 2025 | October 2025 |  | 2400000 |  |  |  | Functional | Good condition and 1 is still in the store |
| Diagnostic Equipment Set for OPD (2) | Store |  | Metallic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in the store because some are in use |
| Glassware Set, Laboratory, Basic (2) | Store |  | Glass in nature | 70 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in store. |
| Hollow Ware Set, Treatment (3) | Store |  | Stainless steel | 70 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in the store. |
| Instrument Set, Dressing (3) | IPD |  | Stainless steel | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition and 2 are still in store |
| Instrument Set, Basic ENT (3) | Store |  | Stainless steel | 40 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in store because others are still in the store |
| Instrument Set, Suture | ……. | …….. | …… | …… | …… | …… | …… | …… | ……. | …… | …… | …… | ……… | …… |
| Pulse Oximeter, Hand held (2) | Store |  | Digital | 50 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in store because others are in use |
| Bed, Adult Patient with Mattress (10) | IPD MCH |  | Metallic with mattress | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good working condition and 4 are still in the store |
| Bed, Pediatric Patient, With Mattress (2) | MCH |  | Metallic with mattress | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition |
| Bedside Locker | … | ….. | …… | …… | …… | ……. | …… | ……. | ……. | …… | ….. | ….. | ….. | ….. |
| Cupboard, Instrument (1) | Store |  | Metallic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-Functional | Still in the store. |
| Delivery Bed, Hydraulic manual (1) | MCH |  | Metallic with mattress | 70 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition. |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (2) | MCH Store |  | Plastic in nature | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition and 1 is still in the store |
| Resuscitator Manual, Infant, with all Mask sizes (2) | Store |  | Plastic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still kept in the store. |
| Resuscitator Manual, Adult, with all mask sizes (2) | MCH |  | Plastic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition and 1 is still in the store |
| Suction Apparatus, (Electric)(2) | Store |  | Electrical in nature | 70 | Not engraved | 27th May 2025 | October 2025 |  | 3,000,000 |  |  |  | Non-Functional | Still in the store because there is no power |
| Nebulizer, Ultrasonic (1) | Store |  | Plastic | 70 | Not engraved | 27th may 2025 | October 2025 |  | 650,000 |  |  |  | Non-functional | Still in the store because there is no power |
| Oxygen Concentrator, Duo Flow (4) | MCH IPD |  | Electrical in nature | 80 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition and 2 are still in the store. |
| Bench (4) | IPD |  | Wooden with metallic stands | 90 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition |
| Disinfection Buckets (6) | MCH |  | Plastic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition |
| Baby Cot (5) | MCH |  | Plastic | 90 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition and 4 are still kept in the store |
| Diagnostic Equipment Set for Ward (3) | IPD |  | Metallic and plastic | 90 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition and 2 are still store |
| Hollow Ware Set, Ward (3) | Store |  | Stainless steel | 60 | Not engraved | 27th may 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in the store |
| Instrument Set, Delivery (3) | MCH |  | Stainless steel | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition and 2 are still in store |
| Instrument Set, Stitch Removing (3) | IPD |  | Stainless steel | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition and 2 are still in store. |
| MVA Kit (4) | Store |  | Plastic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in store |
| Stool, Laboratory 1 | LAB |  | Metallic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition |
| Penguin Sucker (3) | MCH Store |  | Rubber in nature | 70 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition and 2 are still in store. |
| Fetoscope, Dopplar (2) | MCH Store |  | Manual | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition and 1 is in store |
| Bubble CPAP (2) | Store |  | Plastic | 90 | Not engraved | 27TH May 2025 | October 2025 |  |  | . | …… | ……. | Non-functional | Still kept in store. |
| Centrifuge (Electric) (2) | Store |  | Electrical in nature | 80 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in the store because there is no power |
| Kangaroo Mother Care Chair (1) | MCH |  | Metallic with leather | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition |
| Radiant Infant Warmer | …. | …… | ……. | …… | ……. | ……. | …….. | ……. | …….. | …….. | ……. | …….. | …… | ……. |
| Haemoglobin Meter, Sahli | …. | …… | ……. | ……. | …….. | ……… | ……. | …….. | ……… | ……… | …… | ……. | …….. | …… |
| Delivery Bed (1) | MCH |  | Metallic with mattress | 90 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition |
| Examination light (2) | IPD |  | Manual | 70 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition |
| Instrument set, ENT Basic for HCIII (3) | Store |  | Steel | 60 | Not engraved because ther | 27th May 2025 | October 2025 |  |  |  |  |  | Non-functional | Still in store because there are others in use |
| Bag Valve mask (Ambu Bag), Neonatal | …. | …… | ……. | ……. | ……. | …… | ……. | …… | ….. | …… | ……. | …….. | …….. | ……. |
| Incubator | ……. | …… | …….. | …….. | ……… | ………. | ……… | ……… | ………. | ……… | ………. | ……. | …… | …….. |
| Office Chair (4) | MCH OPD |  | Metallic with leather | 90 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition |
| Desk | …… | ……. | …… | …… | ……. | ….. | ……. | …….. | …….. | ……. | ……. | ……. | …….. | …… |
| Filing Cabinet (2) | OPD HIV Clinic |  | Metallic | 60 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition |
| Non Residential Buildings | …… | …… | ……. | ……. | …….. | ……. | …….. | …… | ….. | ….. | ….. | …… | …… | …… |
| Residential Buildings (2) Twin house and MCH ward | Health |  | Block concrete building | 299 | Not engraved | 27th May 2025 | October 2025 |  |  |  |  |  | Functional | Good condition |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

SAMPLE PICTURES OF AWEI H/C III

BP Machine Manual

Autoclave

Equipment Set

Drip Stand and Patient Trolley

Examination Light LED

Glucometer and Laboratory Stool

Weighing Scale Infant

Refrigerator Basic

Filing Cabinet

Delivery Bed

Delivery Bed Hydraulic Manual

Feto scope

Equipment Set Stich Removal

Office Chair

Kangaroo Mother Care Chair

Awei H/C III Pit Latrine

Awei H/C III MCH Ward

Awei H/C III Staff Twin House