ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bukedi |
| Name of Local Government | Tororo District |
|  | Tororo District |
| VERIFIER PARTICULARS |  |
| Full name | Kayongo Tonny, Lydia Nakiganda |
| Contact/ email and Telephone | tkayongo1@gmail.com 0783405610, lydianakiganda3@gmail.com 0704948564 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: NOT APPLICABLE - this facility is a school

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Tororo District        NAME OF HEALTH FACILITY: NOT APPLICABLE - this facility is a school

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: Malaba Seed School

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Tororo District        Name of SCHOOL: Malaba Seed School

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 15 Book Shelves Library | Edn |  | wooden with metallic handle/stands | 7 yrs | Not engraved |  |  |  |  |  |  |  | good condition | functional in the library - but the wall mounted book shelves are broken and kept in the library. |
| 2 Sci laboratory shelves wall mounted |  |  | wooden with metal | 7 yrs | Not engraved |  |  |  |  |  |  |  | good condition | functional and they are in the store room. |
| 4 Sci lab drawers |  |  | wooden with metallic handles | 7 yrs | Not engraved |  |  |  |  |  |  |  | good condition | functional and seen in the store room. |
| 6 classroom shelves |  |  | wooden with metallic stands | 7 yrs | Not engraved |  |  |  |  |  |  |  | good condition | functional - seen in classrooms. |
| 20 office chairs |  |  | wooden with grey | 7 yrs | Not engraved |  |  |  |  |  |  |  | good condition | functional - seen in ICT and Admin block. |
| 5 office table | Edn |  | wooden with | 7 yrs | Not engraved |  |  |  |  |  |  |  | good condition | functional - seen Admin block. |
| 255 chairs | Edn |  | wooden with metallic handles | 7 yrs | Not engraved |  |  |  |  |  |  |  | 34 Chairs are not in good condition | functional chair 221 Non functional chair 34 counted and seen physically. |
| 94 Tables | Edn |  | wooden with metallic handles | 7 yrs | Not engraved |  |  |  |  |  |  |  | 4 tables not in good condition | 90 functional Non functional 4. counted and seen physically other 8 tables Not seen. |
| Laboratory stools | Edn |  | wooden with metallic handles | 7 yrs | Not engraved |  |  |  |  |  |  |  | In good condition | 163 Stools functional 17 broken counted physically. |
| 117 School Desks | Edn |  | wooden with metallic handles | 7 yrs | Not engraved |  |  |  |  |  |  |  | Some are not in good working condition | 111 Desks functional 86 Non functional counted physically. - 35 Not seen. |
| Sci Lab tables - 180 | Edn |  | metallic handle wooden | 7 yrs | Not engraved |  |  |  |  |  |  |  |  |  |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Tororo District        Name of SCHOOL: Malaba Seed School

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 29 Desktop computer | Edn |  | Black colour Dell | 10 yrs | Not engraved |  |  |  |  |  |  |  | Good work condition | 29 Desktop functional. 2 CPU always see No disk but they use them like that. They computers Desktop are in the dust environment. The computers were shifted from where they had them to create more classroom so not organized every there connection to share resources. But the computer lab is so dusty and the computers are not covered. |
| 1 projector | Edn | S/N X88T1402156 | H971B white Epson with Remote | 10 yrs | Not engraved |  |  |  |  |  |  |  | Projector Good working condition | functional and in computer lab. |
| 1 CCTV camera | Edn |  | white with | 10 yrs | Not engraved |  |  |  |  |  |  |  | Not good working condition | Non functional and it was not compatible with hard disk and usb play. |
| 1 Server processor | Edn | S/N 5QSWOL2 | Stainless and black colour Dell | 10 yrs | Not engraved |  |  |  |  |  |  |  |  |  |
| 2 Network switch 24 | Edn | S/N TR04105022301 | Blue Yellow wire protected with Black PVC D-Link | 10 yrs | Not engraved |  |  |  |  |  |  |  | good condition | 2 functional in computer lab. |
| 1 multipurpose printer | Edn |  |  |  |  |  |  |  |  |  |  |  | Not good condition | Non functional when they change of the printer. The power processor stopped working and it was not even software to service the computer. Not seen physically. |
| 1 Air conditioner | Edn |  |  |  | Not engraved |  |  |  |  |  |  |  | good condition | It is not installed and still in the boxes in the computer lab. |
| 2 Server | Edn | TR04105022302 | D-Link. Black metallic | 10 yrs | Not engraved |  |  |  |  |  |  |  | good condition | 2 servers are functional and being used in ICT Lab. |
| 27 UPS | Edn |  | Black; Office Point 650VA (serials S/N 201215001 to 201215011 on page) | 10 yrs | Not engraved |  |  |  |  |  |  |  | 3 Not in good working condition | 28 UPS are working but they don't have cables to connect them (facing desktop page). The 24 UPS are working functional but 3 are spoiled. They all have the same serial numbers but change in numbering except one UPS. Margin note: Spoiled 23 24. Individual S/Ns listed: 201215001–201215011. |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Tororo District        Name of SCHOOL: Malaba Seed School

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Staff quarters | Edn | Yellow | 3 staff block | 10 yrs |  |  |  |  |  |  |  |  | good condition | functional in good conditions but one unit is empty. Residential. |
| Pit latrines | Edn | Brown Paint | 3 pit latrine blocks with 2 bathroom each 2-stance each. Total 6 stance and 6 bathroom | 10 yrs |  |  |  |  |  |  |  |  | good condition | functional and they are well used. Residential. |
| Kitchen | Edn | Yellow, Brown Paint | 3 kitchen with 2 rooms each. Total 6 rooms |  |  |  |  |  |  |  |  |  | good condition | functional and used. Residential. |
| Water Tanks | Edn | Black and mounted | tanks for 5000 litres |  |  |  |  |  |  |  |  |  | good condition | functional and well mounted. Residential. |
| Pit latrines for girls | Edn | Yellow Brown Paint | 1 bathroom 4 stance + VIP latrine | 10 yrs | Labelled |  |  |  |  |  |  |  | good condition | functional and labelled. Non Residential School. |
| Pit latrines for boys | Edn | Yellow Brown Paint | 1 bathroom 4 stance 1 for disability | 10 yrs | Labelled |  |  |  |  |  |  |  | good condition | functional. Non Residential School. |
| 1 Multi-purpose hall | Edn | Yellow and brown paint | 2 big room partitioned | 10 yrs | Labelled |  |  |  |  |  |  |  | good condition | functional but the middle door is (partition door) broken and the end side. Non Residential School. |
| Non Residential Buildings |  |  | Yellow and Brown Painting | 20 yrs | Not engraved But labelled |  |  |  |  |  |  |  |  |  |
| 1 Administration block | Edn |  | 1 block with H/M office and staff room | 20 yrs | Not engraved But labelled |  |  |  |  |  |  |  | good condition | functional It was labelled by UGIFT but it was not commissioned. |
| 1 Science Laboratory |  |  | Yellow and Brown Paint 2 big room and store | 20 yrs | Not engraved But labelled |  |  |  |  |  |  |  | good condition | functional - It was labelled but not commissioned. |
| 1 ICT Library | Edn |  | 1 block with ICT lab and Library 2 big room and store and sick bay | 20 yrs | They are labelled but |  |  |  |  |  |  |  | good condition | functional but the computer room is so dusty and the computers are not covered. |
| 3 Classroom Block | Edn |  | Yellow and Brown Paint with 3 blocks with each 2 classrooms | 20 yrs |  |  |  |  |  |  |  |  | good condition | functional but the paint is peeling off. |
| Pit latrines for staff |  |  | Yellow and Brown paint 2 stance one for male and other female | 20 yrs | labelled but not commissioned |  |  |  |  |  |  |  | good condition | functional and clean. |
| Non-Residential Water tanks |  |  | 1 Big water tank 10000 LTR at the Sci Laboratory wall mounted; 1 water tank raised up 5000 LTR |  |  |  |  |  |  |  |  |  |  | No kitchen. No fence. NB The fence was constructed by the school not UGIFT. |

OUTSTANDING ON THE HAND-FILLED COPY

- The discussion guide of this copy did not come in, so the five questions are unanswered.

- The cover block of the register was not among the photographed pages. Verifier, supervisor and contacts are written from the team record (RULES 3.15). Date of submission is left blank.

- Cover block and school discussion guide were not among the thirteen photographed pages - GUIDE empty; verifier/supervisor/date on page unfilled; date of submission left blank (RULES 3.15).

- Office table (5): item description ends at 'wooden with' - rest illegible / cut off.

- Office chairs description 'wooden with grey' - incomplete (grey what).

- Laboratory stools: no quantity in the item column; remarks give 163 functional + 17 broken (=180). Sci Lab tables item carries '- 180' - possible mis-association of the stools count; confirm both quantities.

- School Desks: item says 117; remarks say 111 functional, 86 non functional, 35 not seen (111+86=197; +35=232) - counts disagree.

- 94 Tables remarks: 90 functional + 4 non functional (=94) and 'other 8 tables Not seen' - clarify whether 8 are beyond the 94.

- Book Shelves Library remarks mention wall-mounted shelves broken - may belong with the wall-mounted Sci laboratory shelves line.

- Desktop quantity: status/remarks say 29; left margin also readable as 27 on one pass - confirm margin figure.

- Projector serial reads near X88T1402156 (also seen as X88T140256 / X86T1402156) - confirm digits.

- CCTV camera description after 'white with' is illegible; status/remarks pairing with the 'hard disk and usb play' line is soft.

- Server processor serial reads near 5QSWOL2 (also 5QSWN2 / 5QSN012) - confirm; no clear status/remarks on its facing page.

- UPS: aggregate lines show 27 and facing-page remark '28 UPS are working'; margin 'Spoiled 23 24'; status '24 working / 3 spoiled' - reconcile. Individual S/Ns 201215001–011 only partly filled on description/life/tag cells.

- Multipurpose printer and Air conditioner: description/life mostly blank on the left page; printer remarks partly written on the desktop facing page.

- Network switch asset/serial TR04105022301 vs server TR04105022302 - confirm; description after 'Blue Yellow wire' soft in places.

- Buildings: paint colours (Yellow / Brown Paint / Black and mounted) were written in the Asset Number column - kept there as on the page.

- Residential Water Tanks quantity reads as 2 or 3 tanks of 5000 litres - confirm; non-residential tanks on the loose note are 10000 LTR and 5000 LTR.

- Pit latrines for girls: trailing word after VIP latrine illegible.

- Multi-purpose hall remarks trail off after 'the end side'.

- Non Residential Buildings header line has life/tag but no status; ICT Library tag ends 'They are labelled but' - incomplete.

- Science Laboratory tag trailing word after 'labelled' soft.

- Page 13 says 'No kitchen' / 'No fence' while the residential schedule lists kitchens; fence note says school-built not UGIFT - treat as non-residential / UgIFT scope, not a wipe of the residential kitchen lines.

- No cost, recoverable cost, date of purchase, date placed in service, or depreciation figure appears on any schedule line.