ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bukedi |
| Name of Local Government | Tororo District |
|  | Tororo District |
| VERIFIER PARTICULARS |  |
| Full name | Kayongo Tonny, Lydia Nakiganda |
| Contact/ email and Telephone | tkayongo1@gmail.com 0783405610, lydianakiganda3@gmail.com 0704948564 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Namwaya HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift Yes. All the items are still in good shape / condition. Report back to district since they are very expensive to be repaired by the facility. Simple repairs, the facility uses PHC. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. However, the assets are still new and they haven't recorded any breakdown. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | There is value for money; all equipment are of high quality and durable. Improved service delivery at the facility; the numbers visiting the facility. Staff welfare has been improved; staff accommodation. Challenges: insecurity since the facility is not fenced; staffing levels are still low. Recommendations: fencing of the facility to enhance security. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Tororo District        NAME OF HEALTH FACILITY: Namwaya HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (01) | Health |  | Kept in a grey container |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| B.P. Machine (Aneroid wall mounted) (03) | Health |  | Kept in a grey container |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use. 2 in store. |
| Autoclave 20 Liters., Duo Operated (02) | Health |  | Stainless steel with black lining |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. Another in store. |
| Bowl, Kick (02) | Health |  | Stainless steel with wheels |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use. One in store. |
| Bowl Stand (03) | Health |  | Stainless steel with wheels |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use; another in store. |
| Counting chamber Neubauer- Improved (02) |  |  |  |  |  |  |  |  |  |  |  |  |  | Not seen. |
| Cupboard Steel, Lockable (04) | Health |  | Steel, cream with door lockable |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Drip Stand (01) | Health |  | Stainless stand with drip holder blue coloured |  |  |  |  |  |  |  |  |  | Good condition | All in use. |
| ESR Stand (01) | Health | - | White base with stainless stands |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Examination Couch (04) | Health | - | Metallic with black mattress |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Examination light, LED (04) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | One in use; three in store. |
| Glucometer (04) | Health | - | On Call Plus |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use; three are in store. |
| Haemoglobin Meter, Digital (02+1) | Health | - | White coloured |  | Not engraved |  |  |  |  |  |  |  | Good condition | Two in use; one in store. |
| Height Meter (02) | Health | - | White in colour |  | Not engraved |  |  |  |  |  |  |  |  | One in use; another in store. |
| Instrument Trolley (02) | Health | - | Stainless steel with wheels |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use; one in delivery room, another in ANC. |
| Microscope Binocular (01) | Health | - | Black with white base |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Otoscope (01) | Health | - | Stainless steel coloured |  |  |  |  |  |  |  |  |  | Good condition | In use. |
| Patient Screen (04; 1 in maternity) | Health | - | Blue screen sheets and white stands |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use; one in delivery. |
| Patient Trolley (02) | Health | - | Blue mattress |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use; one in delivery. |
| Refrigerator, Basic (01) | Health |  | Grey, Chigo brand |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Stethoscope (04) | Health |  | Black cord |  | Not engraved |  |  |  |  |  |  |  | Good condition | Two in use; two in store. |
| Stop Watch (02) | Health |  | White with blue buttons |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in store. |
| Stretcher (01) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | In use. |
| Stove, Gas (01) | Health | - | Still in the box |  |  |  |  |  |  |  |  |  | Good condition | Received a gas plate. |
| Weighing Scale with Height Meter, Adult (02) | Health | - | White with screen |  | Not engraved |  |  |  |  |  |  |  | Good condition | Two in use; one store. |
| Weighing Scale, Infant (04) | Health | - | Green and white box |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use; two in store; one to Tororo Hospital. |
| Weighing Scale, Toddler (02) | Health | - | KINLEE EBSI-20 |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use; another in store. |
| Wheel Chair (03) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | All in use. |
| Audio Visual Equipment | Health |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Medical Waste Bin (03) | Health | - | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Wall Clock (05) | Health | - | QUARTZ white coloured |  | Not engraved |  |  |  |  |  |  |  | Good condition | 4 in use; 1 in store. |
| Diagnostic Equipment Set for MCH (02) | Health |  | Stainless steel case |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use; one in store. |
| Diagnostic Equipment Set for OPD | Health |  |  |  |  |  |  |  |  |  |  |  | Not seen | Mixed up; not identifiable. They are in use mixed up; they don't know where it is stored. |
| Glassware Set, Laboratory, Basic | Health |  |  |  |  |  |  |  |  |  |  |  | Not seen | Mixed up; not identifiable. They are in use mixed up; they don't know where it is stored. |
| Hollow Ware Set, Treatment | Health |  |  |  |  |  |  |  |  |  |  |  | Not seen | Mixed up; not identifiable. They are in use mixed up; they don't know where it is stored. |
| Instrument Set, Dressing (02) | Health |  | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Instrument Set, Basic ENT (02) | Health |  | Kept in their cases |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use. |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Pulse Oximeter, Hand held (03) | Health |  | Kept in a black case |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Bed, Adult Patient with Mattress (10) | Health |  | Metallic with a mattress black cover |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Bed, Pediatric Patient, With Mattress (05) | Health |  | Metallic covered with a mattress with a black cover |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Delivery Bed, Hydraulic Manual (02) | Health |  | 1 blue and another pink coloured |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use; one pink and another blue. |
| Oxygen Therapy Apparatus, Minimum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Resuscitator Manual, Infant, with all Mask sizes (03) | Health |  | Kept in white plastic containers |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Resuscitator Manual, Adult, with all mask sizes (03) | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | Good condition | Two in use; one in store. |
| Suction Apparatus, (Electric) (01) | Health |  | Grey and white coloured |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Nebulizer, Ultrasonic (01) | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use. |
| Oxygen Concentrator, Duo Flow (02) | Health |  | Grey and white coloured |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use in the delivery room; one in store. |
| Bench (04) | Health |  | Metallic stands with wooden sitting bases |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Disinfection Buckets (06) | Health |  | Green plastic |  | Not engraved |  |  |  |  |  |  |  | Good condition | One broken; 4 in use. |
| Baby Cot (02) | Health |  | Not stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use in delivery room. |
| Diagnostic Equipment Set for Ward (01) | Health |  | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use at OPD. |
| Hollow Ware Set, Ward (01) | Health |  | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Instrument Set, Delivery (03) | Health |  | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Instrument Set, Stitch Removing (01) | Health |  | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| MVA Kit (03) | Health |  | A set with a big syringe-like instrument |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Stool, Laboratory | Health |  | Blue and black base |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Penguin Sucker (03) | Health |  | Penguin shaped plastic |  | Not engraved |  |  |  |  |  |  |  | Good condition | One given out to Nagongera Hospital; 2 in store. |
| Fetoscope, Dopplar (02) | Health |  | Whitish and blue |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Bubble CPAP (02) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | All in store. |
| Centrifuge (Electric) (01) | Health |  | LC-04A white and blue colour; small plates |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use. |
| Kangaroo Mother Care Chair (01) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | Fixed in ward. |
| Radiant Infant Warmer (01) | Health |  | Grey and creamish; lights |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use at delivery. |
| Haemoglobin Meter, Sahli (03) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition |  |
| Delivery Bed (02) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | All in use. The facility received two delivery beds of the same make. |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  | Delivered only LED examination lights. The facility received only LED light examination lights. |
| Instrument set, ENT Basic for HCIII (02) | Health |  | Packed in a black case; stainless instruments |  | Not engraved |  |  |  |  |  |  |  | Good condition | Not in use; still in store. |
| Bag Valve mask (Ambu Bag), Neonatal (03) | Health |  | All kept in plastic containers |  | Not engraved |  |  |  |  |  |  |  | Good | All in use. |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not delivered. |
| Office Chair (07) | Health |  | Black leather |  | Not engraved |  |  |  |  |  |  |  | Good condition | Good; all in use. |
| Desk (04+2) | Health |  | Brown varnish, natural timber |  | Engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Filing Cabinet (02) | Health |  | Cream in colour with lockers |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Non Residential Buildings | Health |  | Placenta pit; waste decomposition pit; latrines (2 stances, 2 bathrooms for both male and female); OPD, Maternity Block with wards, waiting area, mini store, ANC room and cleaning room; fixed with water tanks of 10,000 litres on ground and others raised on tank stands with a pump |  |  |  |  |  |  |  |  |  | Good condition | OPD, Maternity, waiting area, ANC. |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings - One block of 2 units of 2 bedrooms each | Health |  | Painted orange and cream |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Tororo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Tororo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Tororo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- Date of submission on the hand-filled copy is 29/08/2026; structured output leaves it blank per RULES.md 3.15.

- Supervisor on the page is Kassim Sekhajja / Wasswa Wilson with contacts 0702806116 / 0783230321; filled toolkit will use Kassim Luminsa / +256 702 806116 per RULES.md 3.15.

- Verifier contact email reads tkayongo1@gmail.com; telephone digits after the email are soft / cropped on the photograph (read as 0783405610) - confirm.

- Bowl, Kick / Bowl Stand: left margin first wrote Not seen then crossed NOT and ticked; treated as found. Bowl Stand remarks only account for two of quantity 03.

- Counting chamber Neubauer-Improved (02): margin reads Not seen (near a circled note); other columns blank.

- Cupboard Steel, Lockable: quantity looks like 04 written over 03.

- Drip Stand: tag blank on the page; facing remarks All in use for qty 01.

- Examination light, LED: description and tag blank; only quantity and facing status/remarks filled.

- Glucometer: quantity 03 struck through and replaced with 4.

- Haemoglobin Meter, Digital: quantity written 02 + 1.

- Height Meter: status cell blank; only remarks filled.

- Otoscope: tag blank on the page.

- Patient Screen: quantity noted as 1 in maternity and 04.

- Stretcher: Not received was written then crossed out; quantity 01 kept with facing Good condition / In use.

- Stove, Gas: quantity 02 struck to 01; description Still in the box; remarks Received a gas plate.

- Weighing Scale Adult remarks say Two in use one store while quantity is 02 - reconcile.

- Audio Visual Equipment: Not received across the quantity cell.

- Diagnostic OPD / Glassware / Hollow Ware Treatment: bracketed Mixed up; not identifiable with facing Not seen.

- Instrument Set, Suture: Not received; other columns blank.

- Bedside Locker: Not received (quantity 07 or 02 struck / overwritten).

- Cupboard, Instrument: Not received.

- Oxygen Therapy Apparatus: Not received.

- Resuscitator Manual, Adult: facing page also has a Not Received line and a remarks line reading about Two in use / 4 in store near this block - pairing soft; transcribed as Two in use; one in store for qty 03.

- Suction Apparatus: quantity 02 struck to 01; facing may also show One in use two in store nearby - pairing soft.

- Disinfection Buckets (06): remarks One broken, 4 in use do not account for all six.

- Stool, Laboratory: quantity not written on the page.

- Haemoglobin Meter, Sahli: description and tag blank; status Good condition with blank remarks.

- Examination light (later line): quantity blank; margin/notes about LED only.

- Incubator: Not received on the left; Not delivered on the facing page.

- Office Chair: quantity written 6 + 1 / 07.

- Desk: quantity written 04 + 2 (and possibly 05 / 07 nearby); tag Engraved without the engraving text.

- Placenta Pit and Pit latrine were written as separate item labels under Non Residential Buildings; folded into the Non Residential Buildings description with the freehand notes.

- No asset number, life, purchase/service dates, cost or depreciation on most lines; left blank per RULES.md 5.