ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: | BUNYORO SUB-REGION |
| Name of Local Government | BULIISA |
| VERIFIER PARTICULARS |  |
| Full name | KICONCO IMMACULATE KATUSHABE RACHEAL |
| Contact/ email and Telephone | 0775566214 0787499408 |
| Supervisor/ Sub team leader | MR. DEPAUL MBONIGABA |
| Name | MR. DEPAUL MBONIGABA |
| Contact | 0788483159 |
| Date of submission | 10/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …………AVOGERA…HC…III…………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- Yes, some repairs are done by the facility.

- The Hoima Reginal Referral Hospital dose most of the other repairs.

- Others are kept in storage if the facility is unable to do repairs.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | - The UgIFT support has helped the facility with good service delivery. - Efficient diagnosis of patients (the centrifuge in fast sample processing). - Patients well being for example beds for patients to rest on when sick. - Efficent work process for the health care providers. |
| --- | --- | --- |

CHALLENGES

- Some of the assets are hard to repair due to the fact that the facility can not find someone that is familiar with the assets provided.

- Complex technical know-how on how some of these assets operate.

- Lack of orientation on how to use some complex assets.

- Lack of storage space for the extra assets provided and those that are no longer in use or damaged.

- RECOMMENDATIONS FOR BETTER PROGRAM IMPLEMENTATION

- Expansion on the facility

- A needs assessment should be carried out before providing equipment.

- Follow up assessment should be done after equipment are provided (one of the cupboards was left without a key)

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………BULIISA…………………… NAME OF HEALTH FACILITY…AVOGERA…HC…III…………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | HEALTH |  | Measures blood pressure electronically |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | All in use and good concision |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| B.P. Machine (Aneroid wall mounted) | HEALTH |  | Measures blood pressure manually |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | In store (the digital B.P machine is easier to use) |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | HEALTH |  | collects waste/fluids during procedures |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, kept in store |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Bowl Stand | HEALTH |  |  |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, kept in store |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Counting chamber Neubauer- Improved | HEALTH |  | Counts blood cells under microscope |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, kept in store |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO.2 |
| Cupboard Steel, Lockable | HEALTH |  | Stores drugs/ equipment safely |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | All in good condition. One in use the other has no key. The key was not provided. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Drip Stand | HEALTH |  | Holds IV fluid bags |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, kept in store |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 8 |
| ESR Stand | HEALTH |  | Holds ESR tubes for sedimentation test |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Not verified but kept in store |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Examination Couch | HEALTH |  | Patient lies for examination |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, kept in store |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Examination light,LED | HEALTH |  | Exam light Purpose: Bright light for procedures |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, one in use and the other kept in store |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Glucometer | HEALTH |  | Measures blood sugar level |  | Not Engraved |  | 19/11/25 |  |  |  |  |  | FUNCTIONAL | Good condition, one in use and the other kept in store |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO . 2 |
| Haemoglobin Meter, Digital | HEALTH |  | Measures haemoglobin level |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, kept in store |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Height Meter | HEALTH |  | Measures patient height |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in use |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Instrument Trolley | HEALTH |  | Carries instruments during procedures |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Microscope Binocular | HEALTH |  | Examines specimens (blood, urine, etc.) |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Otoscope | HEALTH |  | Examines ears |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in use |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Patient Screen | HEALTH |  | Provides privacy during examination |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO . 4 |
| Patient Trolley | HEALTH |  | Transfers patients |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Refrigerator, Basic | HEALTH |  | Stores vaccines/ drugs that need cooling |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage due to lack of power in the lab. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Stethoscope | HEALTH |  | Listens to heart, lungs, and bowel sounds |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, 3 in use and 1 in storage |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 4 |
| Stop Watch | HEALTH |  | Times procedures (e.g. pulse, ESR) |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storag. Not physicaly seen |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Stretcher | HEALTH |  | Carries/ immobilizes patients |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Stove, Gas | HEALTH |  | Heats water or sterilizes |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in use. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Weighing Scale with Height Meter, Adult | HEALTH |  | Weighs and measures adult height and weight |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in use. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Weighing Scale, Infant | HEALTH |  | Weighs and measures babies weight |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, 1 in use and 1 in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Weighing Scale, Toddler | HEALTH |  | Weighs and measures children’s weight |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, 1 in use and 1 in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | HEALTH |  | Collects infectious waste safely |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, all in use but getting old |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 6 |
| Wall Clock | HEALTH |  | Keeps time in the facility |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, 2 in use and 2 in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 4 |
| Diagnostic Equipment Set for MCH | HEALTH |  | Basic tools for mother & child health checks |  | Not Engraved |  | 19/11/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Diagnostic Equipment Set for OPD | HEALTH |  | Basic tools for outpatient examination |  | Not Engraved |  | 19/11/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Glassware Set, Laboratory, Basic | HEALTH |  | Basic lab glassware that holds samples and reagents in the lab |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Hollow Ware Set, Treatment | HEALTH |  | Bowls, trays & containers for procedures |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Instrument Set, Dressing | HEALTH |  | Instruments for cleaning and dressing wounds |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, 1 in use and 1 in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Instrument Set, Basic ENT | HEALTH |  | Instruments for ear, nose & throat examination |  | Not Engraved |  | 19/11/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 3 |
| Instrument Set, Suture | HEALTH |  | Instruments for stitching wounds |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Pulse Oximeter, Hand held | HEALTH |  | Measures oxygen level and pulse rate |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Bed, Adult Patient with Mattress | HEALTH |  | Adult bed that Patient rests / sleeps on |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 10 |
| Bed, Pediatric Patient, With Mattress | HEALTH |  | Pediatric bed with mattress for Child patient rests / sleeps on |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 5 |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | HEALTH |  | Stores clean instruments safely |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Delivery Bed, Hydraulic Manual | HEALTH |  | Supports mother during labour & delivery |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in use. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | HEALTH |  | Gives oxygen to patients |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  | Helps breathe for newborn/baby in emergency |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  | Helps breathe for adult in emergency |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
| Suction Apparatus, (Electric) | HEALTH |  | Removes fluid/secretions from airway |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Nebulizer, Ultrasonic | HEALTH |  | Delivers medicine as mist for breathing |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Oxygen Concentrator, Duo Flow | HEALTH |  | Produces continuous oxygen for patients |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 4 |
| Bench | HEALTH |  | Seating for patients or staff |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in use. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 4 |
| Disinfection Buckets | HEALTH |  | Holds disinfectant for cleaning instruments |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in use. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 6 |
| Baby Cot | HEALTH |  | Safe bed for newborn babie: |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, some are in use and others are in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 5 |
| Diagnostic Equipment Set for Ward | HEALTH |  | Basic tools for ward patient examination |  | Not Engraved |  | 19/11/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 3 |
| Hollow Ware Set, Ward | HEALTH |  | Bowls & containers used on the ward |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 3 |
| Instrument Set, Delivery | HEALTH |  | Instruments used during childbirth |  | Not Engraved |  | 19/11/25 |  |  |  |  |  | FUNCTIONAL | Good condition, 1 in use and 2 in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 3 |
| Instrument Set, Stitch Removing | HEALTH |  | Instruments for removing sutures |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| MVA Kit | HEALTH |  | Manual vacuum aspiration for uterine evacuation |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, 1 in use and 3 in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 4 |
| Stool, Laboratory | HEALTH |  | Seating for laboratory staff |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in use. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Penguin Sucker | HEALTH |  | Clears newborn airway |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, 1 in use and 2 in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 3 |
| Fetoscope, Dopplar | HEALTH |  | Listens to foetal heart |  | Not Engraved |  | 19/11/25 |  |  |  |  |  | FUNCTIONAL | Good condition, 1 in use and 1 in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Bubble CPAP | HEALTH |  | Helps babies breathe |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Centrifuge (Electric) | HEALTH |  | Spins blood samples |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, 1 in use and 1 in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 2 |
| Kangaroo Mother Care Chair | HEALTH |  | Supports skin-to-skin care |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in use. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 1 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | Grey swinging office chairs with wheels |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in use. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 7 |
| Desk | HEALTH |  | office desk with side drawers |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in use. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 3 |
| Mide Upper Arm tap | HEALTH |  | specialized, non-elastic measuring band used to quickly screen for malnutrition and assess nutritional status in children and adults |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in storage. Not physicayl seen. |
| Delivery Set | HEALTH |  |  |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, 1 in use and 2 in storage. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO. 3 |
| Filing Cabinet | HEALTH |  | an office furniture piece with drawers or shelves used to store paper documents in folders |  | Not Engraved |  | 17/09/25 |  |  |  |  |  | FUNCTIONAL | Good condition, in use. |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | NO.2 |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |