ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: | BUNYORO REGION |
| Name of Local Government | BULISA DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KATUSHABE RACHEAL |
| Contact/ email and Telephone | 0787499408 |
| Supervisor/ Sub team leader | MBONIGABA DEPAUL |
| Name | MBONIGABA DEPAUL |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  BUTAIBA HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

It is maintained by the facility officials/in charge. For example, of recent the facility covered the mattresses with capilas.

Regional workshop at hoima referal does partial maintenece of equipments broken

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No Regional workshop at hoima referal does partial maintenece of equipments broken. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has consistently helped in supplying health equipements to the facility Challenges Ugift doesnot do a needs assesment . supplies equipement already at the facility Lack servicing and maintaining of the supplied items - Lack of training on how to use the new supplied items; for example the Delivery hydralic bed is not use for lack of proper knowledege on how to operate it. NMS does not have the strips for the Glucometers that were supplied Recommendations UgIFT should give computers to help transition to the digital era More staff quarters be built to accommodate more staff within the facility premises to ensure safety of the staff since the facility is near a game reserve |
| --- | --- | --- |
| 11 |  |  |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG BULISA DISTRICT LOCAL GOVERNMENT. NAME OF HEALTH FACILITY : BUTAIBA  HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health | 2 | Yuwell Rechargable |  | Not engraved |  | I6/05/2025 |  |  |  |  |  | Received 2 and all still functioning. | All the 2 that were received were verified and are all functioning |
| B.P. Machine (Aneroid wall mounted) | health | 2 | Sphygmonameter, It has a gauge, white in color, with a black metallic base placed on the wall |  | Not engraved |  | I6/05/2025 |  |  |  |  |  | All functioning | All the 2 received were verified and are all functioning well |
| Autoclave 20 Liters.,Duo Operated | health |  | Silver bowl with a round top and black handles with a gauge. |  | Not engraved |  | I6/05/2025 |  |  |  |  |  | They are in good status | All the 2 were received and verified |
| Bowl, Kick | health | 1 |  |  |  |  |  |  |  |  |  |  |  | Not Received Not verified |
| Bowl Stand | health | 2 | Silver like basin with 5 wheel stands, silver in color. |  | Not engraved |  |  |  |  |  |  |  | Well-functioning | bowls received and all verified,stands and also verified |
| Counting chamber Neubauer- Improved |  | 2 |  |  |  |  |  |  |  |  |  |  |  | Not verified |
| Cupboard Steel, Lockable | health | 2 | Grey in color with compartments, lockable in nature |  | Not engraved |  |  |  |  |  |  |  | functioning | verified and all functioning` |
| Drip Stand | health | 8 | 5 wheels with a straight vertical stand and locks |  | Not engraved |  |  |  |  |  |  |  | functioning | 8 received and verified |
| ESR Stand | health | 1 |  |  | Not engraved |  | 17/9/25 |  |  |  |  |  |  |  |
| Examination Couch | health | 2 | 4 silver stands with a black soft sponge mattress with a lifter |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | 2 received and verified |
| Examination light,LED |  | 2 |  |  |  |  | 17/9/25 |  |  |  |  |  | In use |  |
| Glucometer | health | 2 | White in color with a strip tin without` prickers |  | Not engraved |  | 17/9/25 |  |  |  |  |  | 1 functioning and 1 not functioning | Supplied without stripes(NMS doesnot give those type of stripes) |
| Haemoglobin Meter, Digital | health | 2 | White in color with 3 buttons and a square screen |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | All verified |
| Height Meter | Not verified | 2 | kinlee |  |  |  |  |  |  |  |  |  | functioning | 2 verified |
| Instrument Trolley | health | 2 | Silver in color with 2 partitions and 4 black wheels |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | 2 verified |
| Microscope Binocular |  | 1 | White in color and a black base |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | 1 seen and functioning |
| Otoscope | health | 1 | Silver in color, with a black top and cylindrical in nature |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | Verified but just kept |
| Patient Screen | health | 4 | Blue in color with 4 stands and a spring support |  | Not engraved |  | 17/9/25 |  |  |  |  |  | 2 broken | Weak quality |
| Patient Trolley | health | 1 | 4 white wheels with a black soft sponge mattress, 2 handles and 2 rails |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | 2 verified and functioning |
| Refrigerator, Basic | Health | 1 | Chigo make;Grey in color with 2 compartments , the lower one bigger than the upper one |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | 1 verified and functioning |
| Stethoscope | Health | 4 | Black in color with 2 rubber tube |  | Not engraved |  | 17/9/25 |  |  |  |  |  | 2 still in store functioning | verified |
| Stop Watch |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Health |  | It has 4 black wheels with two rails and a black soft sponge |  | Not engraved |  | 17/9/25 |  |  |  |  |  | All Functioning | 3 seen and verified |
| Stove, Gas | health | 1 | White in color, 6kg(stabex) |  |  |  | 17/9/25 |  |  |  |  |  | working | 1 seen and verified |
| Weighing Scale with Height Meter, Adult | health | 2 | Kinlee White in color, automated with a height and a guage. With a black rectangular base in nature |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | 2 seen, verified and functioning |
| Weighing Scale, Infant |  | 2 |  |  | N/A |  | 17/9/25 |  |  |  |  |  | Functioning | verrified |
| Weighing Scale, Toddler |  | 2 |  |  | N/A |  | 17/9/25 |  |  |  |  |  | functioning | Verrified |
| Wheel Chair | health |  |  |  |  |  |  |  |  |  |  |  |  | Not recieved |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | health | 6 | Blue,yello, red, in color wrapped with polythene bags And a round top with silver handle |  | N/A |  | 17/9/25 |  |  |  |  |  | functioning out of 20 |  |
| Wall Clock |  | 4 | Round and white in color with figures running from 1 to 12 and placed on the wall |  | Not engraved |  | 17/9/25 |  |  |  |  |  | 3 functioning | All verified, seen and functioning |
| Diagnostic Equipment Set for MCH |  | 2 |  |  | N/A |  | 17/9/25 |  |  |  |  |  | Still boxed | verrified |
| Diagnostic Equipment Set for OPD |  | 2 |  |  | N/A |  | 17/9/25 |  |  |  |  |  | Still boxed | verrified |
| Glassware Set, Laboratory, Basic |  | 2 |  |  | N/A |  | 17/9/25 |  |  |  |  |  | In use | verrified |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  | 3 |  |  | N/A |  | 17/9/25 |  |  |  |  |  | IN USE | verrified |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  | 2 |  |  | N/AN/A |  | 17/9/25 |  |  |  |  |  |  | verrified |
| Bed, Adult Patient with Mattress |  | 10 | Blue and white in colour |  | N/A |  | 17/9/25 |  |  |  |  |  | 2 broken | Weak and easily break and verified |
| Bed, Pediatric Patient, With Mattress | health | 5 | White in color with pink soft sponge blue mattress |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | 5 seen and verified |
| Bedside Locker | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  | 1 | Grey |  | N/A |  | 17/9/25 |  |  |  |  |  | In use | verrified |
| Delivery Bed, Hydraulic Manual | health | 1 | Model H7 with peach mattress and a drip stand |  | Not engraved |  | 17/9/25 |  |  |  |  |  | Failed to use it, training needed | 1 , seen , verified and functioning |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  | 2 |  |  | N/A |  | 17/9/25 |  |  |  |  |  | In store | Verrified |
| Resuscitator Manual, Infant, with all Mask sizes |  | 2 |  |  | N/A |  | 17/9/25 |  |  |  |  |  | In store | Verrified |
| Resuscitator Manual, Adult, with all mask sizes |  | 2 |  |  | N/A |  | 17/9/25 |  |  |  |  |  | In store | verrified |
| Suction Apparatus, (Electric) | health | 2 | White, with 2 bags of water and a guage.not Model COO1-A with 4 wheels |  | Not engraved |  | 17/9/25 |  |  |  |  |  | 1 functioning | 2 seen and verified |
| Nebulizer, Ultrasonic | health | 1 |  |  | N/A |  | 17/9/25 |  |  |  |  |  |  | verrified |
| Oxygen Concentrator, Duo Flow | health | 4 | Grey,2 handles on top and a cylinder also on top |  | Not engraved |  | 17/9/25 |  |  |  |  |  | Functioning | All seen and verifies |
| Bench | health | 4 | Brown wooden benches |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | All seen and functioning |
| Disinfection Buckets | health | 6 | Normal buckets with rounded tops and silver handles |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | seen and functioning |
| Baby Cot | health | 5 | Silver in color, rectangular mattress with rails |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | 5 seen and verified |
| Diagnostic Equipment Set for Ward |  |  |  |  | N/A |  | 17/9/25 |  |  |  |  |  |  |  |
|  |  | 3 | steel |  | N/A |  |  |  |  |  |  |  | In store | verrified |
| Hollow Ware Set, Ward | health | 3 |  |  | N/A |  | 17/9/25 |  |  |  |  |  | In store | verrified. |
| Instrument Set, Delivery | health | 3 |  |  | N/A |  | 17/9/25 |  |  |  |  |  | In store | verrified. |
| Instrument Set, Stitch Removing | health | 4 |  |  | N/A |  | 17/9/25 |  |  |  |  |  | In store | verrified. |
| MVA Kit | health | 4 | manual vacuum aspiration for uterine evacuation |  | N/A |  | 17/9/25 |  |  |  |  |  | In store | verrified |
| Stool, Laboratory | health | 1 | Red with 5 wheels and black in color |  | Not engraved |  | 17/9/25 |  |  |  |  |  | Functioning | 2 seen and verifies |
| Penguin Sucker | health | 3 | Rubber tune in nature |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | 1 verified |
| Fetoscope, Dopplar | health | 2 | Silver in nature, cylindrical with a round top and base |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | 2 verified |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | health | 2 | Biobase CHEMMAIT |  | N/A |  | 17/9/25 |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | health | 1 | Brown in colour |  | N/A |  | 17/9/25 |  |  |  |  |  | functioning | verrified |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light | health | 2 | Has a bulb on top with 5 wheels |  | Not verified |  | 17/9/25 |  |  |  |  |  | functioning | 1 seen and functioning |
| Instrument set, ENT Basic for HCIII | health | 2 | steel |  |  |  | 17/9/25 |  |  |  |  |  | In store | verrified |
| Bag Valve mask (Ambu Bag), Neonatal | health |  | White, with yellow valve and a glass with white masks |  | Not engraved |  | 17/9/25 |  |  |  |  |  | functioning | verified |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Office Chair | health | 7 | Grey in color, swinging in nature with 5 black wheels |  | N/A |  | 17/9/25 |  |  |  |  |  | functioning | 7 verified and seen |
| Desk | health | 3 |  |  | N/A |  | 17/9/25 |  |  |  |  |  |  |  |
| Filing Cabinet | health | 2 | Grey in colour |  | N/A |  | 17/9/25 |  |  |  |  |  | Functioning | verrified |
| Non Residential Buildings | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 1 | Solar power houses |  |  |  |  |  |  |  |  |  | In | use |
| Residential Buildings |  | 2 staff quarter blocks | 4 units |  |  |  |  |  |  |  |  |  |  |  |