ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: | BUNYORO REGION |
| Name of Local Government | BULISA DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KATUSHABE RACHEAL |
| Contact/ email and Telephone | 0787499408, shebarac@gmail.com |
| Supervisor/ Sub team leader | KATUSHABE RACHEAL |
| Name | MBONIGABA DEPAUL |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KIGWERA HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

It is maintained by the a team from hoima regional hospital

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No Its kept in the store |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The UgIFT has consistently helped in supplying health equipement to the facility and iproving on the qulity of service delivery. .Challenges - The type of microscope brought was a monocular is thus not used - Glucometers supplied don’t have stripes supplied by MNS making it had to use - The facility has no labaratory Recomendations - That a person to do regular service for the equipment supplied is sourced since repair is not easily done within the district and spare parts not easily found. - A needs assesment be done before procuring some equipment to avoid over purchase of what he health facility may not need, we have thus donated some of the equipment to the general hospital since it needs them most. |
| --- | --- | --- |
| 11 |  |  |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG BULISAS DISTRICT LOCAL GOVERNMENT. NAME OF HEALTH FACILITY :KIGWERA   HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health | 1 | It is white in color model 2088C with a black surface and a rectangular screen |  | Engraved OPD |  | I6/05/2025 |  |  |  |  |  | Received 2 and all still functioning. | All the 2 that were received were verified and are all functioning |
| B.P. Machine (Aneroid wall mounted) | health | 1 | It has a gauge, white in color, with a black metallic base placed on the wall |  | Not engraved |  | I6/05/2025 |  |  |  |  |  | All functioning | All the 2 received were verified and are all functioning well |
| Autoclave 20 Liters.,Duo Operated | health | 1 | Silver bowl with a round top and black handles with a gauge. Portable steam |  | Not engraved |  | I6/05/2025 |  |  |  |  |  | They are in good status | All the 2 were received and verified |
| Bowl, Kick | health | 1 | Silver basin like stand for sitting bowl stand . |  | N/A |  | 16/5/25 |  |  |  |  |  | In use | Received verified |
| Bowl Stand | health | 1 | Silver like basin with 5 wheel stands, silver in color. |  | Not engraved |  | 16/5/25 |  |  |  |  |  | Well-functioning | 6 bowls received and all verified,3 stands and also verified |
| Counting chamber Neubauer- Improved |  | 2 | Counts blood cells under microscope |  | N/A |  | 16/5/25 |  |  |  |  |  | use | verified |
| Cupboard Steel, Lockable | health | 3 | Grey in color with compartments, lockable in nature |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | 5 verified and all functioning` |
| Drip Stand | health | 3 | Holds iv fluilds wheels with a straight vertical stand and locks |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | received and verified |
| ESR Stand | health | 1 | Instrument that holds tubes when carring out some tests |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | verrified |
| Examination Couch | health | 2 | 4 silver stands with a black soft sponge mattress with a lifter |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | 2eceived and verified |
| Examination light,LED |  | 2 | White adjustable light with a long tube |  | N/A |  | 16/5/25 |  |  |  |  |  | functioning | verrified |
| Glucometer | health | 2 | DIASPECT White in color with a strip tin without` plickers |  | Not engraved |  | 16/5/25 |  |  |  |  |  | 1 functioning and 1 not functioning no stripes | All verified |
| Haemoglobin Meter, Digital | health | 1 | White in color with 3 buttons and a square screen |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | All verified |
| Height Meter | Health | 1 | White with height meter |  | N/A |  | 16/5/25 |  |  |  |  |  | Functioning | verriffied |
| Instrument Trolley | health | 2 | Silver in color with 2 partitions and 4 black wheels |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | 1 verified |
| Microscope Binocular |  | 1 | Monocular White in color and a black base |  | Not engraved |  | 16/5/25 |  |  |  |  |  | Kept in store | 1 seen and functioning |
| Otoscope | health | 1 | Silver in color, with a black top and cylindrical in nature |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | Verified but just kept |
| Patient Screen | health | 3 | blue in color with 4 stands and a spring support |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | 3 seen and verified |
| Patient Trolley | health | 1 | 4 white wheels with a black soft sponge mattress, 2 handles and 2 rails |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | 2 verified and functioning |
| Refrigerator, Basic | Health | 1 | white in color with 2 compartments , the lower one bigger than the upper one |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | 1 verified and functioning |
| Stethoscope | Health | 4 | Black in color with 2 rubber tube |  | Not engraved |  | 16/5/25 |  |  |  |  |  | All functioning | verified |
| Stop Watch | Not verified and not seen | 1 | An instrument used to measure time during an event |  | N/A |  | 16/5/25 |  |  |  |  |  | Verrified | In use |
| Stretcher | Health | 1 | It has 4 black wheels with two rails and a black soft sponge |  | Not engraved |  | 16/5/25 |  |  |  |  |  | All Functioning | 2 seen and verified |
| Stove, Gas | health | 1 | Orange in color, 6kg with a 2 burner stove |  | N/A |  | 16/5/25 |  |  |  |  |  | In use | 1 seen and verified |
| Weighing Scale with Height Meter, Adult | health | 1 | White in color, automated with a height and a guage. With a black rectangular base in nature(kinlee) |  | Not engraved |  | 16/5/25 |  |  |  |  |  | Spoilt, in store | Spare not available |
| Weighing Scale, Infant | Not verified | 1 | Y12BB-20 MODEL |  | N/A |  | 16/5/25 |  |  |  |  |  | In use |  |
| Weighing Scale, Toddler | Not verified | 1 | White tray on a base with gauge |  | N/A |  | 16/5/25 |  |  |  |  |  | In use |  |
| Wheel Chair | health | 2 | Black in color with 2 balck wheels, 2 foot pads and 2 handles |  | Not engraved |  | 16/5/25 |  |  |  |  |  | 1 functioning | 1 was given to Bulisa general hospital |
| Audio Visual Equipment | Not verified |  |  |  | N/A |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | health | 10 | Blue in color wrapped with polythene bags And a round top with silver handle |  | N/A |  | 16/5/25 |  |  |  |  |  | 10 functioning out of | verrified |
| Wall Clock |  | 4 | Round and white in color with figures running from 1 to 12 and placed on the wall |  | Not engraved |  | 16/5/25 |  |  |  |  |  | 4 functioning | All verified, seen and functioning |
| Diagnostic Equipment Set for MCH | Not verified | 2 | Basic steels for monitoring pregnant mother and mother health |  | N/A |  | 16/5/25 |  |  |  |  |  | In store un used | verrified |
| Diagnostic Equipment Set for OPD | Not verified | 2 | Basic tools for out patient examination |  | N/A |  | 16/5/25 |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | Not verified | 2 | Holds sample and reagents |  | N/A |  | 16/5/25 |  |  |  |  |  | Boxed in store | verrified |
| Hollow Ware Set, Treatment |  | 2 | Bowls and containers used on ward |  | N/A |  | 16/5/25 |  |  |  |  |  | In use | verrified |
| Instrument Set, Dressing |  | 2 | Aluminum set with artery & dissecting forceps etc |  | N/A |  | 16/5/25 |  |  |  |  |  | In use | verrifed |
| Instrument Set, Basic ENT |  | 1 | IN BOX (Instrument for ENT) |  | N/A |  | 16/5/25 |  |  |  |  |  | Boxed in store | verrified |
| Instrument Set, Suture |  | 1 | IN BOX |  | N/A |  | 16/5/25 |  |  |  |  |  | IN STORE | verrified |
| Pulse Oximeter, Hand held |  | 2 | White and black |  | N/A |  | 16/5/25 |  |  |  |  |  | Still in store, verrified | Using old one |
| Bed, Adult Patient with Mattress |  | 20 |  |  | N/A |  | 16/5/25 |  |  |  |  |  | In use | Some beds in store becacuse of lack of space (8) |
| Bed, Pediatric Patient, With Mattress | health | 5 | White in color with blue soft sponge blue mattress |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | seen and verified |
| Bedside Locker | health | 10 | 2 compartments with a bigger one down and upper small, grey in color and 4 stands |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | Seen with broken shutters functioning, and verified |
| Cupboard, Instrument |  | 4 | Multi coloured |  | N/A |  | 16/5/25 |  |  |  |  |  | In use | verrified |
| Delivery Bed, Hydraulic Manual | health | 1 | Model H7 with peach mattress and a drip stand |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | 1 , seen , verified and functioning |
| 16/5/25 |  |  | 2 |  | N/A |  |  |  |  |  |  |  | functioning | verrified |
| Resuscitator Manual, Infant, with all Mask sizes |  | 1 | White packed, plastic set with masks |  | N/A |  | 16/6/25 |  |  |  |  |  | Functioning | verrifed |
| Resuscitator Manual, Adult, with all mask sizes |  | 1 | White packed, plastic set with masks |  | N/A |  | 16/6/25 |  |  |  |  |  | functioning | verrifed |
| Suction Apparatus, (Electric) | health | 1 | White, with 2 bags of water and a guage.not Model COO1-A with 4 wheels |  | Not engraved |  | 16/6/25 |  |  |  |  |  | functioning | 1 seen and verified |
| Nebulizer, Ultrasonic |  | 1 | White in colour for turning medicene into breathable state |  | N/A |  | 16/6/25 |  |  |  |  |  | functioning | VERRIFIED |
| Oxygen Concentrator, Duo Flow |  | 1 | Grey,2 handles on top and a cylinder also on top |  | Not engraved |  |  |  |  |  |  |  | functioning | All seen and verifies |
| Bench | health | 4 | brown wooden |  | Not engraved |  |  |  |  |  |  |  | functioning | All seen and functioning |
| Disinfection Buckets | health | 3 | Normal buckets with rounded tops and silver handles |  | Not engraved |  |  |  |  |  |  |  | functioning | 3 seen and functioning |
| Baby Cot |  | 2 | Silver in color, rectangular mattress with rails |  | Not engraved |  |  |  |  |  |  |  | Gave them to Bulisa general hosipital |  |
| Diagnostic Equipment Set for Ward | health | 2 | Basic tools for ward patient examination |  | N/A |  | 16/5/25 |  |  |  |  |  | IN USE | VERRIFED |
| Hollow Ware Set, Ward | health | 2 | Medical instruments used in hospital |  | N/A |  | 16/5/25 |  |  |  |  |  | IN USE | VERRIFED |
| Instrument Set, Delivery | health | 2 | Medical instruments used during child birth |  | N/A |  | 16/5/25 |  |  |  |  |  | donated | Donated to general hospital |
| Instrument Set, Stitch Removing | health | 3 | Instruments for removing sutures |  | N/A |  | 16/5/25 |  |  |  |  |  | IN USE | VERRIFIED |
| MVA Kit | health | 5 | Non sterile |  | N/A |  | 16/5/25 |  |  |  |  |  | IN USE | VERRIFED |
| Stool, Laboratory | health | 3 | They are 3 with each having 5 wheels and black in color |  | Not engraved |  | 16/5/25 |  |  |  |  |  | Functioning | 3 seen and verifies |
| Penguin Sucker | health | 3 | Rubber tune in nature |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | 1 verified |
| Fetoscope, Dopplar | health | 2 | Silver in nature, cylindrical with a round top and base |  | Not engraved |  | 16/5/25 |  |  |  |  |  | functioning | verified |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | health | 1 | White |  |  |  |  |  |  |  |  |  | In use | I n use |
| Kangaroo Mother Care Chair | health | 1 | Green |  | N/A |  | 16/5/25 |  |  |  |  |  | In use | verrified |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | health | 1 |  |  | N/A |  | 16/5/25 |  |  |  |  |  | In use | verrifed |
| Delivery Bed | health | 2 | Silver bed with a black mackintosh |  | N/A |  | 16/5/25 |  |  |  |  |  | In use | verrifed |
| Examination light | health | 2 | Has a bulb on top with 5 wheels |  | N.A |  | 16/5/25 |  |  |  |  |  | functioning | 1 seen and functioning |
| Instrument set, ENT Basic for HCIII | health | 1 | Medical instrument to diagonise common ear and nose |  | N,A |  | 16/11/25 |  |  |  |  |  | In use | verrified |
| Bag Valve mask (Ambu Bag), Neonatal | health | 2 | Blck and a glass with white masks |  | Not engraved |  | 16/11/25 |  |  |  |  |  | functioning | verified |
| Incubator |  | 1 |  |  |  |  |  |  |  |  |  |  | Donated to bulisa general hospital | Not Seen |
| Office Chair | health | 4 | Black in color, swinging in nature with 5 black wheels |  | N/A |  |  |  |  |  |  |  | functioning | verified and seen |
| Desk | 1 |  | Broewn with drawes |  | N/A |  |  |  |  |  |  |  | In use | verrifed |
| Filing Cabinet |  | 4 |  |  | N/aN/A |  |  |  |  |  |  |  | In use | verrified |
| Non Residential Buildings |  | N/A |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  | N/A |  |  |  |  |  |  |  |  |  |  |  |  |