## Sheet1
S/N | Equipment Name | Type | Model Name | Model No. | Serial No. | Facility | Level | Department | Room | condition | Engraved | Remarks
1 | HEMATOLOGY ANALYSER | ME | ZYBIO | Z3 | Z3230912799 | HOIMA | Regional Blood Bank | LAB | ANALYTICAL | P
2 | HEMATOCRIT CENTRIFUGE | ME | BIOBASE | BKC-MH12-B | LXJTG12W23070107K | HOIMA | Regional Blood Bank | LAB | ANALYTICAL | P
3 | CONSTANT TEMPERATURE INCUBATOR | ME | BIOBASE | BJPX-H54BK | BJPXH5411230800323B | HOIMA | Regional Blood Bank | LAB | ANALYTICAL | Q
4 | CLASS B TABLE TOP AUTOCLAVE | ME | BIOBASE | BKMZB | BKMZB23075020 | HOIMA | Regional Blood Bank | LAB | ANALYTICAL | Q
5 | BIOSAFETY CABINET | ME | BIOBASE | BBS-V1300 | BBS13VD230600120A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL | Q
6 | ULTRALOW FREEZER -80C | ME | THERMOFISHER SCIENTIFC | TSX60086V | 1146352501240400 | HOIMA | Regional Blood Bank | LAB | ANALYTICAL | P
7 | PLASMA BLAST FREEZER | ME | DEEPEE | DPSF-1240 | WJ430 | HOIMA | Regional Blood Bank | LAB | ANALYTICAL | Q
8 | PLATELET INCUBATOR AGITATOR | ME | MEDITECH | MTIA02 | M786525307 | HOIMA | Regional Blood Bank | LAB | ANALYTICAL | P
9 | COAGULATION ANALYZER | ME | DUTCH DIAGNOSTICS | D.C. ANALYSER | J20400622 | HOIMA | Regional Blood Bank | LAB | ANALYTICAL | P
10 | PLASMA BATH | ME | MEDITECH | EM | 786525303 | HOIMA | Regional Blood Bank | LAB | ANALYTICAL | B
11 | PLASMA BATH | ME | MEDITECH | EM | 786525302 | HOIMA | Regional Blood Bank | LAB | ANALYTICAL | B
12 | PLASMA BLAST FREEZER | ME | MEDITECH |  | 786525305 | HOIMA | Regional Blood Bank | LAB | ANALYTICAL | P
13 | PREPARATIVE CENTRIFUGE | ME | THERMOFISHER SCIENTIFC | CROFUGE 16 | 43312785 | HOIMA | Regional Blood Bank | LAB | PROCESSSING | P
14 | PREPARATIVE CENTRIFUGE | ME | THERMOFISHER SCIENTIFC | SORVALL BP8 | 43193911 | HOIMA | Regional Blood Bank | LAB | PROCESSSING | P
15 | BLOOD BANK REFRIGERATOR | ME | HAIER | HXC-629 | BEOHC7EAPOOQJPB60006 | HOIMA | Regional Blood Bank | LAB | PROCESSSING | P
16 | DEEP FREEZER -40C | ME | HAIER | DW-40L568J | BEOHQ2E0000QGPAU0004 | HOIMA | Regional Blood Bank | LAB | PROCESSSING | P
17 | DOUBLE DOOR BLOOD BANK REFRIGERATOR | ME | BIOEVOPEAK | BR4-1000 | BEPDL230820002 | HOIMA | Regional Blood Bank | LAB | PROCESSSING | P
18 | BLOOD BANK REFRIGERATOR | ME | HAIER | HXC-629 | BEOHC7EAPOOQJPB60005 | HOIMA | Regional Blood Bank | LAB | PROCESSSING | P
19 | STERILE TUBE WELDER | ME | BMS | STW6810-RFID | 031230901-03 | HOIMA | Regional Blood Bank | LAB | PROCESSSING | P
20 | DEEP FREEZER -40C | ME | HAIER | DW-40L568J | BEOHQ2E0000QGPAU0005 | HOIMA | Regional Blood Bank | LAB | PROCESSSING | P
21 | DOUBLE DOOR BLOOD BANK REFRIGERATOR | ME | BIOEVOPEAK | BR4-1000 | BEPDL230820003 | HOIMA | Regional Blood Bank | LAB | PROCESSSING | P
22 | HEAVY DUTY TROLLEY | MF |  |  |  | HOIMA | Regional Blood Bank | LAB | PROCESSSING | P
23 | HEAVY DUTY TROLLEY | MF |  |  |  | HOIMA | Regional Blood Bank | LAB | PROCESSSING | P
24 | BENCHTOP CENTRIFUGE | ME | THERMOFISHER SCIENTIFC | MEGAFUGE ST1 | 43340651 | HOIMA | Regional Blood Bank | LAB | RECEIVING AREA | C | Z
25 | BENCHTOP TUBE SEALER | ME | BIOEVOPEAK | SLM-T2008 | BEPKD23824002 | HOIMA | Regional Blood Bank | LAB | RECEIVING AREA | C
26 | BENCHTOP TUBE SEALER | ME | BIOEVOPEAK | SLM-T2008 | BEPKD23824004 | HOIMA | Regional Blood Bank | LAB | RECEIVING AREA | P
27 | BLOOD COLLECTION BALANCE | ME | BIOBASE | BCM-12A | 2309006 | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR | P
28 | BLOOD COLLECTION BALANCE | ME | BIOBASE | BCM-12A | 2309007 | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR | P
29 | BLOOD COLLECTION BALANCE | ME | BIOBASE | BCM-12A | 2309008 | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR | P
30 | BLOOD COLLECTION BALANCE | ME | BIOBASE | BCM-12A | 23090010 | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR | P
31 | WEIGHING SCALE | ME | SECA | SECA 762 | 7621019007 | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR | P
32 | STATIONARY DONOR COUCH | MF | NARANG |  |  | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR | P
33 | STATIONARY DONOR COUCH | MF | NARANG |  |  | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR | P
34 | STATIONARY DONOR COUCH | MF | NARANG |  |  | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR | P
35 | STATIONARY DONOR COUCH | MF | NARANG |  |  | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR | P
36 | PLASMA THAWING BATH | ME | MEDITECH | MTPT01 | M786525302 | HOIMA | Regional Blood Bank | STORAGE | STORES | P |  | B
37 | EYE WASH STATION | ME | BIOBASE |  | BBS131D230600120A | HOIMA | Regional Blood Bank | STORAGE | STORES | P
38 | WATER DISTILLER | ME | BIOBASE | WD-5 |  | HOIMA | Regional Blood Bank | STORAGE | STORES | P
39 | WATER DISTILLER | ME | BIOBASE | WD-5 |  | HOIMA | Regional Blood Bank | STORAGE | STORES | P
40 | STERILE TUBE WELDER | ME | BMS | STW6810-RFID | 030123901-5 | HOIMA | Regional Blood Bank | STORAGE | STORES | P
41 | HEMATOLOGY ANALYSER | ME | ZYBIO | Z3 | Z3230912805 | HOIMA | Regional Blood Bank | STORAGE | STORES | P
42 | CELL WASHER | ME | LABDEX | LX100CW |  | HOIMA | Regional Blood Bank | STORAGE | STORES | P |  | B
43 | WEIGHING SCALE | ME | SECA | SECA 762 | 7621019008 | HOIMA | Regional Blood Bank | STORAGE | STORES | P
44 | BENCHTOP TUBE SEALER | ME | BIOEVOPEAK | SLM-T2008 | BEPKD230824001 | HOIMA | Regional Blood Bank | STORAGE | STORES | C | Z
45 | DOUBLE PAN WEIGHING SCALE | ME | ELTEK | WS-2D | JMWS 18 | HOIMA | Regional Blood Bank | STORAGE | STORES | C
46 | DOUBLE PAN WEIGHING SCALE | ME | ELTEK | WS-2D | JMWS 17 | HOIMA | Regional Blood Bank | STORAGE | STORES | C
47 | ANALYTICAL WEIGHING BALANCE | ME | BIOBASE | BA2204BY |  | HOIMA | Regional Blood Bank | STORAGE | STORES | P
48 | BLOOD COLLECTION BALANCE | ME | BIOBASE | BCM-12A | 2309009 | HOIMA | Regional Blood Bank | STORAGE | STORES | P
49 | WATER QUALITY METER | ME | BIOBASE | PHS-25CW | 230906-028 | HOIMA | Regional Blood Bank | STORAGE | STORES | P
50 | BENCHTOP CENTRIFUGE | ME | BIOEVOPEAK | CFG-B5BL | BEPLXY230824003 | HOIMA | Regional Blood Bank | STORAGE | STORES | Q
51 | WATER DEIONIZER | ME | HI-TECH | BW30-4021 | 90173 | HOIMA | Regional Blood Bank | LAUNDRY | LAUNDRY | P
52 | HEAVY DUTY WASHING MACHINE | ME | LG | F3L2CRV2T | 404VWVR1Y399 | HOIMA | Regional Blood Bank | LAUNDRY | LAUNDRY | P
53 | OFFICE FURNITURE |  |  |  |  | HOIMA | Regional Blood Bank | OFFICE |  | P
54 | BOARD ROOM FURNITURE |  |  |  |  | HOIMA | Regional Blood Bank | OFFICE |  | P
55 | FIRE EXTNGIUSHERS |  |  |  |  | HOIMA | Regional Blood Bank | OFFICE |  | P
56 | STORAGE CABINS |  |  |  |  | HOIMA | Regional Blood Bank | OFFICE |  | P
57 | HEAVY DUTY GENERATOR |  |  |  |  | HOIMA | Regional Blood Bank | OFFICE |  | P
58 | COLD ROOM EQUIPMENT |  |  |  |  | HOIMA | Regional Blood Bank | LAB
59 | LAB STOOLS |  |  |  |  | HOIMA | Regional Blood Bank | IT
60 | COMPUTERS AND PRINTERS
Key
|  | Type | Condition
|  | ME- Medical Equipment | P | Good in use
|  | MF- Medical Furniture | Q | B- Good Not in Use
|  |  | C | C-In Use Needs Repair
|  |  | D | D-In Use Needs Replacement
|  |  | F | E-Out of order Repairable
|  |  | F | F-Out of Order Needs Replacement
|  |  | G | G-Disposed off
|  |  | Z | NOT ENGRAVED
|  |  | B | NOT FOR BLOOD BANK USE