FACILITY REPORT — #1

| District: Kagadi | Sub-county: Nyamigisa |
| --- | --- |
| Facility Name: Burora H/C 111 | Type (Seed School / Health Center): Health Center |
| Date Visited: 31/08/2026 | Team Members: Kiconco Immaculate Katushabe Racheal |
| Incharge: DR. Herbert | Incharge contact: 0780496249 |

Assets Verified / Condition Summary (Good / Fair / Poor)

- Some of the work was not completed by the contractor. Sinks, electric sockets, door hinges where not well mounted after renovations where done. even the walk way was not done as per the guidelines.

- The few assets provided to the health facility are still in good condition and are in use.

Successes

- Asset verification was success at the health center.

- The Incharge and all the assistant personnel were very helpful and cooperative during the whole process

- Challenges

- There are few equipment and the facilities is unable to meet the health centers full potential

- Most of the assets where not provided compared to the other health centers that got an upgrade

- The door hinges where not well mounted in that some of the doors are hanging.

- Lack of human resource

- Lack of hydro power only relaying on solar power.

- Recommendations

- Since some of the work was not completed by the contractor works inspection needs to be done. For example when it rains the water remains stagnant on the walk ways with no proper drainage.

- Expansion on the facility for better service delivery (OPD)

- A needs assessment should be carried out before providing equipment.

- Provide hydro power to the facility. Help securer electric poles to stations

- The facility was requesting UGIFT to give reliable transport means for out reaches for example motor bikes.