FACILITY REPORT — #1

| District: Kagadi | Sub-county: Kisweeka |
| --- | --- |
| Facility Name: Muhorro H/C 111 | Type (Seed School / Health Center): Health Center |
| Date Visited: 01/09/2026 | Team Members: Kiconco Immaculate Katushabe Racheal |
| Incharge: DR. Erasmus Ndyamuhakyi | Incharge contact: 0777345670 |

Assets Verified / Condition Summary (Good / Fair / Poor)

- All assets are engraved.

Most of the assets provided to the health facility are still in good condition and are in use.

Successes

- Asset verification was success at the health center.

- The Incharge and all the assistant personnel were very helpful and cooperative during the whole process

Challenges

- There are few equipment and the facilities to help meet the health centers full potential

- Some of the assets are hard to repair due to the fact that the facility can not find someone that is familiar with the assets provided.

- During renovations some assets where an assembled and a more technical personal is need to reassemble the items

- The door hinges where not well mounted in that some of the doors are hanging.

- Lack of human resource

Recommendations

- Expansion on the facility for better service delivery (OPD)

- A needs assessment should be carried out before providing equipment.