ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: | BUNYOURO REGION |
| Name of Local Government | KAGADI DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KATUSHABE RACHAEAL |
| Contact/ email and Telephone | 0787499408, shebarac@gmail.com |
| Supervisor/ Sub team leader | MBONIGABA DEPAUL |
| Name | MBONIGABA DEPAUL |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  MIGGI HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

We have a contact from NMS that helps with maintenece

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes they do. We do for for the ones in regular use . |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The UgIFT has consistently helped in supplying health equipement. Challenges - Lack transport for out reaches - Lack of enough accomodation for staff - No fence - Lack of enough human resources - Lack of Network for E registration - Recommmendations - Ugift put a mask to boost network - Buy motocycles to ease transport for out reaches |
| --- | --- | --- |
| 11 |  |  |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG KAGADI DISTRICT LOCAL GOVERNMENT. NAME OF HEALTH FACILITY : MUGGI  HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | It is white in color model 2088C with a black surface and a rectangular screen |  | Engraved OPD |  | I6/05/2025 |  |  |  |  |  | Received 2 and all still functioning. | All the 2 that were received were verified and are all functioning |
| B.P. Machine (Aneroid wall mounted) | health | 2 | It has a gauge, white in color, with a black metallic base placed on the wall |  | Not engraved |  | I8/12//2025 |  |  |  |  |  | All functioning | All the 2 received were verified and are all functioning well |
| Autoclave 20 Liters.,Duo Operated | health | 2 | Silver bowl with a round top and black handles with a gauge. |  | Not engraved |  | I6/05/2025 |  |  |  |  |  | They are in good status | All the 2 were received and verified |
| Bowl, Kick | Health | 1 | Silver basin like stand for sitting bowl stand . |  | N/A |  |  |  |  |  |  |  | IN USE | Not Received Not verified |
| Bowl Stand | Health | 1 | Silver like basin with 5 wheel stands, silver in color. |  | Not engraved |  |  |  |  |  |  |  | Well-functioning | 6 bowls received and all verified,3 stands and also verified |
| Counting chamber Neubauer- Improved | Health | 2 | Counts blood cells under microscope |  | N/A |  |  |  |  |  |  |  | In use | Verified |
| Cupboard Steel, Lockable | Health | 2 | Grey in color with compartments, lockable in nature |  | Not engraved |  |  |  |  |  |  |  | functioning | verified and all functioning` |
| Drip Stand | Health | 20 | Holds iv fluilds wheels with a straight vertical stand and locks |  | Not engraved |  |  |  |  |  |  |  | functioning | received and verified |
| ESR Stand | Health | 3 | Instrument that holds tubes when carring out some tests |  | Not engraved |  | 17/11/25 |  |  |  |  |  | IN USE | Verrified |
| Examination Couch | Health | 2 | 4 silver stands with a black soft sponge mattress with a lifter |  | Not engraved |  | 24/9/25 |  |  |  |  |  | functioning | 3 received and verified |
| Examination light,LED | Health | 2 | Long with a blulb and wheels at the base |  |  |  | 24/9/25 |  |  |  |  |  | IN USE | verrifed |
| Glucometer | Health |  | White in color with a strip tin without` plickers |  | Not engraved |  | 24/9/25 |  |  |  |  |  | 1 functioning and 1 not functioning | All verified |
| Haemoglobin Meter, Digital | Health | 2 | White in color with 3 buttons and a square screen |  | Not engraved |  | 18/11/25 |  |  |  |  |  | functioning | All verified |
| Height Meter | Health | 2 |  |  | KGDLG-UGIFT/HLTH/MAT/HM/001 |  | 24/9/25 |  |  |  |  |  | Functioning | verrifed |
| Instrument Trolley | Health | 3 | Silver in color with 2 partitions and 4 black wheels |  | Not engraved |  | 24/9/25 |  |  |  |  |  | functioning | verified |
| Microscope Binocular | Health | 1 | White in color and a black base |  | Not engraved |  | 24/9/25 |  |  |  |  |  | functioning | 1 seen and functioning |
| Otoscope | Health |  | Silver in color, with a black top and cylindrical in nature |  | Not engraved |  | 24/9/25 |  |  |  |  |  | functioning | Verified but just kept |
| Patient Screen | Health |  | White in color with 4 stands and a spring support |  | Not engraved |  | 24/9/25 |  |  |  |  |  | functioning | 8 seen and verified |
| Patient Trolley | Health | 1 | 4 white wheels with a black soft sponge mattress, 2 handles and 2 rails |  | Not engraved |  | 24/9/25 |  |  |  |  |  | functioning | 2 verified and functioning |
| Refrigerator, Basic | Health | 1 | Grey in color with 2 compartments , the lower one bigger than the upper one |  | Not engraved |  | 24/9/25 |  |  |  |  |  | functioning | 1 verified and functioning |
| Stethoscope | Health | 4 | Black in color with 2 rubber tube |  | Not engraved |  | 24/9/25 |  |  |  |  |  | All functioning | 8 verified |
| Stop Watch | Health |  |  |  |  |  | 24/9/25 |  |  |  |  |  |  |  |
| Stretcher | Health | 3 | It has 4 black wheels with two rails and a black soft sponge |  | Not engraved |  | 24/9/25 |  |  |  |  |  | All Functioning | 3 seen and verified |
| Stove, Gas | Health |  | White in color, 6kg(stabex) |  | N/A |  | 24/9/25 |  |  |  |  |  | In use | 1 seen and verified |
| Weighing Scale with Height Meter, Adult | Health | 2 | White in color, automated with a height and a guage. With a black rectangular base in nature |  | Not engraved |  | 24/9/25 |  |  |  |  |  | functioning | 2 seen, verified and functioning |
| Weighing Scale, Infant | Health | 2 | White in colur with height meter |  | N/A |  | 24/9/25 |  |  |  |  |  | In use | verrified |
| Weighing Scale, Toddler | Health | 2 | White tray with a base gauge |  | N/A |  | 24/9/25 |  |  |  |  |  | In use | verrifed |
| Wheel Chair | Health | 1 | Black in color with 2 balck wheels, 2 foot pads and 2 handles |  | Not engraved |  | 24/9/25 |  |  |  |  |  | All functioning | seen and verified |
| Audio Visual Equipment | Health |  | Not verrified |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | Health | 6 | Blue in color wrapped with polythene bags And a round top with silver handle |  | N/A |  | 24/9/25 |  |  |  |  |  | functioning | 1 if faulty |
| Wall Clock | Health | 4 | Round and white in color with figures running from 1 to 12 and placed on the wall |  | Not engraved |  | 24/9/25 |  |  |  |  |  | 3 functioning | All verified, seen and functioning |
| Diagnostic Equipment Set for MCH | Health |  | Basic steels for monitoring pregnant mother and mother health |  |  |  | 24/9/25 |  |  |  |  |  | In use | verrifed |
| Diagnostic Equipment Set for OPD | Health | 2 | Basic instruments for out patient examination |  | N/A |  | 24/9/25 |  |  |  |  |  | In use | verrified |
| Glassware Set, Laboratory, Basic | Health | 2 | Holds samples and reagents |  | N/A |  | 24/9/25 |  |  |  |  |  | IN USE | VERRIFED |
| Hollow Ware Set, Treatment | Health |  | Bowls and containers used on ward |  | N/A |  | 24/9/25 |  |  |  |  |  | In use | verrified |
| Instrument Set, Dressing | Health | 3 | Aluminum set with artery & dissecting forceps etc |  | N/A |  | 24/9/25 |  |  |  |  |  | In use | verrified |
| Instrument Set, Basic ENT | Health | Medical instrument to diagonise common ear and nose |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT | Health | Medical instrument to diagonise common ear and nose | Medical instrument to diagonise common ear and nose |  | N/A |  | 17/11/26 |  |  |  |  |  | IN USE | VERRIFIED |
| Instrument Set, Suture | Health |  | Medical instruments for delivery |  | N/A |  | 17/11/26 |  |  |  |  |  | IN USE | VERRIFIED |
| Pulse Oximeter, Hand held | Health | 2 | Small cubid shaped device black in colour |  | N/A |  | 17/11/25 |  |  |  |  |  | In use | verrified |
| Bed, Adult Patient with Mattress | Health | 33 | BLUE AND WHITE |  | N/A |  | KDLG-UGIFT/HLTH/PNC/BA/10 |  |  |  |  |  | In use | verriffied |
| Bed, Pediatric Patient, With Mattress | Health | 10 | White in color with blue soft sponge blue mattress |  | Not engraved |  | 17/11/25 |  |  |  |  |  | In use | seen and verified |
| Bedside Locker | Health | 10 | 2 compartments with a bigger one down and upper small, grey in color and 4 stands |  | Not engraved |  | 17/11/25 |  |  |  |  |  | functioning | 10 Seen, functioning, and verified |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | Health |  | Model H7 with peach mattress and a drip stand |  | Not engraved |  | 17/11/25 |  |  |  |  |  | functioning | Only 1 , seen , verified and functioning |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  |  |  | N/A |  | 24/9/25 |  |  |  |  |  | In use | verrifed |
| Resuscitator Manual, Infant, with all Mask sizes | Health | 2 | White packed, plastic set with masks |  | N/A |  | 24/9/25 |  |  |  |  |  | In use | verrified |
| Resuscitator Manual, Adult, with all mask sizes | Health | 2 | White packed, plastic set with masks |  | N/A |  | 24/9/25 |  |  |  |  |  | In use | verrifed |
| Suction Apparatus, (Electric) | Health | 2 | White, with 2 bags of water and a guage.not Model COO1-A with 4 wheels |  | Not engraved |  | 24/9/25 |  |  |  |  |  | functioning | 1 seen and verified |
| Nebulizer, Ultrasonic | Health | 2 | White in colour |  | N/A |  | 24/9/25 |  |  |  |  |  | functioning | Verified |
| Oxygen Concentrator, Duo Flow | Health | 4 | Grey,2 handles on top and a cylinder also on top |  | Not engraved |  | 17/11/25 |  |  |  |  |  | functioning | All seen and verifies |
| Bench | Health | 4 | brown wooden stands |  | Not engraved |  | 17/11/25 |  |  |  |  |  | functioning | All seen and functioning |
| Disinfection Buckets | Health | 6 | Normal buckets with rounded tops and silver handles |  | Not engraved |  | 1711/25 |  |  |  |  |  | functioning | 3 seen and functioning |
| Baby Cot | Health | 2 | Silver in color, rectangular mattress with rails |  | Not engraved |  | 24/9/25 |  |  |  |  |  | functioning | 2 seen and verified |
| Diagnostic Equipment Set for Ward | NOT RECIEVED |  | NOT RECIEVED |  |  |  | NOT RECIVED |  |  |  |  |  | IN USE VERRIFED | VERRIFED |
| Hollow Ware Set, Ward | Health |  | Medical instruments used in hospital |  |  |  | 1711/25 |  |  |  |  |  | IN USE | VERRIFED |
| Instrument Set, Delivery | Health | 3 | Medical instruments used during child birth |  |  |  | 1711/25 |  |  |  |  |  | IN USE | VERRIFEID |
| Instrument Set, Stitch Removing | Health | 3 | Instruments for removing sutures |  |  |  | 1711/25 |  |  |  |  |  | IN USE | VERRIFED |
| MVA Kit | Health | 4 | manual vacuum aspiration for uterine evacuation |  | N/A |  | 17/11/25 |  |  |  |  |  | Functioning | verrified |
| Stool, Laboratory |  | 1 | with 5 wheels and black in color |  | Not engraved |  | 17/11/25 |  |  |  |  |  | Functioning | 21 seen and verifies |
| Penguin Sucker |  | 3 | Rubber tune in nature |  | Not engraved |  | 17/11/25 |  |  |  |  |  | functioning | 1 verified |
| Fetoscope, Dopplar |  | 2 | Silver in nature, cylindrical with a round top and base |  | Not engraved |  | 17/11/25 |  |  |  |  |  | functioning | 2 verified |
| Bubble CPAP |  | 2 |  |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  | 2 | Electric white |  |  |  | 17/11/25 |  |  |  |  |  | In use | verrified |
| Kangaroo Mother Care Chair |  | 1 | Brown |  | N/a |  | 17/11/25 |  |  |  |  |  | In use | verrifed |
| Radiant Infant Warmer |  |  |  |  | Not recieved |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  | Not seen |  |  |  |  |  |  |  |  |  |
| Delivery Bed | health | 1 | Silver bed with a black mackintosh |  | N/a |  |  |  |  |  |  |  |  |  |
| Examination light |  | 2 | Has a bulb on top with 5 wheels |  | N/a |  | 24/9/25 |  |  |  |  |  | functioning | 2 seen and functioning |
| Instrument set, ENT Basic for HCIII |  | 3 | Medical instrument to diagonise common ear and nose |  |  |  | 17/11/25 |  |  |  |  |  | functioning | verrifed |
| Bag Valve mask (Ambu Bag), Neonatal | health |  | White, with yellow valve and a glass with white masks |  | Not engraved |  | 24/9/25 |  |  |  |  |  | functioning | 14 verified |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Office Chair | health | 7 | Black in color, swinging in nature with 5 black wheels |  | UGIFT/HLTH/MAT/0C/002 |  | 24/9/25 |  |  |  |  |  | functioning | 7 verified and seen |
| Desk |  | 3 | Wooden |  | KDLG-UGIFT/HLTH/MAT/ODT/003 |  |  |  |  |  |  |  | In use | verrified |
| Filing Cabinet |  | 2 | GREY |  | N/A |  | 24/9/25 |  |  |  |  |  | In use | Verrified |
| Non Residential Buildings |  |  | Upgrade to Health center III |  |  |  |  |  | 281,000,000 |  |  |  |  | Ceieling still crackes |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |